## ARID Format
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILD ASSET | COMPONENT | SPARE PART | ACRONYM | ADS CODE
FUNCT | [7 empty] | FUNCT
| CONDENSER WATER | [5 empty] | 20 | FUNCT20
|  | SOURCE |  |  |  |  | A | FUNCT20A
|  |  | CHEMICAL FEEDER |  |  |  | CMFD | FUNCT20A-CMFD
|  |  | CONTROL INTERFACE |  |  |  | CONI | FUNCT20A-CONI
|  |  | COOLING TOWER |  |  |  | CTWR | FUNCT20A-CTWR
[5 empty] | BEARINGS |  | BRGS | FUNCT20A-CTWR.BRGS
[5 empty] | COOLING FILL |  | CFIL | FUNCT20A-CTWR.CFIL
[5 empty] | CONTROLS |  | CNTL | FUNCT20A-CTWR.CNTL
[5 empty] | CONTROL VALVE |  | CNTV | FUNCT20A-CTWR.CNTV
[5 empty] | FAN |  | FAN | FUNCT20A-CTWR.FAN
[5 empty] | FILL CONTROL |  | FCNT | FUNCT20A-CTWR.FCNT
[5 empty] | FILTER |  | FLTR | FUNCT20A-CTWR.FLTR
[5 empty] | GEARBOX ASSEMBLY |  | GBXA | FUNCT20A-CTWR.GBXA
[5 empty] | MOTOR |  | MOTR | FUNCT20A-CTWR.MOTR
[5 empty] | NOZZLE |  | NOZL | FUNCT20A-CTWR.NOZL
[5 empty] | VFD/ STARTER |  | STRT | FUNCT20A-CTWR.STRT
[5 empty] | SUMP |  | SUMP | FUNCT20A-CTWR.SUMP
[6 empty] | BELT | BELT | FUNCT20A-CTWR:BELT
[6 empty] | OIL | OIL | FUNCT20A-CTWR:OIL
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT20A-DSCS
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT20A-ISOV
|  |  | MAKE-UP CONTROL VALVE |  |  |  | MUCV | FUNCT20A-MUCV
|  |  | PLUME ABATEMENT |  |  |  | PABT | FUNCT20A-PABT
|  |  | PIPE |  |  |  | PIPE | FUNCT20A-PIPE
[5 empty] | AIR ELIMINATOR |  | AIRE | FUNCT20A-PIPE.AIRE
[5 empty] | AIR VENT |  | AIRV | FUNCT20A-PIPE.AIRV
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT20A-PIPE.DRNV
[5 empty] | FLOW METER |  | FLWM | FUNCT20A-PIPE.FLWM
[5 empty] | GAUGES |  | GAUG | FUNCT20A-PIPE.GAUG
[5 empty] | INSULATION |  | INSL | FUNCT20A-PIPE.INSL
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT20A-PIPE.PRRV
[5 empty] | STRAINER |  | STRN | FUNCT20A-PIPE.STRN
[5 empty] | THERMOMETER |  | THER | FUNCT20A-PIPE.THER
[5 empty] | VIBRATION ELIMINATOR |  | VIBR | FUNCT20A-PIPE.VIBR
|  |  | SLUICE GATE |  |  |  | SLGT | FUNCT20A-SLGT
|  |  | TRAVELING SCREEN |  |  |  | TSCREEN | FUNCT20A-TSCREEN
|  | DISTRIBUTION |  |  |  |  | B | FUNCT20B
|  |  | CONTROL VALVE |  |  |  | CNTV | FUNCT20B-CNTV
|  |  | CONTROL INTERFACE |  |  |  | CONI | FUNCT20B-CONI
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT20B-DSCS
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT20B-ISOV
|  |  | PIPE |  |  |  | PIPE | FUNCT20B-PIPE
[5 empty] | AIR ELIMINATOR |  | AIRE | FUNCT20B-PIPE.AIRE
[5 empty] | AIR VENT |  | AIRV | FUNCT20B-PIPE.AIRV
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT20B-PIPE.DRNV
[5 empty] | FLOW METER |  | FLWM | FUNCT20B-PIPE.FLWM
[5 empty] | GAUGES |  | GAUG | FUNCT20B-PIPE.GAUG
[5 empty] | INSULATION |  | INSL | FUNCT20B-PIPE.INSL
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT20B-PIPE.PRRV
[5 empty] | STRAINER |  | STRN | FUNCT20B-PIPE.STRN
[5 empty] | THERMOMETER |  | THER | FUNCT20B-PIPE.THER
[5 empty] | VIBRATION ELIMINATOR |  | VIBR | FUNCT20B-PIPE.VIBR
|  |  | PUMP |  |  |  | PUMP | FUNCT20B-PUMP
[5 empty] | MOTOR |  | MOTR | FUNCT20B-PUMP.MOTR
[5 empty] | VFD/ STARTER |  | STRT | FUNCT20B-PUMP.STRT

## 20
LEVEL | ACTION | HIERARCHY | HIERARCHY UPDATE | SYSTEM | SYSTEM UPDATE | SUBSYSTEM | SUBSYSTEM UPDATE | ASSET | ASSET UPDATE | CHILD ASSET | COMPONENT | COMPONENT UPDATE | SPARE PART UPDATE | ACRONYM | ACRONYM UPDATE | ADS CODE | ADS CODE UPDATE | REMOVE | TB&T, PORTS | FLOW ENABLED | CONFLICT | INSTANCE | INSTANCE EXAMPLE | SCBD DATE | REFERENCE | DICTIONARY | COMMENTS | Change Request Number
2.SYSTEM | NO CHANGE | FUNCT | FUNCT | CONDENSER WATER | CONDENSER WATER | [8 empty] | 20 | 20 | FUNCT20 | FUNCT20 |  |  |  | 0 |  |  |  |  | Maintenance Object specific systems & equipment pertaining to the removal of heat energy from a building and its ejection into the atmosphere (reverse of chilled water systems).
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | CONDENSER WATER | CONDENSER WATER | PIPING | SOURCE | [6 empty] | A | A | FUNCT20A | FUNCT20A |  |  |  | 0 | EACH COOLING SOURCE | WATER TOWER 1
4.ASSET | MODIFICATION | FUNCT | FUNCT | CONDENSER WATER | CONDENSER WATER | ANCILLARY | SOURCE | CHEMICAL FEEDER | CHEMICAL FEEDER |  |  |  |  | CMFD | CMFD | FUNCT20D-CMFD | FUNCT20A-CMFD |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | CONTROL INTERFACE | [5 empty] | CONI |  | FUNCT20A-CONI |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CONDENSER WATER | CONDENSER WATER | GENERATION | SOURCE | COOLING TOWER | COOLING TOWER |  |  |  |  | CTWR | CTWR | FUNCT20C-CTWR | FUNCT20A-CTWR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | COOLING TOWER |  |  | BEARINGS |  |  | BRGS |  | FUNCT20A-CTWR.BRGS |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | CONDENSER WATER | CONDENSER WATER | GENERATION | SOURCE | COOLING TOWER | COOLING TOWER | FILL |  | COOLING FILL |  | FILL | CFIL | FUNCT20C-CTWR-FILL | FUNCT20A-CTWR.CFIL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | COOLING TOWER |  |  | CONTROLS |  |  | CNTL |  | FUNCT20A-CTWR.CNTL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | COOLING TOWER |  |  | CONTROL VALVE |  |  | CNTV |  | FUNCT20A-CTWR.CNTV |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | CONDENSER WATER | CONDENSER WATER | GENERATION | SOURCE | COOLING TOWER | COOLING TOWER | FAN |  | FAN |  | FAN | FAN | FUNCT20C-CTWR-FAN | FUNCT20A-CTWR.FAN |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | COOLING TOWER |  |  | FILL CONTROL |  |  | FCNT |  | FUNCT20A-CTWR.FCNT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | COOLING TOWER |  |  | FILTER |  |  | FLTR |  | FUNCT20A-CTWR.FLTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | COOLING TOWER |  |  | GEARBOX ASSEMBLY |  |  | GBXA |  | FUNCT20A-CTWR.GBXA |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | CONDENSER WATER | CONDENSER WATER | GENERATION | SOURCE | COOLING TOWER | COOLING TOWER | MOTOR |  | MOTOR |  | MOTR | MOTR | FUNCT20C-CTWR-MOTR | FUNCT20A-CTWR.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | COOLING TOWER |  |  | NOZZLE |  |  | NOZL |  | FUNCT20A-CTWR.NOZL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | COOLING TOWER |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT20A-CTWR.STRT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | COOLING TOWER |  |  | SUMP |  |  | SUMP |  | FUNCT20A-CTWR.SUMP |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | COOLING TOWER |  |  |  | BELT |  | BELT |  | FUNCT20A-CTWR:BELT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | COOLING TOWER |  |  |  | OIL |  | OIL |  | FUNCT20A-CTWR:OIL |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT20A-DSCS |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CONDENSER WATER | CONDENSER WATER | VALVES | SOURCE | VALVE | ISOLATION VALVE |  |  |  |  | VLV | ISOV | FUNCT20B-VLV | FUNCT20A-ISOV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | MAKE-UP CONTROL VALVE | [5 empty] | MUCV |  | FUNCT20A-MUCV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | PLUME ABATEMENT | [5 empty] | PABT |  | FUNCT20A-PABT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CONDENSER WATER | CONDENSER WATER | PIPING | SOURCE | PIPE | PIPE |  |  |  |  | PIPE | PIPE | FUNCT20A-PIPE | FUNCT20A-PIPE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | PIPE |  |  | AIR ELIMINATOR |  |  | AIRE |  | FUNCT20A-PIPE.AIRE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | PIPE |  |  | AIR VENT |  |  | AIRV |  | FUNCT20A-PIPE.AIRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | PIPE |  |  | DRAIN VALVE |  |  | DRNV |  | FUNCT20A-PIPE.DRNV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | PIPE |  |  | FLOW METER |  |  | FLWM |  | FUNCT20A-PIPE.FLWM |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | PIPE |  |  | GAUGES |  |  | GAUG |  | FUNCT20A-PIPE.GAUG |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | PIPE |  |  | INSULATION |  |  | INSL |  | FUNCT20A-PIPE.INSL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | PIPE |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT20A-PIPE.PRRV |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | CONDENSER WATER | CONDENSER WATER | PIPING | SOURCE | PIPE | PIPE | STRAINER |  | STRAINER |  | STRN | STRN | FUNCT20A-PIPE-STRN | FUNCT20A-PIPE.STRN |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | PIPE |  |  | THERMOMETER |  |  | THER |  | FUNCT20A-PIPE.THER |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | SOURCE |  | PIPE |  |  | VIBRATION ELIMINATOR |  |  | VIBR |  | FUNCT20A-PIPE.VIBR |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CONDENSER WATER | CONDENSER WATER | ANCILLARY | SOURCE | SLUICE GATE | SLUICE GATE |  |  |  |  | SLGT | SLGT | FUNCT20D-SLGT | FUNCT20A-SLGT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CONDENSER WATER | CONDENSER WATER | ANCILLARY | SOURCE | TRAVELING SCREEN | TRAVELING SCREEN |  |  |  |  | TSCREEN | TSCREEN | FUNCT20D-TSCREEN | FUNCT20A-TSCREEN |  |  |  | 0
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | CONDENSER WATER | CONDENSER WATER | VALVES | DISTRIBUTION | [6 empty] | B | B | FUNCT20B | FUNCT20B |  |  |  | 0 | EACH CIRCULATION LOOP | CONDERSER WATER-LOOP 1
4.ASSET | MODIFICATION | FUNCT | FUNCT | CONDENSER WATER | CONDENSER WATER | VALVES | DISTRIBUTION | VALVE | CONTROL VALVE | CONTROL VALVE |  |  |  | CVLV | CNTV | FUNCT20B-VLV-CVLV | FUNCT20B-CNTV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CONDENSER WATER |  | DISTRIBUTION |  | CONTROL INTERFACE | [5 empty] | CONI |  | FUNCT20B-CONI |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CONDENSER WATER |  | DISTRIBUTION |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT20B-DSCS |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CONDENSER WATER |  | DISTRIBUTION |  | ISOLATION VALVE | [5 empty] | ISOV |  | FUNCT20B-ISOV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CONDENSER WATER |  | DISTRIBUTION |  | PIPE | [5 empty] | PIPE |  | FUNCT20B-PIPE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | DISTRIBUTION |  | PIPE |  |  | AIR ELIMINATOR |  |  | AIRE |  | FUNCT20B-PIPE.AIRE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | DISTRIBUTION |  | PIPE |  |  | AIR VENT |  |  | AIRV |  | FUNCT20B-PIPE.AIRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | DISTRIBUTION |  | PIPE |  |  | DRAIN VALVE |  |  | DRNV |  | FUNCT20B-PIPE.DRNV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | DISTRIBUTION |  | PIPE |  |  | FLOW METER |  |  | FLWM |  | FUNCT20B-PIPE.FLWM |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | DISTRIBUTION |  | PIPE |  |  | GAUGES |  |  | GAUG |  | FUNCT20B-PIPE.GAUG |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | DISTRIBUTION |  | PIPE |  |  | INSULATION |  |  | INSL |  | FUNCT20B-PIPE.INSL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | DISTRIBUTION |  | PIPE |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT20B-PIPE.PRRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | DISTRIBUTION |  | PIPE |  |  | STRAINER |  |  | STRN |  | FUNCT20B-PIPE.STRN |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | DISTRIBUTION |  | PIPE |  |  | THERMOMETER |  |  | THER |  | FUNCT20B-PIPE.THER |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONDENSER WATER |  | DISTRIBUTION |  | PIPE |  |  | VIBRATION ELIMINATOR |  |  | VIBR |  | FUNCT20B-PIPE.VIBR |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CONDENSER WATER | CONDENSER WATER | PUMPS | DISTRIBUTION | PUMP | PUMP |  |  |  |  | PUMP | PUMP | FUNCT20E-PUMP | FUNCT20B-PUMP |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | CONDENSER WATER | CONDENSER WATER | PUMPS | DISTRIBUTION | PUMP | PUMP | MOTOR |  | MOTOR |  | MOTR | MOTR | FUNCT20E-PUMP-MOTR | FUNCT20B-PUMP.MOTR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | CONDENSER WATER | CONDENSER WATER | PUMPS | DISTRIBUTION | PUMP | PUMP | VFD/ STARTER |  | VFD/ STARTER |  | STRT | STRT | FUNCT20E-PUMP-STRT | FUNCT20B-PUMP.STRT |  |  |  | 0