## ARID Format
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | COMPONENT | SPARE PART | ACRONYM | ADS CODE
FUNCT | [6 empty] | FUNCT
| LANDSCAPING |  |  |  |  | 82 | FUNCT82
|  | TURF |  |  |  | A | FUNCT82A
|  |  | GRASS |  |  | GRSS | FUNCT82A-GRSS
|  | PLANTINGS |  |  |  | B | FUNCT82B
|  |  | PLANTING BED |  |  | PBED | FUNCT82B-PBED
|  |  |  | BUSH |  | BUSH | FUNCT82B-PBED.BUSH
|  |  |  | FLOWERS |  | FLWR | FUNCT82B-PBED.FLWR
|  |  |  | LIGHT FIXTURE |  | LFIXT | FUNCT82B-PBED.LFIXT
|  |  |  | MULCH |  | MLCH | FUNCT82B-PBED.MLCH
|  |  |  | TREES |  | TREE | FUNCT82B-PBED.TREE
|  |  | TREES |  |  | TREE | FUNCT82B-TREE
|  |  |  | LIGHT FIXTURE |  | LFIXT | FUNCT82B-TREE.LFIXT
|  | IRRIGATION |  |  |  | C | FUNCT82C
|  |  | BACKFLOW PREVENTER |  |  | BFPV | FUNCT82C-BFPV
|  |  | CONTROLLER |  |  | CNTR | FUNCT82C-CNTR
|  |  | CONTROL VALVE |  |  | CNTV | FUNCT82C-CNTV
|  |  |  | PRESSURE REGULATOR |  | PRRG | FUNCT82C-CNTV.PRRG
|  |  |  | TUBING |  | TUBE | FUNCT82C-CNTV.TUBE
[5 empty] | IRRIGATION HEAD | IRHD | FUNCT82C-CNTV:IRHD
|  |  | ISOLATION VALVE |  |  | ISOV | FUNCT82C-ISOV

## 82
LEVEL | ACTION | HIERARCHY | HIERARCHY UPDATE | SYSTEM | SYSTEM UPDATE | SUBSYSTEM | SUBSYSTEM UPDATE | ASSET | ASSET UPDATE | CHILD ASSET | COMPONENT | COMPONENT UPDATE | SPARE PART UPDATE | ACRONYM | ACRONYM UPDATE | ADS CODE | ADS CODE UPDATE | REMOVE | TB&T, PORTS | FLOW ENABLED | CONFLICT | INSTANCE | INSTANCE EXAMPLE | SCBD DATE | REFERENCE | DICTIONARY | COMMENTS | Change Request Number
2.SYSTEM | MODIFICATION | DIST | FUNCT | LANDSCAPING | LANDSCAPING | [8 empty] | 82 | 82 | DIST82 | FUNCT82 |  |  |  | 0 |  |  |  |  | Maintenance Object specific systems & equipment pertaining to the irrigation and soil stabilization methods used in landscaping applications.
3.SUBSYSTEM/INSTANCE | MODIFICATION | DIST | FUNCT | LANDSCAPING | LANDSCAPING | TURF | TURF | [6 empty] | A | A | DIST82A | FUNCT82A |  |  |  | 0 | EACH TURF AREA PER MAINTENANCE OBJECT | TURF-NORTH AREA
4.ASSET | MODIFICATION | DIST | FUNCT | LANDSCAPING | LANDSCAPING | TURF | TURF | LAWN | GRASS |  |  |  |  | GRSS | GRSS | DIST82A-GRSS | FUNCT82A-GRSS |  |  |  | 0
3.SUBSYSTEM/INSTANCE | MODIFICATION | DIST | FUNCT | LANDSCAPING | LANDSCAPING | PLANTING | PLANTINGS | [6 empty] | B | B | DIST82B | FUNCT82B |  |  |  | 0 | EACH PLANTING AREA | PLANTING-EAST
4.ASSET | NEW |  | FUNCT |  | LANDSCAPING |  | PLANTINGS |  | PLANTING BED | [5 empty] | PBED |  | FUNCT82B-PBED |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | LANDSCAPING |  | PLANTINGS |  | PLANTING BED |  |  | BUSH |  |  | BUSH |  | FUNCT82B-PBED.BUSH |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | LANDSCAPING |  | PLANTINGS |  | PLANTING BED |  |  | FLOWERS |  |  | FLWR |  | FUNCT82B-PBED.FLWR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | LANDSCAPING |  | PLANTINGS |  | PLANTING BED |  |  | LIGHT FIXTURE |  |  | LFIXT |  | FUNCT82B-PBED.LFIXT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | LANDSCAPING |  | PLANTINGS |  | PLANTING BED |  |  | MULCH |  |  | MLCH |  | FUNCT82B-PBED.MLCH |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | LANDSCAPING |  | PLANTINGS |  | PLANTING BED |  |  | TREES |  |  | TREE |  | FUNCT82B-PBED.TREE |  |  |  | 0
4.ASSET | MODIFICATION | DIST | FUNCT | LANDSCAPING | LANDSCAPING | PLANTING | PLANTINGS | TREES | TREES |  |  |  |  | TREE | TREE | DIST82B-TREE | FUNCT82B-TREE |  |  |  | 0
[7 empty] | PLANTINGS |  | TREES |  |  | LIGHT FIXTURE |  |  | LFIXT |  | FUNCT82B-TREE.LFIXT
3.SUBSYSTEM/INSTANCE | MODIFICATION | DIST | FUNCT | LANDSCAPING | LANDSCAPING | IRRIGATION | IRRIGATION | [6 empty] | C | C | DIST82C | FUNCT82C |  |  |  | 0 | EACH IRRIGATION ZONE | IRRIGATION ZONE-1
4.ASSET | MODIFICATION | DIST | FUNCT | LANDSCAPING | LANDSCAPING | IRRIGATION | IRRIGATION | BACKFLOW PREVENTER | BACKFLOW PREVENTER |  |  |  |  | BFPV | BFPV | DIST82C-BFPV | FUNCT82C-BFPV |  |  |  | 0
4.ASSET | MODIFICATION | DIST | FUNCT | LANDSCAPING | LANDSCAPING | IRRIGATION | IRRIGATION | IRRIGATION CONTROL | CONTROLLER | CONTROLLER |  |  |  | CNTR | CNTR | DIST82C-IRRC-CNTR | FUNCT82C-CNTR |  |  |  | 0
4.ASSET | MODIFICATION | DIST | FUNCT | LANDSCAPING | LANDSCAPING | IRRIGATION | IRRIGATION | IRRIGATION CONTROL | CONTROL VALVE |  |  |  |  | IRRC | CNTV | DIST82C-IRRC | FUNCT82C-CNTV |  |  |  | 1
6.COMPONENT | NEW |  | FUNCT |  | LANDSCAPING |  | IRRIGATION |  | CONTROL VALVE |  |  | PRESSURE REGULATOR |  |  | PRRG |  | FUNCT82C-CNTV.PRRG |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | LANDSCAPING |  | IRRIGATION |  | CONTROL VALVE |  |  | TUBING |  |  | TUBE |  | FUNCT82C-CNTV.TUBE |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | LANDSCAPING |  | IRRIGATION |  | CONTROL VALVE |  |  |  | IRRIGATION HEAD |  | IRHD |  | FUNCT82C-CNTV:IRHD |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | LANDSCAPING |  | IRRIGATION |  | ISOLATION VALVE | [5 empty] | ISOV |  | FUNCT82C-ISOV |  |  |  | 2