## ARID Format
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILD ASSET | COMPONENT | SPARE PART | ACRONYM | ADS CODE
FUNCT | [7 empty] | FUNCT
| CONVEYANCE SYSTEMS | [5 empty] | 02 | FUNCT02
|  | PERSON TRANSPORT |  |  |  |  | A | FUNCT02A
|  |  | CONTROLLER |  |  |  | CNTR | FUNCT02A-CNTR
[5 empty] | SUPERVISORY PANEL |  | SPNL | FUNCT02A-CNTR.SPNL
[5 empty] | VFD/ STARTER |  | STRT | FUNCT02A-CNTR.STRT
[6 empty] | CIRCUIT BREAKER | BRKR | FUNCT02A-CNTR:BRKR
[6 empty] | COMPUTER BOARD | CMPB | FUNCT02A-CNTR:CMPB
[6 empty] | FUSE | FUSE | FUNCT02A-CNTR:FUSE
[6 empty] | SENSOR | SNSR | FUNCT02A-CNTR:SNSR
[6 empty] | VFD/ STARTER | STRT | FUNCT02A-CNTR:STRT
[6 empty] | SWITCH | SWCH | FUNCT02A-CNTR:SWCH
[6 empty] | TRANSFORMER | XFMR | FUNCT02A-CNTR:XFMR
|  |  | DRIVE SYSTEM |  |  |  | DRVS | FUNCT02A-DRVS
[5 empty] | DRIVE |  | DRIV | FUNCT02A-DRVS.DRIV
[5 empty] | HYDRAULIC PIPING |  | HDPG | FUNCT02A-DRVS.HDPG
[5 empty] | HYDRAULIC PUMP |  | HDPP | FUNCT02A-DRVS.HDPP
[5 empty] | HYDRAULIC TANK |  | HDTK | FUNCT02A-DRVS.HDTK
[5 empty] | MOTOR |  | MOTR | FUNCT02A-DRVS.MOTR
[5 empty] | OIL COOLER |  | OCOLR | FUNCT02A-DRVS.OCOLR
[5 empty] | SENSOR |  | SNSR | FUNCT02A-DRVS.SNSR
[5 empty] | SUPERVISORY PANEL |  | SPNL | FUNCT02A-DRVS.SPNL
[5 empty] | TANK HEATER |  | TKHT | FUNCT02A-DRVS.TKHT
[5 empty] | TRAVEL SHEAVE |  | TRVS | FUNCT02A-DRVS.TRVS
[5 empty] | VALVE |  | VLV | FUNCT02A-DRVS.VLV
[6 empty] | CIRCUIT BREAKER | BRKR | FUNCT02A-DRVS:BRKR
[6 empty] | FUSE | FUSE | FUNCT02A-DRVS:FUSE
[6 empty] | PUSH BUTTON | PBTN | FUNCT02A-DRVS:PBTN
[6 empty] | VFD/ STARTER | STRT | FUNCT02A-DRVS:STRT
[6 empty] | SWITCH | SWCH | FUNCT02A-DRVS:SWCH
[6 empty] | TRANSFORMER | XFMR | FUNCT02A-DRVS:XFMR
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT02A-DSCS
[6 empty] | FUSE | FUSE | FUNCT02A-DSCS:FUSE
|  |  | ELEVATOR |  |  |  | ELEV | FUNCT02A-ELEV
[5 empty] | CAR ALARM BELL |  | CABLL | FUNCT02A-ELEV.CABLL
[5 empty] | CAR DOOR |  | CARD | FUNCT02A-ELEV.CARD
[5 empty] | CAR BUFFER |  | CBFR | FUNCT02A-ELEV.CBFR
[5 empty] | CAR CONTROL PANEL |  | CCTP | FUNCT02A-ELEV.CCTP
[5 empty] | CAR LIGHTING |  | CLTG | FUNCT02A-ELEV.CLTG
[5 empty] | COUNTERWEIGHT |  | CTRW | FUNCT02A-ELEV.CTRW
[5 empty] | CAR VENTILATION |  | CVENT | FUNCT02A-ELEV.CVENT
[5 empty] | FLOOR CALL PANEL |  | FLCP | FUNCT02A-ELEV.FLCP
[5 empty] | GUIDE RAILS & ATTACHMENT |  | GRLAT | FUNCT02A-ELEV.GRLAT
[5 empty] | GOVERNOR |  | GVNR | FUNCT02A-ELEV.GVNR
[5 empty] | HOISTWAY DOORS |  | HSTD | FUNCT02A-ELEV.HSTD
[5 empty] | HOISTWAY DOOR LOCK |  | HSTDL | FUNCT02A-ELEV.HSTDL
[5 empty] | HOISTWAY |  | HSTW | FUNCT02A-ELEV.HSTW
[5 empty] | PISTON, CYLINDER & SEALS |  | PCYS | FUNCT02A-ELEV.PCYS
[5 empty] | PIT |  | PIT | FUNCT02A-ELEV.PIT
[5 empty] | PANELS/FLOORING |  | PLFL | FUNCT02A-ELEV.PLFL
[5 empty] | RAILING |  | RLNG | FUNCT02A-ELEV.RLNG
[5 empty] | ROLLER GUIDE & SHOE |  | RLRGS | FUNCT02A-ELEV.RLRGS
[5 empty] | ROPE AND TAG |  | RPTG | FUNCT02A-ELEV.RPTG
[5 empty] | SIGNING |  | SGNG | FUNCT02A-ELEV.SGNG
[5 empty] | SPEAKER |  | SPKR | FUNCT02A-ELEV.SPKR
[5 empty] | TRAVELING CABLE |  | TRVC | FUNCT02A-ELEV.TRVC
[6 empty] | CAR LEVELING & ANTI CREEP SENSOR | CACS | FUNCT02A-ELEV:CACS
[6 empty] | DOOR MOTOR | DRMT | FUNCT02A-ELEV:DRMT
[6 empty] | DOOR SENSOR | DRSN | FUNCT02A-ELEV:DRSN
[6 empty] | FLOOR CALL PANEL BUTTON | FCPB | FUNCT02A-ELEV:FCPB
[6 empty] | FLOOR CALL PANEL COVER | FCPC | FUNCT02A-ELEV:FCPC
[6 empty] | LINKAGE | LINK | FUNCT02A-ELEV:LINK
[6 empty] | PUSH BUTTONS | PSBTN | FUNCT02A-ELEV:PSBTN
|  |  | ESCALATOR |  |  |  | ESCR | FUNCT02A-ESCR
[5 empty] | BRAKE MOTOR |  | BMTR | FUNCT02A-ESCR.BMTR
[5 empty] | CHAIN LUBRICATION |  | CHLU | FUNCT02A-ESCR.CHLU
[5 empty] | DRIVE CHAIN |  | DRCHN | FUNCT02A-ESCR.DRCHN
[5 empty] | DRIVE GEAR |  | DRGR | FUNCT02A-ESCR.DRGR
[5 empty] | DRIVE UNIT |  | DRUT | FUNCT02A-ESCR.DRUT
[5 empty] | DRIVE MOTORS |  | DRVM | FUNCT02A-ESCR.DRVM
[5 empty] | EMERGENCY STOP |  | EMGS | FUNCT02A-ESCR.EMGS
[5 empty] | FLOOR PLATE |  | FLPLT | FUNCT02A-ESCR.FLPLT
[5 empty] | HANDRAIL |  | HNDR | FUNCT02A-ESCR.HNDR
[5 empty] | STEPS |  | STEP | FUNCT02A-ESCR.STEP
[5 empty] | TENSION CARRIAGES |  | TNSC | FUNCT02A-ESCR.TNSC
[5 empty] | TRUSSES |  | TRUS | FUNCT02A-ESCR.TRUS
[6 empty] | BRAKE SOLENOID | BSLD | FUNCT02A-ESCR:BSLD
[6 empty] | CHAIN TRACKS | CHTK | FUNCT02A-ESCR:CHTK
[6 empty] | COMB PLATE | CMBP | FUNCT02A-ESCR:CMBP
[6 empty] | GUIDERAILS | GDRL | FUNCT02A-ESCR:GDRL
[6 empty] | HANDRAIL DRIVES | HDRD | FUNCT02A-ESCR:HDRD
[6 empty] | HANDRAIL BELT | HNDB | FUNCT02A-ESCR:HNDB
[6 empty] | HANDRAIL | HNDR | FUNCT02A-ESCR:HNDR
[6 empty] | HANDRAIL ROLLERS | HRRL | FUNCT02A-ESCR:HRRL
[6 empty] | LOWER SPROCKET | LSPK | FUNCT02A-ESCR:LSPK
[6 empty] | OIL POT | OLPT | FUNCT02A-ESCR:OLPT
[6 empty] | PUMP | PUMP | FUNCT02A-ESCR:PUMP
[6 empty] | RISERS | RSER | FUNCT02A-ESCR:RSER
[6 empty] | STEP CHAIN | SPCH | FUNCT02A-ESCR:SPCH
[6 empty] | STEP CHAIN ROLLERS | SPCHR | FUNCT02A-ESCR:SPCHR
[6 empty] | STEP ROLLERS | SPRR | FUNCT02A-ESCR:SPRR
[6 empty] | STEP TREAD | STPT | FUNCT02A-ESCR:STPT
|  |  | MOVING WALKWAY |  |  |  | MWKW | FUNCT02A-MWKW
[5 empty] | BRAKE MOTOR |  | BMTR | FUNCT02A-MWKW.BMTR
[5 empty] | CHAIN LUBRICATION |  | CHLU | FUNCT02A-MWKW.CHLU
[5 empty] | DRIVE CHAIN |  | DRCHN | FUNCT02A-MWKW.DRCHN
[5 empty] | DRIVE GEAR |  | DRGR | FUNCT02A-MWKW.DRGR
[5 empty] | DRIVE UNIT |  | DRUT | FUNCT02A-MWKW.DRUT
[5 empty] | DRIVE MOTORS |  | DRVM | FUNCT02A-MWKW.DRVM
[5 empty] | EMERGENCY STOP |  | EMGS | FUNCT02A-MWKW.EMGS
[5 empty] | FLOOR PLATE |  | FLPLT | FUNCT02A-MWKW.FLPLT
[5 empty] | HANDRAIL |  | HNDR | FUNCT02A-MWKW.HNDR
[5 empty] | PALLET |  | PALT | FUNCT02A-MWKW.PALT
[5 empty] | SUPPORT ROLLS |  | SPRL | FUNCT02A-MWKW.SPRL
[5 empty] | TENSION CARRIAGES |  | TNSC | FUNCT02A-MWKW.TNSC
[5 empty] | TRUSSES |  | TRUS | FUNCT02A-MWKW.TRUS
[6 empty] | BRAKE SOLENNOID | BSLD | FUNCT02A-MWKW:BSLD
[6 empty] | CHAIN TRACKS | CHTK | FUNCT02A-MWKW:CHTK
[6 empty] | COMB PLATE | CMBP | FUNCT02A-MWKW:CMBP
[6 empty] | GUIDERAILS | GDRL | FUNCT02A-MWKW:GDRL
[6 empty] | HANDRAIL DRIVE WHEELS | HDDW | FUNCT02A-MWKW:HDDW
[6 empty] | HANDRAIL DRIVES | HDRD | FUNCT02A-MWKW:HDRD
[6 empty] | HANDRAIL BELT | HNDB | FUNCT02A-MWKW:HNDB
[6 empty] | HANDRAIL | HNDR | FUNCT02A-MWKW:HNDR
[6 empty] | LOWER SPROCKET | LSPK | FUNCT02A-MWKW:LSPK
[6 empty] | OIL POT | OLPT | FUNCT02A-MWKW:OLPT
[6 empty] | PALLET CHAIN | PLTC | FUNCT02A-MWKW:PLTC
[6 empty] | PALLET ROLLERS | PLTR | FUNCT02A-MWKW:PLTR
[6 empty] | PALLET TRACKS | PLTT | FUNCT02A-MWKW:PLTT
[6 empty] | PUSH BUTTONS | PSBTN | FUNCT02A-MWKW:PSBTN
[6 empty] | PUMP | PUMP | FUNCT02A-MWKW:PUMP
|  |  | WHEELCHAIR LIFT |  |  |  | WCHL | FUNCT02A-WCHL
|  | MATERIALS HANDLING |  |  |  |  | B | FUNCT02B
|  |  | AUTOMATIC TAG READER (ATR) |  |  |  | ATR | FUNCT02B-ATR
|  |  | BELT SECTION |  |  |  | BTSEC | FUNCT02B-BTSEC
[5 empty] | MOTOR |  | MOTR | FUNCT02B-BTSEC.MOTR
[6 empty] | BELT | BELT | FUNCT02B-BTSEC:BELT
[6 empty] | BEARING | BRNG | FUNCT02B-BTSEC:BRNG
[6 empty] | ROLLERS/GUIDE WHEELS | ROLR | FUNCT02B-BTSEC:ROLR
[6 empty] | SHAFT | SHAFT | FUNCT02B-BTSEC:SHAFT
[6 empty] | SPINE | SPNE | FUNCT02B-BTSEC:SPNE
[6 empty] | ZIPPER | ZIPP | FUNCT02B-BTSEC:ZIPP
|  |  | CHUTE |  |  |  | CHUT | FUNCT02B-CHUT
|  |  | CONTROL STATION |  |  |  | CNTS | FUNCT02B-CNTS
|  |  | DUMBWAITER CAR |  |  |  | DBWC | FUNCT02B-DBWC
[5 empty] | CAR DOOR |  | CARD | FUNCT02B-DBWC.CARD
[5 empty] | PANELS/FLOORING |  | PLFL | FUNCT02B-DBWC.PLFL
[6 empty] | CAR LEVELING & ANTI CREEP SENSOR | CACS | FUNCT02B-DBWC:CACS
[6 empty] | DOOR MOTOR | DRMT | FUNCT02B-DBWC:DRMT
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT02B-DSCS
[6 empty] | FUSE | FUSE | FUNCT02B-DSCS:FUSE
|  |  | DIVERTER/PADDLE ASSEMBLY/PUSHER/HIGH SPEED DIVERTER |  |  |  | DVTR | FUNCT02B-DVTR
|  |  | HOIST |  |  |  | HOST | FUNCT02B-HOST
[5 empty] | CONTROLS |  | CNTL | FUNCT02B-HOST.CNTL
|  |  | LIGHT CURTAIN |  |  |  | LTCT | FUNCT02B-LTCT
|  |  | MOTOR CONTROL PANEL |  |  |  | MTCTRP | FUNCT02B-MTCTRP
[5 empty] | VFD/ STARTER |  | STRT | FUNCT02B-MTCTRP.STRT
[6 empty] | PROGRAMMABLE LOGIC CONTROLLER (PLC) | PLC | FUNCT02B-MTCTRP:PLC
|  |  | DOOR (SECURITY/FIRE) |  |  |  | SFDR | FUNCT02B-SFDR
|  |  | SHAFT ENCODER |  |  |  | SFTEC | FUNCT02B-SFTEC
|  |  | TROLLEY |  |  |  | TRLY | FUNCT02B-TRLY
|  |  | VERTICAL SORTATION UNIT (VSU) |  |  |  | VSU | FUNCT02B-VSU
[5 empty] | BARCODE SCANNER |  | BCDSCR | FUNCT02B-VSU.BCDSCR
[5 empty] | SENSOR |  | SNSR | FUNCT02B-VSU.SNSR
|  |  | X-RAY MACHINE |  |  |  | XRAYM | FUNCT02B-XRAYM

## 02
LEVEL | ACTION | HIERARCHY | HIERARCHY UPDATE | SYSTEM | SYSTEM UPDATE | SUBSYSTEM | SUBSYSTEM UPDATE | ASSET | ASSET UPDATE | CHILD ASSET | COMPONENT | COMPONENT UPDATE | SPARE PART UPDATE | ACRONYM | ACRONYM UPDATE | ADS CODE | ADS CODE UPDATE | REMOVE | TB&T, PORTS | FLOW ENABLED | CONFLICT | INSTANCE | INSTANCE EXAMPLE | SCBD DATE | REFERENCE | DICTIONARY | COMMENTS | Change Request Number
2.SYSTEM | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | [8 empty] | 02 | 02 | FUNCT02 | FUNCT02 |  |  |  | 0 |  |  |  |  | Maintenance Object specific systems & equipment specifically facilitating the safe and efficient movement of people throughout a space, building, terminal, area or localized site.
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | [6 empty] | A | A | FUNCT02A | FUNCT02A |  |  |  | 0 | EACH ELEVATOR BANK | ELEVATOR BANK A01-A02
4.ASSET | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | CONTROLLER | CONTROLLER |  |  |  |  | CNTR | CNTR | FUNCT02D-CNTR | FUNCT02A-CNTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | CONTROLLER |  |  | SUPERVISORY PANEL |  |  | SPNL |  | FUNCT02A-CNTR.SPNL |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | CONTROLLER | CONTROLLER |  | VARIABLE VOLTAGE VARIABLE FREQUENCY DRIVE | VFD/ STARTER |  | VVVF | STRT | FUNCT02D-CNTR.VVVF | FUNCT02A-CNTR.STRT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | CONTROLLER |  |  |  | CIRCUIT BREAKER |  | BRKR |  | FUNCT02A-CNTR:BRKR |  |  |  | 2
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | CONTROLLER | CONTROLLER |  | COMPUTER BOARD |  | COMPUTER BOARD | CMPB | CMPB | FUNCT02D-CNTR.CMPB | FUNCT02A-CNTR:CMPB |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | CONTROLLER | CONTROLLER | FUSE |  |  | FUSE | FUSE | FUSE | FUNCT02D-CNTR-FUSE | FUNCT02A-CNTR:FUSE |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | CONTROLLER |  |  |  | SENSOR |  | SNSR |  | FUNCT02A-CNTR:SNSR |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | CONTROLLER |  |  |  | VFD/ STARTER |  | STRT |  | FUNCT02A-CNTR:STRT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | CONTROLLER |  |  |  | SWITCH |  | SWCH |  | FUNCT02A-CNTR:SWCH |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | CONTROLLER |  |  |  | TRANSFORMER |  | XFMR |  | FUNCT02A-CNTR:XFMR |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | MACHINE ROOM | DRIVE SYSTEM |  |  |  |  | MACHR | DRVS | FUNCT02A-MACHR | FUNCT02A-DRVS |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | DRIVE SYSTEM |  |  | DRIVE |  |  | DRIV |  | FUNCT02A-DRVS.DRIV |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | MACHINE ROOM | DRIVE SYSTEM |  | HYDRAULIC PIPING | HYDRAULIC PIPING |  | HDPG | HDPG | FUNCT02A-MACHR.HDPG | FUNCT02A-DRVS.HDPG |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | MACHINE ROOM | DRIVE SYSTEM |  | HYDRAULIC PUMP | HYDRAULIC PUMP |  | HDPP | HDPP | FUNCT02A-MACHR.HDPP | FUNCT02A-DRVS.HDPP |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | MACHINE ROOM | DRIVE SYSTEM |  | HYDRAULIC TANK | HYDRAULIC TANK |  | HDTK | HDTK | FUNCT02A-MACHR.HDTK | FUNCT02A-DRVS.HDTK |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | MACHINE ROOM | DRIVE SYSTEM |  | MOTOR | MOTOR |  | MOTR | MOTR | FUNCT02A-MACHR.MOTR | FUNCT02A-DRVS.MOTR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | MACHINE ROOM | DRIVE SYSTEM |  | OIL COOLER | OIL COOLER |  | OCOLR | OCOLR | FUNCT02A-MACHR.OCOLR | FUNCT02A-DRVS.OCOLR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | DRIVE SYSTEM |  |  | SENSOR |  |  | SNSR |  | FUNCT02A-DRVS.SNSR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | DRIVE SYSTEM |  |  | SUPERVISORY PANEL |  |  | SPNL |  | FUNCT02A-DRVS.SPNL |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | MACHINE ROOM | DRIVE SYSTEM |  | TANK HEATER | TANK HEATER |  | TKHT | TKHT | FUNCT02A-MACHR.TKHT | FUNCT02A-DRVS.TKHT |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | CAR TOP | DRIVE SYSTEM | TRAVEL SHEAVE |  | TRAVEL SHEAVE |  | TRVS | TRVS | FUNCT02A-CTOP-TRVS | FUNCT02A-DRVS.TRVS |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | MACHINE ROOM | DRIVE SYSTEM |  | VALVE | VALVE |  | VLV | VLV | FUNCT02A-MACHR.VLV | FUNCT02A-DRVS.VLV |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | DRIVE SYSTEM |  |  |  | CIRCUIT BREAKER |  | BRKR |  | FUNCT02A-DRVS:BRKR |  |  |  | 2
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | CONTROLLER | DRIVE SYSTEM | FUSE |  |  | FUSE | FUSE | FUSE | FUNCT02A-CNTR-FUSE | FUNCT02A-DRVS:FUSE |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | DRIVE SYSTEM |  |  |  | PUSH BUTTON |  | PBTN |  | FUNCT02A-DRVS:PBTN |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | CONTROLLER | DRIVE SYSTEM |  | STARTER |  | VFD/ STARTER | STATR | STRT | FUNCT02A-CNTR.STATR | FUNCT02A-DRVS:STRT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | DRIVE SYSTEM |  |  |  | SWITCH |  | SWCH |  | FUNCT02A-DRVS:SWCH |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | DRIVE SYSTEM |  |  |  | TRANSFORMER |  | XFMR |  | FUNCT02A-DRVS:XFMR |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | MACHINE ROOM | DISCONNECT SWITCH | MAIN LINE DISCONNECT |  |  |  | MLDIS | DSCS | FUNCT02A-MACHR-MLDIS | FUNCT02A-DSCS |  |  |  | 1
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | DISCONNECT SWITCH |  |  |  | FUSE |  | FUSE |  | FUNCT02A-DSCS:FUSE |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | INTERIOR ELEVATOR CAR | ELEVATOR |  |  |  |  | IEVTC | ELEV | FUNCT02A-IEVTC | FUNCT02A-ELEV |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | INTERIOR ELEVATOR CAR | ELEVATOR |  | CAR ALARM BELL | CAR ALARM BELL |  | CABLL | CABLL | FUNCT02A-IEVTC.CABLL | FUNCT02A-ELEV.CABLL |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | INTERIOR ELEVATOR CAR | ELEVATOR |  | DOOR | CAR DOOR |  | DOOR | CARD | FUNCT02A-IEVTC.DOOR | FUNCT02A-ELEV.CARD |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | HOISTWAY & PIT | ELEVATOR |  | CAR BUFFER | CAR BUFFER |  | CBFR | CBFR | FUNCT02A-HTPT.CBFR | FUNCT02A-ELEV.CBFR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | INTERIOR ELEVATOR CAR | ELEVATOR |  | SERVICE CABINET GFCI RECEPTACLES | CAR CONTROLL PANEL |  | SCGFCIR | CCTP | FUNCT02A-IEVTC.SCGFCIR | FUNCT02A-ELEV.CCTP |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | INTERIOR ELEVATOR CAR | ELEVATOR |  | CAR LIGHTING | CAR LIGHTING |  | CLTG | CLTG | FUNCT02A-IEVTC.CLTG | FUNCT02A-ELEV.CLTG |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | HOISTWAY & PIT | ELEVATOR | COUNTERWEIGHT |  | COUNTERWEIGHT |  | CTRW | CTRW | FUNCT02A-HTPT-CTRW | FUNCT02A-ELEV.CTRW |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | INTERIOR ELEVATOR CAR | ELEVATOR |  | CAR VENTILATION | CAR VENTILATION |  | CVENT | CVENT | FUNCT02A-IEVTC.CVENT | FUNCT02A-ELEV.CVENT |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | HOISTWAY OUTSIDE | ELEVATOR |  | HALL FIXTURES | FLOOR CALL PANEL |  | HFIXT | FLCP | FUNCT02A-HTWO.HFIXT | FUNCT02A-ELEV.FLCP |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | HOISTWAY & PIT | ELEVATOR |  | GUIDE RAILS & ATTACHMENT | GUIDE RAILS & ATTACHMENT |  | GRLAT | GRLAT | FUNCT02A-HTPT.GRLAT | FUNCT02A-ELEV.GRLAT |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | HOISTWAY & PIT | ELEVATOR | GOVERNOR |  | GOVERNOR |  | GVNR | GVNR | FUNCT02A-HTPT-GVNR | FUNCT02A-ELEV.GVNR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | HOISTWAY OUTSIDE | ELEVATOR |  | HOISTWAY DOORS | HOISTWAY DOORS |  | HSTD | HSTD | FUNCT02A-HTWO.HSTD | FUNCT02A-ELEV.HSTD |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | HOISTWAY & PIT | ELEVATOR |  | HOISTWAY DOOR LOCK | HOISTWAY DOOR LOCK |  | HSTDL | HSTDL | FUNCT02A-HTPT.HSTDL | FUNCT02A-ELEV.HSTDL |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | HOISTWAY OUTSIDE | ELEVATOR |  |  | HOISTWAY |  | HTWO | HSTW | FUNCT02A-HTWO | FUNCT02A-ELEV.HSTW |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | HOISTWAY & PIT | ELEVATOR |  | PISTON, CYLINDER & SEALS | PISTON, CYLINDER & SEALS |  | PCYS | PCYS | FUNCT02A-HTPT.PCYS | FUNCT02A-ELEV.PCYS |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | HOISTWAY & PIT | ELEVATOR |  |  | PIT |  | HTPT | PIT | FUNCT02A-HTPT | FUNCT02A-ELEV.PIT |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | INTERIOR ELEVATOR CAR | ELEVATOR |  | CAR GLASS | PANELS/FLOORING |  | CGLS | PLFL | FUNCT02A-IEVTC.CGLS | FUNCT02A-ELEV.PLFL |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | CAR TOP | ELEVATOR | RAILING |  | RAILING |  | RLNG | RLNG | FUNCT02A-CTOP-RLNG | FUNCT02A-ELEV.RLNG |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | HOISTWAY & PIT | ELEVATOR |  | ROLLER GUIDE & SHOE | ROLLER GUIDE & SHOE |  | RLRGS | RLRGS | FUNCT02A-HTPT.RLRGS | FUNCT02A-ELEV.RLRGS |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | HOISTWAY & PIT | ELEVATOR |  | ROPE AND TAG | ROPE AND TAG |  | RPTG | RPTG | FUNCT02A-HTPT.RPTG | FUNCT02A-ELEV.RPTG |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | HOISTWAY OUTSIDE | ELEVATOR |  | BRAILLE / CAR ID / DESIGNATIONS | SIGNING |  | BCIDD | SGNG | FUNCT02A-HTWO.BCIDD | FUNCT02A-ELEV.SGNG |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | INTERIOR ELEVATOR CAR | ELEVATOR |  | HANDS-FREE COMMUNICATION | SPEAKER |  | HFCM | SPKR | FUNCT02A-IEVTC.HFCM | FUNCT02A-ELEV.SPKR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | TRACTION ELEVATOR | PERSON TRANSPORT | HOISTWAY & PIT | ELEVATOR | TRAVELING CABLE |  | TRAVELING CABLE |  | TRVC | TRVC | FUNCT02B-HTPT-TRVC | FUNCT02A-ELEV.TRVC |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | INTERIOR ELEVATOR CAR | ELEVATOR |  | CAR LEVELING & ANTI CREEP |  | CAR LEVELING & ANTI CREEP SENSOR | CLAC | CACS | FUNCT02A-IEVTC.CLAC | FUNCT02A-ELEV:CACS |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | INTERIOR ELEVATOR CAR | ELEVATOR |  | DOOR POWER OPERATION AND CLOSING FORCE |  | DOOR MOTOR | DPOCF | DRMT | FUNCT02A-IEVTC.DPOCF | FUNCT02A-ELEV:DRMT |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | INTERIOR ELEVATOR CAR | ELEVATOR |  | DOOR REOPENING DEVICE |  | DOOR SENSOR | DROPD | DRSN | FUNCT02A-IEVTC.DROPD | FUNCT02A-ELEV:DRSN |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | ELEVATOR |  |  |  | FLOOR CALL PANEL BUTTON |  | FCPB |  | FUNCT02A-ELEV:FCPB |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | ELEVATOR |  |  |  | FLOOR CALL PANEL COVER |  | FCPC |  | FUNCT02A-ELEV:FCPC |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | ELEVATOR |  |  |  | LINKAGE |  | LINK |  | FUNCT02A-ELEV:LINK |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | HYDRAULIC ELEVATOR | PERSON TRANSPORT | INTERIOR ELEVATOR CAR | ELEVATOR |  | PUSH BUTTONS |  | PUSH BUTTONS | PSBTN | PSBTN | FUNCT02A-IEVTC.PSBTN | FUNCT02A-ELEV:PSBTN |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | ESCALATOR EXTERNAL | ESCALATOR |  |  |  |  | ESCE | ESCR | FUNCT02D-ESCE | FUNCT02A-ESCR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | ESCALATOR |  |  | BRAKE MOTOR |  |  | BMTR |  | FUNCT02A-ESCR.BMTR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | ESCALATOR INTERNAL | ESCALATOR | CHAIN LUBRICATION |  | CHAIN LUBRICATION |  | CHLU | CHLU | FUNCT02D-ESCI-CHLU | FUNCT02A-ESCR.CHLU |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | ESCALATOR INTERNAL | ESCALATOR | DRIVE CHAIN |  | DRIVE CHAIN |  | DRCHN | DRCHN | FUNCT02D-ESCI-DRCHN | FUNCT02A-ESCR.DRCHN |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | ESCALATOR INTERNAL | ESCALATOR | DRIVE GEAR |  | DRIVE GEAR |  | DRGR | DRGR | FUNCT02D-ESCI-DRGR | FUNCT02A-ESCR.DRGR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | ESCALATOR INTERNAL | ESCALATOR | DRIVE MACHINE |  | DRIVE UNIT |  | DRMCHN | DRUT | FUNCT02D-ESCI-DRMCHN | FUNCT02A-ESCR.DRUT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | ESCALATOR |  |  | DRIVE MOTORS |  |  | DRVM |  | FUNCT02A-ESCR.DRVM |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | ESCALATOR EXTERNAL | ESCALATOR | EMERGENCY STOP |  | EMERGENCY STOP |  | EMGS | EMGS | FUNCT02D-ESCE-EMGS | FUNCT02A-ESCR.EMGS |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | ESCALATOR EXTERNAL | ESCALATOR | FLOOR PLATE |  | FLOOR PLATE |  | FLPLT | FLPLT | FUNCT02D-ESCE-FLPLT | FUNCT02A-ESCR.FLPLT |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | ESCALATOR EXTERNAL | ESCALATOR | HANDRAIL |  | HANDRAIL |  | HNDR | HNDR | FUNCT02D-ESCE-HNDR | FUNCT02A-ESCR.HNDR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | ESCALATOR EXTERNAL | ESCALATOR |  | STEPS | STEPS |  | STEP | STEP | FUNCT02D-ESCE.STEP | FUNCT02A-ESCR.STEP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | ESCALATOR |  |  | TENSION CARRIAGES |  |  | TNSC |  | FUNCT02A-ESCR.TNSC |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | ESCALATOR INTERNAL | ESCALATOR | TRUSSES |  | TRUSSES |  | TRUS | TRUS | FUNCT02D-ESCI-TRUS | FUNCT02A-ESCR.TRUS |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | ESCALATOR |  |  |  | BRAKE SOLENNOID |  | BSLD |  | FUNCT02A-ESCR:BSLD |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | ESCALATOR INTERNAL | ESCALATOR | CHAIN TRACKS |  |  | CHAIN TRACKS | CHTK | CHTK | FUNCT02D-ESCI-CHTK | FUNCT02A-ESCR:CHTK |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | ESCALATOR |  |  |  | COMB PLATE |  | CMBP |  | FUNCT02A-ESCR:CMBP |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | ESCALATOR |  |  |  | GUIDERAILS |  | GDRL |  | FUNCT02A-ESCR:GDRL |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | ESCALATOR |  |  |  | HANDRAIL DRIVES |  | HDRD |  | FUNCT02A-ESCR:HDRD |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | ESCALATOR |  |  |  | HANDRAIL BELT |  | HNDB |  | FUNCT02A-ESCR:HNDB |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | ESCALATOR |  |  |  | HANDRAIL |  | HNDR |  | FUNCT02A-ESCR:HNDR |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | ESCALATOR INTERNAL | ESCALATOR | HANDRAIL ROLLERS |  |  | HANDRAIL ROLLERS | HRRL | HRRL | FUNCT02D-ESCI-HRRL | FUNCT02A-ESCR:HRRL |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | ESCALATOR |  |  |  | LOWER SPROCKET |  | LSPK |  | FUNCT02A-ESCR:LSPK |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | ESCALATOR |  |  |  | OIL POT |  | OLPT |  | FUNCT02A-ESCR:OLPT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | ESCALATOR |  |  |  | PUMP |  | PUMP |  | FUNCT02A-ESCR:PUMP |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | ESCALATOR |  |  |  | RISERS |  | RSER |  | FUNCT02A-ESCR:RSER |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | ESCALATOR INTERNAL | ESCALATOR | STEP CHAIN |  |  | STEP CHAIN | SPCH | SPCH | FUNCT02D-ESCI-SPCH | FUNCT02A-ESCR:SPCH |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | ESCALATOR INTERNAL | ESCALATOR | STEP CHAIN ROLLERS |  |  | STEP CHAIN ROLLERS | SPCHR | SPCHR | FUNCT02D-ESCI-SPCHR | FUNCT02A-ESCR:SPCHR |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | ESCALATOR | PERSON TRANSPORT | ESCALATOR INTERNAL | ESCALATOR | STEP ROLLERS |  |  | STEP ROLLERS | SPRR | SPRR | FUNCT02D-ESCI-SPRR | FUNCT02A-ESCR:SPRR |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | ESCALATOR |  |  |  | STEP TREAD |  | STPT |  | FUNCT02A-ESCR:STPT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | MOVING WALKWAY | PERSON TRANSPORT | MOVING WALKWAY EXTERNAL | MOVING WALKWAY |  |  |  |  | MWKE | MWKW | FUNCT02E-MWKE | FUNCT02A-MWKW |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | MOVING WALKWAY |  |  | BRAKE MOTOR |  |  | BMTR |  | FUNCT02A-MWKW.BMTR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | MOVING WALKWAY | PERSON TRANSPORT | MOVING WALKWAY INTERNAL | MOVING WALKWAY | CHAIN LUBRICATION |  | CHAIN LUBRICATION |  | CHLU | CHLU | FUNCT02E-MWKI-CHLU | FUNCT02A-MWKW.CHLU |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | MOVING WALKWAY | PERSON TRANSPORT | MOVING WALKWAY INTERNAL | MOVING WALKWAY |  | DRIVE CHAIN | DRIVE CHAIN |  | DRCHN | DRCHN | FUNCT02E-MWKI.DRCHN | FUNCT02A-MWKW.DRCHN |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | MOVING WALKWAY | PERSON TRANSPORT | MOVING WALKWAY INTERNAL | MOVING WALKWAY |  | DRIVE GEAR | DRIVE GEAR |  | DRGR | DRGR | FUNCT02E-MWKI.DRGR | FUNCT02A-MWKW.DRGR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | MOVING WALKWAY | PERSON TRANSPORT | MOVING WALKWAY INTERNAL | MOVING WALKWAY |  | DRIVE MACHINE | DRIVE UNIT |  | DRMCHN | DRUT | FUNCT02E-MWKI.DRMCHN | FUNCT02A-MWKW.DRUT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | MOVING WALKWAY |  |  | DRIVE MOTORS |  |  | DRVM |  | FUNCT02A-MWKW.DRVM |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | MOVING WALKWAY | PERSON TRANSPORT | MOVING WALKWAY EXTERNAL | MOVING WALKWAY |  | EMERGENCY STOP | EMERGENCY STOP |  | EMGS | EMGS | FUNCT02E-MWKE.EMGS | FUNCT02A-MWKW.EMGS |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | MOVING WALKWAY | PERSON TRANSPORT | MOVING WALKWAY EXTERNAL | MOVING WALKWAY |  | FLOOR PLATE | FLOOR PLATE |  | FLPLT | FLPLT | FUNCT02E-MWKE.FLPLT | FUNCT02A-MWKW.FLPLT |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | MOVING WALKWAY | PERSON TRANSPORT | MOVING WALKWAY EXTERNAL | MOVING WALKWAY |  | HANDRAIL | HANDRAIL |  | HNDR | HNDR | FUNCT02E-MWKE.HNDR | FUNCT02A-MWKW.HNDR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | MOVING WALKWAY | PERSON TRANSPORT | MOVING WALKWAY EXTERNAL | MOVING WALKWAY |  | PALLET | PALLET |  | PALT | PALT | FUNCT02E-MWKE.PALT | FUNCT02A-MWKW.PALT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | MOVING WALKWAY |  |  | SUPPORT ROLLS |  |  | SPRL |  | FUNCT02A-MWKW.SPRL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | MOVING WALKWAY |  |  | TENSION CARRIAGES |  |  | TNSC |  | FUNCT02A-MWKW.TNSC |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | MOVING WALKWAY | PERSON TRANSPORT | MOVING WALKWAY INTERNAL | MOVING WALKWAY |  | TRUSSES | TRUSSES |  | TRUS | TRUS | FUNCT02E-MWKI.TRUS | FUNCT02A-MWKW.TRUS |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | MOVING WALKWAY |  |  |  | BRAKE SOLENNOID |  | BSLD |  | FUNCT02A-MWKW:BSLD |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | MOVING WALKWAY | PERSON TRANSPORT | MOVING WALKWAY INTERNAL | MOVING WALKWAY |  | CHAIN TRACKS |  | CHAIN TRACKS | CHTK | CHTK | FUNCT02E-MWKI.CHTK | FUNCT02A-MWKW:CHTK |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | MOVING WALKWAY |  |  |  | COMB PLATE |  | CMBP |  | FUNCT02A-MWKW:CMBP |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | MOVING WALKWAY |  |  |  | GUIDERAILS |  | GDRL |  | FUNCT02A-MWKW:GDRL |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | MOVING WALKWAY |  |  |  | HANDRAIL DRIVE WHEELS |  | HDDW |  | FUNCT02A-MWKW:HDDW |  |  |  | 0 | [5 empty] | is this a handrail roller?
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | MOVING WALKWAY |  |  |  | HANDRAIL DRIVES |  | HDRD |  | FUNCT02A-MWKW:HDRD |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | MOVING WALKWAY |  |  |  | HANDRAIL BELT |  | HNDB |  | FUNCT02A-MWKW:HNDB |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | MOVING WALKWAY |  |  |  | HANDRAIL |  | HNDR |  | FUNCT02A-MWKW:HNDR |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | MOVING WALKWAY |  |  |  | LOWER SPROCKET |  | LSPK |  | FUNCT02A-MWKW:LSPK |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | MOVING WALKWAY |  |  |  | OIL POT |  | OLPT |  | FUNCT02A-MWKW:OLPT |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | MOVING WALKWAY | PERSON TRANSPORT | MOVING WALKWAY INTERNAL | MOVING WALKWAY |  | PALLET CHAIN |  | PALLET CHAIN | PLTC | PLTC | FUNCT02E-MWKI.PLTC | FUNCT02A-MWKW:PLTC |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | MOVING WALKWAY | PERSON TRANSPORT | MOVING WALKWAY INTERNAL | MOVING WALKWAY |  | PALLET ROLLERS |  | PALLET ROLLERS | PLTR | PLTR | FUNCT02E-MWKI.PLTR | FUNCT02A-MWKW:PLTR |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | MOVING WALKWAY | PERSON TRANSPORT | MOVING WALKWAY INTERNAL | MOVING WALKWAY |  | PALLET TRACKS |  | PALLET TRACKS | PLTT | PLTT | FUNCT02E-MWKI.PLTT | FUNCT02A-MWKW:PLTT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | MOVING WALKWAY |  |  |  | PUSH BUTTON |  | PSBTN |  | FUNCT02A-MWKW:PSBTN |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | MOVING WALKWAY |  |  |  | PUMP |  | PUMP |  | FUNCT02A-MWKW:PUMP |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | PERSON TRANSPORT |  | WHEELCHAIR LIFT | [5 empty] | WCHL |  | FUNCT02A-WCHL |  |  |  | 0 | [5 empty] | added-20240408
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | MOVING WALKWAY | MATERIALS HANDLING | [6 empty] | E | B | FUNCT02E | FUNCT02B |  |  |  | 0 | EACH MOVING WALKWAY BANK | MOVING WALKWAY BANK
4.ASSET | MODIFICATION | FUNCT | FUNCT | BHS | CONVEYANCE SYSTEMS | INBOUND BAGGAGE | MATERIALS HANDLING | AUTOMATIC TAG READER (ATR) | AUTOMATIC TAG READER (ATR) |  |  |  |  | ATR | ATR | FUNCT05A-ATR | FUNCT02B-ATR |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | BHS | CONVEYANCE SYSTEMS | INBOUND BAGGAGE | MATERIALS HANDLING | BELT SECTION | BELT SECTION |  |  |  |  | BTSEC | BTSEC | FUNCT05A-BTSEC | FUNCT02B-BTSEC |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | BHS | CONVEYANCE SYSTEMS | INBOUND BAGGAGE | MATERIALS HANDLING | MOTOR | BELT SECTION |  |  | MOTOR |  | MOTR | MOTR | FUNCT05A-MOTR | FUNCT02B-BTSEC.MOTR |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | MATERIALS HANDLING |  | BELT SECTION |  |  |  | BELT |  | BELT |  | FUNCT02B-BTSEC:BELT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | MATERIALS HANDLING |  | BELT SECTION |  |  |  | BEARING |  | BRNG |  | FUNCT02B-BTSEC:BRNG |  |  |  | 1
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | MATERIALS HANDLING |  | BELT SECTION |  |  |  | ROLLERS/GUIDE WHEELS |  | ROLR |  | FUNCT02B-BTSEC:ROLR |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | MATERIALS HANDLING |  | BELT SECTION |  |  |  | SHAFT |  | SHAFT |  | FUNCT02B-BTSEC:SHAFT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | MATERIALS HANDLING |  | BELT SECTION |  |  |  | SPINE |  | SPNE |  | FUNCT02B-BTSEC:SPNE |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | MATERIALS HANDLING |  | BELT SECTION |  |  |  | ZIPPER |  | ZIPP |  | FUNCT02B-BTSEC:ZIPP |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | BHS | CONVEYANCE SYSTEMS | SORTATION TO MAKEUP | MATERIALS HANDLING | CHUTE | CHUTE |  |  |  |  | CHUT | CHUT | FUNCT05E-CHUT | FUNCT02B-CHUT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | BHS | CONVEYANCE SYSTEMS | INBOUND BAGGAGE | MATERIALS HANDLING | BHS CONTROL STATION | CONTROL STATION |  |  |  |  | CTRSTNB | CNTS | FUNCT05A-CTRSTNB | FUNCT02B-CNTS |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | DUMBWAITER | MATERIALS HANDLING | DUMBWAITER CAR | DUMBWAITER CAR |  |  |  |  | DBWC | DBWC | FUNCT02C-DBWC | FUNCT02B-DBWC |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | DUMBWAITER | MATERIALS HANDLING | DUMBWAITER CAR | DUMBWAITER CAR | DOOR |  | CAR DOOR |  | DOOR | CARD | FUNCT02C-DBWC-DOOR | FUNCT02B-DBWC.CARD |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | DUMBWAITER | MATERIALS HANDLING | DUMBWAITER CAR | DUMBWAITER CAR | FLOORING & SILLS |  | PANELS/FLOORING |  | FLSL | PLFL | FUNCT02C-DBWC-FLSL | FUNCT02B-DBWC.PLFL |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | DUMBWAITER | MATERIALS HANDLING | DUMBWAITER CAR | DUMBWAITER CAR | CAR LEVELING & ANTI CREEP |  |  | CAR LEVELING & ANTI CREEP SENSOR | CLAC | CACS | FUNCT02C-DBWC-CLAC | FUNCT02B-DBWC:CACS |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | PEOPLE MOVER | CONVEYANCE SYSTEMS | DUMBWAITER | MATERIALS HANDLING | DUMBWAITER CAR | DUMBWAITER CAR | DOOR POWER OPERATION AND CLOSING FORCE |  |  | DOOR MOTOR | DPOCF | DRMT | FUNCT02C-DBWC-DPOCF | FUNCT02B-DBWC:DRMT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | BHS | CONVEYANCE SYSTEMS | INBOUND BAGGAGE | MATERIALS HANDLING | MOTOR DISCONNECT SWITCH | DISCONNECT SWITCH |  |  |  |  | MTRDS | DSCS | FUNCT05A-MTRDS | FUNCT02B-DSCS |  |  |  | 1
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | MATERIALS HANDLING |  | DISCONNECT SWITCH |  |  |  | FUSE |  | FUSE |  | FUNCT02B-DSCS:FUSE |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | BHS | CONVEYANCE SYSTEMS | OUTBOUND BAGGAGE | MATERIALS HANDLING | DIVERTER/PADDLE ASSEMBLY/PUSHER/HIGH SPEED DIVERTER | DIVERTER/PADDLE ASSEMBLY/PUSHER/HIGH SPEED DIVERTER |  |  |  |  | DVTR | DVTR | FUNCT05B-DVTR | FUNCT02B-DVTR |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | MATERIALS HANDLING |  | HOIST | [5 empty] | HOST |  | FUNCT02B-HOST |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | MATERIALS HANDLING |  | HOIST |  |  | CONTROLS |  |  | CNTL |  | FUNCT02B-HOST.CNTL |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | MATERIALS HANDLING |  | LIGHT CURTAIN | [5 empty] | LTCT |  | FUNCT02B-LTCT |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | MATERIALS HANDLING |  | MOTOR CONTROL PANEL | [5 empty] | MTCTRP |  | FUNCT02B-MTCTRP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | MATERIALS HANDLING |  | MOTOR CONTROL PANEL |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT02B-MTCTRP.STRT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | MATERIALS HANDLING |  | MOTOR CONTROL PANEL |  |  |  | PROGRAMMABLE LOGIC CONTROLLER (PLC) |  | PLC |  | FUNCT02B-MTCTRP:PLC |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | BHS | CONVEYANCE SYSTEMS | INBOUND BAGGAGE | MATERIALS HANDLING | DOOR (SECURITY/FIRE) | DOOR (SECURITY/FIRE) |  |  |  |  | SFDR | SFDR | FUNCT05A-SFDR | FUNCT02B-SFDR |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | MATERIALS HANDLING |  | SHAFT ENCODERS | [5 empty] | SFTEC |  | FUNCT02B-SFTEC |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CONVEYANCE SYSTEMS |  | MATERIALS HANDLING |  | TROLLEY | [5 empty] | TRLY |  | FUNCT02B-TRLY |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | BHS | CONVEYANCE SYSTEMS | OUTBOUND BAGGAGE | MATERIALS HANDLING | VERTICAL SORTATION UNIT (VSU) | VERTICAL SORTATION UNIT (VSU) |  |  |  |  | VSU | VSU | FUNCT05B-VSU | FUNCT02B-VSU |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | BHS | CONVEYANCE SYSTEMS | OUTBOUND BAGGAGE | MATERIALS HANDLING | VERTICAL SORTATION UNIT (VSU) | VERTICAL SORTATION UNIT (VSU) |  | BARCODE SCANNER | BARCODE SCANNER |  | BCDSCR | BCDSCR | FUNCT05B-VSU.BCDSCR | FUNCT02B-VSU.BCDSCR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | BHS | CONVEYANCE SYSTEMS | OUTBOUND BAGGAGE | MATERIALS HANDLING | VERTICAL SORTATION UNIT (VSU) | VERTICAL SORTATION UNIT (VSU) |  | SENSOR | SENSOR |  | SNSR | SNSR | FUNCT05B-VSU.SNSR | FUNCT02B-VSU.SNSR |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | BHS | CONVEYANCE SYSTEMS | OUTBOUND BAGGAGE | MATERIALS HANDLING | X-RAY MACHINE | X-RAY MACHINE |  |  |  |  | XRAYM | XRAYM | FUNCT05B-XRAYM | FUNCT02B-XRAYM |  |  |  | 0