## Sheet1
HIERARCHY | HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILD ASSET | CHILD ASSET | COMPONENT | SPARE PART | OLD ACRONYM | Old Acronym Affected Asset Count | ACRONYM UPDATE | Acronym Exists in ARID? | FLOW Enabled | New Acronym Affected Asset Count | EAMD Notes | ADS-CODE | ADS CODE UPDATE | ADS Code - Affected Prod Asset Count
DIST | DIST | [8 empty] | 0 |  | No | No | 0 |  | DIST | DIST | 0
|  | ELECTRICAL POWER | [7 empty] | 0 | 50 | Yes | No | 0 |  |  | DIST50 | 0
|  |  | ELECTRICAL POWER | [6 empty] | 0 | X |  | No |  |  |  | DIST50X | 0
|  |  |  | AIRFIELD CIRCUIT | [6 empty] | ACKT | No | No | 0 |  |  | DIST50X-ACKT
ELEC |  |  |  | FEEDER CABLE |  |  |  |  | FRCB | 0 | FDCL | No | No | 0 |  | ELEC50A-FRCB | DIST50X-FDCL | 0
FUNCT | FUNCT | [8 empty] | 0 |  | No | No | 0 |  | FUNCT | FUNCT | 0
|  | ELECTRICAL POWER | [7 empty] | 0 | 50 | No | Yes | 0 |  |  | FUNCT50 | 0
|  |  | SOURCE | [6 empty] | 0 | A | No | Yes | 0 |  |  | FUNCT50A | 0
|  |  |  | CIRCUIT BREAKER | [5 empty] | 0 | BRKR | Yes | Yes | 0 |  |  | FUNCT50A-BRKR | 0
ELEC |  |  |  | BUSWAY |  |  |  |  | EBDBA | 0 | BSWY | No | Yes | 0 |  | ELEC50A-EBDBA | FUNCT50A-BSWY | 0
|  |  |  | BATTERY CHARGER | [5 empty] | 0 | BTCR | Yes | Yes | 3 |  |  | FUNCT50A-BTCR | 0
|  |  |  | BATTERY | [5 empty] | 0 | BTRY | Yes | Yes | 397 |  |  | FUNCT50A-BTRY | 0
|  |  |  | CIRCUIT BREAKER CUBICLE | [5 empty] | 0 | CBCL | No | Yes | 0 |  |  | FUNCT50A-CBCL | 0
ELEC |  |  |  | DISCONNECT SWITCH |  |  |  |  | DCSW | 1 | DSCS | No | Yes | 0 |  | ELEC50A-DCSW | FUNCT50A-DSCS | 1
ELEC | [6 empty] | FUSE |  | FUSE | 0 | FUSE | Yes | Yes | 0 |  | ELEC50A-MVFS.FUSE | FUNCT50A-DSCS.FUSE | 0
ELEC |  |  |  | ELECTRIC UTILITY METER |  |  |  |  | ELMT | 0 | ELMT | Yes | Yes | 0 |  | ELEC50A-ELMT | FUNCT50A-ELMT | 0
ELEC |  |  |  | ELECTRICAL PANEL |  |  |  |  | PWPL | 0 | ELPL | Yes | Yes | 0 |  | ELEC50A-PWPL | FUNCT50A-ELPL | 0
[7 empty] | BRANCH CIRCUIT |  |  | 0 | BRCT | Yes | Yes | 0 |  |  | FUNCT50A-ELPL.BRCT | 0
[7 empty] | CIRCUIT BREAKER |  |  | 0 | BRKR | Yes | Yes | 0 |  |  | FUNCT50A-ELPL.BRKR | 0
|  |  |  | FEEDER CABLE | [5 empty] | 0 | FDCL | No | Yes | 0 |  |  | FUNCT50A-FDCL | 0
|  |  |  | GROUNDING DEVICE | [5 empty] | 0 | BDGR | Yes | Yes | 0 |  |  | FUNCT50A-GRDV | 0
|  |  |  | INVERTER | [5 empty] | 0 | INVT | No | Yes | 0 |  |  | FUNCT50A-INVT | 0
ELEC |  |  |  | NETWORK PROTECTOR |  |  |  |  | NWPT | 0 | NWPR | No | Yes | 0 |  | ELEC50A-NWPT | FUNCT50A-NWPR | 0
|  |  |  | PHOTOVOLTAIC (PV) PANEL | [5 empty] | 0 | PVPL | No | Yes | 0 |  |  | FUNCT50A-PVPL | 0
|  |  |  | RELAY | [5 empty] | 0 | RELY | No | Yes | 0 |  |  | FUNCT50A-RELY | 0
|  |  |  | SWITCHGEAR AC/DC CONTROL | [5 empty] | 0 | SGCT | No | Yes | 0 |  |  | FUNCT50A-SGCT | 0
|  |  |  | SWITCHGEAR/SWITCHBOARD | [5 empty] | 0 | SWGR | No | Yes | 0 |  |  | FUNCT50A-SWGR | 0
[7 empty] | FEEDER CABLE |  |  | 0 | FDCL | No | Yes | 0 |  |  | FUNCT50A-SWGR.FDCL | 0
[7 empty] | SURGE PROTECTOR |  |  | 0 | SGPT | No | Yes | 0 |  |  | FUNCT50A-SWGR.SGPT | 0
|  |  |  | UNIT SUBSTATION | [5 empty] | 0 | USBS | No | Yes | 0 |  |  | FUNCT50A-USBS | 0
ELEC |  |  |  | TRANSFORMER |  |  |  |  | XFMRM | 9 | XFMR | No | Yes | 0 |  | ELEC50A-XFMRM | FUNCT50A-XFMR | 9
ELEC |  |  |  | ELECTRICAL TRANSFER SWITCH |  |  |  |  | LVTS | 2 | XFRS | No | Yes | 0 |  | ELEC50A-LVTS | FUNCT50A-XFRS | 2
|  |  | DISTRIBUTION | [6 empty] | 0 | B | No | Yes | 0 |  |  | FUNCT50B | 0
ELEC |  |  |  | CIRCUIT BREAKER |  |  |  |  | MVCB | 0 | BRKR | Yes | Yes | 0 |  | ELEC50A-MVCB | FUNCT50B-BRKR | 0
|  |  |  | BUSWAY | [5 empty] | 0 | BSWY | No | Yes | 0 |  |  | FUNCT50B-BSWY | 0
ELEC |  |  |  | BATTERY |  |  |  |  | BTRY | 397 | BTRY | Yes | Yes | 397 |  | ELEC50A-BTRY | FUNCT50B-BTRY | 0
|  |  |  | CIRCUIT BREAKER CUBICLE | [5 empty] | 0 | CBCL | No | Yes | 0 |  |  | FUNCT50B-CBCL | 0
|  |  |  | REGULATOR BANK | [5 empty] | 0 | CCRB | No | Yes | 0 |  |  | FUNCT50B-CCRB | 0
|  |  |  | CONSTANT CURRENT REGULATOR | [5 empty] | 0 | CCRL | No | Yes | 0 |  |  | FUNCT50B-CCRL | 0
ELEC |  |  |  | CAPACITOR BANK ASSEMBLY |  |  |  |  | CPBK | 0 | CPBK | Yes | Yes | 0 |  | ELEC50A-CPBK | FUNCT50B-CPBK | 0
ELEC |  |  |  | DISCONNECT SWITCH |  |  |  |  | LVDSW | 104 | DSCS | No | Yes | 0 |  | ELEC50A-LVDSW | FUNCT50B-DSCS | 104
|  |  |  | DISCONNECT SWITCH |  |  | FUSE |  |  | 0 | FUSE | Yes | Yes | 0 |  |  | FUNCT50B-DSCS.FUSE | 0
ELEC |  |  |  | ELECTRICAL PANEL |  |  |  |  | LVPL | 188 | ELPL | Yes | Yes | 0 |  | ELEC50A-LVPL | FUNCT50B-ELPL | 188
[7 empty] | BRANCH CIRCUIT |  |  | 0 | BRCT | Yes | Yes | 0 |  |  | FUNCT50B-ELPL.BRCT | 0
[7 empty] | CIRCUIT BREAKER |  |  | 0 | BRKR | Yes | Yes | 0 |  |  | FUNCT50B-ELPL.BRKR | 0
ELEC |  |  |  | ELECTRIC VEHICLE CHARGING STATION |  |  |  |  | EVCS | 0 | EVCH | No | Yes | 0 |  | ELEC50A-EVCS | FUNCT50B-EVCH | 0
|  |  |  | FEEDER CABLE | [5 empty] | 0 | FDCL | No | Yes | 0 |  |  | FUNCT50B-FDCL | 0
ELEC |  |  |  | GROUNDING DEVICE |  |  |  |  | BDGR | 0 | BDGR | No | Yes | 0 |  | ELEC50A-BDGR | FUNCT50B-GRDV | 0
ELEC |  |  |  | MOTOR CONTROL CENTER (MCC) |  |  |  |  | MCCR | 0 | MCCR | Yes | Yes | 0 |  | ELEC50A-MCCR | FUNCT50B-MCCR | 0
ELEC |  |  |  | MOTOR STARTER |  |  |  |  | MTST | 2 | MTST | Yes | Yes | 2 |  | ELEC50A-MTST | FUNCT50B-MTST | 2
ELEC |  |  |  | RECTIFIER |  |  |  |  | RCTR | 0 | RCTR | Yes | Yes | 0 |  | ELEC50A-RCTR | FUNCT50B-RCTR | 0
ELEC |  |  |  | REACTOR |  |  |  |  | RECT | 0 | RECT | Yes | Yes | 0 |  | ELEC50A-RECT | FUNCT50B-RECT | 0
|  |  |  | RELAY | [5 empty] | 0 | RELY | No | Yes | 0 |  |  | FUNCT50B-RELY | 0
|  |  |  | SWITCHGEAR AC/DC CONTROL | [5 empty] | 0 | SGCT | No | Yes | 0 |  |  | FUNCT50B-SGCT | 0
ELEC |  |  |  | SWITCHGEAR/SWITCHBOARD |  |  |  |  | LVSG | 3 | SWGR | No | Yes | 0 |  | ELEC50A-LVSG | FUNCT50B-SWGR | 3
[7 empty] | FEEDER CABLE |  |  | 0 | FDCL | No | Yes | 0 |  |  | FUNCT50B-SWGR.FDCL | 0
[7 empty] | SURGE PROTECTOR |  |  | 0 | SGPT | No | Yes | 0 |  |  | FUNCT50B-SWGR.SGPT | 0
ELEC |  |  |  | UNINTERRUPTIBLE POWER SUPPLY (UPS) |  |  |  |  | UPS | 155 | UPSY | No | Yes | 0 |  | ELEC50A-UPS | FUNCT50B-UPSY | 31
ELEC |  |  |  | TRANSFORMER |  |  |  |  | XFMRL | 55 | XFMR | No | Yes | 0 |  | ELEC50A-XFMRL | FUNCT50B-XFMR | 55
ELEC |  |  |  | ELECTRICAL TRANSFER SWITCH |  |  |  |  | ATS | 21 | XFRS | No | Yes | 0 |  | ELEC50A-ATS | FUNCT50B-XFRS | 21
|  |  | EMERGENCY | [6 empty] | 0 | C | No | Yes | 0 |  |  | FUNCT50C | 0
ELEC |  |  |  | CIRCUIT BREAKER |  |  |  |  | LVBRK | 54 | BRKR | Yes | Yes | 0 |  | ELEC50A-LVBRK | FUNCT50C-BRKR | 54
|  |  |  | BUSWAY | [5 empty] | 0 | BSWY | No | Yes | 0 |  |  | FUNCT50C-BSWY | 0
ELEC |  |  |  | BATTERY CHARGER |  |  |  |  | BTCR | 3 | BTCR | Yes | Yes | 3 |  | ELEC50A-BTCR | FUNCT50C-BTCR | 0
|  |  |  | BATTERY | [5 empty] | 0 | BTRY | Yes | Yes | 397 |  |  | FUNCT50C-BTRY | 0
|  |  |  | CIRCUIT BREAKER CUBICLE | [5 empty] | 0 | CBCL | No | Yes | 0 |  |  | FUNCT50C-CBCL | 0
ELEC |  |  |  | DISCONNECT SWITCH |  |  |  |  | MVFS | 7 | DSCS | No | Yes | 0 |  | ELEC50A-MVFS | FUNCT50C-DSCS | 7
|  |  |  | DISCONNECT SWITCH |  |  | FUSE |  |  | 0 | FUSE | Yes | Yes | 0 |  |  | FUNCT50C-DSCS.FUSE | 0
ELEC |  |  |  | FEEDER CABLE |  |  |  |  | MVFDCL | 0 | FDCL | No | Yes | 0 |  | ELEC50A-MVFDCL | FUNCT50C-FDCL | 0
|  |  |  | FUEL STORAGE TANK | [5 empty] | 0 | FTNK | No | Yes | 0 |  |  | FUNCT50C-FTNK | 0
[7 empty] | CHECK VALVE |  |  | 0 | CHKV | No | Yes | 0 |  |  | FUNCT50C-FTNK.CHKV | 0
[7 empty] | CONTROL VALVE |  |  | 0 | CONV | Yes | Yes | 22 |  |  | FUNCT50C-FTNK.CONV | 0
[7 empty] | ISOLATION VALVE |  |  | 0 | ISOV | Yes | Yes | 0 |  |  | FUNCT50C-FTNK.ISOV | 0
[7 empty] | LEAK DETECTION |  |  | 0 | LDET | No | Yes | 0 |  |  | FUNCT50C-FTNK.LDET | 0
[7 empty] | PIPE |  |  | 0 | PIPE | Yes | Yes | 7 |  |  | FUNCT50C-FTNK.PIPE | 0
[7 empty] | PUMP |  |  | 0 | PUMP | Yes | Yes | 9 |  |  | FUNCT50C-FTNK.PUMP | 0
[7 empty] | VENT |  |  | 0 | VENT | Yes | Yes | 0 |  |  | FUNCT50C-FTNK.VENT | 0
[8 empty] | FUEL FILTER |  | 0 | FFLT | Yes | Yes | 0 |  |  | FUNCT50C-FTNK:FFLT | 0
ELEC |  |  |  | GENERATOR |  |  |  |  | GNRT | 14 | GNRT | Yes | Yes | 14 |  | ELEC50A-GNRT | FUNCT50C-GNRT | 14
ELEC | [6 empty] | BATTERY |  | BTRY | 397 | BTRY | Yes | Yes | 397 |  | ELEC50A-GNRT.BTRY | FUNCT50C-GNRT.BTRY | 0
[7 empty] | EMERGENCY POWER OFF |  |  | 0 | EMPO | No | Yes | 0 |  |  | FUNCT50C-GNRT.EMPO | 0
|  |  |  | GROUNDING DEVICE | [5 empty] | 0 | BDGR | No | Yes | 0 |  |  | FUNCT50C-GRDV | 0
ELEC |  |  |  | LOAD BANK |  |  |  |  | LDBK | 3 | LDBK | Yes | Yes | 3 |  | ELEC50A-LDBK | FUNCT50C-LDBK | 3
|  |  |  | NEUTRAL GROUND RESISTOR | [5 empty] | 0 | NGRT | No | Yes | 0 |  |  | FUNCT50C-NGRT | 0
ELEC |  |  |  | RELAY |  |  |  |  | MVR | 0 | RELY | No | Yes | 0 |  | ELEC50A-MVR | FUNCT50C-RELY | 0
ELEC |  |  |  | SWITCHGEAR AC/DC CONTROL |  |  |  |  | MVSDC | 0 | SGCT | No | Yes | 0 |  | ELEC50A-MVSDC | FUNCT50C-SGCT | 0
ELEC |  |  |  | SWITCHGEAR/SWITCHBOARD |  |  |  |  | MVSG | 2 | SWGR | No | Yes | 0 |  | ELEC50A-MVSG | FUNCT50C-SWGR | 2
[7 empty] | FEEDER CABLE |  |  | 0 | FDCL | No | Yes | 0 |  |  | FUNCT50C-SWGR.FDCL | 0
ELEC | [6 empty] | SURGE PROTECTOR |  | LTAR | 0 | SGPT | No | Yes | 0 |  | ELEC50A-LVSG.LTAR | FUNCT50C-SWGR.SGPT | 0
|  |  |  | TRANSFORMER | [5 empty] | 0 | XFMR | No | Yes | 0 |  |  | FUNCT50C-XFMR | 0