## ARID Format
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | COMPONENT | SPARE PART | ACRONYM | ADS CODE
FUNCT
| SANITARY WASTE |  |  |  |  | 08 | FUNCT08
|  | COLLECTION |  |  |  | A | FUNCT08A
|  |  | CHECK VALVE |  |  | CHVL | FUNCT08A-CHVL
|  |  | DISCONNECT SWITCH |  |  | DSCS | FUNCT08A-DSCS
|  |  | ISOLATION VALVE |  |  | ISOV | FUNCT08A-ISOV
|  |  | PIPE |  |  | PIPE | FUNCT08A-PIPE
|  |  |  | DRAIN VALVE |  | DRNV | FUNCT08A-PIPE.DRNV
|  |  |  | FLOW METER |  | FLWM | FUNCT08A-PIPE.FLWM
|  |  |  | FREEZE PROTECTION |  | FZPT | FUNCT08A-PIPE.FZPT
|  |  |  | GAUGES |  | GAUG | FUNCT08A-PIPE.GAUG
|  |  |  | INSULATION |  | INSL | FUNCT08A-PIPE.INSL
|  |  |  | PH METER |  | PHMR | FUNCT08A-PIPE.PHMR
|  |  |  | VIBRATION ELIMINATOR |  | VIBR | FUNCT08A-PIPE.VIBR
|  |  | TRITURATOR |  |  | TRTR | FUNCT08A-TRTR
|  |  |  | CONTROLS |  | CNTL | FUNCT08A-TRTR.CNTL
|  |  |  | FRESH WATER FEED |  | FWF | FUNCT08A-TRTR.FWF
|  |  |  | HYDRAULIC UNIT |  | HYDU | FUNCT08A-TRTR.HYDU
|  |  |  | PUMP |  | PUMP | FUNCT08A-TRTR.PUMP
[5 empty] | GRINDER | GRND | FUNCT08A-TRTR:GRND
|  | DISTRIBUTION |  |  |  | B | FUNCT08B
|  |  | DISCONNECT SWITCH |  |  | DSCS | FUNCT08B-DSCS
|  |  | ISOLATION VALVE |  |  | ISOV | FUNCT08B-ISOV
|  |  | LIFT STATION |  |  | LFTS | FUNCT08B-LFTS
|  |  |  | CONTROLS |  | CNTL | FUNCT08B-LFTS.CNTL
|  |  |  | GAS DETECTION SYSTEM |  | GDS | FUNCT08B-LFTS.GDS
|  |  |  | HATCH DOOR |  | HADR | FUNCT08B-LFTS.HADR
|  |  |  | HOISTS |  | HSTS | FUNCT08B-LFTS.HSTS
|  |  |  | LEVEL ALARM |  | LALM | FUNCT08B-LFTS.LALM
|  |  |  | LIGHT FIXTURE |  | LFIXT | FUNCT08B-LFTS.LFIXT
|  |  |  | MOTOR |  | MOTR | FUNCT08B-LFTS.MOTR
|  |  |  | PUMP |  | PUMP | FUNCT08B-LFTS.PUMP
|  |  |  | VFD/ STARTER |  | STRT | FUNCT08B-LFTS.STRT
|  |  |  | VENTILATION |  | VNTN | FUNCT08B-LFTS.VNTN
|  |  | PIPE |  |  | PIPE | FUNCT08B-PIPE
|  |  |  | VIBRATION ELIMINATOR |  | VIBR | FUNCT08B-PIPE.VIBR
|  |  | PUMP |  |  | PUMP | FUNCT08B-PUMP
|  |  |  | CONTROLS |  | CNTL | FUNCT08B-PUMP.CNTL
|  |  |  | MOTOR |  | MOTR | FUNCT08B-PUMP.MOTR
|  |  |  | VFD/ STARTER |  | STRT | FUNCT08B-PUMP.STRT
|  | TREATMENT |  |  |  | C | FUNCT08C
|  |  | CONTAMINATION SEPARATOR |  |  | CSEP | FUNCT08C-CSEP
|  |  | GREASE TRAP |  |  | GRTR | FUNCT08C-GRTR
|  |  | OIL/WATER SEPARATOR |  |  | OWSP | FUNCT08C-OWSP
|  |  |  | FILTER |  | FLTR | FUNCT08C-OWSP.FLTR
|  |  |  | ISOLATION VALVE |  | ISOV | FUNCT08C-OWSP.ISOV
|  |  |  | LEAK DETECTION |  | LDET | FUNCT08C-OWSP.LDET
|  |  |  | MONITORING WELL |  | MNWL | FUNCT08C-OWSP.MNWL
|  |  |  | MONITORING SYSTEM |  | MSYS | FUNCT08C-OWSP.MSYS
|  |  |  | PUMP |  | PUMP | FUNCT08C-OWSP.PUMP
|  |  |  | VENTS |  | VENT | FUNCT08C-OWSP.VENT

## 08
LEVEL | ACTION | HIERARCHY | HIERARCHY UPDATE | SYSTEM | SYSTEM UPDATE | SUBSYSTEM | SUBSYSTEM UPDATE | ASSET | ASSET UPDATE | CHILD ASSET | COMPONENT | COMPONENT UPDATE | SPARE PART UPDATE | ACRONYM | ACRONYM UPDATE | ADS CODE | ADS CODE UPDATE | REMOVE | TB&T, PORTS | FLOW ENABLED | CONFLICT | INSTANCE | INSTANCE EXAMPLE | SCBD DATE | REFERENCE | DICTIONARY | COMMENTS
2.SYSTEM | NO CHANGE | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | [8 empty] | 08 | 08 | FUNCT08 | FUNCT08 |  |  |  | 0 |  |  |  | Not intended for industrial waste (see SOLID WASTE) | Maintenance Object specific systems & equipment pertaining to the collection, storage and distribution of liquid or solid wastes originating solely from human activities. Not intended for industrial waste (see SOLID WASTE).
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | PIPING | COLLECTION | [6 empty] | A | A | FUNCT08A | FUNCT08A |  |  |  | 0 | EACH COLLECTION ZONE | EJECTOR 1
4.ASSET | NEW |  | FUNCT |  | SANITARY WASTE |  | COLLECTION |  | CHECK VALVE | [5 empty] | CHVL |  | FUNCT08A-CHVL |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | SANITARY WASTE |  | COLLECTION |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT08A-DSCS |  |  |  | 1
4.ASSET | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | SANITARY LIFT STATION | COLLECTION | VALVE | ISOLATION VALVES |  |  |  |  | VLV | ISOV | FUNCT08B-VLV | FUNCT08A-ISOV |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | PIPING | COLLECTION | PIPE | PIPE |  |  |  |  | PIPE | PIPE | FUNCT08A-PIPE | FUNCT08A-PIPE |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | PIPING | COLLECTION | DRAIN | PIPE |  |  | DRAIN VALVE |  | DRAN | DRNV | FUNCT08A-DRAN | FUNCT08A-PIPE.DRNV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | COLLECTION |  | PIPE |  |  | FLOW METER |  |  | FLWM |  | FUNCT08A-PIPE.FLWM |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | COLLECTION |  | PIPE |  |  | FREEZE PROTECTION |  |  | FZPT |  | FUNCT08A-PIPE.FZPT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | COLLECTION |  | PIPE |  |  | GAUGES |  |  | GAUG |  | FUNCT08A-PIPE.GAUG |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | COLLECTION |  | PIPE |  |  | INSULATION |  |  | INSL |  | FUNCT08A-PIPE.INSL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | COLLECTION |  | PIPE |  |  | PH METER |  |  | PHMR |  | FUNCT08A-PIPE.PHMR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | COLLECTION |  | PIPE |  |  | VIBRATION ELIMINATOR |  |  | VIBR |  | FUNCT08A-PIPE.VIBR |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | TRITURATORS | COLLECTION | TRITURATOR | TRITURATOR |  |  |  |  | TRTR | TRTR | FUNCT08E-TRTR | FUNCT08A-TRTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | COLLECTION |  | TRITURATOR |  |  | CONTROLS |  |  | CNTL |  | FUNCT08A-TRTR.CNTL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | COLLECTION |  | TRITURATOR |  |  | FRESH WATER FEED |  |  | FWF |  | FUNCT08A-TRTR.FWF |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | COLLECTION |  | TRITURATOR |  |  | HYDRAULIC UNIT |  |  | HYDU |  | FUNCT08A-TRTR.HYDU |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | TRITURATORS | COLLECTION | TRITURATOR | TRITURATOR |  | PUMP | PUMP |  | PUMP | PUMP | FUNCT08E-TRTR.PUMP | FUNCT08A-TRTR.PUMP |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | SANITARY WASTE |  | COLLECTION |  | TRITURATOR |  |  |  | GRINDER |  | GRND |  | FUNCT08A-TRTR:GRND |  |  |  | 0
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | SANITARY LIFT STATION | DISTRIBUTION | [6 empty] | B | B | FUNCT08B | FUNCT08B |  |  |  | 0 | EACH DISTRIBUTION ZONE | *NA
4.ASSET | NEW |  | FUNCT |  | SANITARY WASTE |  | DISTRIBUTION |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT08B-DSCS |  |  |  | 1
4.ASSET | NEW |  | FUNCT |  | SANITARY WASTE |  | DISTRIBUTION |  | ISOLATION VALVES | [5 empty] | ISOV |  | FUNCT08B-ISOV |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | SANITARY LIFT STATION | DISTRIBUTION | PIT | LIFT STATION |  |  |  |  | PIT | LFTS | FUNCT08B-PIT | FUNCT08B-LFTS |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | DISTRIBUTION |  | LIFT STATION |  |  | CONTROLS |  |  | CNTL |  | FUNCT08B-LFTS.CNTL |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | SANITARY LIFT STATION | DISTRIBUTION | PIT | LIFT STATION | GAS DETECTION SYSTEM |  | GAS DETECTION SYSTEM |  | GDS | GDS | FUNCT08B-PIT-GDS | FUNCT08B-LFTS.GDS |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | SANITARY LIFT STATION | DISTRIBUTION | PIT | LIFT STATION | HATCH DOOR |  | HATCH DOOR |  | HADR | HADR | FUNCT08B-PIT-HADR | FUNCT08B-LFTS.HADR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | SANITARY LIFT STATION | DISTRIBUTION | PIT | LIFT STATION | HOISTS |  | HOISTS |  | HSTS | HSTS | FUNCT08B-PIT-HSTS | FUNCT08B-LFTS.HSTS |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | DISTRIBUTION |  | LIFT STATION |  |  | LEVEL ALARM |  |  | LALM |  | FUNCT08B-LFTS.LALM |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | SANITARY LIFT STATION | DISTRIBUTION | PIT | LIFT STATION | LIGHTING |  | LIGHT FIXTURE |  | LTNG | LFIXT | FUNCT08B-PIT-LTNG | FUNCT08B-LFTS.LFIXT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | DISTRIBUTION |  | LIFT STATION |  |  | MOTOR |  |  | MOTR |  | FUNCT08B-LFTS.MOTR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | SANITARY LIFT STATION | DISTRIBUTION | SUBMERSIVE PUMP | LIFT STATION |  |  | PUMP |  | SUBP | PUMP | FUNCT08B-SUBP | FUNCT08B-LFTS.PUMP |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | SANITARY LIFT STATION | DISTRIBUTION | SUBMERSIVE PUMP | LIFT STATION | CONTROL PANEL |  | VFD/ STARTER |  | CLPL | STRT | FUNCT08B-SUBP-CLPL | FUNCT08B-LFTS.STRT |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | SANITARY LIFT STATION | DISTRIBUTION | PIT | LIFT STATION | VENTILATION |  | VENTILATION |  | VNTN | VNTN | FUNCT08B-PIT-VNTN | FUNCT08B-LFTS.VNTN |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | SANITARY WASTE |  | DISTRIBUTION |  | PIPE | [5 empty] | PIPE |  | FUNCT08B-PIPE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | DISTRIBUTION |  | PIPE |  |  | VIBRATION ELIMINATOR |  |  | VIBR |  | FUNCT08B-PIPE.VIBR |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | SANITARY LIFT STATION | DISTRIBUTION | SEWAGE EJECTOR PUMP | PUMP |  |  |  |  | SEJP | PUMP | FUNCT08B-SEJP | FUNCT08B-PUMP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | DISTRIBUTION |  | PUMP |  |  | CONTROLS |  |  | CNTL |  | FUNCT08B-PUMP.CNTL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | DISTRIBUTION |  | PUMP |  |  | MOTOR |  |  | MOTR |  | FUNCT08B-PUMP.MOTR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | SANITARY LIFT STATION | DISTRIBUTION | SEWAGE EJECTOR PUMP | PUMP | VFD/ STARTER |  | VFD/ STARTER |  | STRT | STRT | FUNCT08B-SEJP-STRT | FUNCT08B-PUMP.STRT |  |  |  | 0
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | OIL/WATER SEPARATOR | TREATMENT | [6 empty] | C | C | FUNCT08C | FUNCT08C |  |  |  | 0 | EACH TREATMENT TYPE | OIL/WATER SEPARATOR 1, GREASE INTERCEPTOR 1
4.ASSET | NEW |  | FUNCT |  | SANITARY WASTE |  | TREATMENT |  | CONTAMINATION SEPARATOR | [5 empty] | CSEP |  | FUNCT08C-CSEP |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | GREASE TRAPS | TREATMENT | GREASE TRAP | GREASE TRAP |  |  |  |  | GRTR | GRTR | FUNCT08D-GRTR | FUNCT08C-GRTR |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | OIL/WATER SEPARATOR | TREATMENT | OIL/WATER SEPARATOR | OIL/WATER SEPARATOR |  |  |  |  | OWSP | OWSP | FUNCT08C-OWSP | FUNCT08C-OWSP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | TREATMENT |  | OIL/WATER SEPARATOR |  |  | FILTER |  |  | FLTR |  | FUNCT08C-OWSP.FLTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | TREATMENT |  | OIL/WATER SEPARATOR |  |  | ISOLATION VALVES |  |  | ISOV |  | FUNCT08C-OWSP.ISOV |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | OIL/WATER SEPARATOR | TREATMENT | OIL/WATER SEPARATOR | OIL/WATER SEPARATOR |  | LEAK DETECTOR | LEAK DETECTION |  | LKDR | LDET | FUNCT08C-OWSP.LKDR | FUNCT08C-OWSP.LDET |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | OIL/WATER SEPARATOR | TREATMENT | OIL/WATER SEPARATOR | OIL/WATER SEPARATOR |  | MONITORING WELL | MONITORING WELL |  | MNWL | MNWL | FUNCT08C-OWSP.MNWL | FUNCT08C-OWSP.MNWL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | SANITARY WASTE |  | TREATMENT |  | OIL/WATER SEPARATOR |  |  | MONITORING SYSTEM |  |  | MSYS |  | FUNCT08C-OWSP.MSYS |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | OIL/WATER SEPARATOR | TREATMENT | OIL/WATER SEPARATOR | OIL/WATER SEPARATOR |  | PUMP | PUMP |  | PUMP | PUMP | FUNCT08C-OWSP.PUMP | FUNCT08C-OWSP.PUMP |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | SANITARY WASTE | SANITARY WASTE | OIL/WATER SEPARATOR | TREATMENT | OIL/WATER SEPARATOR | OIL/WATER SEPARATOR |  | VENTS | VENTS |  | VENT | VENT | FUNCT08C-OWSP.VENT | FUNCT08C-OWSP.VENT |  |  |  | 0
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Plural, should this be singular?
Note on J23: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Plural, should this be singular?
Note on M46: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Plural, should this be singular?