## ARID Format
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | COMPONENT | SPARE PART | ACRONYM | ADS CODE
FUNCT | [5 empty] | 09 | FUNCT09
WATER SUPPLY (DOMESTIC)
|  | SOURCE |  |  |  | A | FUNCT09A
|  |  | BACKFLOW PREVENTER ASSEMBLY |  |  | BFPA | FUNCT09A-BFPA
|  |  |  | PRESSURE REDUCING VALVE |  | HVV | FUNCT09A-BFPA.HVV
|  |  |  | ISOLATION VALVE |  | ISOV | FUNCT09A-BFPA.ISOV
|  |  | DISCONNECT SWITCH |  |  | DSCS | FUNCT09A-DSCS
|  |  | FILTRATION SYSTEM |  |  | FILSYS | FUNCT09A-FILSYS
|  |  |  | BOOSTER PUMP |  | BPMP | FUNCT09A-FILSYS.BPMP
|  |  |  | BLADDER TANK |  | BTNK | FUNCT09A-FILSYS.BTNK
|  |  |  | FILTER CARTRIDGE HOUSING |  | FCTH | FUNCT09A-FILSYS.FCTH
|  |  |  | ISOLATION VALVE |  | ISOV | FUNCT09A-FILSYS.ISOV
|  |  |  | PIPING / TUBING |  | PTUB | FUNCT09A-FILSYS.PTUB
|  |  |  | UV FILTRATION |  | UVFT | FUNCT09A-FILSYS.UVFT
[5 empty] | FILTER | FLTR | FUNCT09A-FILSYS:FLTR
[5 empty] | O-RING / GASKETS | ORNG | FUNCT09A-FILSYS:ORNG
|  |  | PRESSURE REDUCING VALVE |  |  | HVV | FUNCT09A-HVV
|  |  | ISOLATION VALVE |  |  | ISOV | FUNCT09A-ISOV
|  |  | PIPE |  |  | PIPE | FUNCT09A-PIPE
|  |  |  | DRAIN VALVE |  | DRNV | FUNCT09A-PIPE.DRNV
|  |  |  | FLOW METER |  | FLWM | FUNCT09A-PIPE.FLWM
|  |  |  | FREEZE PROTECTION |  | FZPT | FUNCT09A-PIPE.FZPT
|  |  |  | GAUGES |  | GAUG | FUNCT09A-PIPE.GAUG
|  |  |  | INSULATION |  | INSL | FUNCT09A-PIPE.INSL
|  |  |  | VIBRATION ELIMINATOR |  | VIBR | FUNCT09A-PIPE.VIBR
|  |  | PUMP |  |  | PUMP | FUNCT09A-PUMP
|  |  |  | MOTOR |  | MOTR | FUNCT09A-PUMP.MOTR
|  |  |  | VFD/ STARTER |  | STRT | FUNCT09A-PUMP.STRT
|  |  | WATER SOFTENER |  |  | WSFT | FUNCT09A-WSFT
|  |  |  | BACKFLOW PREVENTER |  | BFPV | FUNCT09A-WSFT.BFPV
|  |  |  | CONTROLS |  | CNTL | FUNCT09A-WSFT.CNTL
[5 empty] | CHEMICAL | CHML | FUNCT09A-WSFT:CHML
|  |  | WATER METER |  |  | WTMT | FUNCT09A-WTMT
|  | DISTRIBUTION |  |  |  | B | FUNCT09B
|  |  | CHECK VALVE |  |  | CHVL | FUNCT09B-CHVL
|  |  | DISCONNECT SWITCH |  |  | DSCS | FUNCT09B-DSCS
|  |  | WATER FILLING STATION |  |  | FNTN | FUNCT09B-FNTN
|  |  |  | PIPING / TUBING |  | PTUB | FUNCT09B-FNTN.PTUB
[5 empty] | FILTER | FLTR | FUNCT09B-FNTN:FLTR
|  |  | ISOLATION VALVE |  |  | ISOV | FUNCT09B-ISOV
|  |  | PIPE |  |  | PIPE | FUNCT09B-PIPE
|  |  |  | DRAIN VALVE |  | DRNV | FUNCT09B-PIPE.DRNV
|  |  |  | FLOW METER |  | FLWM | FUNCT09B-PIPE.FLWM
|  |  |  | FREEZE PROTECTION |  | FZPT | FUNCT09B-PIPE.FZPT
|  |  |  | GAUGES |  | GAUG | FUNCT09B-PIPE.GAUG
|  |  |  | INSULATION |  | INSL | FUNCT09B-PIPE.INSL
|  |  |  | VIBRATION ELIMINATOR |  | VIBR | FUNCT09B-PIPE.VIBR
|  |  | PUMP |  |  | PUMP | FUNCT09B-PUMP
|  |  |  | MOTOR |  | MOTR | FUNCT09B-PUMP.MOTR
|  |  |  | VFD/ STARTER |  | STRT | FUNCT09B-PUMP.STRT
|  |  | TANK |  |  | TANK | FUNCT09B-TANK
|  |  |  | CONTROLS |  | CNTL | FUNCT09B-TANK.CNTL
|  |  | WATER CART |  |  | WCRT | FUNCT09B-WCRT
|  |  |  | BACKFLOW PREVENTER |  | BFPV | FUNCT09B-WCRT.BFPV
|  |  |  | WATER METER |  | WTMT | FUNCT09B-WCRT.WTMT
|  | DOMESTIC HOT WATER |  |  |  | C | FUNCT09C
|  |  | CHECK VALVE |  |  | CHVL | FUNCT09C-CHVL
|  |  | DISCONNECT SWITCH |  |  | DSCS | FUNCT09C-DSCS
|  |  | EXPANSION TANK |  |  | EXPT | FUNCT09C-EXPT
|  |  |  | BLADDER |  | BLAD | FUNCT09C-EXPT.BLAD
|  |  |  | GAUGES |  | GAUG | FUNCT09C-EXPT.GAUG
|  |  | HOT WATER HEATER |  |  | HWH | FUNCT09C-HWH
|  |  |  | BURNER ASSEMBLY |  | BRAS | FUNCT09C-HWH.BRAS
|  |  |  | COMBUSTION FAN |  | CMBF | FUNCT09C-HWH.CMBF
|  |  |  | CONTROLS |  | CNTL | FUNCT09C-HWH.CNTL
|  |  |  | DRAIN VALVE |  | DRNV | FUNCT09C-HWH.DRNV
|  |  |  | EXHAUST VENTING |  | EVNT | FUNCT09C-HWH.EVNT
|  |  |  | GAS VALVE |  | GVLV | FUNCT09C-HWH.GVLV
|  |  |  | IGNITOR |  | IGNR | FUNCT09C-HWH.IGNR
|  |  |  | PRESSURE RELIEF VALVE |  | PRRV | FUNCT09C-HWH.PRRV
|  |  |  | SUPPLY VENTING |  | SVNT | FUNCT09C-HWH.SVNT
[5 empty] | ELEMENT | ELMN | FUNCT09C-HWH:ELMN
|  |  | ISOLATION VALVE |  |  | ISOV | FUNCT09C-ISOV
|  |  | MIXING VALVE |  |  | MIXV | FUNCT09C-MIXV
|  |  | PIPE |  |  | PIPE | FUNCT09C-PIPE
|  |  |  | DRAIN VALVE |  | DRNV | FUNCT09C-PIPE.DRNV
|  |  |  | FLOW METER |  | FLWM | FUNCT09C-PIPE.FLWM
|  |  |  | GAUGES |  | GAUG | FUNCT09C-PIPE.GAUG
|  |  |  | INSULATION |  | INSL | FUNCT09C-PIPE.INSL
|  |  |  | VIBRATION ELIMINATOR |  | VIBR | FUNCT09C-PIPE.VIBR
|  |  |  | FREEZE PROTECTION |  | FZPT | FUNCT09C-PIPE.FZPT
|  |  | PUMP |  |  | PUMP | FUNCT09C-PUMP
|  |  |  | MOTOR |  | MOTR | FUNCT09C-PUMP.MOTR
|  |  |  | VFD/ STARTER |  | STRT | FUNCT09C-PUMP.STRT

## 09
LEVEL | ACTION | HIERARCHY | HIERARCHY UPDATE | SYSTEM | SYSTEM UPDATE | SUBSYSTEM | SUBSYSTEM UPDATE | ASSET | ASSET UPDATE | CHILD ASSET | COMPONENT | COMPONENT UPDATE | SPARE PART UPDATE | ACRONYM | ACRONYM UPDATE | ADS CODE | ADS CODE UPDATE | REMOVE | TB&T, PORTS | FLOW ENABLED | CONFLICT | INSTANCE | INSTANCE EXAMPLE | SCBD DATE | REFERENCE | DICTIONARY | COMMENTS
2.SYSTEM | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | [8 empty] | 09 | 09 | FUNCT09 | FUNCT09 |  |  |  | 0 |  |  | 2017 |  | Systems & equipment pertaining to the distribution of water within or througout a specific building or localized site.
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | PIPING | SOURCE | [6 empty] | A | A | FUNCT09A | FUNCT09A |  |  |  | 0 | *NA | *NA
4.ASSET | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | BACKFLOW PREVENTORS | SOURCE | BACKFLOW PREVENTER | BACKFLOW PREVENTER ASSEMBLY |  |  |  |  | BFPV | BFPA | FUNCT09C-BFPV | FUNCT09A-BFPA |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | BACKFLOW PREVENTER ASSEMBLY |  |  | PRESSURE REDUCING VALVE |  |  | HVV |  | FUNCT09A-BFPA.HVV |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | BACKFLOW PREVENTORS | SOURCE | BACKFLOW PREVENTER | BACKFLOW PREVENTER ASSEMBLY | VALVE |  | ISOLATION VALVES |  | VLV | ISOV | FUNCT09C-BFPV-VLV | FUNCT09A-BFPA.ISOV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT09A-DSCS |  |  |  | 1
4.ASSET | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | WATER SUPPLY | SOURCE | FILTRATION SYSTEM | FILTRATION SYSTEM |  |  |  |  | FILSYS | FILSYS | FUNCT09G-FILSYS | FUNCT09A-FILSYS |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | FILTRATION SYSTEM |  |  | BOOSTER PUMP |  |  | BPMP |  | FUNCT09A-FILSYS.BPMP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | FILTRATION SYSTEM |  |  | BLADDER TANK |  |  | BTNK |  | FUNCT09A-FILSYS.BTNK |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | FILTRATION SYSTEM |  |  | FILTER CARTRIDGE HOUSING |  |  | FCTH |  | FUNCT09A-FILSYS.FCTH |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | FILTRATION SYSTEM |  |  | ISOLATION VALVES |  |  | ISOV |  | FUNCT09A-FILSYS.ISOV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | FILTRATION SYSTEM |  |  | PIPING / TUBING |  |  | PTUB |  | FUNCT09A-FILSYS.PTUB |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | FILTRATION SYSTEM |  |  | UV FILTRATION |  |  | UVFT |  | FUNCT09A-FILSYS.UVFT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | FILTRATION SYSTEM |  |  |  | FILTER |  | FLTR |  | FUNCT09A-FILSYS:FLTR |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | FILTRATION SYSTEM |  |  |  | O-RING / GASKETS |  | ORNG |  | FUNCT09A-FILSYS:ORNG |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | BACKFLOW PREVENTORS | SOURCE | MASTER PRV | PRESSURE REDUCING VALVE |  |  |  |  | MPRV | HVV | FUNCT09C-MPRV | FUNCT09A-HVV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | ISOLATION VALVES | [5 empty] | ISOV |  | FUNCT09A-ISOV |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | PIPING | SOURCE | PIPE | PIPE |  |  |  |  | PIPE | PIPE | FUNCT09A-PIPE | FUNCT09A-PIPE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | PIPE |  |  | DRAIN VALVE |  |  | DRNV |  | FUNCT09A-PIPE.DRNV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | PIPE |  |  | FLOW METER |  |  | FLWM |  | FUNCT09A-PIPE.FLWM |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | HEAT TRACE | SOURCE | HEAT TRACE | PIPE |  |  | FREEZE PROTECTION |  | HTTC | FZPT | FUNCT09H-HTTC | FUNCT09A-PIPE.FZPT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | PIPE |  |  | GAUGES |  |  | GAUG |  | FUNCT09A-PIPE.GAUG |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | PIPE |  |  | INSULATION |  |  | INSL |  | FUNCT09A-PIPE.INSL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | PIPE |  |  | VIBRATION ELIMINATOR |  |  | VIBR |  | FUNCT09A-PIPE.VIBR |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | WATER SUPPLY | SOURCE | PUMP | PUMP |  |  |  |  | PUMP | PUMP | FUNCT09G-PUMP | FUNCT09A-PUMP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | PUMP |  |  | MOTOR |  |  | MOTR |  | FUNCT09A-PUMP.MOTR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | WATER SUPPLY | SOURCE | PUMP | PUMP | CONTROL PANEL |  | VFD/ STARTER |  | CLPL | STRT | FUNCT09G-PUMP-CLPL | FUNCT09A-PUMP.STRT |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | WATER SOFTENER | [5 empty] | WSFT |  | FUNCT09A-WSFT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | WATER SOFTENER |  |  | BACKFLOW PREVENTER |  |  | BFPV |  | FUNCT09A-WSFT.BFPV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | WATER SOFTENER |  |  | CONTROLS |  |  | CNTL |  | FUNCT09A-WSFT.CNTL |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | SOURCE |  | WATER SOFTENER |  |  |  | CHEMICAL |  | CHML |  | FUNCT09A-WSFT:CHML |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | PIPING | SOURCE | WATER METER | WATER METER |  |  |  |  | WTMT | WTMT | FUNCT09A-WTMT | FUNCT09A-WTMT |  |  |  | 0
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | VALVES | DISTRIBUTION | [6 empty] | B | B | FUNCT09B | FUNCT09B |  |  |  | 0 | EACH DISTRIBUTION GROUP | FOUNTAIN PUBLIC
4.ASSET | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DISTRIBUTION |  | CHECK VALVE | [5 empty] | CHVL |  | FUNCT09B-CHVL |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DISTRIBUTION |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT09B-DSCS |  |  |  | 1
4.ASSET | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | DRINKING FOUNTAINS | DISTRIBUTION | FOUNTAINS | WATER FILLING STATION |  |  |  |  | FNTN | FNTN | FUNCT09D-FNTN | FUNCT09B-FNTN |  |  |  | 2
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DISTRIBUTION |  | WATER FILLING STATION |  |  | PIPING / TUBING |  |  | PTUB |  | FUNCT09B-FNTN.PTUB |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DISTRIBUTION |  | WATER FILLING STATION |  |  |  | FILTER |  | FLTR |  | FUNCT09B-FNTN:FLTR |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | VALVES | DISTRIBUTION | VALVE | ISOLATION VALVES |  |  |  |  | VLV | ISOV | FUNCT09B-VLV | FUNCT09B-ISOV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DISTRIBUTION |  | PIPE | [5 empty] | PIPE |  | FUNCT09B-PIPE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DISTRIBUTION |  | PIPE |  |  | DRAIN VALVE |  |  | DRNV |  | FUNCT09B-PIPE.DRNV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DISTRIBUTION |  | PIPE |  |  | FLOW METER |  |  | FLWM |  | FUNCT09B-PIPE.FLWM |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DISTRIBUTION |  | PIPE |  |  | FREEZE PROTECTION |  |  | FZPT |  | FUNCT09B-PIPE.FZPT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DISTRIBUTION |  | PIPE |  |  | GAUGES |  |  | GAUG |  | FUNCT09B-PIPE.GAUG |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DISTRIBUTION |  | PIPE |  |  | INSULATION |  |  | INSL |  | FUNCT09B-PIPE.INSL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DISTRIBUTION |  | PIPE |  |  | VIBRATION ELIMINATOR |  |  | VIBR |  | FUNCT09B-PIPE.VIBR |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DISTRIBUTION |  | PUMP | [5 empty] | PUMP |  | FUNCT09B-PUMP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DISTRIBUTION |  | PUMP |  |  | MOTOR |  |  | MOTR |  | FUNCT09B-PUMP.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DISTRIBUTION |  | PUMP |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT09B-PUMP.STRT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | WATER SUPPLY | DISTRIBUTION | TANK | TANK |  |  |  |  | TANK | TANK | FUNCT09G-TANK | FUNCT09B-TANK |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DISTRIBUTION |  | TANK |  |  | CONTROLS |  |  | CNTL |  | FUNCT09B-TANK.CNTL |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | WATER CART | DISTRIBUTION | WATER CART | WATER CART |  |  |  |  | WCRT | WCRT | FUNCT09I-WCRT | FUNCT09B-WCRT |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | WATER CART | DISTRIBUTION | WATER CART | WATER CART | BACKFLOW PREVENTER |  | BACKFLOW PREVENTER |  | BFPV | BFPV | FUNCT09I-WCRT-BFPV | FUNCT09B-WCRT.BFPV |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | WATER CART | DISTRIBUTION | WATER CART | WATER CART | WATER METER |  | WATER METER |  | WTMT | WTMT | FUNCT09I-WCRT-WTMT | FUNCT09B-WCRT.WTMT |  |  |  | 0
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | BACKFLOW PREVENTORS | DOMESTIC HOT WATER | [6 empty] | C | C | FUNCT09C | FUNCT09C |  |  |  | 0 | EACH HOT WATER HEATER ASSEMBLY | HEADHOUSE DEPARTURES 1
4.ASSET | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | CHECK VALVE | [5 empty] | CHVL |  | FUNCT09C-CHVL |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT09C-DSCS |  |  |  | 1
4.ASSET | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | EXPANSION TANK | [5 empty] | EXPT |  | FUNCT09C-EXPT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | EXPANSION TANK |  |  | BLADDER |  |  | BLAD |  | FUNCT09C-EXPT.BLAD |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | EXPANSION TANK |  |  | GAUGES |  |  | GAUG |  | FUNCT09C-EXPT.GAUG |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | WATER HEATERS | DOMESTIC HOT WATER | HOT WATER HEATER | HOT WATER HEATER |  |  |  |  | HWH | HWH | FUNCT09E-HWH | FUNCT09C-HWH |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | POTABLE WATER | WATER SUPPLY (DOMESTIC) | WATER HEATERS | DOMESTIC HOT WATER | HOT WATER HEATER | HOT WATER HEATER | BURNER ASSEMBLY |  | BURNER ASSEMBLY |  | BRAS | BRAS | FUNCT09E-HWH-BRAS | FUNCT09C-HWH.BRAS |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | HOT WATER HEATER |  |  | COMBUSTION FAN |  |  | CMBF |  | FUNCT09C-HWH.CMBF |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | HOT WATER HEATER |  |  | CONTROLS |  |  | CNTL |  | FUNCT09C-HWH.CNTL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | HOT WATER HEATER |  |  | DRAIN VALVE |  |  | DRNV |  | FUNCT09C-HWH.DRNV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | HOT WATER HEATER |  |  | EXHAUST VENTING |  |  | EVNT |  | FUNCT09C-HWH.EVNT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | HOT WATER HEATER |  |  | GAS VALVE |  |  | GVLV |  | FUNCT09C-HWH.GVLV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | HOT WATER HEATER |  |  | IGNITOR |  |  | IGNR |  | FUNCT09C-HWH.IGNR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | HOT WATER HEATER |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT09C-HWH.PRRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | HOT WATER HEATER |  |  | SUPPLY VENTING |  |  | SVNT |  | FUNCT09C-HWH.SVNT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | HOT WATER HEATER |  |  |  | ELEMENT |  | ELMN |  | FUNCT09C-HWH:ELMN |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | ISOLATION VALVES | [5 empty] | ISOV |  | FUNCT09C-ISOV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | MIXING VALVE | [5 empty] | MIXV |  | FUNCT09C-MIXV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | PIPE | [5 empty] | PIPE |  | FUNCT09C-PIPE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | PIPE |  |  | DRAIN VALVE |  |  | DRNV |  | FUNCT09C-PIPE.DRNV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | PIPE |  |  | FLOW METER |  |  | FLWM |  | FUNCT09C-PIPE.FLWM |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | PIPE |  |  | GAUGES |  |  | FZPT |  | FUNCT09C-PIPE.FZPT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | PIPE |  |  | INSULATION |  |  | GAUG |  | FUNCT09C-PIPE.GAUG |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | PIPE |  |  | VIBRATION ELIMINATOR |  |  | INSL |  | FUNCT09C-PIPE.INSL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | PIPE |  |  | FREEZE PROTECTION |  |  | VIBR |  | FUNCT09C-PIPE.VIBR |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | PUMP | [5 empty] | PUMP |  | FUNCT09C-PUMP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | PUMP |  |  | MOTOR |  |  | MOTR |  | FUNCT09C-PUMP.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | WATER SUPPLY (DOMESTIC) |  | DOMESTIC HOT WATER |  | PUMP |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT09C-PUMP.STRT |  |  |  | 0
Note on H3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: "Supply" is the industry standard
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Plural. Should this be singular?
Note on M12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Plural. Should this be singular?
Note on J18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Plural. Should this be singular?
Note on J40: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Plural. Should this be singular?
Note on J73: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Plural. Should this be singular?