## ARID Format
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILD ASSET | COMPONENT | SPARE PART | ACRONYM | ADS CODE
FUNCT
| RECYCLED WATER | [5 empty] | 10 | FUNCT10
|  | COLLECTION |  |  |  |  | A | FUNCT10A
|  |  | CONTROL VALVE |  |  |  | CNTV | FUNCT10A-CNTV
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT10A-DSCS
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT10A-ISOV
|  |  | PIPE |  |  |  | PIPE | FUNCT10A-PIPE
[6 empty] | SCREEN/FILTER | SCRN | FUNCT10A-PIPE:SCRN
|  |  | PUMP |  |  |  | PUMP | FUNCT10A-PUMP
[5 empty] | MOTOR |  | MOTR | FUNCT10A-PUMP.MOTR
[5 empty] | VFD/ STARTER |  | STRT | FUNCT10A-PUMP.STRT
|  |  | TANK |  |  |  | TANK | FUNCT10A-TANK
|  | DISTRIBUTION |  |  |  |  | B | FUNCT10B
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT10B-DSCS
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT10B-ISOV
|  |  | PIPE |  |  |  | PIPE | FUNCT10B-PIPE
|  |  | PUMP |  |  |  | PUMP | FUNCT10B-PUMP
[5 empty] | MOTOR |  | MOTR | FUNCT10B-PUMP.MOTR
[5 empty] | VFD/ STARTER |  | STRT | FUNCT10B-PUMP.STRT
|  | TREATMENT |  |  |  |  | C | FUNCT10C
|  |  | BIOLOGICAL SYSTEM |  |  |  | BOSM | FUNCT10C-BOSM
[5 empty] | FILTER |  | FLTR | FUNCT10C-BOSM.FLTR
[6 empty] | FILTER MEDIUM | FTMD | FUNCT10C-BOSM:FTMD
|  |  | CHEMICAL SYSTEM |  |  |  | CHSM | FUNCT10C-CHSM
[5 empty] | CHEMICAL DOSER |  | CDSR | FUNCT10C-CHSM.CDSR
[5 empty] | CONTROLS |  | CNTL | FUNCT10C-CHSM.CNTL
[6 empty] | CHEMICAL | CHML | FUNCT10C-CHSM:CHML
|  |  | CONTROL PANEL |  |  |  | CLPL | FUNCT10C-CLPL
|  |  | FILTRATION SYSTEM |  |  |  | FILSYS | FUNCT10C-FILSYS
[5 empty] | CONTROLS |  | CNTL | FUNCT10C-FILSYS.CNTL
[5 empty] | FILTER |  | FLTR | FUNCT10C-FILSYS.FLTR
[5 empty] | ISOLATION VALVE |  | ISOV | FUNCT10C-FILSYS.ISOV
[5 empty] | TANK |  | TANK | FUNCT10C-FILSYS.TANK
[6 empty] | FILTER MEDIUM | FTMD | FUNCT10C-FILSYS:FTMD
[6 empty] | LAMP | LAMP | FUNCT10C-FILSYS:LAMP
|  |  | SEPARATOR |  |  |  | SEPR | FUNCT10C-SEPR
|  |  | TANK |  |  |  | TANK | FUNCT10C-TANK
|  |  | ULTRAVIOLET SYSTEM |  |  |  | UVSM | FUNCT10C-UVSM
[5 empty] | CONTROLS |  | CNTL | FUNCT10C-UVSM.CNTL
[6 empty] | LAMP | LAMP | FUNCT10C-UVSM:LAMP

## 10
LEVEL | ACTION | HIERARCHY | HIERARCHY UPDATE | SYSTEM | SYSTEM UPDATE | SUBSYSTEM | SUBSYSTEM UPDATE | ASSET | ASSET UPDATE | CHILD ASSET | COMPONENT | COMPONENT UPDATE | SPARE PART UPDATE | ACRONYM | ACRONYM UPDATE | ADS CODE | ADS CODE UPDATE | REMOVE | TB&T, PORTS | FLOW ENABLED | CONFLICT | INSTANCE | INSTANCE EXAMPLE | SCBD DATE | REFERENCE | DICTIONARY | COMMENTS | Change Request Number
2.SYSTEM | MODIFICATION | FUNCT | FUNCT | RECLAIMED WATER | RECYCLED WATER | [8 empty] | 10 | 10 | FUNCT10 | FUNCT10 |  |  |  | 0 |  |  |  | For discharged wastewater (see SANITARY WASTE) | Maintenance Object specific systems & equipment pertaining to collected stormwater or discharged wastewater (see SANITARY WASTE) that is treated and reused/recycled for other purposes/applications (irrigation, industrial processes, etc.).
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | RECLAIMED WATER | RECYCLED WATER | PIPING | COLLECTION | [6 empty] | A | A | FUNCT10A | FUNCT10A |  |  |  | 0 | EACH COLLECTION / STORAGE SYSTEM OCCURANCE | RECLAIM-ZONE 1
4.ASSET | MODIFICATION | FUNCT | FUNCT | RECLAIMED WATER | RECYCLED WATER | VALVES | COLLECTION | DIFFERENTIAL CONTROL VALVE | CONTROL VALVE |  |  |  |  | DCV | CNTV | FUNCT10B-DCV | FUNCT10A-CNTV |  |  |  | 1
4.ASSET | NEW |  | FUNCT |  | RECYCLED WATER |  | COLLECTION |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT10A-DSCS |  |  |  | 1
4.ASSET | MODIFICATION | FUNCT | FUNCT | RECLAIMED WATER | RECYCLED WATER | VALVES | COLLECTION | VALVE | ISOLATION VALVE |  |  |  |  | VLV | ISOV | FUNCT10B-VLV | FUNCT10A-ISOV |  |  |  | 2
4.ASSET | MODIFICATION | FUNCT | FUNCT | RECLAIMED WATER | RECYCLED WATER | PIPING | COLLECTION | PIPE | PIPE |  |  |  |  | PIPE | PIPE | FUNCT10A-PIPE | FUNCT10A-PIPE |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | RECYCLED WATER |  | COLLECTION |  | PIPE |  |  |  | SCREEN/FILTER |  | SCRN |  | FUNCT10A-PIPE:SCRN |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | RECYCLED WATER |  | COLLECTION |  | PUMP | [5 empty] | PUMP |  | FUNCT10A-PUMP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | RECYCLED WATER |  | COLLECTION |  | PUMP |  |  | MOTOR |  |  | MOTR |  | FUNCT10A-PUMP.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | RECYCLED WATER |  | COLLECTION |  | PUMP |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT10A-PUMP.STRT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | RECLAIMED WATER | RECYCLED WATER | TANK | COLLECTION | TANK | TANK |  |  |  |  | TANK | TANK | FUNCT10D-TANK | FUNCT10A-TANK |  |  |  | 0
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | RECLAIMED WATER | RECYCLED WATER | VALVES | DISTRIBUTION | [6 empty] | B | B | FUNCT10B | FUNCT10B |  |  |  | 0 | *NA | *NA
4.ASSET | NEW |  | FUNCT |  | RECYCLED WATER |  | DISTRIBUTION |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT10B-DSCS |  |  |  | 1
4.ASSET | NEW |  | FUNCT |  | RECYCLED WATER |  | DISTRIBUTION |  | ISOLATION VALVE | [5 empty] | ISOV |  | FUNCT10B-ISOV |  |  |  | 2
4.ASSET | NEW |  | FUNCT |  | RECYCLED WATER |  | DISTRIBUTION |  | PIPE | [5 empty] | PIPE |  | FUNCT10B-PIPE |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | RECLAIMED WATER | RECYCLED WATER | PUMPS | DISTRIBUTION | PUMP | PUMP |  |  |  |  | PUMP | PUMP | FUNCT10C-PUMP | FUNCT10B-PUMP |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | RECLAIMED WATER | RECYCLED WATER | PUMPS | DISTRIBUTION | PUMP | PUMP | MOTOR |  | MOTOR |  | MOTR | MOTR | FUNCT10C-PUMP-MOTR | FUNCT10B-PUMP.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | RECYCLED WATER |  | DISTRIBUTION |  | PUMP |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT10B-PUMP.STRT |  |  |  | 0
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | RECLAIMED WATER | RECYCLED WATER | PUMPS | TREATMENT | [6 empty] | C | C | FUNCT10C | FUNCT10C |  |  |  | 0 | EACH TREATMENT ZONE OCCURENCE | RECLAIMED TREATMENT-1
4.ASSET | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | BIOLOGICAL SYSTEM | [5 empty] | BOSM |  | FUNCT10C-BOSM |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | BIOLOGICAL SYSTEM |  |  | FILTER |  |  | FLTR |  | FUNCT10C-BOSM.FLTR |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | BIOLOGICAL SYSTEM |  |  |  | FILTER MEDIUM |  | FTMD |  | FUNCT10C-BOSM:FTMD |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | CHEMICAL SYSTEM | [5 empty] | CHSM |  | FUNCT10C-CHSM |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | CHEMICAL SYSTEM |  |  | CHEMICAL DOSER |  |  | CDSR |  | FUNCT10C-CHSM.CDSR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | CHEMICAL SYSTEM |  |  | CONTROLS |  |  | CNTL |  | FUNCT10C-CHSM.CNTL |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | CHEMICAL SYSTEM |  |  |  | CHEMICAL |  | CHML |  | FUNCT10C-CHSM:CHML |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | CONTROL PANEL | [5 empty] | CLPL |  | FUNCT10C-CLPL |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | RECLAIMED WATER | RECYCLED WATER | TREATMENT | TREATMENT | FILTRATION SYSTEM | FILTRATION SYSTEM |  |  |  |  | FILSYS | FILSYS | FUNCT10E-FILSYS | FUNCT10C-FILSYS |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | FILTRATION SYSTEM |  |  | CONTROLS |  |  | CNTL |  | FUNCT10C-FILSYS.CNTL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | FILTRATION SYSTEM |  |  | FILTER |  |  | FLTR |  | FUNCT10C-FILSYS.FLTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | FILTRATION SYSTEM |  |  | ISOLATION VALVE |  |  | ISOV |  | FUNCT10C-FILSYS.ISOV |  |  |  | 2
6.COMPONENT | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | FILTRATION SYSTEM |  |  | TANK |  |  | TANK |  | FUNCT10C-FILSYS.TANK |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | FILTRATION SYSTEM |  |  |  | FILTER MEDIUM |  | FTMD |  | FUNCT10C-FILSYS:FTMD |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | FILTRATION SYSTEM |  |  |  | LAMP |  | LAMP |  | FUNCT10C-FILSYS:LAMP |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | SEPARATOR | [5 empty] | SEPR |  | FUNCT10C-SEPR |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | TANK | [5 empty] | TANK |  | FUNCT10C-TANK |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | ULTRAVIOLET SYSTEM | [5 empty] | UVSM |  | FUNCT10C-UVSM |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | ULTRAVIOLET SYSTEM |  |  | CONTROLS |  |  | CNTL |  | FUNCT10C-UVSM.CNTL |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | RECYCLED WATER |  | TREATMENT |  | ULTRAVIOLET SYSTEM |  |  |  | LAMP |  | LAMP |  | FUNCT10C-UVSM:LAMP |  |  |  | 0