## ARID Format
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | COMPONENT | SPARE PART | ACRONYM | ADS CODE
FUNCT
| STORM WATER |  |  |  |  | 11 | FUNCT11
|  | COLLECTION |  |  |  | A | FUNCT11A
|  |  | BASIN |  |  | BASN | FUNCT11A-BASN
|  |  |  | CULVERT |  | CLVT | FUNCT11A-BASN.CLVT
|  |  |  | CATWALK |  | CTWK | FUNCT11A-BASN.CTWK
|  |  |  | EROSION CONTROL |  | ESNC | FUNCT11A-BASN.ESNC
|  |  |  | HEADWALL |  | HDWALL | FUNCT11A-BASN.HDWALL
[5 empty] | CONTAINMENT BOOM | CONB | FUNCT11A-BASN:CONB
[5 empty] | GRATE | GRAT | FUNCT11A-BASN:GRAT
[5 empty] | I BEAM | IBEM | FUNCT11A-BASN:IBEM
[5 empty] | TIDE RISER | TDRS | FUNCT11A-BASN:TDRS
[5 empty] | WINCH ASSEMBLY (INCLUDES MOTOR) | WNCH | FUNCT11A-BASN:WNCH
|  |  | CATCH BASIN |  |  | CBSN | FUNCT11A-CBSN
|  |  |  | GRATE |  | GRAT | FUNCT11A-CBSN.GRAT
|  |  | CONTAMINATION SEPARATOR |  |  | CSEP | FUNCT11A-CSEP
|  |  | GATE |  |  | GATE | FUNCT11A-GATE
|  |  |  | GATE DRIVE |  | GTDV | FUNCT11A-GATE.GTDV
|  |  |  | HEADWALL |  | HDWALL | FUNCT11A-GATE.HDWALL
[5 empty] | CHAIN | CHAIN | FUNCT11A-GATE:CHAIN
|  |  | ISOLATION VALVE |  |  | ISOV | FUNCT11A-ISOV
|  |  | OUTFALLS |  |  | OTFL | FUNCT11A-OTFL
|  |  |  | BACKWATER VALVE |  | BWVV | FUNCT11A-OTFL.BWVV
|  |  |  | HEADWALL |  | HDWALL | FUNCT11A-OTFL.HDWALL
|  |  |  | HANDRAIL |  | HNDR | FUNCT11A-OTFL.HNDR
|  |  |  | SECURITY CAGE |  | SCUCAGE | FUNCT11A-OTFL.SCUCAGE
|  |  |  | STAIRS |  | STRS | FUNCT11A-OTFL.STRS
|  |  |  | WING WALL |  | WGWL | FUNCT11A-OTFL.WGWL
[5 empty] | CONTAINMENT BOOM | CONB | FUNCT11A-OTFL:CONB
[5 empty] | I BEAM | IBEM | FUNCT11A-OTFL:IBEM
[5 empty] | TIDE RISER | TDRS | FUNCT11A-OTFL:TDRS
|  |  | PIPE |  |  | PIPE | FUNCT11A-PIPE
|  | DISTRIBUTION |  |  |  | B | FUNCT11B
|  |  | CHECK VALVE |  |  | CHVL | FUNCT11B-CHVL
|  |  | DISCONNECT SWITCH |  |  | DSCS | FUNCT11B-DSCS
|  |  | ISOLATION VALVE |  |  | ISOV | FUNCT11B-ISOV
|  |  | LIFT STATION |  |  | LFTS | FUNCT11B-LFTS
|  |  |  | CONTROLS |  | CNTL | FUNCT11B-LFTS.CNTL
|  |  |  | GAS DETECTION SYSTEM |  | GDS | FUNCT11B-LFTS.GDS
|  |  |  | HATCH DOOR |  | HADR | FUNCT11B-LFTS.HADR
|  |  |  | HOISTS |  | HSTS | FUNCT11B-LFTS.HSTS
|  |  |  | LEVEL ALARM |  | LALM | FUNCT11B-LFTS.LALM
|  |  |  | LIGHT FIXTURE |  | LFIXT | FUNCT11B-LFTS.LFIXT
|  |  |  | MOTOR |  | MOTR | FUNCT11B-LFTS.MOTR
|  |  |  | PUMP |  | PUMP | FUNCT11B-LFTS.PUMP
|  |  |  | VFD/ STARTER |  | STRT | FUNCT11B-LFTS.STRT
|  |  |  | VENTILATION |  | VNTN | FUNCT11B-LFTS.VNTN
|  |  | PIPE |  |  | PIPE | FUNCT11B-PIPE
|  |  | PUMP |  |  | PUMP | FUNCT11B-PUMP
|  |  |  | CONTROLS |  | CNTL | FUNCT11B-PUMP.CNTL
|  |  |  | MOTOR |  | MOTR | FUNCT11B-PUMP.MOTR
|  |  |  | VFD/ STARTER |  | STRT | FUNCT11B-PUMP.STRT
|  | TREATMENT |  |  |  | C | FUNCT11C
|  |  | CONTAMINATION SEPARATOR |  |  | CSEP | FUNCT11C-CSEP
|  |  |  | CYCLONE CHAMBER |  | CYCH | FUNCT11C-CSEP.CYCH
|  |  |  | PERLITE CANNISTER |  | PRTC | FUNCT11C-CSEP.PRTC
[5 empty] | DISPOSABLE PERLITE BAGS | DPBG | FUNCT11C-CSEP:DPBG
[5 empty] | GRATE | GRAT | FUNCT11C-CSEP:GRAT
|  |  | OIL/WATER SEPARATOR |  |  | OWSP | FUNCT11C-OWSP
|  |  |  | FILTER |  | FLTR | FUNCT11C-OWSP.FLTR
|  |  |  | ISOLATION VALVE |  | ISOV | FUNCT11C-OWSP.ISOV
|  |  |  | LEAK DETECTION |  | LDET | FUNCT11C-OWSP.LDET
|  |  |  | MONITORING WELL |  | MNWL | FUNCT11C-OWSP.MNWL
|  |  |  | MONITORING SYSTEM |  | MSYS | FUNCT11C-OWSP.MSYS
|  |  |  | PUMP |  | PUMP | FUNCT11C-OWSP.PUMP
|  |  |  | VENTS |  | VENT | FUNCT11C-OWSP.VENT

## 11
LEVEL | ACTION | HIERARCHY | HIERARCHY UPDATE | SYSTEM | SYSTEM UPDATE | SUBSYSTEM | SUBSYSTEM UPDATE | ASSET | ASSET UPDATE | CHILD ASSET | COMPONENT | COMPONENT UPDATE | SPARE PART UPDATE | ACRONYM | ACRONYM UPDATE | ADS CODE | ADS CODE UPDATE | REMOVE | TB&T, PORTS | FLOW ENABLED | CONFLICT | INSTANCE | INSTANCE EXAMPLE | SCBD DATE | REFERENCE | DICTIONARY | COMMENTS
2.SYSTEM | NO CHANGE | FUNCT | FUNCT | STORM WATER | STORM WATER | [8 empty] | 11 | 11 | FUNCT11 | FUNCT11 |  |  |  | 0 |  |  |  |  | Maintenance Object specific systems & equipment pertaining to the water originating from weather-related precipitation (rain, snow, hail) that flow on or over a specific building, grounds area and any impervious surfaces.
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | COLLECTION | COLLECTION | [6 empty] | F | A | FUNCT11F | FUNCT11A |  |  |  | 0 | EACH COLLECTION AREA | RETENTION AREA-NORTH
4.ASSET | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | COLLECTION | COLLECTION | SWALES | BASIN |  |  |  |  | SWLE | BASN | FUNCT11F-SWLE | FUNCT11A-BASN |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | COLLECTION | COLLECTION | CATCH BASIN | BASIN |  | CULVERT | CULVERT |  | CLVT | CLVT | FUNCT11F-CBSN.CLVT | FUNCT11A-BASN.CLVT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | COLLECTION |  | BASIN |  |  | CATWALK |  |  | CTWK |  | FUNCT11A-BASN.CTWK |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | COLLECTION | COLLECTION | SWALES | BASIN | RIPRAP |  | EROSION CONTROL |  | RPRP | ESNC | FUNCT11F-SWLE-RPRP | FUNCT11A-BASN.ESNC |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | COLLECTION |  | BASIN |  |  | HEADWALL |  |  | HDWALL |  | FUNCT11A-BASN.HDWALL |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | WATERWAY | COLLECTION | CONTAINMENT BOOM | BASIN |  |  |  | CONTAINMENT BOOM | CONB | CONB | FUNCT11H-CONB | FUNCT11A-BASN:CONB |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | STORM WATER |  | COLLECTION |  | BASIN |  |  |  | GRATE |  | GRAT |  | FUNCT11A-BASN:GRAT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | STORM WATER |  | COLLECTION |  | BASIN |  |  |  | I BEAM |  | IBEM |  | FUNCT11A-BASN:IBEM |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | WATERWAY | COLLECTION | CONTAINMENT BOOM | BASIN | TIDE RISER |  |  | TIDE RISER | TDRS | TDRS | FUNCT11H-CONB-TDRS | FUNCT11A-BASN:TDRS |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | STORM WATER |  | COLLECTION |  | BASIN |  |  |  | WINCH ASSEMBLY (INCLUDES MOTOR) |  | WNCH |  | FUNCT11A-BASN:WNCH |  |  |  | 2
4.ASSET | NO CHANGE | FUNCT | FUNCT | STORM WATER | STORM WATER | COLLECTION | COLLECTION | CATCH BASIN | CATCH BASIN |  |  |  |  | CBSN | CBSN | FUNCT11F-CBSN | FUNCT11A-CBSN |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | COLLECTION |  | CATCH BASIN |  |  | GRATE |  |  | GRAT |  | FUNCT11A-CBSN.GRAT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | FILTRATION | COLLECTION | FILTRATION SYSTEM | CONTAMINATION SEPARATOR |  |  |  |  | FILSYS | CSEP | FUNCT11E-FILSYS | FUNCT11A-CSEP |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | TIDE GATE | COLLECTION | GATE | GATE |  |  |  |  | GATE | GATE | FUNCT11G-GATE | FUNCT11A-GATE |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | TIDE GATE | COLLECTION | GATE | GATE | GATE DRIVE |  | GATE DRIVE |  | GTDV | GTDV | FUNCT11G-GATE-GTDV | FUNCT11A-GATE.GTDV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | COLLECTION |  | GATE |  |  | HEADWALL |  |  | HDWALL |  | FUNCT11A-GATE.HDWALL |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | STORM WATER |  | COLLECTION |  | GATE |  |  |  | CHAIN |  | CHAIN |  | FUNCT11A-GATE:CHAIN |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | STORM WATER |  | COLLECTION |  | ISOLATION VALVES | [5 empty] | ISOV |  | FUNCT11A-ISOV |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | WATERWAY | COLLECTION | OUTFALLS | OUTFALLS |  |  |  |  | OTFL | OTFL | FUNCT11H-OTFL | FUNCT11A-OTFL |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | WATERWAY | COLLECTION | OUTFALLS | OUTFALLS | VALVE |  | BACKWATER VALVE |  | VLV | BWVV | FUNCT11H-OTFL-VLV | FUNCT11A-OTFL.BWVV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | COLLECTION |  | OUTFALLS |  |  | HEADWALL |  |  | HDWALL |  | FUNCT11A-OTFL.HDWALL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | COLLECTION |  | OUTFALLS |  |  | HANDRAIL |  |  | HNDR |  | FUNCT11A-OTFL.HNDR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | COLLECTION |  | OUTFALLS |  |  | SECURITY CAGE |  |  | SCUCAGE |  | FUNCT11A-OTFL.SCUCAGE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | COLLECTION |  | OUTFALLS |  |  | STAIRS |  |  | STRS |  | FUNCT11A-OTFL.STRS |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | COLLECTION |  | OUTFALLS |  |  | WING WALL |  |  | WGWL |  | FUNCT11A-OTFL.WGWL |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | STORM WATER |  | COLLECTION |  | OUTFALLS |  |  |  | CONTAINMENT BOOM |  | CONB |  | FUNCT11A-OTFL:CONB |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | STORM WATER |  | COLLECTION |  | OUTFALLS |  |  |  | I BEAM |  | IBEM |  | FUNCT11A-OTFL:IBEM |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | STORM WATER |  | COLLECTION |  | OUTFALLS |  |  |  | TIDE RISER |  | TDRS |  | FUNCT11A-OTFL:TDRS |  |  |  | 0
4.ASSET | NO CHANGE | FUNCT | FUNCT | STORM WATER | STORM WATER | COLLECTION | COLLECTION | PIPE | PIPE |  |  |  |  | PIPE | PIPE | FUNCT11F-PIPE | FUNCT11A-PIPE |  |  |  | 0
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | VALVES | DISTRIBUTION | [6 empty] | B | B | FUNCT11B | FUNCT11B |  |  |  | 0 | *NA | *NA
4.ASSET | NEW |  | FUNCT |  | STORM WATER |  | DISTRIBUTION |  | CHECK VALVE | [5 empty] | CHVL |  | FUNCT11B-CHVL |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | STORM WATER |  | DISTRIBUTION |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT11B-DSCS |  |  |  | 1
4.ASSET | NEW |  | FUNCT |  | STORM WATER |  | DISTRIBUTION |  | ISOLATION VALVES | [5 empty] | ISOV |  | FUNCT11B-ISOV |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | EJECTION | DISTRIBUTION | SUBMERSIVE PUMP | LIFT STATION |  |  |  |  | SUBP | LFTS | FUNCT11C-SUBP | FUNCT11B-LFTS |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | EJECTION | DISTRIBUTION | SUBMERSIVE PUMP | LIFT STATION | CONTROL PANEL |  | CONTROLS |  | CLPL | CNTL | FUNCT11C-SUBP-CLPL | FUNCT11B-LFTS.CNTL |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | EJECTION | DISTRIBUTION | SUBMERSIVE PUMP | LIFT STATION | GAS DETECTION SYSTEM |  | GAS DETECTION SYSTEM |  | GDS | GDS | FUNCT11C-SUBP-GDS | FUNCT11B-LFTS.GDS |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | EJECTION | DISTRIBUTION | SUBMERSIVE PUMP | LIFT STATION | HATCH DOOR |  | HATCH DOOR |  | HADR | HADR | FUNCT11C-SUBP-HADR | FUNCT11B-LFTS.HADR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | EJECTION | DISTRIBUTION | SUBMERSIVE PUMP | LIFT STATION | HOISTS |  | HOISTS |  | HSTS | HSTS | FUNCT11C-SUBP-HSTS | FUNCT11B-LFTS.HSTS |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | EJECTION | DISTRIBUTION | SUBMERSIVE PUMP | LIFT STATION | ALARM |  | LEVEL ALARM |  | ALRM | LALM | FUNCT11C-SUBP-ALRM | FUNCT11B-LFTS.LALM |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | EJECTION | DISTRIBUTION | SUBMERSIVE PUMP | LIFT STATION | LIGHTING |  | LIGHT FIXTURE |  | LTNG | LFIXT | FUNCT11C-SUBP-LTNG | FUNCT11B-LFTS.LFIXT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | DISTRIBUTION |  | LIFT STATION |  |  | MOTOR |  |  | MOTR |  | FUNCT11B-LFTS.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | DISTRIBUTION |  | LIFT STATION |  |  | PUMP |  |  | PUMP |  | FUNCT11B-LFTS.PUMP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | DISTRIBUTION |  | LIFT STATION |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT11B-LFTS.STRT |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | EJECTION | DISTRIBUTION | SUBMERSIVE PUMP | LIFT STATION | VENTILATION |  | VENTILATION |  | VNTN | VNTN | FUNCT11C-SUBP-VNTN | FUNCT11B-LFTS.VNTN |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | STORM WATER |  | DISTRIBUTION |  | PIPE | [5 empty] | PIPE |  | FUNCT11B-PIPE |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | STORM WATER |  | DISTRIBUTION |  | PUMP | [5 empty] | PUMP |  | FUNCT11B-PUMP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | DISTRIBUTION |  | PUMP |  |  | CONTROLS |  |  | CNTL |  | FUNCT11B-PUMP.CNTL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | DISTRIBUTION |  | PUMP |  |  | MOTOR |  |  | MOTR |  | FUNCT11B-PUMP.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | DISTRIBUTION |  | PUMP |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT11B-PUMP.STRT |  |  |  | 0
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | PIPING | TREATMENT | [6 empty] | A | C | FUNCT11A | FUNCT11C |  |  |  | 0 | *NA | *NA
4.ASSET | NEW |  | FUNCT |  | STORM WATER |  | TREATMENT |  | CONTAMINATION SEPARATOR | [5 empty] | CSEP |  | FUNCT11C-CSEP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | TREATMENT |  | CONTAMINATION SEPARATOR |  |  | CYCLONE CHAMBER |  |  | CYCH |  | FUNCT11C-CSEP.CYCH |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | TREATMENT |  | CONTAMINATION SEPARATOR |  |  | PERLITE CANNISTER |  |  | PRTC |  | FUNCT11C-CSEP.PRTC |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | STORM WATER |  | TREATMENT |  | CONTAMINATION SEPARATOR |  |  |  | DISPOSABLE PERILITE BAGS |  | DPBG |  | FUNCT11C-CSEP:DPBG |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | STORM WATER |  | TREATMENT |  | CONTAMINATION SEPARATOR |  |  |  | GRATE |  | GRAT |  | FUNCT11C-CSEP:GRAT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | EJECTION | TREATMENT | OIL/WATER SEPARATOR | OIL/WATER SEPARATOR |  |  |  |  | OWSP | OWSP | FUNCT11C-OWSP | FUNCT11C-OWSP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | TREATMENT |  | OIL/WATER SEPARATOR |  |  | FILTER |  |  | FILSYS |  | FUNCT11C-OWSP.FILSYS |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | TREATMENT |  | OIL/WATER SEPARATOR |  |  | ISOLATION VALVES |  |  | ISOV |  | FUNCT11C-OWSP.ISOV |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | EJECTION | TREATMENT | OIL/WATER SEPARATOR | OIL/WATER SEPARATOR | LEAK DETECTOR |  | LEAK DETECTION |  | LKDR | LDET | FUNCT11C-OWSP-LKDR | FUNCT11C-OWSP.LDET |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | EJECTION | TREATMENT | OIL/WATER SEPARATOR | OIL/WATER SEPARATOR | MONITORING WELL |  | MONITORING WELL |  | MNWL | MNWL | FUNCT11C-OWSP-MNWL | FUNCT11C-OWSP.MNWL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | STORM WATER |  | TREATMENT |  | OIL/WATER SEPARATOR |  |  | MONITORING SYSTEM |  |  | MSYS |  | FUNCT11C-OWSP.MSYS |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | EJECTION | TREATMENT | OIL/WATER SEPARATOR | OIL/WATER SEPARATOR | PUMP |  | PUMP |  | PUMP | PUMP | FUNCT11C-OWSP-PUMP | FUNCT11C-OWSP.PUMP |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | STORM WATER | STORM WATER | EJECTION | TREATMENT | OIL/WATER SEPARATOR | OIL/WATER SEPARATOR | VENTS |  | VENTS |  | VENT | VENT | FUNCT11C-OWSP-VENT | FUNCT11C-OWSP.VENT |  |  |  | 0
Note on J21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Should this be singular?
Note on J36: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Should this be singular?
Note on N57: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Typo Fixed
Note on N58: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Disposable/Replaceable like perlite bags?
Note on M61: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Should this be singular?