## FOR ARID
LEVEL | ACTION | HIERARCHY | HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | COMPONENT | SPARE PART | ACRONYM | ADS CODE | ADS CODE
2.SYSTEM | NO CHANGE | FUNCT | FUNCT | [7 empty] | FUNCT
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT |  | CHILLED WATER |  |  |  |  | 12 | FUNCT12 | FUNCT12
4.ASSET | NEW |  |  |  | SOURCE |  |  |  | A | FUNCT12A | FUNCT12A
4.ASSET | MODIFICATION | FUNCT |  |  |  | BACKFLOW PREVENTER |  |  | BFPV |  | FUNCT12A-BFPV
7.SPARE PART | NEW |  |  |  |  | BTU METER |  |  | BTUM | FUNCT12C-BTUM | FUNCT12A-BTUM
4.ASSET | MODIFICATION | FUNCT | [5 empty] | CHART | CHRT |  | FUNCT12A-BTUM:CHRT
7.SPARE PART | NEW |  |  |  |  | CHILLER |  |  | CHILL | FUNCT12C-CHILL | FUNCT12A-CHILL
4.ASSET | MODIFICATION | FUNCT | [5 empty] | GASKETS | GASK |  | FUNCT12A-CHILL:GASK
6.COMPONENT | MODIFICATION | FUNCT |  |  |  | CIRCULATION PUMP |  |  | CIRP | FUNCT12E-PUMP | FUNCT12A-CIRP
6.COMPONENT | MODIFICATION | FUNCT |  |  |  |  | MOTOR |  | MOTR | FUNCT12E-PUMP-MOTR | FUNCT12A-CIRP.MOTR
4.ASSET | MODIFICATION | FUNCT |  |  |  |  | VFD/ STARTER |  | STRT | FUNCT12E-PUMP.STRT | FUNCT12A-CIRP.STRT
4.ASSET | NEW |  |  |  |  | CHEMICAL FEEDER |  |  | CMFD | FUNCT12D-CMFD | FUNCT12A-CMFD
6.COMPONENT | NEW |  |  |  |  | CONTROL VALVE |  |  | CNTV |  | FUNCT12A-CNTV
4.ASSET | MODIFICATION | FUNCT |  |  |  |  | MOTOR |  | MOTR |  | FUNCT12A-CNTV.MOTR
4.ASSET | NEW |  |  |  |  | CONTROL INTERFACE |  |  | CONI | FUNCT12F-CNTR | FUNCT12A-CONI
6.COMPONENT | NEW |  |  |  |  | DRY COOLER |  |  | DCOOLER |  | FUNCT12A-DCOOLER
6.COMPONENT | NEW | [5 empty] | CONTROLS |  | CNTL |  | FUNCT12A-DCOOLER.CNTL
6.COMPONENT | NEW | [5 empty] | FAN |  | FAN |  | FUNCT12A-DCOOLER.FAN
6.COMPONENT | NEW | [5 empty] | MOTOR |  | MOTR |  | FUNCT12A-DCOOLER.MOTR
6.COMPONENT | NEW | [5 empty] | PLATE/COIL |  | PLCL |  | FUNCT12A-DCOOLER.PLCL
4.ASSET | NEW | [5 empty] | PRESSURE RELIEF VALVE |  | PRRV |  | FUNCT12A-DCOOLER.PRRV
4.ASSET | MODIFICATION | FUNCT |  |  |  | DISCONNECT SWITCH |  |  | DSCS |  | FUNCT12A-DSCS
6.COMPONENT | NEW |  |  |  |  | EXPANSION TANK |  |  | EXPT | FUNCT12D-EXPT | FUNCT12A-EXPT
4.ASSET | MODIFICATION | FUNCT |  |  |  |  | PRESSURE RELIEF VALVE |  | PRRV |  | FUNCT12A-EXPT.PRRV
6.COMPONENT | NEW |  |  |  |  | HEAT EXCHANGER |  |  | HTEX | FUNCT12C-HTEX | FUNCT12A-HTEX
4.ASSET | NEW | [5 empty] | PRESSURE RELIEF VALVE |  | PRRV |  | FUNCT12A-HTEX.PRRV
4.ASSET | MODIFICATION | FUNCT |  |  |  | ISOLATION VALVES |  |  | ISOV |  | FUNCT12A-ISOV
6.COMPONENT | NEW |  |  |  |  | PIPE |  |  | PIPE | FUNCT12A-PIPE | FUNCT12A-PIPE
6.COMPONENT | NEW | [5 empty] | AIR ELIMINATOR |  | AIRE |  | FUNCT12A-PIPE.AIRE
6.COMPONENT | NEW | [5 empty] | AIR VENT |  | AIRV |  | FUNCT12A-PIPE.AIRV
6.COMPONENT | NEW | [5 empty] | DRAIN VALVE |  | DRNV |  | FUNCT12A-PIPE.DRNV
6.COMPONENT | NEW | [5 empty] | FLOW METER |  | FLWM |  | FUNCT12A-PIPE.FLWM
6.COMPONENT | NEW | [5 empty] | GAUGES |  | GAUG |  | FUNCT12A-PIPE.GAUG
6.COMPONENT | MODIFICATION | FUNCT |  |  |  |  | INSULATION |  | INSL |  | FUNCT12A-PIPE.INSL
6.COMPONENT | MODIFICATION | FUNCT |  |  |  |  | PRESSURE RELIEF VALVE |  | PRRV | FUNCT12A-PIPE-VLV | FUNCT12A-PIPE.PRRV
6.COMPONENT | NEW | [5 empty] | STRAINER |  | STRN | FUNCT12A-PIPE-STRN | FUNCT12A-PIPE.STRN
6.COMPONENT | NEW | [5 empty] | THERMOMETER |  | THER |  | FUNCT12A-PIPE.THER
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT |  |  |  |  | VIBRATION ELIMINATOR |  | VIBR |  | FUNCT12A-PIPE.VIBR
4.ASSET | NEW |  |  |  | DISTRIBUTION |  |  |  | B | FUNCT12B | FUNCT12B
7.SPARE PART | NEW |  |  |  |  | BTU METER |  |  | BTUM |  | FUNCT12B-BTUM
4.ASSET | NEW | [6 empty] | CHART | CHRT |  | FUNCT12B-BTUM:CHRT
6.COMPONENT | NEW |  |  |  |  | CONTROL VALVE |  |  | CNTV |  | FUNCT12B-CNTV
4.ASSET | NEW | [5 empty] | MOTOR |  | MOTR |  | FUNCT12B-CNTV.MOTR
4.ASSET | NEW |  |  |  |  | CONTROL INTERFACE |  |  | CONI |  | FUNCT12B-CONI
6.COMPONENT | NEW |  |  |  |  | DISTRIBUTION PUMP |  |  | DPMP |  | FUNCT12B-DPMP
6.COMPONENT | NEW | [5 empty] | MOTOR |  | MOTR |  | FUNCT12B-DPMP.MOTR
4.ASSET | NEW | [5 empty] | VFD/ STARTER |  | STRT |  | FUNCT12B-DPMP.STRT
4.ASSET | MODIFICATION | FUNCT |  |  |  | DISCONNECT SWITCH |  |  | DSCS |  | FUNCT12B-DSCS
4.ASSET | NEW |  |  |  |  | ISOLATION VALVES |  |  | ISOV | FUNCT12B-VLV | FUNCT12B-ISOV
4.ASSET | NEW |  |  |  |  | PIPE EXPANSION JOINT |  |  | PEXP |  | FUNCT12B-PEXP
6.COMPONENT | NEW |  |  |  |  | PIPE |  |  | PIPE |  | FUNCT12B-PIPE
6.COMPONENT | NEW | [5 empty] | AIR ELIMINATOR |  | AIRE |  | FUNCT12B-PIPE.AIRE
6.COMPONENT | NEW | [5 empty] | AIR VENT |  | AIRV |  | FUNCT12B-PIPE.AIRV
6.COMPONENT | NEW | [5 empty] | DRAIN VALVE |  | DRNV |  | FUNCT12B-PIPE.DRNV
6.COMPONENT | NEW | [5 empty] | FLOW METER |  | FLWM |  | FUNCT12B-PIPE.FLWM
6.COMPONENT | NEW | [5 empty] | GAUGES |  | GAUG |  | FUNCT12B-PIPE.GAUG
6.COMPONENT | NEW | [5 empty] | INSULATION |  | INSL |  | FUNCT12B-PIPE.INSL
6.COMPONENT | NEW | [5 empty] | PRESSURE RELIEF VALVE |  | PRRV |  | FUNCT12B-PIPE.PRRV
6.COMPONENT | NEW | [5 empty] | STRAINER |  | STRN |  | FUNCT12B-PIPE.STRN
6.COMPONENT | NEW | [5 empty] | THERMOMETER |  | THER |  | FUNCT12B-PIPE.THER
[7 empty] | VIBRATION ELIMINATOR |  | VIBR |  | FUNCT12B-PIPE.VIBR

## Chilled Water
LEVEL | ACTION | HIERARCHY | HIERARCHY UPDATE | SYSTEM | SYSTEM UPDATE | SUBSYSTEM | SUBSYSTEM UPDATE | ASSET | ASSET UPDATE | CHILD ASSET | COMPONENT | COMPONENT UPDATE | SPARE PART UPDATE | ACRONYM | ACRONYM UPDATE | ADS CODE | ADS CODE UPDATE | REMOVE | TB&T, PORTS | FLOW ENABLED | CONFLICT | INSTANCE | INSTANCE EXAMPLE | SCBD DATE | REFERENCE | DICTIONARY
2.SYSTEM | NO CHANGE | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | [8 empty] | 12 | 12 | FUNCT12 | FUNCT12 |  |  |  | 0 |  |  | 2017 |  | Maintenance Object specific systems & equipment pertaining to the cooling and conditioning of a specific medium to large-sized building or terminal and the absoprtion of heat energy from that building by means of a method utilizing chilled water.
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | PIPING | SOURCE | [6 empty] | A | A | FUNCT12A | FUNCT12A |  |  |  | 0 | EACH CHILLED WATER SOURCE SCBD | TERMINAL SOURCE
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | BACKFLOW PREVENTER | [5 empty] | BFPV |  | FUNCT12A-BFPV |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | GENERATION | SOURCE | BTU METER | BTU METER |  |  |  |  | BTUM | BTUM | FUNCT12C-BTUM | FUNCT12A-BTUM |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | BTU METER |  |  |  | CHART |  | CHRT |  | FUNCT12A-BTUM:CHRT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | GENERATION | SOURCE | CHILLER | CHILLER |  |  |  |  | CHILL | CHILL | FUNCT12C-CHILL | FUNCT12A-CHILL |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | CHILLER |  |  |  | GASKETS |  | GASK |  | FUNCT12A-CHILL:GASK |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | PUMPS | SOURCE | PUMP | CIRCULATION PUMP |  |  |  |  | PUMP | CIRP | FUNCT12E-PUMP | FUNCT12A-CIRP |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | PUMPS | SOURCE | PUMP | CIRCULATION PUMP | MOTOR |  | MOTOR |  | MOTR | MOTR | FUNCT12E-PUMP-MOTR | FUNCT12A-CIRP.MOTR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | PUMPS | SOURCE | PUMP | CIRCULATION PUMP |  | VFD/ STARTER | VFD/ STARTER |  | STRT | STRT | FUNCT12E-PUMP.STRT | FUNCT12A-CIRP.STRT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | ANCILLARY | SOURCE | CHEMICAL FEEDER | CHEMICAL FEEDER |  |  |  |  | CMFD | CMFD | FUNCT12D-CMFD | FUNCT12A-CMFD |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | CONTROL VALVE | [5 empty] | CNTV |  | FUNCT12A-CNTV |  |  |  | 1
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | CONTROL VALVE |  |  | MOTOR |  |  | MOTR |  | FUNCT12A-CNTV.MOTR |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | CONTROLLER | SOURCE | CONTROLLER | CONTROL INTERFACE |  |  |  |  | CNTR | CONI | FUNCT12F-CNTR | FUNCT12A-CONI |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | DRY COOLER | [5 empty] | DCOOLER |  | FUNCT12A-DCOOLER |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | DRY COOLER |  |  | CONTROLS |  |  | CNTL |  | FUNCT12A-DCOOLER.CNTL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | DRY COOLER |  |  | FAN |  |  | FAN |  | FUNCT12A-DCOOLER.FAN |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | DRY COOLER |  |  | MOTOR |  |  | MOTR |  | FUNCT12A-DCOOLER.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | DRY COOLER |  |  | PLATE/COIL |  |  | PLCL |  | FUNCT12A-DCOOLER.PLCL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | DRY COOLER |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT12A-DCOOLER.PRRV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT12A-DSCS |  |  |  | 1
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | ANCILLARY | SOURCE | EXPANSION TANK | EXPANSION TANK |  |  |  |  | EXPT | EXPT | FUNCT12D-EXPT | FUNCT12A-EXPT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | EXPANSION TANK |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT12A-EXPT.PRRV |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | GENERATION | SOURCE | HEAT EXCHANGER | HEAT EXCHANGER |  |  |  |  | HTEX | HTEX | FUNCT12C-HTEX | FUNCT12A-HTEX |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | HEAT EXCHANGER |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT12A-HTEX.PRRV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | ISOLATION VALVES | [5 empty] | ISOV |  | FUNCT12A-ISOV |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | PIPING | SOURCE | PIPE | PIPE |  |  |  |  | PIPE | PIPE | FUNCT12A-PIPE | FUNCT12A-PIPE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | PIPE |  |  | AIR ELIMINATOR |  |  | AIRE |  | FUNCT12A-PIPE.AIRE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | PIPE |  |  | AIR VENT |  |  | AIRV |  | FUNCT12A-PIPE.AIRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | PIPE |  |  | DRAIN VALVE |  |  | DRNV |  | FUNCT12A-PIPE.DRNV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | PIPE |  |  | FLOW METER |  |  | FLWM |  | FUNCT12A-PIPE.FLWM |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | PIPE |  |  | GAUGES |  |  | GAUG |  | FUNCT12A-PIPE.GAUG |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | PIPE |  |  | INSULATION |  |  | INSL |  | FUNCT12A-PIPE.INSL |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | PIPING | SOURCE | PIPE | PIPE | VALVE |  | PRESSURE RELIEF VALVE |  | VLV | PRRV | FUNCT12A-PIPE-VLV | FUNCT12A-PIPE.PRRV |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | PIPING | SOURCE | PIPE | PIPE | STRAINER |  | STRAINER |  | STRN | STRN | FUNCT12A-PIPE-STRN | FUNCT12A-PIPE.STRN |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | PIPE |  |  | THERMOMETER |  |  | THER |  | FUNCT12A-PIPE.THER |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | PIPE |  |  | VIBRATION ELIMINATOR |  |  | VIBR |  | FUNCT12A-PIPE.VIBR |  |  |  | 0
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | VALVES | DISTRIBUTION | [6 empty] | B | B | FUNCT12B | FUNCT12B |  |  |  | 0 | EACH CHILLED WATER DISTRIBUTION SCBD | TERMINAL DISTRIBUTION
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | BTU METER | [5 empty] | BTUM |  | FUNCT12B-BTUM |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | BTU METER |  |  |  | CHART |  | CHRT |  | FUNCT12B-BTUM:CHRT |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | CONTROL VALVE | [5 empty] | CNTV |  | FUNCT12B-CNTV |  |  |  | 1
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | CONTROL VALVE |  |  | MOTOR |  |  | MOTR |  | FUNCT12B-CNTV.MOTR |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | CONTROL INTERFACE | [5 empty] | CONI |  | FUNCT12B-CONI |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | DISTRIBUTION PUMP | [5 empty] | DPMP |  | FUNCT12B-DPMP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | DISTRIBUTION PUMP |  |  | MOTOR |  |  | MOTR |  | FUNCT12B-DPMP.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | DISTRIBUTION PUMP |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT12B-DPMP.STRT |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT12B-DSCS |  |  |  | 1
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | VALVES | DISTRIBUTION | VALVE | ISOLATION VALVES |  |  |  |  | VLV | ISOV | FUNCT12B-VLV | FUNCT12B-ISOV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE EXPANSION JOINT | [5 empty] | PEXP |  | FUNCT12B-PEXP |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE | [5 empty] | PIPE |  | FUNCT12B-PIPE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | AIR ELIMINATOR |  |  | AIRE |  | FUNCT12B-PIPE.AIRE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | AIR VENT |  |  | AIRV |  | FUNCT12B-PIPE.AIRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | DRAIN VALVE |  |  | DRNV |  | FUNCT12B-PIPE.DRNV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | FLOW METER |  |  | FLWM |  | FUNCT12B-PIPE.FLWM |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | GAUGES |  |  | GAUG |  | FUNCT12B-PIPE.GAUG |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | INSULATION |  |  | INSL |  | FUNCT12B-PIPE.INSL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT12B-PIPE.PRRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | STRAINER |  |  | STRN |  | FUNCT12B-PIPE.STRN |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | THERMOMETER |  |  | THER |  | FUNCT12B-PIPE.THER |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | VIBRATION ELIMINATOR |  |  | VIBR |  | FUNCT12B-PIPE.VIBR |  |  |  | 0

## COMMENTS
LEVEL | ACTION | HIERARCHY | HIERARCHY UPDATE | SYSTEM | SYSTEM UPDATE | SUBSYSTEM | SUBSYSTEM UPDATE | ASSET | ASSET UPDATE | CHILD ASSET | COMPONENT | COMPONENT UPDATE | SPARE PART UPDATE | ACRONYM | ACRONYM UPDATE | ADS CODE | ADS CODE UPDATE | REMOVE | TB&T, PORTS | FLOW ENABLED | CONFLICT | INSTANCE | INSTANCE EXAMPLE | SCBD DATE | REFERENCE | DICTIONARY
2.SYSTEM | NO CHANGE | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | [8 empty] | 12 | 12 | FUNCT12 | FUNCT12 |  |  |  | 0 |  |  | 2017 |  | Maintenance Object specific systems & equipment pertaining to the cooling and conditioning of a specific medium to large-sized building or terminal and the absoprtion of heat energy from that building by means of a method utilizing chilled water.
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | PIPING | SOURCE | [6 empty] | A | A | FUNCT12A | FUNCT12A |  |  |  | 0 | EACH CHILLED WATER SOURCE SCBD | TERMINAL SOURCE
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | BACKFLOW PREVENTER | [5 empty] | BFPV |  | FUNCT12A-BFPV |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | GENERATION | SOURCE | BTU METER | BTU METER |  |  |  |  | BTUM | BTUM | FUNCT12C-BTUM | FUNCT12A-BTUM |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | BTU METER |  |  |  | CHART |  | CHRT |  | FUNCT12A-BTUM:CHRT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | GENERATION | SOURCE | CHILLER | CHILLER |  |  |  |  | CHILL | CHILL | FUNCT12C-CHILL | FUNCT12A-CHILL |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | CHILLER |  |  |  | GASKETS |  | GASK |  | FUNCT12A-CHILL:GASK |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | PUMPS | SOURCE | PUMP | CIRCULATION PUMP |  |  |  |  | PUMP | CIRP | FUNCT12E-PUMP | FUNCT12A-CIRP |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | PUMPS | SOURCE | PUMP | CIRCULATION PUMP | MOTOR |  | MOTOR |  | MOTR | MOTR | FUNCT12E-PUMP-MOTR | FUNCT12A-CIRP.MOTR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | PUMPS | SOURCE | PUMP | CIRCULATION PUMP |  | VFD/ STARTER | VFD/ STARTER |  | STRT | STRT | FUNCT12E-PUMP.STRT | FUNCT12A-CIRP.STRT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | ANCILLARY | SOURCE | CHEMICAL FEEDER | CHEMICAL FEEDER |  |  |  |  | CMFD | CMFD | FUNCT12D-CMFD | FUNCT12A-CMFD |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | CONTROL VALVE | [5 empty] | CNTV |  | FUNCT12A-CNTV |  |  |  | 1
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | CONTROL VALVE |  |  | MOTOR |  |  | MOTR |  | FUNCT12A-CNTV.MOTR |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | CONTROLLER | SOURCE | CONTROLLER | CONTROL INTERFACE |  |  |  |  | CNTR | CONI | FUNCT12F-CNTR | FUNCT12A-CONI |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | DRY COOLER | [5 empty] | DCOOLER |  | FUNCT12A-DCOOLER |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | DRY COOLER |  |  | CONTROLS |  |  | CNTL |  | FUNCT12A-DCOOLER.CNTL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | DRY COOLER |  |  | FAN |  |  | FAN |  | FUNCT12A-DCOOLER.FAN |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | DRY COOLER |  |  | MOTOR |  |  | MOTR |  | FUNCT12A-DCOOLER.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | DRY COOLER |  |  | PLATE/COIL |  |  | PLCL |  | FUNCT12A-DCOOLER.PLCL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | DRY COOLER |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT12A-DCOOLER.PRRV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT12A-DSCS |  |  |  | 1
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | ANCILLARY | SOURCE | EXPANSION TANK | EXPANSION TANK |  |  |  |  | EXPT | EXPT | FUNCT12D-EXPT | FUNCT12A-EXPT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | EXPANSION TANK |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT12A-EXPT.PRRV |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | GENERATION | SOURCE | HEAT EXCHANGER | HEAT EXCHANGER |  |  |  |  | HTEX | HTEX | FUNCT12C-HTEX | FUNCT12A-HTEX |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | HEAT EXCHANGER |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT12A-HTEX.PRRV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | ISOLATION VALVES | [5 empty] | ISOV |  | FUNCT12A-ISOV |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | PIPING | SOURCE | PIPE | PIPE |  |  |  |  | PIPE | PIPE | FUNCT12A-PIPE | FUNCT12A-PIPE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | PIPE |  |  | AIR ELIMINATOR |  |  | AIRE |  | FUNCT12A-PIPE.AIRE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | PIPE |  |  | AIR VENT |  |  | AIRV |  | FUNCT12A-PIPE.AIRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | PIPE |  |  | DRAIN VALVE |  |  | DRNV |  | FUNCT12A-PIPE.DRNV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | PIPE |  |  | FLOW METER |  |  | FLWM |  | FUNCT12A-PIPE.FLWM |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | PIPE |  |  | GAUGES |  |  | GAUG |  | FUNCT12A-PIPE.GAUG |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | PIPE |  |  | INSULATION |  |  | INSL |  | FUNCT12A-PIPE.INSL |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | PIPING | SOURCE | PIPE | PIPE | VALVE |  | PRESSURE RELIEF VALVE |  | VLV | PRRV | FUNCT12A-PIPE-VLV | FUNCT12A-PIPE.PRRV |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | PIPING | SOURCE | PIPE | PIPE | STRAINER |  | STRAINER |  | STRN | STRN | FUNCT12A-PIPE-STRN | FUNCT12A-PIPE.STRN |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | PIPE |  |  | THERMOMETER |  |  | THER |  | FUNCT12A-PIPE.THER |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | SOURCE |  | PIPE |  |  | VIBRATION ELIMINATOR |  |  | VIBR |  | FUNCT12A-PIPE.VIBR |  |  |  | 0
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | VALVES | DISTRIBUTION | [6 empty] | B | B | FUNCT12B | FUNCT12B |  |  |  | 0 | EACH CHILLED WATER DISTRIBUTION SCBD | TERMINAL DISTRIBUTION
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | BTU METER | [5 empty] | BTUM |  | FUNCT12B-BTUM |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | BTU METER |  |  |  | CHART |  | CHRT |  | FUNCT12B-BTUM:CHRT |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | CONTROL VALVE | [5 empty] | CNTV |  | FUNCT12B-CNTV |  |  |  | 1
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | CONTROL VALVE |  |  | MOTOR |  |  | MOTR |  | FUNCT12B-CNTV.MOTR |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | CONTROL INTERFACE | [5 empty] | CONI |  | FUNCT12B-CONI |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | DISTRIBUTION PUMP | [5 empty] | DPMP |  | FUNCT12B-DPMP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | DISTRIBUTION PUMP |  |  | MOTOR |  |  | MOTR |  | FUNCT12B-DPMP.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | DISTRIBUTION PUMP |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT12B-DPMP.STRT |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT12B-DSCS |  |  |  | 1
4.ASSET | MODIFICATION | FUNCT | FUNCT | CHILLED WATER | CHILLED WATER | VALVES | DISTRIBUTION | VALVE | ISOLATION VALVES |  |  |  |  | VLV | ISOV | FUNCT12B-VLV | FUNCT12B-ISOV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE EXPANSION JOINT | [5 empty] | PEXP |  | FUNCT12B-PEXP |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE | [5 empty] | PIPE |  | FUNCT12B-PIPE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | AIR ELIMINATOR |  |  | AIRE |  | FUNCT12B-PIPE.AIRE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | AIR VENT |  |  | AIRV |  | FUNCT12B-PIPE.AIRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | DRAIN VALVE |  |  | DRNV |  | FUNCT12B-PIPE.DRNV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | FLOW METER |  |  | FLWM |  | FUNCT12B-PIPE.FLWM |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | GAUGES |  |  | GAUG |  | FUNCT12B-PIPE.GAUG |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | INSULATION |  |  | INSL |  | FUNCT12B-PIPE.INSL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT12B-PIPE.PRRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | STRAINER |  |  | STRN |  | FUNCT12B-PIPE.STRN |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | THERMOMETER |  |  | THER |  | FUNCT12B-PIPE.THER |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | CHILLED WATER |  | DISTRIBUTION |  | PIPE |  |  | VIBRATION ELIMINATOR |  |  | VIBR |  | FUNCT12B-PIPE.VIBR |  |  |  | 0
Note on H3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: SOURCE is wrong, it is properly called SUPPLY. Even Wikipedia gets this right.
Note on J51: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Be sure PIPE is consistent with PIPE defined elsewhere, if at all. I am not a fan of PIPE and prefer PLUMBING, so you can further differentiate fittings, gauges, devices, etc from actual pipe.