## FOR ARID
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | COMPONENT | SPARE PART | ACRONYM | ADS CODE
FUNCT | [6 empty] | FUNCT
| HOT WATER (THERMAL) |  |  |  |  | 13 | FUNCT13
|  | SOURCE |  |  |  | A | FUNCT13A
|  |  | AIR COMPRESSOR |  |  | ARCP | FUNCT13A-ARCP
|  |  |  | COMPRESSOR |  | CMPR | FUNCT13A-ARCP.CMPR
|  |  |  | CONTROLS |  | CNTL | FUNCT13A-ARCP.CNTL
|  |  |  | ISOLATION VALVES |  | ISOV | FUNCT13A-ARCP.ISOV
|  |  |  | MOTOR |  | MOTR | FUNCT13A-ARCP.MOTR
|  |  |  | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A-ARCP.PRRV
|  |  |  | VFD/ STARTER |  | STRT | FUNCT13A-ARCP.STRT
[5 empty] | AIR FILTER | AFLT | FUNCT13A-ARCP:AFLT
[5 empty] | BELT | BELT | FUNCT13A-ARCP:BELT
[5 empty] | OIL FILTER | OFLT | FUNCT13A-ARCP:OFLT
[5 empty] | OIL | OIL | FUNCT13A-ARCP:OIL
|  |  | BACKFLOW PREVENTER |  |  | BFPV | FUNCT13A-BFPV
|  |  | BOILER |  |  | BOIL | FUNCT13A-BOIL
|  |  |  | BURNER ASSEMBLY |  | BRAS | FUNCT13A-BOIL.BRAS
|  |  |  | COMBUSTION FAN |  | CMBF | FUNCT13A-BOIL.CMBF
|  |  |  | CONTROLS |  | CNTL | FUNCT13A-BOIL.CNTL
|  |  |  | DRAIN VALVE |  | DRNV | FUNCT13A-BOIL.DRNV
|  |  |  | EXHAUST VENTING |  | EVNT | FUNCT13A-BOIL.EVNT
|  |  |  | GAS VALVE |  | GVLV | FUNCT13A-BOIL.GVLV
|  |  |  | IGNITOR |  | IGNR | FUNCT13A-BOIL.IGNR
|  |  |  | OIL VALVE |  | OVLV | FUNCT13A-BOIL.OVLV
|  |  |  | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A-BOIL.PRRV
|  |  |  | SUPPLY VENTING |  | SVNT | FUNCT13A-BOIL.SVNT
[5 empty] | FUEL STRAINER | FSTR | FUNCT13A-BOIL:FSTR
[5 empty] | GASKETS | GASK | FUNCT13A-BOIL:GASK
|  |  | BTU METER |  |  | BTUM | FUNCT13A-BTUM
[5 empty] | CHART | CHRT | FUNCT13A-BTUM:CHRT
|  |  | CIRCULATION PUMP |  |  | CIRP | FUNCT13A-CIRP
|  |  |  | MOTOR |  | MOTR | FUNCT13A-CIRP.MOTR
|  |  |  | VFD/ STARTER |  | STRT | FUNCT13A-CIRP.STRT
|  |  | CHEMICAL FEEDER |  |  | CMFD | FUNCT13A-CMFD
|  |  | CONTROL VALVE |  |  | CNTV | FUNCT13A-CNTV
|  |  |  | MOTOR |  | MOTR | FUNCT13A-CNTV.MOTR
|  |  | CONTROL INTERFACE |  |  | CONI | FUNCT13A-CONI
|  |  | DEAERATOR |  |  | DEAR | FUNCT13A-DEAR
|  |  |  | BACKFLOW PREVENTER |  | BFPV | FUNCT13A-DEAR.BFPV
|  |  |  | CONTROLS |  | CNTL | FUNCT13A-DEAR.CNTL
|  |  |  | HEAT EXCHANGER |  | HTEX | FUNCT13A-DEAR.HTEX
|  |  |  | MOTOR |  | MOTR | FUNCT13A-DEAR.MOTR
|  |  |  | PUMP |  | PUMP | FUNCT13A-DEAR.PUMP
|  |  |  | STRAINER |  | STRN | FUNCT13A-DEAR.STRN
|  |  |  | VFD/ STARTER |  | STRT | FUNCT13A-DEAR.STRT
|  |  | AIR DRYER |  |  | DRYR | FUNCT13A-DRYR
|  |  |  | MOTOR |  | MOTR | FUNCT13A-DRYR.MOTR
|  |  |  | VFD/ STARTER |  | STRT | FUNCT13A-DRYR.STRT
[5 empty] | AIR FILTER | AFLT | FUNCT13A-DRYR:AFLT
[5 empty] | BELT | BELT | FUNCT13A-DRYR:BELT
|  |  | DISCONNECT SWITCH |  |  | DSCS | FUNCT13A-DSCS
|  |  | EXPANSION TANK |  |  | EXPT | FUNCT13A-EXPT
|  |  |  | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A-EXPT.PRRV
|  |  | FUEL STORAGE TANK |  |  | FTNK | FUNCT13A-FTNK
|  |  |  | CHECK VALVE |  | CHVL | FUNCT13A-FTNK.CHVL
|  |  |  | CONTROL VALVE |  | CNTV | FUNCT13A-FTNK.CNTV
|  |  |  | DUPLEX STRAINER |  | DSTR | FUNCT13A-FTNK.DSTR
|  |  |  | ISOLATION VALVES |  | ISOV | FUNCT13A-FTNK.ISOV
|  |  |  | LEAK DETECTION SYSTEM |  | LDET | FUNCT13A-FTNK.LDET
|  |  |  | PIPE |  | PIPE | FUNCT13A-FTNK.PIPE
|  |  |  | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A-FTNK.PRRV
|  |  |  | PUMP |  | PUMP | FUNCT13A-FTNK.PUMP
|  |  |  | VENTS |  | VENT | FUNCT13A-FTNK.VENT
[5 empty] | FUEL FILTER | FFLT | FUNCT13A-FTNK:FFLT
|  |  | HEAT EXCHANGER |  |  | HTEX | FUNCT13A-HTEX
|  |  |  | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A-HTEX.PRRV
|  |  | ISOLATION VALVES |  |  | ISOV | FUNCT13A-ISOV
|  |  | PIPE |  |  | PIPE | FUNCT13A-PIPE
|  |  |  | AIR ELIMINATOR |  | AIRE | FUNCT13A-PIPE.AIRE
|  |  |  | AIR VENT |  | AIRV | FUNCT13A-PIPE.AIRV
|  |  |  | DRAIN VALVE |  | DRNV | FUNCT13A-PIPE.DRNV
|  |  |  | FLOW METER |  | FLWM | FUNCT13A-PIPE.FLWM
|  |  |  | GAUGES |  | GAUG | FUNCT13A-PIPE.GAUG
|  |  |  | INSULATION |  | INSL | FUNCT13A-PIPE.INSL
|  |  |  | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A-PIPE.PRRV
|  |  |  | STRAINER |  | STRN | FUNCT13A-PIPE.STRN
|  |  |  | THERMOMETER |  | THER | FUNCT13A-PIPE.THER
|  |  |  | VIBRATION ELIMINATOR |  | VIBR | FUNCT13A-PIPE.VIBR
|  |  | WATER SOFTENER |  |  | WSFT | FUNCT13A-WSFT
|  |  |  | BACKFLOW PREVENTER |  | BFPV | FUNCT13A-WSFT.BFPV
|  |  |  | CONTROLS |  | CNTL | FUNCT13A-WSFT.CNTL
[5 empty] | CHEMICAL | CHML | FUNCT13A-WSFT:CHML
|  | DISTRIBUTION |  |  |  | B | FUNCT13B
|  |  | BTU METER |  |  | BTUM | FUNCT13B-BTUM
[5 empty] | CHART | CHRT | FUNCT13B-BTUM:CHRT
|  |  | CONTROL VALVE |  |  | CNTV | FUNCT13B-CNTV
|  |  |  | MOTOR |  | MOTR | FUNCT13B-CNTV.MOTR
|  |  | CONTROL INTERFACE |  |  | CONI | FUNCT13B-CONI
|  |  | DISTRIBUTION PUMP |  |  | DPMP | FUNCT13B-DPMP
|  |  |  | MOTOR |  | MOTR | FUNCT13B-DPMP.MOTR
|  |  |  | VFD/ STARTER |  | STRT | FUNCT13B-DPMP.STRT
|  |  | DISCONNECT SWITCH |  |  | DSCS | FUNCT13B-DSCS
|  |  | ISOLATION VALVES |  |  | ISOV | FUNCT13B-ISOV
|  |  | PIPE EXPANSION JOINT |  |  | PEXP | FUNCT13B-PEXP
|  |  | PIPE |  |  | PIPE | FUNCT13B-PIPE
|  |  |  | AIR ELIMINATOR |  | AIRE | FUNCT13B-PIPE.AIRE
|  |  |  | AIR VENT |  | AIRV | FUNCT13B-PIPE.AIRV
|  |  |  | DRAIN VALVE |  | DRNV | FUNCT13B-PIPE.DRNV
|  |  |  | FLOW METER |  | FLWM | FUNCT13B-PIPE.FLWM
|  |  |  | GAUGES |  | GAUG | FUNCT13B-PIPE.GAUG
|  |  |  | INSULATION |  | INSL | FUNCT13B-PIPE.INSL
|  |  |  | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13B-PIPE.PRRV
|  |  |  | STRAINER |  | STRN | FUNCT13B-PIPE.STRN
|  |  |  | THERMOMETER |  | THER | FUNCT13B-PIPE.THER
|  |  |  | VIBRATION ELIMINATOR |  | VIBR | FUNCT13B-PIPE.VIBR

## Hot Water (Thermal)
LEVEL | ACTION | HIERARCHY | HIERARCHY UPDATE | SYSTEM | SYSTEM UPDATE | SUBSYSTEM | SUBSYSTEM UPDATE | ASSET | ASSET UPDATE | CHILD ASSET | COMPONENT | COMPONENT UPDATE | SPARE PART UPDATE | ACRONYM | ACRONYM UPDATE | ADS CODE | ADS CODE UPDATE | REMOVE | TB&T, PORTS | FLOW ENABLED | CONFLICT | INSTANCE | INSTANCE EXAMPLE | SCBD DATE | REFERENCE | DICTIONARY
2.SYSTEM | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | [8 empty] | 13 | 13 | FUNCT13 | FUNCT13 |  |  |  | 0 |  |  | 2017 |  | Maintenance Object specific systems & equipment pertaining to the use of hot water systems in a medium to large-sized building or terminal.
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | PIPING | SOURCE | [6 empty] | A | A | FUNCT13A | FUNCT13A |  |  |  | 0 | EACH HOT WATER SOURCE SCBD | TERMINAL GLYCOL HW SOURCE
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR | [5 empty] | ARCP |  | FUNCT13A-ARCP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  | COMPRESSOR |  |  | CMPR |  | FUNCT13A-ARCP.CMPR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  | CONTROLS |  |  | CNTL |  | FUNCT13A-ARCP.CNTL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  | ISOLATION VALVES |  |  | ISOV |  | FUNCT13A-ARCP.ISOV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  | MOTOR |  |  | MOTR |  | FUNCT13A-ARCP.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT13A-ARCP.PRRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT13A-ARCP.STRT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  |  | AIR FILTER |  | AFLT |  | FUNCT13A-ARCP:AFLT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  |  | BELT |  | BELT |  | FUNCT13A-ARCP:BELT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  |  | OIL FILTER |  | OFLT |  | FUNCT13A-ARCP:OFLT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  |  | OIL |  | OIL |  | FUNCT13A-ARCP:OIL |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | VALVES | SOURCE | BACKFLOW PREVENTER | BACKFLOW PREVENTER |  |  |  |  | BFPV | BFPV | FUNCT13B-BFPV | FUNCT13A-BFPV |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | GENERATION | SOURCE | BOILER | BOILER |  |  |  |  | BOIL | BOIL | FUNCT13C-BOIL | FUNCT13A-BOIL |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | GENERATION | SOURCE | BOILER | BOILER | BURNER ASSEMBLY |  | BURNER ASSEMBLY |  | BRAS | BRAS | FUNCT13C-BOIL-BRAS | FUNCT13A-BOIL.BRAS |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | COMBUSTION FAN |  |  | CMBF |  | FUNCT13A-BOIL.CMBF |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | CONTROLS |  |  | CNTL |  | FUNCT13A-BOIL.CNTL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | DRAIN VALVE |  |  | DRNV |  | FUNCT13A-BOIL.DRNV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | EXHAUST VENTING |  |  | EVNT |  | FUNCT13A-BOIL.EVNT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | GAS VALVE |  |  | GVLV |  | FUNCT13A-BOIL.GVLV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | IGNITOR |  |  | IGNR |  | FUNCT13A-BOIL.IGNR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | OIL VALVE |  |  | OVLV |  | FUNCT13A-BOIL.OVLV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT13A-BOIL.PRRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | SUPPLY VENTING |  |  | SVNT |  | FUNCT13A-BOIL.SVNT |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | GENERATION | SOURCE | BOILER | BOILER |  | FILTER |  | FUEL STRAINER | FLTR | FSTR | FUNCT13C-BOIL.FLTR | FUNCT13A-BOIL:FSTR |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  |  | GASKETS |  | GASK |  | FUNCT13A-BOIL:GASK |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | GENERATION | SOURCE | BTU METER | BTU METER |  |  |  |  | BTUM | BTUM | FUNCT13C-BTUM | FUNCT13A-BTUM |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BTU METER |  |  |  | CHART |  | CHRT |  | FUNCT13A-BTUM:CHRT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | PUMPS | SOURCE | PUMP | CIRCULATION PUMP |  |  |  |  | PUMP | CIRP | FUNCT13E-PUMP | FUNCT13A-CIRP |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | PUMPS | SOURCE | PUMP | CIRCULATION PUMP | MOTOR |  | MOTOR |  | MOTR | MOTR | FUNCT13E-PUMP-MOTR | FUNCT13A-CIRP.MOTR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | PUMPS | SOURCE | PUMP | CIRCULATION PUMP | CONTROL PANEL |  | VFD/ STARTER |  | CLPL | STRT | FUNCT13E-PUMP-CLPL | FUNCT13A-CIRP.STRT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | ANCILLARY | SOURCE | CHEMICAL FEEDER | CHEMICAL FEEDER |  |  |  |  | CMFD | CMFD | FUNCT13D-CMFD | FUNCT13A-CMFD |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | CONTROL VALVE | [5 empty] | CNTV |  | FUNCT13A-CNTV |  |  |  | 1
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | CONTROL VALVE |  |  | MOTOR |  |  | MOTR |  | FUNCT13A-CNTV.MOTR |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | CONTROLLER | SOURCE | CONTROLLER | CONTROL INTERFACE |  |  |  |  | CNTR | CONI | FUNCT13F-CNTR | FUNCT13A-CONI |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | ANCILLARY | SOURCE | DEAERATOR | DEAERATOR |  |  |  |  | DEAR | DEAR | FUNCT13D-DEAR | FUNCT13A-DEAR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | DEAERATOR |  |  | BACKFLOW PREVENTER |  |  | BFPV |  | FUNCT13A-DEAR.BFPV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | DEAERATOR |  |  | CONTROLS |  |  | CNTL |  | FUNCT13A-DEAR.CNTL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | DEAERATOR |  |  | HEAT EXCHANGER |  |  | HTEX |  | FUNCT13A-DEAR.HTEX |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | DEAERATOR |  |  | MOTOR |  |  | MOTR |  | FUNCT13A-DEAR.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | DEAERATOR |  |  | PUMP |  |  | PUMP |  | FUNCT13A-DEAR.PUMP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | DEAERATOR |  |  | STRAINER |  |  | STRN |  | FUNCT13A-DEAR.STRN |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | DEAERATOR |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT13A-DEAR.STRT |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR DRYER | [5 empty] | DRYR |  | FUNCT13A-DRYR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR DRYER |  |  | MOTOR |  |  | MOTR |  | FUNCT13A-DRYR.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR DRYER |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT13A-DRYR.STRT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR DRYER |  |  |  | AIR FILTER |  | AFLT |  | FUNCT13A-DRYR:AFLT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR DRYER |  |  |  | BELT |  | BELT |  | FUNCT13A-DRYR:BELT |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT13A-DSCS |  |  |  | 1
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | ANCILLARY | SOURCE | EXPANSION TANK | EXPANSION TANK |  |  |  |  | EXPT | EXPT | FUNCT13D-EXPT | FUNCT13A-EXPT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | EXPANSION TANK |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT13A-EXPT.PRRV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK | [5 empty] | FTNK |  | FUNCT13A-FTNK |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | CHECK VALVE |  |  | CHVL |  | FUNCT13A-FTNK.CHVL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | CONTROL VALVE |  |  | CNTV |  | FUNCT13A-FTNK.CNTV |  |  |  | 1
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | DUPLEX STRAINER |  |  | DSTR |  | FUNCT13A-FTNK.DSTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | ISOLATION VALVES |  |  | ISOV |  | FUNCT13A-FTNK.ISOV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | LEAK DETECTION SYSTEM |  |  | LDET |  | FUNCT13A-FTNK.LDET |  |  |  | 1
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | PIPE |  |  | PIPE |  | FUNCT13A-FTNK.PIPE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT13A-FTNK.PRRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | PUMP |  |  | PUMP |  | FUNCT13A-FTNK.PUMP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | VENTS |  |  | VENT |  | FUNCT13A-FTNK.VENT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  |  | FUEL FILTER |  | FFLT |  | FUNCT13A-FTNK:FFLT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | GENERATION | SOURCE | HEAT EXCHANGER | HEAT EXCHANGER |  |  |  |  | HTEX | HTEX | FUNCT13C-HTEX | FUNCT13A-HTEX |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | HEAT EXCHANGER |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT13A-HTEX.PRRV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | ISOLATION VALVES | [5 empty] | ISOV |  | FUNCT13A-ISOV |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | PIPING | SOURCE | PIPE | PIPE |  |  |  |  | PIPE | PIPE | FUNCT13A-PIPE | FUNCT13A-PIPE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | AIR ELIMINATOR |  |  | AIRE |  | FUNCT13A-PIPE.AIRE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | AIR VENT |  |  | AIRV |  | FUNCT13A-PIPE.AIRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | DRAIN VALVE |  |  | DRNV |  | FUNCT13A-PIPE.DRNV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | FLOW METER |  |  | FLWM |  | FUNCT13A-PIPE.FLWM |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | GAUGES |  |  | GAUG |  | FUNCT13A-PIPE.GAUG |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | INSULATION |  |  | INSL |  | FUNCT13A-PIPE.INSL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT13A-PIPE.PRRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | STRAINER |  |  | STRN |  | FUNCT13A-PIPE.STRN |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | THERMOMETER |  |  | THER |  | FUNCT13A-PIPE.THER |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | VIBRATION ELIMINATOR |  |  | VIBR |  | FUNCT13A-PIPE.VIBR |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | WATER SOFTENER | [5 empty] | WSFT |  | FUNCT13A-WSFT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | WATER SOFTENER |  |  | BACKFLOW PREVENTER |  |  | BFPV |  | FUNCT13A-WSFT.BFPV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | WATER SOFTENER |  |  | CONTROLS |  |  | CNTL |  | FUNCT13A-WSFT.CNTL |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | WATER SOFTENER |  |  |  | CHEMICAL |  | CHML |  | FUNCT13A-WSFT:CHML |  |  |  | 0
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | VALVES | DISTRIBUTION | [6 empty] | B | B | FUNCT13B | FUNCT13B |  |  |  | 0 | EACH HOT WATER DISTRIBUTION SCBD | TERMINAL GLYCOL HW DISTRIBUTION
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | BTU METER | [5 empty] | BTUM |  | FUNCT13B-BTUM |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | BTU METER |  |  |  | CHART |  | CHRT |  | FUNCT13B-BTUM:CHRT |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | CONTROL VALVE | [5 empty] | CNTV |  | FUNCT13B-CNTV |  |  |  | 1
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | CONTROL VALVE |  |  | MOTOR |  |  | MOTR |  | FUNCT13B-CNTV.MOTR |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | CONTROL INTERFACE | [5 empty] | CONI |  | FUNCT13B-CONI |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | DISTRIBUTION PUMP | [5 empty] | DPMP |  | FUNCT13B-DPMP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | DISTRIBUTION PUMP |  |  | MOTOR |  |  | MOTR |  | FUNCT13B-DPMP.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | DISTRIBUTION PUMP |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT13B-DPMP.STRT |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT13B-DSCS |  |  |  | 1
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | VALVES | DISTRIBUTION | VALVE | ISOLATION VALVES |  |  |  |  | VLV | ISOV | FUNCT13B-VLV | FUNCT13B-ISOV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE EXPANSION JOINT | [5 empty] | PEXP |  | FUNCT13B-PEXP |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE | [5 empty] | PIPE |  | FUNCT13B-PIPE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | AIR ELIMINATOR |  |  | AIRE |  | FUNCT13B-PIPE.AIRE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | AIR VENT |  |  | AIRV |  | FUNCT13B-PIPE.AIRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | DRAIN VALVE |  |  | DRNV |  | FUNCT13B-PIPE.DRNV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | FLOW METER |  |  | FLWM |  | FUNCT13B-PIPE.FLWM |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | GAUGES |  |  | GAUG |  | FUNCT13B-PIPE.GAUG |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | INSULATION |  |  | INSL |  | FUNCT13B-PIPE.INSL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT13B-PIPE.PRRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | STRAINER |  |  | STRN |  | FUNCT13B-PIPE.STRN |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | THERMOMETER |  |  | THER |  | FUNCT13B-PIPE.THER |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | VIBRATION ELIMINATOR |  |  | VIBR |  | FUNCT13B-PIPE.VIBR |  |  |  | 0

## COMMENTS
LEVEL | ACTION | HIERARCHY | HIERARCHY UPDATE | SYSTEM | SYSTEM UPDATE | SUBSYSTEM | SUBSYSTEM UPDATE | ASSET | ASSET UPDATE | CHILD ASSET | COMPONENT | COMPONENT UPDATE | SPARE PART UPDATE | ACRONYM | ACRONYM UPDATE | ADS CODE | ADS CODE UPDATE | REMOVE | TB&T, PORTS | FLOW ENABLED | CONFLICT | INSTANCE | INSTANCE EXAMPLE | SCBD DATE | REFERENCE | DICTIONARY
2.SYSTEM | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | [8 empty] | 13 | 13 | FUNCT13 | FUNCT13 |  |  |  | 0 |  |  | 2017 |  | Maintenance Object specific systems & equipment pertaining to the use of hot water systems in a medium to large-sized building or terminal.
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | PIPING | SOURCE | [6 empty] | A | A | FUNCT13A | FUNCT13A |  |  |  | 0 | EACH HOT WATER SOURCE SCBD | TERMINAL GLYCOL HW SOURCE
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR | [5 empty] | ARCP |  | FUNCT13A-ARCP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  | COMPRESSOR |  |  | CMPR |  | FUNCT13A-ARCP.CMPR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  | CONTROLS |  |  | CNTL |  | FUNCT13A-ARCP.CNTL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  | ISOLATION VALVES |  |  | ISOV |  | FUNCT13A-ARCP.ISOV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  | MOTOR |  |  | MOTR |  | FUNCT13A-ARCP.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT13A-ARCP.PRRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT13A-ARCP.STRT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  |  | AIR FILTER |  | AFLT |  | FUNCT13A-ARCP:AFLT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  |  | BELT |  | BELT |  | FUNCT13A-ARCP:BELT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  |  | OIL FILTER |  | OFLT |  | FUNCT13A-ARCP:OFLT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR COMPRESSOR |  |  |  | OIL |  | OIL |  | FUNCT13A-ARCP:OIL |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | VALVES | SOURCE | BACKFLOW PREVENTER | BACKFLOW PREVENTER |  |  |  |  | BFPV | BFPV | FUNCT13B-BFPV | FUNCT13A-BFPV |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | GENERATION | SOURCE | BOILER | BOILER |  |  |  |  | BOIL | BOIL | FUNCT13C-BOIL | FUNCT13A-BOIL |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | GENERATION | SOURCE | BOILER | BOILER | BURNER ASSEMBLY |  | BURNER ASSEMBLY |  | BRAS | BRAS | FUNCT13C-BOIL-BRAS | FUNCT13A-BOIL.BRAS |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | COMBUSTION FAN |  |  | CMBF |  | FUNCT13A-BOIL.CMBF |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | CONTROLS |  |  | CNTL |  | FUNCT13A-BOIL.CNTL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | DRAIN VALVE |  |  | DRNV |  | FUNCT13A-BOIL.DRNV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | EXHAUST VENTING |  |  | EVNT |  | FUNCT13A-BOIL.EVNT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | GAS VALVE |  |  | GVLV |  | FUNCT13A-BOIL.GVLV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | IGNITOR |  |  | IGNR |  | FUNCT13A-BOIL.IGNR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | OIL VALVE |  |  | OVLV |  | FUNCT13A-BOIL.OVLV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT13A-BOIL.PRRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  | SUPPLY VENTING |  |  | SVNT |  | FUNCT13A-BOIL.SVNT |  |  |  | 0
7.SPARE PART | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | GENERATION | SOURCE | BOILER | BOILER |  | FILTER |  | FUEL STRAINER | FLTR | FSTR | FUNCT13C-BOIL.FLTR | FUNCT13A-BOIL:FSTR |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BOILER |  |  |  | GASKETS |  | GASK |  | FUNCT13A-BOIL:GASK |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | GENERATION | SOURCE | BTU METER | BTU METER |  |  |  |  | BTUM | BTUM | FUNCT13C-BTUM | FUNCT13A-BTUM |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | BTU METER |  |  |  | CHART |  | CHRT |  | FUNCT13A-BTUM:CHRT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | PUMPS | SOURCE | PUMP | CIRCULATION PUMP |  |  |  |  | PUMP | CIRP | FUNCT13E-PUMP | FUNCT13A-CIRP |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | PUMPS | SOURCE | PUMP | CIRCULATION PUMP | MOTOR |  | MOTOR |  | MOTR | MOTR | FUNCT13E-PUMP-MOTR | FUNCT13A-CIRP.MOTR |  |  |  | 0
6.COMPONENT | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | PUMPS | SOURCE | PUMP | CIRCULATION PUMP | CONTROL PANEL |  | VFD/ STARTER |  | CLPL | STRT | FUNCT13E-PUMP-CLPL | FUNCT13A-CIRP.STRT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | ANCILLARY | SOURCE | CHEMICAL FEEDER | CHEMICAL FEEDER |  |  |  |  | CMFD | CMFD | FUNCT13D-CMFD | FUNCT13A-CMFD |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | CONTROL VALVE | [5 empty] | CNTV |  | FUNCT13A-CNTV |  |  |  | 1
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | CONTROL VALVE |  |  | MOTOR |  |  | MOTR |  | FUNCT13A-CNTV.MOTR |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | CONTROLLER | SOURCE | CONTROLLER | CONTROL INTERFACE |  |  |  |  | CNTR | CONI | FUNCT13F-CNTR | FUNCT13A-CONI |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | ANCILLARY | SOURCE | DEAERATOR | DEAERATOR |  |  |  |  | DEAR | DEAR | FUNCT13D-DEAR | FUNCT13A-DEAR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | DEAERATOR |  |  | BACKFLOW PREVENTER |  |  | BFPV |  | FUNCT13A-DEAR.BFPV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | DEAERATOR |  |  | CONTROLS |  |  | CNTL |  | FUNCT13A-DEAR.CNTL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | DEAERATOR |  |  | HEAT EXCHANGER |  |  | HTEX |  | FUNCT13A-DEAR.HTEX |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | DEAERATOR |  |  | MOTOR |  |  | MOTR |  | FUNCT13A-DEAR.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | DEAERATOR |  |  | PUMP |  |  | PUMP |  | FUNCT13A-DEAR.PUMP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | DEAERATOR |  |  | STRAINER |  |  | STRN |  | FUNCT13A-DEAR.STRN |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | DEAERATOR |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT13A-DEAR.STRT |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR DRYER | [5 empty] | DRYR |  | FUNCT13A-DRYR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR DRYER |  |  | MOTOR |  |  | MOTR |  | FUNCT13A-DRYR.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR DRYER |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT13A-DRYR.STRT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR DRYER |  |  |  | AIR FILTER |  | AFLT |  | FUNCT13A-DRYR:AFLT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | AIR DRYER |  |  |  | BELT |  | BELT |  | FUNCT13A-DRYR:BELT |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT13A-DSCS |  |  |  | 1
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | ANCILLARY | SOURCE | EXPANSION TANK | EXPANSION TANK |  |  |  |  | EXPT | EXPT | FUNCT13D-EXPT | FUNCT13A-EXPT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | EXPANSION TANK |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT13A-EXPT.PRRV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK | [5 empty] | FTNK |  | FUNCT13A-FTNK |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | CHECK VALVE |  |  | CHVL |  | FUNCT13A-FTNK.CHVL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | CONTROL VALVE |  |  | CNTV |  | FUNCT13A-FTNK.CNTV |  |  |  | 1
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | DUPLEX STRAINER |  |  | DSTR |  | FUNCT13A-FTNK.DSTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | ISOLATION VALVES |  |  | ISOV |  | FUNCT13A-FTNK.ISOV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | LEAK DETECTION SYSTEM |  |  | LDET |  | FUNCT13A-FTNK.LDET |  |  |  | 1
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | PIPE |  |  | PIPE |  | FUNCT13A-FTNK.PIPE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT13A-FTNK.PRRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | PUMP |  |  | PUMP |  | FUNCT13A-FTNK.PUMP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  | VENTS |  |  | VENT |  | FUNCT13A-FTNK.VENT |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | FUEL STORAGE TANK |  |  |  | FUEL FILTER |  | FFLT |  | FUNCT13A-FTNK:FFLT |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | GENERATION | SOURCE | HEAT EXCHANGER | HEAT EXCHANGER |  |  |  |  | HTEX | HTEX | FUNCT13C-HTEX | FUNCT13A-HTEX |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | HEAT EXCHANGER |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT13A-HTEX.PRRV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | ISOLATION VALVES | [5 empty] | ISOV |  | FUNCT13A-ISOV |  |  |  | 0
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | PIPING | SOURCE | PIPE | PIPE |  |  |  |  | PIPE | PIPE | FUNCT13A-PIPE | FUNCT13A-PIPE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | AIR ELIMINATOR |  |  | AIRE |  | FUNCT13A-PIPE.AIRE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | AIR VENT |  |  | AIRV |  | FUNCT13A-PIPE.AIRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | DRAIN VALVE |  |  | DRNV |  | FUNCT13A-PIPE.DRNV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | FLOW METER |  |  | FLWM |  | FUNCT13A-PIPE.FLWM |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | GAUGES |  |  | GAUG |  | FUNCT13A-PIPE.GAUG |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | INSULATION |  |  | INSL |  | FUNCT13A-PIPE.INSL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT13A-PIPE.PRRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | STRAINER |  |  | STRN |  | FUNCT13A-PIPE.STRN |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | THERMOMETER |  |  | THER |  | FUNCT13A-PIPE.THER |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | PIPE |  |  | VIBRATION ELIMINATOR |  |  | VIBR |  | FUNCT13A-PIPE.VIBR |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | WATER SOFTENER | [5 empty] | WSFT |  | FUNCT13A-WSFT |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | WATER SOFTENER |  |  | BACKFLOW PREVENTER |  |  | BFPV |  | FUNCT13A-WSFT.BFPV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | WATER SOFTENER |  |  | CONTROLS |  |  | CNTL |  | FUNCT13A-WSFT.CNTL |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | SOURCE |  | WATER SOFTENER |  |  |  | CHEMICAL |  | CHML |  | FUNCT13A-WSFT:CHML |  |  |  | 0
3.SUBSYSTEM/INSTANCE | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | VALVES | DISTRIBUTION | [6 empty] | B | B | FUNCT13B | FUNCT13B |  |  |  | 0 | EACH HOT WATER DISTRIBUTION SCBD | TERMINAL GLYCOL HW DISTRIBUTION
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | BTU METER | [5 empty] | BTUM |  | FUNCT13B-BTUM |  |  |  | 0
7.SPARE PART | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | BTU METER |  |  |  | CHART |  | CHRT |  | FUNCT13B-BTUM:CHRT |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | CONTROL VALVE | [5 empty] | CNTV |  | FUNCT13B-CNTV |  |  |  | 1
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | CONTROL VALVE |  |  | MOTOR |  |  | MOTR |  | FUNCT13B-CNTV.MOTR |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | CONTROL INTERFACE | [5 empty] | CONI |  | FUNCT13B-CONI |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | DISTRIBUTION PUMP | [5 empty] | DPMP |  | FUNCT13B-DPMP |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | DISTRIBUTION PUMP |  |  | MOTOR |  |  | MOTR |  | FUNCT13B-DPMP.MOTR |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | DISTRIBUTION PUMP |  |  | VFD/ STARTER |  |  | STRT |  | FUNCT13B-DPMP.STRT |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | DISCONNECT SWITCH | [5 empty] | DSCS |  | FUNCT13B-DSCS |  |  |  | 1
4.ASSET | MODIFICATION | FUNCT | FUNCT | HOT WATER | HOT WATER (THERMAL) | VALVES | DISTRIBUTION | VALVE | ISOLATION VALVES |  |  |  |  | VLV | ISOV | FUNCT13B-VLV | FUNCT13B-ISOV |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE EXPANSION JOINT | [5 empty] | PEXP |  | FUNCT13B-PEXP |  |  |  | 0
4.ASSET | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE | [5 empty] | PIPE |  | FUNCT13B-PIPE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | AIR ELIMINATOR |  |  | AIRE |  | FUNCT13B-PIPE.AIRE |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | AIR VENT |  |  | AIRV |  | FUNCT13B-PIPE.AIRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | DRAIN VALVE |  |  | DRNV |  | FUNCT13B-PIPE.DRNV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | FLOW METER |  |  | FLWM |  | FUNCT13B-PIPE.FLWM |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | GAUGES |  |  | GAUG |  | FUNCT13B-PIPE.GAUG |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | INSULATION |  |  | INSL |  | FUNCT13B-PIPE.INSL |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | PRESSURE RELIEF VALVE |  |  | PRRV |  | FUNCT13B-PIPE.PRRV |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | STRAINER |  |  | STRN |  | FUNCT13B-PIPE.STRN |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | THERMOMETER |  |  | THER |  | FUNCT13B-PIPE.THER |  |  |  | 0
6.COMPONENT | NEW |  | FUNCT |  | HOT WATER (THERMAL) |  | DISTRIBUTION |  | PIPE |  |  | VIBRATION ELIMINATOR |  |  | VIBR |  | FUNCT13B-PIPE.VIBR |  |  |  | 0
Note on H3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: supply, not source
Note on I68: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: piping is better than pipe but not better than plumbing
Note on J68: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: so how do you classify a 30-ft run of galvanized pipe in this scheme? you can't, can you?