## EMP_Comp_Codes_DIST
PA_EMPLOAD | PA_EMPCOMPCODE | AddChange | EN
COMPONENT | DESCRIPTION | DESCRIPTION_LONGDESCRIPTION | PARENT | POSITIONREQ | STATUS | PA_ADSCODE
UKWN | UNKNOWN ASSET |  |  | 0 | ACTIVE | 00A-UKWN
DRAN | DRAIN |  |  | 0 | ACTIVE | 08A-DRAN
PIPE | PIPE |  |  | 0 | ACTIVE | 08A-PIPE
TRAP | TRAP |  |  | 0 | ACTIVE | 08A-TRAP
BFPV | BACKFLOW PREVENTER |  |  | 0 | ACTIVE | 08B-BFPV
BFPV-VLV | (ASSET) BACKFLOW PREVENTER, VALVE |  | BFPV | 0 | ACTIVE | 08B-BFPV-VLV
FLWS | FLOW SWITCH |  |  | 0 | ACTIVE | 08B-FLWS
FWF | FRESH WATER FEED |  |  | 0 | ACTIVE | 08B-FWF
GDS | GAS DETECTION SYSTEM |  |  | 0 | ACTIVE | 08B-GDS
GRND | GRINDER |  |  | 0 | ACTIVE | 08B-GRND
GRND.CLPL | (COMP) GRINDER, CONTROL PANEL |  | GRND | 0 | ACTIVE | 08B-GRND.CLPL
GRND-CLPL | (ASSET) GRINDER, CONTROL PANEL |  | GRND | 0 | ACTIVE | 08B-GRND-CLPL
HADR | HATCH DOOR |  |  | 0 | ACTIVE | 08B-HADR
HSTS | HOISTS |  |  | 0 | ACTIVE | 08B-HSTS
HTNG | HEATING |  |  | 0 | ACTIVE | 08B-HTNG
PIT | PIT |  |  | 0 | ACTIVE | 08B-PIT
PIT-CLPL | (ASSET) PIT, CONTROL PANEL |  | PIT | 0 | ACTIVE | 08B-PIT-CLPL
PIT-FWF | (ASSET) PIT, FRESH WATER FEED |  | PIT | 0 | ACTIVE | 08B-PIT-FWF
PIT-GDS | (ASSET) PIT, GAS DETECTION SYSTEM |  | PIT | 0 | ACTIVE | 08B-PIT-GDS
PIT-HADR | (ASSET) PIT, HATCH DOOR |  | PIT | 0 | ACTIVE | 08B-PIT-HADR
PIT-HSTS | (ASSET) PIT, HOISTS |  | PIT | 0 | ACTIVE | 08B-PIT-HSTS
PIT-HTNG | (ASSET) PIT, HEATING |  | PIT | 0 | ACTIVE | 08B-PIT-HTNG
PIT-LTNG | (ASSET) PIT, LIGHTING |  | PIT | 0 | ACTIVE | 08B-PIT-LTNG
PIT-SLGT | (ASSET) PIT, SLUICE GATE |  | PIT | 0 | ACTIVE | 08B-PIT-SLGT
PIT-VLV | (ASSET) PIT, VALVE |  | PIT | 0 | ACTIVE | 08B-PIT-VLV
PIT-VNTN | (ASSET) PIT, VENTILATION |  | PIT | 0 | ACTIVE | 08B-PIT-VNTN
PIT-WTMT | (ASSET) PIT, WATER METER |  | PIT | 0 | ACTIVE | 08B-PIT-WTMT
PUMP | PUMP |  |  | 0 | ACTIVE | 08B-PUMP
SEJP | SEWAGE EJECTOR PUMP |  |  | 0 | ACTIVE | 08B-SEJP
SEJP-STRT | (ASSET) SEWAGE EJECTOR PUMP, VFD/ STARTER |  | SEJP | 0 | ACTIVE | 08B-SEJP-STRT
SLGT | SLUICE GATE |  |  | 0 | ACTIVE | 08B-SLGT
SUBP | SUBMERSIVE PUMP |  |  | 0 | ACTIVE | 08B-SUBP
SUBP-CLPL | (ASSET) SUBMERSIVE PUMP, CONTROL PANEL |  | SUBP | 0 | ACTIVE | 08B-SUBP-CLPL
SUBP-FLMT | (ASSET) SUBMERSIVE PUMP, FLOW METER / CHART RECORDER |  | SUBP | 0 | ACTIVE | 08B-SUBP-FLMT
VLV | VALVE |  |  | 0 | ACTIVE | 08B-VLV
VNTN | VENTILATION |  |  | 0 | ACTIVE | 08B-VNTN
WTMT | WATER METER |  |  | 0 | ACTIVE | 08B-WTMT
OWSP | OIL/WATER SEPARATOR |  |  | 0 | ACTIVE | 08C-OWSP
OWSP.LKDR | (COMP) OIL/WATER SEPARATOR, LEAK DETECTOR |  | OWSP | 0 | ACTIVE | 08C-OWSP.LKDR
OWSP.MNWL | (COMP) OIL/WATER SEPARATOR, MONITORING WELL |  | OWSP | 0 | ACTIVE | 08C-OWSP.MNWL
OWSP.PUMP | (COMP) OIL/WATER SEPARATOR, PUMP |  | OWSP | 0 | ACTIVE | 08C-OWSP.PUMP
OWSP.TANK | (COMP) OIL/WATER SEPARATOR, TANK |  | OWSP | 0 | ACTIVE | 08C-OWSP.TANK
OWSP.VENT | (COMP) OIL/WATER SEPARATOR, VENTS |  | OWSP | 0 | ACTIVE | 08C-OWSP.VENT
OWSP-LKDR | (ASSET) OIL/WATER SEPARATOR, LEAK DETECTOR |  | OWSP | 0 | ACTIVE | 08C-OWSP-LKDR
OWSP-MNWL | (ASSET) OIL/WATER SEPARATOR, MONITORING WELL |  | OWSP | 0 | ACTIVE | 08C-OWSP-MNWL
OWSP-PUMP | (ASSET) OIL/WATER SEPARATOR, PUMP |  | OWSP | 0 | ACTIVE | 08C-OWSP-PUMP
OWSP-TANK | (ASSET) OIL/WATER SEPARATOR, TANK |  | OWSP | 0 | ACTIVE | 08C-OWSP-TANK
OWSP-VENT | (ASSET) OIL/WATER SEPARATOR, VENTS |  | OWSP | 0 | ACTIVE | 08C-OWSP-VENT
GRTR | GREASE TRAP |  |  | 0 | ACTIVE | 08D-GRTR
TRTR | TRITURATOR |  |  | 0 | ACTIVE | 08E-TRTR
TRTR.HEAT | (COMP) TRITURATOR, HEATER |  | TRTR | 0 | ACTIVE | 08E-TRTR.HEAT
TRTR.PUMP | (COMP) TRITURATOR, PUMP |  | TRTR | 0 | ACTIVE | 08E-TRTR.PUMP
TRTR.VNTN | (COMP) TRITURATOR, VENTILATION |  | TRTR | 0 | ACTIVE | 08E-TRTR.VNTN
TRTR-HEAT | (ASSET) TRITURATOR, HEATER |  | TRTR | 0 | ACTIVE | 08E-TRTR-HEAT
TRTR-PUMP | (ASSET) TRITURATOR, PUMP |  | TRTR | 0 | ACTIVE | 08E-TRTR-PUMP
TRTR-VNTN | (ASSET) TRITURATOR, VENTILATION |  | TRTR | 0 | ACTIVE | 08E-TRTR-VNTN
TANK | TANK |  |  | 0 | ACTIVE | 08F-TANK
TANK-HLALRM | (ASSET) TANK, HIGH LEVEL ALARM |  | TANK | 0 | ACTIVE | 08F-TANK-HLALRM
MNHL | MANHOLE |  |  | 0 | ACTIVE | 08G-MNHL
DRAN | DRAIN |  |  | 0 | ACTIVE | 11A-DRAN
PIPE | PIPE |  |  | 0 | ACTIVE | 11A-PIPE
TRAP | TRAP |  |  | 0 | ACTIVE | 11A-TRAP
BWVV | BACKWATER VALVE |  |  | 0 | ACTIVE | 11B-BWVV
OWSP | OIL/WATER SEPARATOR |  |  | 0 | ACTIVE | 11C-OWSP
OWSP-LKDR | (ASSET) OIL/WATER SEPARATOR, LEAK DETECTOR |  | OWSP | 0 | ACTIVE | 11C-OWSP-LKDR
OWSP-MNWL | (ASSET) OIL/WATER SEPARATOR, MONITORING WELL |  | OWSP | 0 | ACTIVE | 11C-OWSP-MNWL
OWSP-PUMP | (ASSET) OIL/WATER SEPARATOR, PUMP |  | OWSP | 0 | ACTIVE | 11C-OWSP-PUMP
OWSP-TANK | (ASSET) OIL/WATER SEPARATOR, TANK |  | OWSP | 0 | ACTIVE | 11C-OWSP-TANK
OWSP-VENT | (ASSET) OIL/WATER SEPARATOR, VENTS |  | OWSP | 0 | ACTIVE | 11C-OWSP-VENT
SUBP | SUBMERSIVE PUMP |  |  | 0 | ACTIVE | 11C-SUBP
SUBP-ALRM | (ASSET) SUBMERSIVE PUMP, ALARM |  | SUBP | 0 | ACTIVE | 11C-SUBP-ALRM
SUBP-CLPL | (ASSET) SUBMERSIVE PUMP, CONTROL PANEL |  | SUBP | 0 | ACTIVE | 11C-SUBP-CLPL
SUBP-EXF | (ASSET) SUBMERSIVE PUMP, EXHAUST FAN |  | SUBP | 0 | ACTIVE | 11C-SUBP-EXF
SUBP-FWF | (ASSET) SUBMERSIVE PUMP, FRESH WATER FEED |  | SUBP | 0 | ACTIVE | 11C-SUBP-FWF
SUBP-GDS | (ASSET) SUBMERSIVE PUMP, GAS DETECTION SYSTEM |  | SUBP | 0 | ACTIVE | 11C-SUBP-GDS
SUBP-HADR | (ASSET) SUBMERSIVE PUMP, HATCH DOOR |  | SUBP | 0 | ACTIVE | 11C-SUBP-HADR
SUBP-HSTS | (ASSET) SUBMERSIVE PUMP, HOISTS |  | SUBP | 0 | ACTIVE | 11C-SUBP-HSTS
SUBP-HTNG | (ASSET) SUBMERSIVE PUMP, HEATING |  | SUBP | 0 | ACTIVE | 11C-SUBP-HTNG
SUBP-LTNG | (ASSET) SUBMERSIVE PUMP, LIGHTING |  | SUBP | 0 | ACTIVE | 11C-SUBP-LTNG
SUBP-PIT | (ASSET) SUBMERSIVE PUMP, PIT |  | SUBP | 0 | ACTIVE | 11C-SUBP-PIT
SUBP-SLGT | (ASSET) SUBMERSIVE PUMP, SLUICE GATE |  | SUBP | 0 | ACTIVE | 11C-SUBP-SLGT
SUBP-VLV | (ASSET) SUBMERSIVE PUMP, VALVE |  | SUBP | 0 | ACTIVE | 11C-SUBP-VLV
SUBP-VNTN | (ASSET) SUBMERSIVE PUMP, VENTILATION |  | SUBP | 0 | ACTIVE | 11C-SUBP-VNTN
SUBP-WTMT | (ASSET) SUBMERSIVE PUMP, WATER METER |  | SUBP | 0 | ACTIVE | 11C-SUBP-WTMT
PIPE | PIPE |  |  | 0 | ACTIVE | 11D-PIPE
PUMP | PUMP |  |  | 0 | ACTIVE | 11D-PUMP
TANK | TANK |  |  | 0 | ACTIVE | 11D-TANK
FILSYS | FILTRATION SYSTEM |  |  | 0 | ACTIVE | 11E-FILSYS
BWVV | BACKWATER VALVE |  |  | 0 | ACTIVE | 11F-BWVV
CBSN | CATCH BASIN |  |  | 0 | ACTIVE | 11F-CBSN
CBSN.CLVT | (COMP) CATCH BASIN, CULVERT |  | CBSN | 0 | ACTIVE | 11F-CBSN.CLVT
CBSN.SCPR | (COMP) CATCH BASIN, SCUPPER |  | CBSN | 0 | ACTIVE | 11F-CBSN.SCPR
CBSN-CLVT | (ASSET) CATCH BASIN, CULVERT |  | CBSN | 0 | ACTIVE | 11F-CBSN-CLVT
CBSN-SCPR | (ASSET) CATCH BASIN, SCUPPER |  | CBSN | 0 | ACTIVE | 11F-CBSN-SCPR
DRAN | DRAIN |  |  | 0 | ACTIVE | 11F-DRAN
MNHL | MANHOLE |  |  | 0 | ACTIVE | 11F-MNHL
PIPE | PIPE |  |  | 0 | ACTIVE | 11F-PIPE
SCPR | SCUPPER |  |  | 0 | ACTIVE | 11F-SCPR
SWLE | SWALES |  |  | 0 | ACTIVE | 11F-SWLE
SWLE-RPRP | (ASSET) SWALES, RIPRAP |  | SWLE | 0 | ACTIVE | 11F-SWLE-RPRP
SWTU | STORMWATER TREATMENT UNIT |  |  | 0 | ACTIVE | 11F-SWTU
GATE | GATE |  |  | 0 | ACTIVE | 11G-GATE
GATE-GTDV | (ASSET) GATE, GATE DRIVE |  | GATE | 0 | ACTIVE | 11G-GATE-GTDV
BOAT | BOAT |  |  | 0 | ACTIVE | 11H-BOAT
BOAT-ENGN | (ASSET) BOAT, ENGINE |  | BOAT | 0 | ACTIVE | 11H-BOAT-ENGN
BOAT-RUDR | (ASSET) BOAT, RUDDER |  | BOAT | 0 | ACTIVE | 11H-BOAT-RUDR
CONB | CONTAINMENT BOOM |  |  | 0 | ACTIVE | 11H-CONB
CONB-AWAL | (ASSET) CONTAINMENT BOOM, ANCHOR WALL |  | CONB | 0 | ACTIVE | 11H-CONB-AWAL
CONB-CONB | (ASSET) CONTAINMENT BOOM, CONTAINMENT BOOM |  | CONB | 0 | ACTIVE | 11H-CONB-CONB
CONB-RTRK | (ASSET) CONTAINMENT BOOM, RISER TRACK |  | CONB | 0 | ACTIVE | 11H-CONB-RTRK
CONB-TDRS | (ASSET) CONTAINMENT BOOM, TIDE RISER |  | CONB | 0 | ACTIVE | 11H-CONB-TDRS
DOCK | DOCK |  |  | 0 | ACTIVE | 11H-DOCK
OTFL | OUTFALL |  |  | 0 | ACTIVE | 11H-OTFL
OTFL-VLV | (ASSET) OUTFALL, VALVE |  | OTFL | 0 | ACTIVE | 11H-OTFL-VLV
CFDR | CHUTE FIRE DOOR |  |  | 0 | ACTIVE | 18A-CFDR
CHUT | CHUTE |  |  | 0 | ACTIVE | 18A-CHUT
CMPC | COMPACTOR |  |  | 0 | ACTIVE | 18A-CMPC
DMPT | DUMPSTER |  |  | 0 | ACTIVE | 18A-DMPT
EXSF | CHUTE EXHAUST FAN |  |  | 0 | ACTIVE | 18A-EXSF
TRCN | TRASH CAN |  |  | 0 | ACTIVE | 18A-TRCN
CMPC | COMPACTOR |  |  | 0 | ACTIVE | 18B-CMPC
CMPC-TRCN | (ASSET) COMPACTOR, TRASH CAN |  | CMPC | 0 | ACTIVE | 18B-CMPC-TRCN
DMPT | DUMPSTER |  |  | 0 | ACTIVE | 18B-DMPT
DMPT-DMPT | (ASSET) DUMPSTER, DUMPSTER |  | DMPT | 0 | ACTIVE | 18B-DMPT-DMPT
TRCN | TRASH CAN |  |  | 0 | ACTIVE | 18B-TRCN
FFLT | FUEL FILTER |  |  | 0 | ACTIVE | 19A-FFLT
HYPT | HYDRANT PIT |  |  | 0 | ACTIVE | 19A-HYPT
LKSR | LEAK SENSOR |  |  | 0 | ACTIVE | 19A-LKSR
TANK | TANK |  |  | 0 | ACTIVE | 19A-TANK
TANK.LKSR | (COMP) TANK, LEAK SENSOR |  | TANK | 0 | ACTIVE | 19A-TANK.LKSR
TANK-LKSR | (ASSET) TANK, LEAK SENSOR |  | TANK | 0 | ACTIVE | 19A-TANK-LKSR
TANK-TKMS | (ASSET) TANK, TANK MONITORING SYSTEM |  | TANK | 0 | ACTIVE | 19A-TANK-TKMS
PUMP | PUMP |  |  | 0 | ACTIVE | 19B-PUMP
RGLT | REGULATOR |  |  | 0 | ACTIVE | 19B-RGLT
SSTK | SURGE SUPPRESSION TANK |  |  | 0 | ACTIVE | 19B-SSTK
FBOX | FILL BOX |  |  | 0 | ACTIVE | 19C-FBOX
LKSR | LEAK SENSOR |  |  | 0 | ACTIVE | 19C-LKSR
PIPE | PIPE |  |  | 0 | ACTIVE | 19C-PIPE
VLV | VALVE |  |  | 0 | ACTIVE | 19C-VLV
EFSO | EFSO VALVE |  |  | 0 | ACTIVE | 19D-EFSO
EFSOPB | EFSO PUSH BUTTON |  |  | 0 | ACTIVE | 19D-EFSOPB
EFSOSL | EFSO STROBE LIGHT |  |  | 0 | ACTIVE | 19D-EFSOSL
HPV | HIGH POINT VENT |  |  | 0 | ACTIVE | 19D-HPV
HYPT | HYDRANT PIT |  |  | 0 | ACTIVE | 19D-HYPT
LDET | LEAK DETECTION |  |  | 0 | ACTIVE | 19D-LDET
LPD | LOW POINT DRAIN |  |  | 0 | ACTIVE | 19D-LPD
METR | METER |  |  | 0 | ACTIVE | 19D-METR
PIPE | PIPE |  |  | 0 | ACTIVE | 19D-PIPE
PUMP | PUMP |  |  | 0 | ACTIVE | 19D-PUMP
RGLT | REGULATOR |  |  | 0 | ACTIVE | 19D-RGLT
SSTK | SURGE SUPPRESSION TANK |  |  | 0 | ACTIVE | 19D-SSTK
TRTP | LEAK DETECTION PRESSURE TRANSMITTER |  |  | 0 | ACTIVE | 19D-TRTP
VLV | VALVE |  |  | 0 | ACTIVE | 19D-VLV
CNTR | CONTROLLER |  |  | 0 | ACTIVE | 19E-CNTR
LFIXT | LIGHT FIXTURE |  |  | 0 | ACTIVE | 23A-LFIXT
LFIXT-LSWCH | (ASSET) LIGHT FIXTURE, LIGHT SWITCH |  | LFIXT | 0 | ACTIVE | 23A-LFIXT-LSWCH
LFIXT-SNSR | (ASSET) LIGHT FIXTURE, SENSOR |  | LFIXT | 0 | ACTIVE | 23A-LFIXT-SNSR
PCELL | PHOTOCELL |  |  | 0 | ACTIVE | 23A-PCELL
TCLCK | TIMECLOCK |  |  | 0 | ACTIVE | 23A-TCLCK
BTRY | BATTERY |  |  | 0 | ACTIVE | 23B-BTRY
LFIXT | LIGHT FIXTURE |  |  | 0 | ACTIVE | 23B-LFIXT
LFIXT-LSWCH | (ASSET) LIGHT FIXTURE, LIGHT SWITCH |  | LFIXT | 0 | ACTIVE | 23B-LFIXT-LSWCH
LFIXT | LIGHT FIXTURE |  |  | 0 | ACTIVE | 23C-LFIXT
LFIXT-LSWCH | (ASSET) LIGHT FIXTURE, LIGHT SWITCH |  | LFIXT | 0 | ACTIVE | 23C-LFIXT-LSWCH
LFIXT-SNSR | (ASSET) LIGHT FIXTURE, SENSOR |  | LFIXT | 0 | ACTIVE | 23C-LFIXT-SNSR
PCELL | PHOTOCELL |  |  | 0 | ACTIVE | 23C-PCELL
TCLCK | TIMECLOCK |  |  | 0 | ACTIVE | 23C-TCLCK
ALSF | APPROACH LIGHTINGS SYSTEM - FLASHING |  |  | 0 | ACTIVE | 23D-ALSF
BECN | BEACON |  |  | 0 | ACTIVE | 23D-BECN
DBL | DECISION BAR LIGHTS |  |  | 0 | ACTIVE | 23D-DBL
EEDGE | EDGE LIGHT (ELEVATED) |  |  | 0 | ACTIVE | 23D-EEDGE
EEND | END LIGHT (ELEVATED) |  |  | 0 | ACTIVE | 23D-EEND
EGBL | GUARD BAR LIGHT (ELEVATED) |  |  | 0 | ACTIVE | 23D-EGBL
EMASL | EMAS LIGHTS |  |  | 0 | ACTIVE | 23D-EMASL
ETHLD | ELEVATED THRESHOLD LIGHTS |  |  | 0 | ACTIVE | 23D-ETHLD
IEDGE | EDGE LIGHT (INSET) |  |  | 0 | ACTIVE | 23D-IEDGE
IGBL | GUARD BAR LIGHT (INSET) |  |  | 0 | ACTIVE | 23D-IGBL
ITHLD | INSET THRESHOLD LIGHTS |  |  | 0 | ACTIVE | 23D-ITHLD
LAHSO | LAHSO LIGHT |  |  | 0 | ACTIVE | 23D-LAHSO
LWIND | LIGHTED WIND CONES |  |  | 0 | ACTIVE | 23D-LWIND
MALS | MEDIUM INTENSITY APPROACH LIGHTING SYSTEM |  |  | 0 | ACTIVE | 23D-MALS
OBSTL | OBSTRUCTION LIGHT |  |  | 0 | ACTIVE | 23D-OBSTL
ODALS | OMNI-DIRECTIONAL APPROACH LIGHTING SYSTEM |  |  | 0 | ACTIVE | 23D-ODALS
OMNI | OMNI-DIRECTIONAL LIGHTS |  |  | 0 | ACTIVE | 23D-OMNI
PAPI | PRECISION APPROACH PATH INDICATOR LIGHTS |  |  | 0 | ACTIVE | 23D-PAPI
RCLL | CENTERLINE LIGHT (RUNWAY) |  |  | 0 | ACTIVE | 23D-RCLL
REIL | REIL LIGHT |  |  | 0 | ACTIVE | 23D-REIL
RWSL | RUNWAY STATUS LIGHT |  |  | 0 | ACTIVE | 23D-RWSL
SALS | SHORT APPROACH LIGHTING SYSTEM |  |  | 0 | ACTIVE | 23D-SALS
SFL | SEQUENTIAL FLASHING LIGHTS |  |  | 0 | ACTIVE | 23D-SFL
TBL | TERMINATING BAR LIGHTS |  |  | 0 | ACTIVE | 23D-TBL
TCBL | TAXIWAY CLEARANCE BAR LIGHT |  |  | 0 | ACTIVE | 23D-TCBL
TCLL | CENTERLINE LIGHT (TAXIWAY) |  |  | 0 | ACTIVE | 23D-TCLL
TDZL | TOUCHDOWN ZONE LIGHT |  |  | 0 | ACTIVE | 23D-TDZL
VASI | VISUAL APPRACH SLOPE INDICATOR LIGHTS |  |  | 0 | ACTIVE | 23D-VASI
LFIXT | LIGHT FIXTURE |  |  | 0 | ACTIVE | 23E-LFIXT
LFIXT-LSWCH | (ASSET) LIGHT FIXTURE, LIGHT SWITCH |  | LFIXT | 0 | ACTIVE | 23E-LFIXT-LSWCH
PCELL | PHOTOCELL |  |  | 0 | ACTIVE | 23E-PCELL
TCLCK | TIMECLOCK |  |  | 0 | ACTIVE | 23E-TCLCK
ACKT | AIRFIELD CIRCUIT |  |  | 0 | ACTIVE | 50X-ACKT
FDCL | FEEDER CABLE |  |  | 0 | ACTIVE | 50X-FDCL
PIPE | PIPE |  |  | 0 | ACTIVE | 80A-PIPE
RAD | RADIANT HEATER |  |  | 0 | ACTIVE | 80A-RAD
VLV | VALVE |  |  | 0 | ACTIVE | 80A-VLV
BDT | BLOW DOWN TANK |  |  | 0 | ACTIVE | 80B-BDT
BOIL | BOILER |  |  | 0 | ACTIVE | 80B-BOIL
BOIL.FLTR | (COMP) BOILER, FILTER |  | BOIL | 0 | ACTIVE | 80B-BOIL.FLTR
BTUM | BTU METER |  |  | 0 | ACTIVE | 80B-BTUM
CMFD | CHEMICAL FEEDER |  |  | 0 | ACTIVE | 80B-CMFD
DEAR | DEAERATOR |  |  | 0 | ACTIVE | 80B-DEAR
EXPT | EXPANSION TANK |  |  | 0 | ACTIVE | 80B-EXPT
HTEX | HEAT EXCHANGER |  |  | 0 | ACTIVE | 80B-HTEX
PUMP | PUMP |  |  | 0 | ACTIVE | 80B-PUMP
PUMP-MOTR | (ASSET) PUMP, MOTOR |  | PUMP | 0 | ACTIVE | 80B-PUMP-MOTR
VLV | VALVE |  |  | 0 | ACTIVE | 80B-VLV
VLV.DCV | (COMP) VALVE, DIFFERENTIAL CONTROL VALVE |  | VLV | 0 | ACTIVE | 80B-VLV.DCV
VLV-DCV | (ASSET) VALVE, DIFFERENTIAL CONTROL VALVE |  | VLV | 0 | ACTIVE | 80B-VLV-DCV
PIPE | PIPE |  |  | 0 | ACTIVE | 81A-PIPE
VLV | VALVE |  |  | 0 | ACTIVE | 81A-VLV
BTUM | BTU METER |  |  | 0 | ACTIVE | 81B-BTUM
CHILL | CHILLER |  |  | 0 | ACTIVE | 81B-CHILL
CMFD | CHEMICAL FEEDER |  |  | 0 | ACTIVE | 81B-CMFD
EXPT | EXPANSION TANK |  |  | 0 | ACTIVE | 81B-EXPT
PIPE | PIPE |  |  | 0 | ACTIVE | 81B-PIPE
PIPE-FXCN | (ASSET) PIPE, FLEXIBLE CONNECTION |  | PIPE | 0 | ACTIVE | 81B-PIPE-FXCN
PIPE-STRN | (ASSET) PIPE, STRAINER |  | PIPE | 0 | ACTIVE | 81B-PIPE-STRN
PUMP | PUMP |  |  | 0 | ACTIVE | 81B-PUMP
PUMP-CHVL | (ASSET) PUMP, CHECK VALVE |  | PUMP | 0 | ACTIVE | 81B-PUMP-CHVL
PUMP-MOTR | (ASSET) PUMP, MOTOR |  | PUMP | 0 | ACTIVE | 81B-PUMP-MOTR
VLV | VALVE |  |  | 0 | ACTIVE | 81B-VLV
VLV-DCV | (ASSET) VALVE, DIFFERENTIAL CONTROL VALVE |  | VLV | 0 | ACTIVE | 81B-VLV-DCV
VLV | VALVE |  |  | 0 | ACTIVE | 84A-VLV
VLV-DCV | (ASSET) VALVE, DIFFERENTIAL CONTROL VALVE |  | VLV | 0 | ACTIVE | 84A-VLV-DCV
PIPE | PIPE |  |  | 0 | ACTIVE | 84B-PIPE
AMND | AIR MAINTENANCE DEVICE |  |  | 0 | ACTIVE | 84C-AMND
BFPV | BACKFLOW PREVENTER |  |  | 0 | ACTIVE | 84C-BFPV
CTYM | WATER (CITY) METERS |  |  | 0 | ACTIVE | 84C-CTYM
CTYM-RRSYS | (ASSET) WATER (CITY) METERS, REMOTE READING SYSTEM |  | CTYM | 0 | ACTIVE | 84C-CTYM-RRSYS
FPMP | FIRE PUMP |  |  | 0 | ACTIVE | 84C-FPMP
FPPL | FIRE PUMP PANEL |  |  | 0 | ACTIVE | 84C-FPPL
ISOV | ISOLATION VALVE |  |  | 0 | ACTIVE | 84C-ISOV
JPMP | JOCKEY PUMP |  |  | 0 | ACTIVE | 84C-JPMP
PIPE | PIPE |  |  | 0 | ACTIVE | 84C-PIPE
SSTK | SURGE SUPPRESSION TANK |  |  | 0 | ACTIVE | 84C-SSTK
SSTK-AMND | (ASSET) SURGE SUPPRESSION TANK, AIR MAINTENANCE DEVICE |  | SSTK | 0 | ACTIVE | 84C-SSTK-AMND
SSTK-ARCP | (ASSET) SURGE SUPPRESSION TANK, AIR COMPRESSOR |  | SSTK | 0 | ACTIVE | 84C-SSTK-ARCP
WSTK | WATER STORAGE TANK |  |  | 0 | ACTIVE | 84C-WSTK
BFPV | BACKFLOW PREVENTER |  |  | 0 | ACTIVE | 84D-BFPV
ISOV | ISOLATION VALVE |  |  | 0 | ACTIVE | 84D-ISOV
LDET | LEAK DETECTION |  |  | 0 | ACTIVE | 84D-LDET
PIPE | PIPE |  |  | 0 | ACTIVE | 84D-PIPE
ALAN | ALARM ANNUNCIATOR |  |  | 0 | ACTIVE | 87A-ALAN
APNL | ACCESS PANEL |  |  | 0 | ACTIVE | 87A-APNL
BRDR | BIOMETRIC READER |  |  | 0 | ACTIVE | 87A-BRDR
CLPL | CONTROL PANEL |  |  | 0 | ACTIVE | 87A-CLPL
CLPL-DRI | (ASSET) CONTROL PANEL, DUAL READER INTERFACE |  | CLPL | 0 | ACTIVE | 87A-CLPL-DRI
CLPL-ICU | (ASSET) CONTROL PANEL, INTELLIGENT CONTROL UNIT |  | CLPL | 0 | ACTIVE | 87A-CLPL-ICU
CLPL-PWSP | (ASSET) CONTROL PANEL, POWER SUPPLY |  | CLPL | 0 | ACTIVE | 87A-CLPL-PWSP
CRDR | CARD READER |  |  | 0 | ACTIVE | 87A-CRDR
DRCT | DOOR CONTACTS |  |  | 0 | ACTIVE | 87A-DRCT
DRCT-ELLK | (ASSET) DOOR CONTACTS, ELECTRIC LOCK |  | DRCT | 0 | ACTIVE | 87A-DRCT-ELLK
DRCT-MGLK | (ASSET) DOOR CONTACTS, MAGNETIC LOCK |  | DRCT | 0 | ACTIVE | 87A-DRCT-MGLK
DRCT-PBLK | (ASSET) DOOR CONTACTS, PUSH BUTTON LOCK |  | DRCT | 0 | ACTIVE | 87A-DRCT-PBLK
DRSK | DOOR STRIKE |  |  | 0 | ACTIVE | 87A-DRSK
EXSR | EXIT MOTION SENSOR |  |  | 0 | ACTIVE | 87A-EXSR
FOBR | FOB READER |  |  | 0 | ACTIVE | 87A-FOBR
HORN | HORN |  |  | 0 | ACTIVE | 87A-HORN
KEPD | KEYLESS KEYPAD |  |  | 0 | ACTIVE | 87A-KEPD
KYRP | KEY RESET PANEL |  |  | 0 | ACTIVE | 87A-KYRP
KYSB | KEY STORAGE BOX |  |  | 0 | ACTIVE | 87A-KYSB
MOSR | MOTION SENSOR |  |  | 0 | ACTIVE | 87A-MOSR
NETS | NETWORK SWITCH |  |  | 0 | ACTIVE | 87A-NETS
PID | PERIMETER INTRUSTION DETECTION (PID) |  |  | 0 | ACTIVE | 87A-PID
PTEB | PUSH REQUEST TO EXIT (REX) |  |  | 0 | ACTIVE | 87A-PTEB
PWSP | POWER SUPPLY |  |  | 0 | ACTIVE | 87A-PWSP
RLYPL | RELAY PANEL |  |  | 0 | ACTIVE | 87A-RLYPL
SSR | SECURITY SYSTEM SERVER |  |  | 0 | ACTIVE | 87A-SSR
SSR-SFTW | (ASSET) SECURITY SYSTEM SERVER, SOFTWARE |  | SSR | 0 | ACTIVE | 87A-SSR-SFTW
SSR-STOR | (ASSET) SECURITY SYSTEM SERVER, STORAGE |  | SSR | 0 | ACTIVE | 87A-SSR-STOR
STRB | STROBE |  |  | 0 | ACTIVE | 87A-STRB
TCMR | THERMAL CAMERA |  |  | 0 | ACTIVE | 87A-TCMR
UPS | UPS |  |  | 0 | ACTIVE | 87A-UPS
UPS-BTRY | (ASSET) UPS, BATTERY |  | UPS | 0 | ACTIVE | 87A-UPS-BTRY
UPS-CHRG | (ASSET) UPS, CHARGER |  | UPS | 0 | ACTIVE | 87A-UPS-CHRG
WRKS | WORKSTATION |  |  | 0 | ACTIVE | 87A-WRKS
WRKS-SFTW | (ASSET) WORKSTATION, SOFTWARE |  | WRKS | 0 | ACTIVE | 87A-WRKS-SFTW
AVSL | AUDIO VIDEO SELECTOR |  |  | 0 | ACTIVE | 87B-AVSL
CMRA | CAMERA |  |  | 0 | ACTIVE | 87B-CMRA
CMRA-ENSR | (ASSET) CAMERA, ENCLOSURE |  | CMRA | 0 | ACTIVE | 87B-CMRA-ENSR
CMRA-MNT | (ASSET) CAMERA, MOUNT |  | CMRA | 0 | ACTIVE | 87B-CMRA-MNT
CNTR | CONTROLLER |  |  | 0 | ACTIVE | 87B-CNTR
DPLY | DISPLAY |  |  | 0 | ACTIVE | 87B-DPLY
DPLY-CCTV | (ASSET) DISPLAY, CCTV |  | DPLY | 0 | ACTIVE | 87B-DPLY-CCTV
DPLY-MNT | (ASSET) DISPLAY, MOUNT |  | DPLY | 0 | ACTIVE | 87B-DPLY-MNT
DRDR | DIGITAL RECORDER |  |  | 0 | ACTIVE | 87B-DRDR
ENDE | ENCODER/DECODER |  |  | 0 | ACTIVE | 87B-ENDE
HDAS | HDD ARRAY STORAGE |  |  | 0 | ACTIVE | 87B-HDAS
LPRC | LICENSE PLATE READER |  |  | 0 | ACTIVE | 87B-LPRC
MPAS | MODIFIED PA SIREN |  |  | 0 | ACTIVE | 87B-MPAS
MPAS-SPKR | (ASSET) MODIFIED PA SIREN, SPEAKER |  | MPAS | 0 | ACTIVE | 87B-MPAS-SPKR
NETS | NETWORK SWITCH |  |  | 0 | ACTIVE | 87B-NETS
NETS-SFTW | (ASSET) NETWORK SWITCH, SOFTWARE |  | NETS | 0 | ACTIVE | 87B-NETS-SFTW
NETS-SWCH | (ASSET) NETWORK SWITCH, SWITCH |  | NETS | 0 | ACTIVE | 87B-NETS-SWCH
PWSP | POWER SUPPLY |  |  | 0 | ACTIVE | 87B-PWSP
RCSR | RECORDER SERVER |  |  | 0 | ACTIVE | 87B-RCSR
RCSR-SFTW | (ASSET) RECORDER SERVER, SOFTWARE |  | RCSR | 0 | ACTIVE | 87B-RCSR-SFTW
RVWS | REVIEW WORKSTATION |  |  | 0 | ACTIVE | 87B-RVWS
RVWS-CNSL | (ASSET) REVIEW WORKSTATION, CONSOLE |  | RVWS | 0 | ACTIVE | 87B-RVWS-CNSL
RVWS-SFTW | (ASSET) REVIEW WORKSTATION, SOFTWARE |  | RVWS | 0 | ACTIVE | 87B-RVWS-SFTW
TMTR | TRANSMITTER |  |  | 0 | ACTIVE | 87B-TMTR
UPS | UPS |  |  | 0 | ACTIVE | 87B-UPS
UPS-BTRY | (ASSET) UPS, BATTERY |  | UPS | 0 | ACTIVE | 87B-UPS-BTRY
UPS-CHRG | (ASSET) UPS, CHARGER |  | UPS | 0 | ACTIVE | 87B-UPS-CHRG
VDAM | VIDEO DISTRIBUTION AMPLIFIER |  |  | 0 | ACTIVE | 87B-VDAM
VDMS | VIDEO MANAGEMENT SYSTEM |  |  | 0 | ACTIVE | 87B-VDMS
VDMS-SFTW | (ASSET) VIDEO MANAGEMENT SYSTEM, SOFTWARE |  | VDMS | 0 | ACTIVE | 87B-VDMS-SFTW
CHBR | VEHICLE BARRIER |  |  | 0 | ACTIVE | 87C-CHBR
CHBR-BLRD | (ASSET) VEHICLE BARRIER, BOLLARD |  | CHBR | 0 | ACTIVE | 87C-CHBR-BLRD
CHBR-CLPL | (ASSET) VEHICLE BARRIER, CONTROL PANEL |  | CHBR | 0 | ACTIVE | 87C-CHBR-CLPL
CHBR-DEBR | (ASSET) VEHICLE BARRIER, DELTA BARRIER |  | CHBR | 0 | ACTIVE | 87C-CHBR-DEBR
CHBR-JYBR | (ASSET) VEHICLE BARRIER, JERSEY BARRIER |  | CHBR | 0 | ACTIVE | 87C-CHBR-JYBR
CHBR-MOTR | (ASSET) VEHICLE BARRIER, MOTOR |  | CHBR | 0 | ACTIVE | 87C-CHBR-MOTR
CHBR-RPBR | (ASSET) VEHICLE BARRIER, RAPTOR BARRIER |  | CHBR | 0 | ACTIVE | 87C-CHBR-RPBR
FNCG | FENCING |  |  | 0 | ACTIVE | 87C-FNCG
SBTH | SECURITY BOOTH |  |  | 0 | ACTIVE | 87C-SBTH
SBTH-MLWK | (ASSET) SECURITY BOOTH, MILLWORK |  | SBTH | 0 | ACTIVE | 87C-SBTH-MLWK
SEGT | SECURITY GATE |  |  | 0 | ACTIVE | 87C-SEGT
SGCON | SECURITY GATE CONTROLLERS |  |  | 0 | ACTIVE | 87C-SGCON
SGCON-SNSR | (ASSET) SECURITY GATE CONTROLLERS, SENSOR |  | SGCON | 0 | ACTIVE | 87C-SGCON-SNSR
TNST | TURNSTILES |  |  | 0 | ACTIVE | 87C-TNST
STGC | STORAGE CONTAINER |  |  | 0 | ACTIVE | 87D-STGC
ARCP | AIR COMPRESSOR |  |  | 0 | ACTIVE | 90A-ARCP
HTEX | HEAT EXCHANGER |  |  | 0 | ACTIVE | 90A-HTEX
SMT | RAMP HEATING SYSTEM |  |  | 0 | ACTIVE | 90A-SMT
SWG | SWITCHGEAR |  |  | 0 | ACTIVE | 90A-SWG
CIR | RAMP HEATING PUMP |  |  | 0 | ACTIVE | 90B-CIR
CPUMP | CONDENSATE PUMP |  |  | 0 | ACTIVE | 90B-CPUMP
PUMP | PUMP |  |  | 0 | ACTIVE | 90B-PUMP
PUMP-CHVL | (ASSET) PUMP, CHECK VALVE |  | PUMP | 0 | ACTIVE | 90B-PUMP-CHVL
PUMP-MOTR | (ASSET) PUMP, MOTOR |  | PUMP | 0 | ACTIVE | 90B-PUMP-MOTR
SMP | SUMP PUMP |  |  | 0 | ACTIVE | 90B-SMP
OWSP | OIL/WATER SEPARATOR |  |  | 0 | ACTIVE | 90C-OWSP
SPIT | SUMP PIT |  |  | 0 | ACTIVE | 90C-SPIT
TANK | TANK |  |  | 0 | ACTIVE | 90C-TANK
PIPE | PIPE |  |  | 0 | ACTIVE | 90D-PIPE
VLV | VALVE |  |  | 0 | ACTIVE | 90D-VLV
CBCT | CONTROL BOARD CABINET |  |  | 0 | ACTIVE | 90E-CBCT
DSCS | DISCONNECT SWITCH |  |  | 0 | ACTIVE | 90E-DSCS
LVB | MAIN SWITCH |  |  | 0 | ACTIVE | 90E-LVB
MTRC | MOTOR CONTROLLER |  |  | 0 | ACTIVE | 90E-MTRC
RLC | RELAY CABINET |  |  | 0 | ACTIVE | 90E-RLC
HTTC | HEAT TRACE |  |  | 0 | ACTIVE | 90F-HTTC
CBSY | CURB SYSTEM |  |  | 0 | ACTIVE | 91B-CBSY
DLTR | DELINEATOR GUIDE POST |  |  | 0 | ACTIVE | 91B-DLTR
RFLMK | REFLECTORIZED LINEAR MARKER |  |  | 0 | ACTIVE | 91B-RFLMK
RFPMK | REFLECTORIZED POINT MARKER |  |  | 0 | ACTIVE | 91B-RFPMK
SGPN | SIGN PANEL |  |  | 0 | ACTIVE | 91C-SGPN
SPRT | SUPPORT |  |  | 0 | ACTIVE | 91C-SPRT
SPRT-SGPN | (ASSET) SUPPORT, SIGN PANEL |  | SPRT | 0 | ACTIVE | 91C-SPRT-SGPN
ASIGN | HIGHWAY ADVISORY RADIO (HAR) - ALERT SIGN |  |  | 0 | ACTIVE | 91D-ASIGN
DMSCAB | ITS CABINET |  |  | 0 | ACTIVE | 91D-DMSCAB
DMSCAB-DMSSG | (ASSET) ITS CABINET, DYNAMIC MESSAGE SIGN (DMS) - SIGN |  | DMSCAB | 0 | ACTIVE | 91D-DMSCAB-DMSSG
DMSSG | DYNAMIC MESSAGE SIGN (DMS) - SIGN |  |  | 0 | ACTIVE | 91D-DMSSG
HARRADIO | HIGHWAY ADVISORY RADIO (HAR)-RADIO |  |  | 0 | ACTIVE | 91D-HARRADIO
LUCSG | LANE USE CONTROL SIGNAL |  |  | 0 | ACTIVE | 91D-LUCSG
RSNSR | ROAD WEATHER INFORMATION SYSTEM (RWIS) - ROAD SENSOR |  |  | 0 | ACTIVE | 91D-RSNSR
RWIS | ROAD WEATHER INFORMATION SYSTEM (RWIS) - RWIS DEVICE |  |  | 0 | ACTIVE | 91D-RWIS
VEHD | VEHICLE DETECTOR |  |  | 0 | ACTIVE | 91D-VEHD
VSLSG | VARIABLE SPEED LIMIT SIGN |  |  | 0 | ACTIVE | 91D-VSLSG
BARR | BARRIER |  |  | 0 | ACTIVE | 91E-BARR
GRAIL | GUARD RAIL |  |  | 0 | ACTIVE | 91E-GRAIL
ITAR | IMPACT ATTENUATOR |  |  | 0 | ACTIVE | 91E-ITAR
BASE | BASE |  |  | 0 | ACTIVE | 91F-BASE
CMMD | COMMUNICATION DEVICE |  |  | 0 | ACTIVE | 91F-CMMD
CMRA | CAMERA |  |  | 0 | ACTIVE | 91F-CMRA
COMM | TRAFFIC SIGNAL COMMUNICATIONS |  |  | 0 | ACTIVE | 91F-COMM
COMME | COMMUNICATION EQUIPMENT |  |  | 0 | ACTIVE | 91F-COMME
FBSH | FLASHING BEACON SIGNAL HEAD |  |  | 0 | ACTIVE | 91F-FBSH
FNDN | FOUNDATION |  |  | 0 | ACTIVE | 91F-FNDN
FXST | FIXED STRUCTURE |  |  | 0 | ACTIVE | 91F-FXST
GPSC | GPS CLOCK |  |  | 0 | ACTIVE | 91F-GPSC
MCWD | MICROWAVE DETECTOR |  |  | 0 | ACTIVE | 91F-MCWD
MSAM | MAST ARM |  |  | 0 | ACTIVE | 91F-MSAM
PEDD | TRAFFIC SIGNAL PEDESTRIAN DETECTION |  |  | 0 | ACTIVE | 91F-PEDD
PEDDT | PEDESTRIAN DETECTOR |  |  | 0 | ACTIVE | 91F-PEDDT
PSH | PEDESTRIAN SIGNAL HEAD |  |  | 0 | ACTIVE | 91F-PSH
PSH-PEDSHL | (ASSET) PEDESTRIAN SIGNAL HEAD, PEDESTRIAN SIGNAL HEAD LENS |  | PSH | 0 | ACTIVE | 91F-PSH-PEDSHL
RAILSIG | RAIL SIGNAL |  |  | 0 | ACTIVE | 91F-RAILSIG
RCAB | RAILROAD CABINET |  |  | 0 | ACTIVE | 91F-RCAB
RDET | RAILROAD DETECTOR |  |  | 0 | ACTIVE | 91F-RDET
RPMB | RAMP METERING BASE |  |  | 0 | ACTIVE | 91F-RPMB
RPMF | RAMP METERING FOUNDATION |  |  | 0 | ACTIVE | 91F-RPMF
RPMSH | RAMP METERING SIGNAL HEAD |  |  | 0 | ACTIVE | 91F-RPMSH
RPTSP | RAMP METERING TRAFFIC SIGNAL POLE |  |  | 0 | ACTIVE | 91F-RPTSP
RRFLSH | RAILROAD FLASHER |  |  | 0 | ACTIVE | 91F-RRFLSH
RRSG | RAILROAD SIGNAL |  |  | 0 | ACTIVE | 91F-RRSG
SNHD | TRAFFIC SIGNAL HEADS |  |  | 0 | ACTIVE | 91F-SNHD
SNWR | SPAN WIRE |  |  | 0 | ACTIVE | 91F-SNWR
SPRT | SUPPORT |  |  | 0 | ACTIVE | 91F-SPRT
SWTSP | SPAN WIRE TRAFFIC SIGNAL POLE |  |  | 0 | ACTIVE | 91F-SWTSP
TSCBNT | TRAFFIC SIGNAL CABINET |  |  | 0 | ACTIVE | 91F-TSCBNT
TSCBNT-AXHN | (ASSET) TRAFFIC SIGNAL CABINET, AUXILARY HARNESS |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-AXHN
TSCBNT-CFMU | (ASSET) TRAFFIC SIGNAL CABINET, CONFLICT MONITOR UNIT |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-CFMU
TSCBNT-CNTR | (ASSET) TRAFFIC SIGNAL CABINET, CONTROLLER |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-CNTR
TSCBNT-COMIM | (ASSET) TRAFFIC SIGNAL CABINET, COMMUNICATION INTERFACE MODULE |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-COMIM
TSCBNT-COMME | (ASSET) TRAFFIC SIGNAL CABINET, COMMUNICATION EQUIPMENT |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-COMME
TSCBNT-DPMM | (ASSET) TRAFFIC SIGNAL CABINET, DETECTOR PORT MASTER MODULE |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-DPMM
TSCBNT-DTMO | (ASSET) TRAFFIC SIGNAL CABINET, DETECTOR MODULE |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-DTMO
TSCBNT-FLRL | (ASSET) TRAFFIC SIGNAL CABINET, FLASH RELAY |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-FLRL
TSCBNT-FLSR | (ASSET) TRAFFIC SIGNAL CABINET, FLASHER |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-FLSR
TSCBNT-LDSW | (ASSET) TRAFFIC SIGNAL CABINET, LOAD SWITCH |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-LDSW
TSCBNT-LPDT | (ASSET) TRAFFIC SIGNAL CABINET, LOOP DETECTOR |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-LPDT
TSCBNT-LPVDE | (ASSET) TRAFFIC SIGNAL CABINET, LOOP VEHICLE DETECTION EQUIPMENT |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-LPVDE
TSCBNT-MODM | (ASSET) TRAFFIC SIGNAL CABINET, MODEM |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-MODM
TSCBNT-MWDE | (ASSET) TRAFFIC SIGNAL CABINET, MICROWAVE DETECTION EQUIPMENT |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-MWDE
TSCBNT-PWRL | (ASSET) TRAFFIC SIGNAL CABINET, POWER RELAY |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-PWRL
TSCBNT-PWSP | (ASSET) TRAFFIC SIGNAL CABINET, POWER SUPPLY |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-PWSP
TSCBNT-RKMU | (ASSET) TRAFFIC SIGNAL CABINET, RACK MODULAR UNIT |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-RKMU
TSCBNT-SWCH | (ASSET) TRAFFIC SIGNAL CABINET, SWITCH |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-SWCH
TSCBNT-TCR | (ASSET) TRAFFIC SIGNAL CABINET, TRACK CIRCUIT RELAY |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-TCR
TSCBNT-UPS | (ASSET) TRAFFIC SIGNAL CABINET, UPS |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-UPS
TSCBNT-VIDD | (ASSET) TRAFFIC SIGNAL CABINET, VIDEO DETECTION EQUIPMENT |  | TSCBNT | 0 | ACTIVE | 91F-TSCBNT-VIDD
TSP | TRAFFIC SIGNAL POLE |  |  | 0 | ACTIVE | 91F-TSP
TSSPRT | TRAFFIC SIGNAL SUPPORTS |  |  | 0 | ACTIVE | 91F-TSSPRT
VEHD | VEHICLE DETECTOR |  |  | 0 | ACTIVE | 91F-VEHD
VEHSH | VEHICULAR SIGNAL HEAD |  |  | 0 | ACTIVE | 91F-VEHSH
VEHSH-VSH | (ASSET) VEHICULAR SIGNAL HEAD, VEHICULAR SIGNAL HEAD LENS |  | VEHSH | 0 | ACTIVE | 91F-VEHSH-VSH
PVMT | PAVEMENT |  |  | 0 | ACTIVE | 91G-PVMT
SPVMT | SHOULDER PAVEMENT |  |  | 0 | ACTIVE | 91G-SPVMT
SLPT | SLOPE PROTECTION |  |  | 0 | ACTIVE | 91H-SLPT
WLPL | WALL PANELS |  |  | 0 | ACTIVE | 91H-WLPL
WLPL-TIBK | (ASSET) WALL PANELS, TIE BACKS |  | WLPL | 0 | ACTIVE | 91H-WLPL-TIBK
CSWK | CROSSWALK |  |  | 0 | ACTIVE | 91I-CSWK
CURB | CURB |  |  | 0 | ACTIVE | 91I-CURB
LINR | LINEAR MARKING |  |  | 0 | ACTIVE | 91I-LINR
ROAD | ROADWAY |  |  | 0 | ACTIVE | 91I-ROAD
SDWK | SIDEWALK |  |  | 0 | ACTIVE | 91I-SDWK
SMBL | SYMBOL MARKING |  |  | 0 | ACTIVE | 91I-SMBL
AETG | AET GANTRY |  |  | 0 | ACTIVE | 91J-AETG
GATE | GATE |  |  | 0 | ACTIVE | 91J-GATE
TBTH | TOLL BOOTH |  |  | 0 | ACTIVE | 91J-TBTH