## FUNCT20
[10 empty] | ATTRIBUTE NAME | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | MANUFACTURER | MODEL | SERIAL # | PFA CATEGORY | DIRECTION | LRM | START MEASURE | END MEASURE | ACTUATOR TYPE | AMPERAGE | BODY MATERIAL | CAPACITY | COATING | COLOR | CONFIGURATION | CONNECTION | CURRENT TYPE | DEPTH | DIAMETER | DRAWING NUMBER | ENDS | FLOW RATE | FREQUENCY | FULL LOAD AMPS (FLA) | GATE SIZE | GATE TYPE MOUNTING | GRADE | HEAD PRESSURE | HEIGHT | HORSEPOWER | IMPELLAR DIAMETER | INLET DIAMETER | INSULATION | LENGTH | LOCKED ROTOR AMPS (LRA) | MATERIAL | MATERIAL TYPE | MAX BRAKE HORSEPOWER | MAX HIGH LEVEL SHUTOFF | MAXIMUM FLOW | MAXIMUM FLOW RATE | MAXIMUM KW INPUT | MAXIMUM PRESSURE | MAXIMUM SUCTION PRESSURE | MAXIMUM WATER TEMPERATURE | MOUNT | OPENING DIRECTION | OPERATOR TYPE | OS&Y | OUTLET DIAMETER | PHASE | POWER | PRESSURE | PROCESS FLUID | RATE BRAKE HORSEPOWER | RATED PRESSURE | RATING | RELIEF TYPE | SCHEDULES | SHUT-DOWN VALVE | SIZE | SPEED | STAGE | TANK SIZE | TEMPERATURE RATING | TYPE | VALVE TYPE | VOLTAGE | WEIGHT | WIDTH | WORKING PRESSURE
[10 empty] | DATATYPE | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | NUM | ALN | ALN | NUM | ALN | NUM | NUM | ALN | ALN | NUM | NUM | NUM | NUM | NUM | ALN | NUM | NUM | ALN | ALN | NUM | NUM | NUM | (MULTIPLE) | NUM | NUM | NUM | NUM | ALN | ALN | ALN | ALN | NUM | ALN | NUM | NUM | ALN | NUM | NUM | ALN | ALN | ALN | ALN | (MULTIPLE) | NUM | ALN | NUM | ALN | ALN | ALN | (MULTIPLE) | NUM | NUM | NUM
[10 empty] | UOM | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | YEARS | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | AMP | N/A | N/A | N/A | N/A | N/A | N/A | N/A | IN | IN | N/A | N/A | GPH | HZ | AMP | IN | N/A | N/A | FT | IN | (MULTIPLE) | IN | IN | N/A | FT | AMP | N/A | N/A | BHP | FT | GPD | (MULTIPLE) | KW | PSI | PSI | F | N/A | N/A | N/A | N/A | IN | N/A | W | PSIG | N/A | BHP | PSI | (MULTIPLE) | N/A | N/A | N/A | (MULTIPLE) | RPM | N/A | N/A | F | N/A | N/A | V | KG | IN | PSI
[10 empty] | DOMAIN | N | N | N | N | N | N | N | N | N | Y | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | Y | N | Y | N | N | N | Y | Y | Y | N | N | N | Y | N | N | N | N | Y | N | N | N | N | N | N | N | N | N | Y | N | N | N | N | N | N | N | N | N | N | Y | N | Y | N | Y | N | N | Y | N | N | N | Y | N | Y | N | N | Y | N | N | N | Y | N | N | N | N
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILD ASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEM CODE | ADS CODE | DEFAULT USEFUL LIFE(yr) | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A
FUNCT | CONDENSER WATER | [5 empty] | 20
|  | SOURCE |  |  |  |  | A
|  |  | CHEMICAL FEEDER |  |  |  | CMFD | FUNCT20A | FUNCT20A-CMFD | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 |  |  | 1 |  | 1 |  | 1 | [6 empty] | 1 | 1 | [5 empty] | 1 |  |  |  |  | 1 | [9 empty] | 1 |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  | 1 |  |  |  | 1 | 1 | 1
|  |  | CONTROL INTERFACE |  |  |  | CONI | FUNCT20A | FUNCT20A-CONI |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COOLING TOWER |  |  |  | CTWR | FUNCT20A | FUNCT20A-CTWR | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | BEARING |  | BRNG | FUNCT20A | FUNCT20A-CTWR.BRNG
[5 empty] | COOLING FILL |  | CFIL | FUNCT20A | FUNCT20A-CTWR.CFIL
[5 empty] | CONTROLS |  | CNTL | FUNCT20A | FUNCT20A-CTWR.CNTL
[5 empty] | CONTROL VALVE |  | CNTV | FUNCT20A | FUNCT20A-CTWR.CNTV
[5 empty] | FAN |  | FAN | FUNCT20A | FUNCT20A-CTWR.FAN
[5 empty] | FILL CONTROL |  | FCNT | FUNCT20A | FUNCT20A-CTWR.FCNT
[5 empty] | FILTER |  | FLTR | FUNCT20A | FUNCT20A-CTWR.FLTR
[5 empty] | GEARBOX ASSEMBLY |  | GBXA | FUNCT20A | FUNCT20A-CTWR.GBXA
[5 empty] | MOTOR |  | MOTR | FUNCT20A | FUNCT20A-CTWR.MOTR
[5 empty] | NOZZLE |  | NOZL | FUNCT20A | FUNCT20A-CTWR.NOZL
[5 empty] | VFD/STARTER |  | STRT | FUNCT20A | FUNCT20A-CTWR.STRT
[5 empty] | SUMP |  | SUMP | FUNCT20A | FUNCT20A-CTWR.SUMP
[6 empty] | BELT | BELT | FUNCT20A | FUNCT20A-CTWR:BELT
[6 empty] | OIL | OIL | FUNCT20A | FUNCT20A-CTWR:OIL
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT20A | FUNCT20A-DSCS |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT20A | FUNCT20A-ISOV | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 |  | 1 | 1 | 1 |  |  | 1 | [11 empty] | 1 | [6 empty] | 1 | [6 empty] | 1 |  |  | 1 | 1 |  | 1 |  | 1 |  |  | 1 | 1 |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 |  |  | 1
|  |  | MAKE-UP CONTROL VALVE |  |  |  | MUCV | FUNCT20A | FUNCT20A-MUCV |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PLUME ABATEMENT |  |  |  | PABT | FUNCT20A | FUNCT20A-PABT |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PIPE |  |  |  | PIPE | FUNCT20A | FUNCT20A-PIPE | 40 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | [5 empty] | 1 | [5 empty] | 1 | 1 |  | 1 | 1 | [19 empty] | 1 |  | 1 |  | 1 |  |  |  |  | 1
[5 empty] | AIR ELIMINATOR |  | AIRE | FUNCT20A | FUNCT20A-PIPE.AIRE
[5 empty] | AIR VENT |  | AIRV | FUNCT20A | FUNCT20A-PIPE.AIRV
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT20A | FUNCT20A-PIPE.DRNV
[5 empty] | FLOW METER |  | FLWM | FUNCT20A | FUNCT20A-PIPE.FLWM
[5 empty] | GAUGE |  | GAUG | FUNCT20A | FUNCT20A-PIPE.GAUG
[5 empty] | INSULATION |  | INSL | FUNCT20A | FUNCT20A-PIPE.INSL
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT20A | FUNCT20A-PIPE.PRRV
[5 empty] | STRAINER |  | STRN | FUNCT20A | FUNCT20A-PIPE.STRN
[5 empty] | THERMOMETER |  | THER | FUNCT20A | FUNCT20A-PIPE.THER
[5 empty] | VIBRATION ELIMINATOR |  | VIBR | FUNCT20A | FUNCT20A-PIPE.VIBR
|  |  | SLUICE GATE |  |  |  | SLGT | FUNCT20A | FUNCT20A-SLGT | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [11 empty] | 1 |  |  |  |  | 1 | 1 | [20 empty] | 1 | 1
|  |  | TRAVELING SCREEN |  |  |  | TSCREEN | FUNCT20A | FUNCT20A-TSCREEN | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | DISTRIBUTION |  |  |  |  | B
|  |  | CONTROL VALVE |  |  |  | CNTV | FUNCT20B | FUNCT20B-CNTV |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CONTROL INTERFACE |  |  |  | CONI | FUNCT20B | FUNCT20B-CONI |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT20B | FUNCT20B-DSCS |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT20B | FUNCT20B-ISOV |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PIPE |  |  |  | PIPE | FUNCT20B | FUNCT20B-PIPE |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | AIR ELIMINATOR |  | AIRE | FUNCT20B | FUNCT20B-PIPE.AIRE
[5 empty] | AIR VENT |  | AIRV | FUNCT20B | FUNCT20B-PIPE.AIRV
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT20B | FUNCT20B-PIPE.DRNV
[5 empty] | FLOW METER |  | FLWM | FUNCT20B | FUNCT20B-PIPE.FLWM
[5 empty] | GAUGE |  | GAUG | FUNCT20B | FUNCT20B-PIPE.GAUG
[5 empty] | INSULATION |  | INSL | FUNCT20B | FUNCT20B-PIPE.INSL
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT20B | FUNCT20B-PIPE.PRRV
[5 empty] | STRAINER |  | STRN | FUNCT20B | FUNCT20B-PIPE.STRN
[5 empty] | THERMOMETER |  | THER | FUNCT20B | FUNCT20B-PIPE.THER
[5 empty] | VIBRATION ELIMINATOR |  | VIBR | FUNCT20B | FUNCT20B-PIPE.VIBR
|  |  | PUMP |  |  |  | PUMP | FUNCT20B | FUNCT20B-PUMP | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  |  |  |  | 1 |  |  |  | 1 | 1 |  |  | 1 | 1 |  |  |  | 1 |  | 1 | 1 |  |  |  | 1 |  | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  |  | 1 | 1 | 1 |  |  |  |  | 1 | 1 |  |  | 1 |  | 1
[5 empty] | MOTOR |  | MOTR | FUNCT20B | FUNCT20B-PUMP.MOTR
[5 empty] | VFD/STARTER |  | STRT | FUNCT20B | FUNCT20B-PUMP.STRT