## PRIVATE WATER MAIN
[10 empty] | ATTRIBUTE NAME | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | MANUFACTURER | MODEL | SERIAL # | PFA CATEGORY | DIRECTION | LRM | START MEASURE | END MEASURE | ACTUATOR TYPE | ADDRESSABLE | AMP HOUR | AMPERAGE | APPLICATION | BODY MATERIAL | CABINET TYPE | CAPACITY | CFM | COATING | COLOR | CONFIGURATION | CONNECTION | CONTENT | CONTROL VOLTAGE | CURRENT TYPE | DIAMETER | DISPENSER SUMP SENSOR | DRAWING NUMBER | ELECTRIC METER TYPE | ENCLOSURE TYPE | ENDS | FACLEVEL | FREQUENCY | FULL LOAD AMPS (FLA) | GRADE | HEAD PRESSURE | HEIGHT | HORSEPOWER | IMPELLAR DIAMETER | INLET DIAMETER | INSTALLATION | INSTALLER NAME | INSULATION | LENGTH | LOCKED ROTOR AMPS (LRA) | MATERIAL | MATERIAL TYPE | MAX BRAKE HORSEPOWER | MAX HIGH LEVEL SHUTOFF | MAXIMUM FLOW | MAXIMUM FLOW RATE | MAXIMUM KW INPUT | MAXIMUM OPERATING PRESSURE | MAXIMUM OPERATING TEMPERATURE | MAXIMUM PRESSURE | MAXIMUM SUCTION PRESSURE | MAXIMUM WATER TEMPERATURE | MINIMUM OPERATING TEMPERATURE | MOTOR SPEED | MOUNT | MOUNT HARDWARE TYPE | OS&Y | OUTDOOR RATED | OUTLET DIAMETER | PHASE | POWER | PRESSURE | PRESSURE CLASS | PRESSURE RATING | PRESSURE SETTING | PROCESS FLUID | PUMPING/DISPENSING METHOD | RACK ELEVATION | RADIO FREQUENCY | RATE BRAKE HORSEPOWER | RATED PRESSURE | RATING | RELIEF TYPE | ROOM TYPE | SCHEDULES | SHUT-DOWN VALVE | SIZE | SPEED | SPILL BUCKET CONFIGURATION | STAGE | STAGE I VAPOR RECOVERY SYSTEM | STAGE II VAPOR RECOVERY SYSTEM | STANDARD | STATION | TANK EXTERNAL PROTECTION | TANK INTERNAL PROTECTION | TANK LEAK DETECTION SYSTEM | TANK LOCATION | TANK OVERFILL PROTECTION | TANK SECONDARY CONTAINMENT | TANK SIZE | TEMPERATURE | TEMPERATURE RATING | TESTING | TYPE | VALVE TYPE | VOLTAGE | WALL THICKNESS | WIDTH | WORKING PRESSURE
[10 empty] | DATATYPE | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | ALN | ALN | ALN | ALN | ALN | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | (MULTIPLE) | ALN | ALN | ALN | ALN | ALN | NUM | ALN | NUM | ALN | NUM | NUM | NUM | NUM | NUM | ALN | ALN | ALN | NUM | NUM | ALN | ALN | NUM | NUM | NUM | (MULTIPLE) | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | ALN | ALN | ALN | ALN | NUM | ALN | NUM | NUM | ALN | NUM | ALN | ALN | ALN | ALN | ALN | NUM | NUM | (MULTIPLE) | ALN | ALN | ALN | ALN | ALN | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | NUM | ALN | ALN | ALN | ALN | (MULTIPLE) | ALN | NUM | NUM
[10 empty] | UOM | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | YEARS | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | AH | AMP | N/A | N/A | N/A | (MULTIPLE) | CF/M | N/A | N/A | N/A | N/A | N/A | V | N/A | IN | N/A | N/A | N/A | N/A | N/A | N/A | HZ | AMP | N/A | FT | IN | HP | IN | IN | N/A | N/A | N/A | FT | AMP | N/A | N/A | BHP | FT | GPD | GPM | KW | PSI | F | PSI | PSI | F | F | RPM | N/A | N/A | N/A | N/A | IN | N/A | W | PSI | N/A | PSI | N/A | N/A | N/A | N/A | N/A | BHP | PSI | (MULTIPLE) | N/A | N/A | N/A | N/A | IN | RPM | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | F | F | N/A | N/A | N/A | V | IN | FT | PSI
[10 empty] | DOMAIN | N | N | N | N | N | N | N | N | N | Y | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | Y | Y | N | N | Y | Y | N | N | N | N | N | Y | Y | Y | N | Y | N | N | N | Y | N | Y | Y | N | N | N | N | N | N | N | N | Y | N | N | N | N | Y | N | [12 empty] | N | N | Y | Y | N | Y | N | N | Y | N | N | Y | N | N | Y | N | N | N | Y | N | N | Y | N | N | N | Y | N | N | N | Y | N | N | N | N | N | N | N | N | N | Y | Y | Y | N | N | N | N | bar: BHP to RPM
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILD ASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEM CODE | ADS CODE | DEFAULT USEFUL LIFE(yr) | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | [12 empty] | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | bar: BHP to RPM
DIST | PRIVATE WATER MAIN | [5 empty] | 84
|  | VALVES |  |  |  |  | A
|  |  | VALVE |  |  |  | VLV | DIST84A | DIST84A-VLV | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  | 1 |  | 1 |  | 1 | 1 |  |  | 1 |  |  | 1 | [11 empty] | 1 | [19 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  |  |  | 1 | [5 empty] | 1 | 1 |  |  | 1 | [16 empty] | 1 |  | 1 | 1 | 1 |  |  | 1 | bar: FT
|  |  |  | DIFFERENTIAL CONTROL VALVE |  |  | DCV | DIST84A | DIST84A-VLV-DCV | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  | 1 |  | 1 |  | 1 | 1 |  |  | 1 |  |  | 1 | [11 empty] | 1 | [19 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  |  |  | 1 | [5 empty] | 1 | 1 |  |  | 1 | [16 empty] | 1 |  | 1 | 1 | 1 |  |  | 1 | bar: FT
|  | PIPING |  |  |  |  | B
|  |  | PIPE |  |  |  | PIPE | DIST84B | DIST84B-PIPE | 40 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 1 |  | 1 | 1 | 1 | 1 |  |  |  | 1 |  | 1 |  |  | 1 |  |  |  | 1 | [7 empty] | 1 | 1 |  | 1 | 1 | [29 empty] | 1 |  |  | 1 |  | 1 | [17 empty] | 1
|  | SOURCE |  |  |  |  | C
|  |  | AIR MAINTENANCE DEVICE |  |  |  | AMND | DIST84C | DIST84C-AMND |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [18 empty] | 1 | [73 empty] | 1
|  |  | BACKFLOW PREVENTER |  |  |  | BFPV | DIST84C | DIST84C-BFPV | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | [11 empty] | 1 |  | 1 | [11 empty] | 1 | [6 empty] | 1 | [16 empty] | 1 |  |  | 1 | [14 empty] | 1 | [14 empty] | 1 |  |  | 1
|  |  | WATER (CITY) METERS |  |  |  | CTYM | DIST84C | DIST84C-CTYM | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [16 empty] | 1 |  | 1 | 1 | [41 empty] | 1 | bar: GPM; PSI to F; F
|  |  |  | REMOTE READING SYSTEM |  |  | RRSYS | DIST84C | DIST84C-CTYM-RRSYS | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | FIRE PUMP |  |  |  | FPMP | DIST84C | DIST84C-FPMP | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | [7 empty] | 1 |  |  |  |  | 1 |  | 1 |  |  |  |  | 1 | 1 |  | 1 |  | 1 | 1 | [5 empty] | 1 |  | 1 | [12 empty] | 1 |  |  |  |  | 1 | [9 empty] | 1 | 1 | 1 | [5 empty] | 1 |  | 1 | [14 empty] | 1 |  | 1 | bar: BHP; GPD to KW; PSI to F
|  |  | FIRE PUMP PANEL |  |  |  | FPPL | DIST84C | DIST84C-FPPL | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 |  |  | 1 | [7 empty] | 1 |  |  |  | 1 |  | 1 |  | 1 | 1 | 1 | [7 empty] | 1 | [18 empty] | 1 |  | 1 |  | 1 | 1 | [6 empty] | 1 | 1 |  |  | 1 |  | 1 | [9 empty] | 1 | [9 empty] | 1 | 1 |  | 1
|  |  | ISOLATION VALVE |  |  |  | ISOV | DIST84C | DIST84C-ISOV | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  | 1 |  | 1 |  | 1 | 1 |  |  | 1 |  |  | 1 | [11 empty] | 1 | [19 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  |  |  | 1 | [5 empty] | 1 | 1 |  |  | 1 | [16 empty] | 1 |  | 1 | 1 | 1 |  |  | 1 | bar: FT
|  |  | JOCKEY PUMP |  |  |  | JPMP | DIST84C | DIST84C-JPMP | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | [7 empty] | 1 |  |  |  |  | 1 |  | 1 |  |  |  |  | 1 | 1 |  | 1 |  | 1 | 1 | [5 empty] | 1 |  | 1 | [12 empty] | 1 |  |  |  |  | 1 | [9 empty] | 1 | 1 | 1 | [5 empty] | 1 |  | 1 | [14 empty] | 1 |  | 1 | bar: BHP; GPD to KW; PSI to F
|  |  | PIPE |  |  |  | PIPE | DIST84C | DIST84C-PIPE | 40 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 1 |  | 1 | 1 | 1 | 1 |  |  |  | 1 |  | 1 |  |  | 1 |  |  |  | 1 | [7 empty] | 1 | 1 |  | 1 | 1 | [29 empty] | 1 |  |  | 1 |  | 1 | [17 empty] | 1
|  |  | SURGE SUPPRESSION TANK |  |  |  | SSTK | DIST84C | DIST84C-SSTK | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 1 |  |  | 1 | 1 |  | 1 |  |  | 1 | 1 | 1 | [7 empty] | 1 | 1 |  |  |  | 1 |  |  | 1 |  | 1 | [18 empty] | 1 |  |  | 1 | 1 | 1 |  | 1 |  |  |  |  | 1 | [6 empty] | 1 |  | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 |  | 1 | 1 | 1
|  |  |  | AIR COMPRESSOR |  |  | ARCP | DIST84C | DIST84C-SSTK-ARCP | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 |  |  |  | 1 | 1 | [9 empty] | 1 |  |  |  |  | 1 |  |  |  |  | 1 | [26 empty] | 1 |  | 1 | [34 empty] | 1 | bar: RPM
|  |  |  | AIR MAINTENANCE DEVICE |  |  | AMND | DIST84C | DIST84C-SSTK-AMND | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [18 empty] | 1 | [73 empty] | 1
|  |  | WATER STORAGE TANK |  |  |  | WSTK | DIST84C | DIST84C-WSTK | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 1 |  |  | 1 | 1 |  | 1 |  |  | 1 | 1 | 1 | [7 empty] | 1 | 1 |  |  |  | 1 |  |  | 1 |  | 1 | [18 empty] | 1 |  |  | 1 | 1 | 1 |  | 1 |  |  |  |  | 1 | [6 empty] | 1 |  | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 |  | 1 | 1 | 1
|  | DISTRIBUTION |  |  |  |  | D
|  |  | BACKFLOW PREVENTER |  |  |  | BFPV | DIST84D | DIST84D-BFPV | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | [11 empty] | 1 |  | 1 | [11 empty] | 1 | [6 empty] | 1 | [16 empty] | 1 |  |  | 1 | [14 empty] | 1 | [14 empty] | 1 |  |  | 1
|  |  | ISOLATION VALVE |  |  |  | ISOV | DIST84D | DIST84D-ISOV | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  | 1 |  | 1 |  | 1 | 1 |  |  | 1 |  |  | 1 | [11 empty] | 1 | [19 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  |  |  | 1 | [5 empty] | 1 | 1 |  |  | 1 | [16 empty] | 1 |  | 1 | 1 | 1 |  |  | 1 | bar: FT
|  |  | LEAK DETECTION |  |  |  | LDET | DIST84D | DIST84D-LDET | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PIPE |  |  |  | PIPE | DIST84D | DIST84D-PIPE | 40 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 1 |  | 1 | 1 | 1 | 1 |  |  |  | 1 |  | 1 |  |  | 1 |  |  |  | 1 | [7 empty] | 1 | 1 |  | 1 | 1 | [29 empty] | 1 |  |  | 1 |  | 1 | [17 empty] | 1