## OPSIT
[10 empty] | ATTRIBUTE NAME | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | MANUFACTURER | MODEL | SERIAL # | PFA CATEGORY | DIRECTION | LRM | START MEASURE | END MEASURE | AC POWER SOURCE CONNECTION | AMPERAGE | APPLICATION | CABINET TYPE | CAMERA | CAMERA NUMBER | CAPACITY | CATEGORY | CONNECTION SIZE | CONNECTION TYPE | CONTROLLER FIRMWARE REVISION NUMBER | CONTROLLER MANUAL CONTROL | CONTROLLER NTCIP | CONTROLLER PREEMPTION | CONTROLLER TYPE | CONTROLLER TYPE OF OPERATION | CURRENT | CURRENT LIMITING | DEPTH | DEVICE ID | DISPLAY TYPE | DRAWING NUMBER | ELECTRICAL RATING, AC | ELECTRICAL RATING, DC | ELECTRICAL REAL POWER | ENCLOSURE | FACLEVEL | FIRMWARE REVISION | FREQUENCY | FUNCTION | FUSE SIZE | HEIGHT | ICCID | IMEI | IMSI | INPUT | INPUT VOLTAGE | INPUT VOLTAGE AC | INPUT VOLTAGE AC UNIT | INPUT VOLTAGE DC | INPUT VOLTAGE DC UNIT | INSTALLED OS | INSTALLER NAME | INTERFACE TYPE | LATITUDE | LENGTH | LONGITUDE | MANHOLE TYPE | MANUFACTURE DATE | MATERIAL | MATERIAL TYPE | MAXIMUM TMDS CLOCK | MOUNT | MOUNT HARDWARE TYPE | NEMA/IP RATING | NUMBER OF RACK UNITS | ORG UNIT DESCRIPTION | ORG UNIT NUMBER | OUTDOOR RATED | OUTPUT CURRENT | OUTPUT CURRENT RATING | OUTPUT LOWER LIMIT, AC | OUTPUT LOWER LIMIT, DC | OUTPUT TYPE | OUTPUT UPPER LIMIT, AC | OUTPUT UPPER LIMIT, DC | OUTPUT VOLTAGE | OUTPUT VOLTAGE AC | OUTPUT VOLTAGE AC UNIT | OUTPUT VOLTAGE DC | OUTPUT VOLTAGE DC UNIT | PHASE | PHONE NUMBER | PRESSURE RATING | PROVIDER | RACK ELEVATION | RADIO FREQUENCY | RATING | REDUNDANT OUTPUT | ROOM TYPE | SIZE | SOFTWARE DRIVER REVISION | SOFTWARE NAME | SOFTWARE VERSION | SPECIFICATION | STANDARD | STORAGE | SUPPLY | TEMPERATURE RANGE | TEMPERATURE RATING | TESTING | TYPE | VARIABLE VOLTAGE OUTPUT | VEHICLE DESCRIPTION | VEHICLE NUMBER | VOLTAGE | VOLTAGE OUTPUT | WEIGHT | WIDTH
[10 empty] | DATATYPE | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | (MULTIPLE) | ALN | ALN | ALN | ALN | ALN | ALN | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | (MULTIPLE) | ALN | NUM | ALN | ALN | ALN | ALN | ALN | (MULTIPLE) | ALN | NUM | ALN | (MULTIPLE) | ALN | NUM | NUM | NUM | NUM | NUM | NUM | ALN | ALN | ALN | NUM | ALN | ALN | ALN | ALN | NUM | NUM | NUM | ALN | ALN | ALN | ALN | NUM | ALN | ALN | NUM | NUM | ALN | ALN | ALN | ALN | NUM | NUM | NUM | ALN | NUM | NUM | ALN | NUM | ALN | NUM | ALN | ALN | NUM | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | (MULTIPLE) | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | (MULTIPLE) | NUM | NUM | NUM
[10 empty] | UOM | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | YEARS | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | (MULTIPLE) | N/A | N/A | N/A | N/A | (MULTIPLE) | N/A | IN | N/A | N/A | N/A | N/A | N/A | N/A | N/A | AMP | N/A | IN | N/A | N/A | N/A | V | V | W | N/A | N/A | N/A | HZ | N/A | N/A | (MULTIPLE) | N/A | N/A | N/A | AMP | V | (MULTIPLE) | N/A | (MULTIPLE) | N/A | N/A | N/A | N/A | DEG | (MULTIPLE) | DEG | N/A | N/A | N/A | N/A | MHZ | N/A | N/A | N/A | N/A | N/A | N/A | N/A | AMP | AMP | N/A | N/A | N/A | N/A | N/A | V | V | N/A | V | N/A | N/A | N/A | PSI |  | N/A | N/A | N/A | N/A | N/A | (MULTIPLE) | N/A | N/A | N/A | N/A | N/A | (MULTIPLE) | N/A | F | F | N/A | N/A | V | N/A | N/A | V | V | (MULTIPLE) | (MULTIPLE)
[10 empty] | DOMAIN | N | N | N | N | N | N | N | N | N | Y | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | Y | N | N | N | Y | N | N | N | N | N | N | Y | Y | Y | Y | Y | N | Y | N | N | Y | N | N | N | N | N | Y | N | N | Y | N | N | N | N | N | N | N | N | Y | N | Y | N | N | N | N | N | N | Y | N | Y | N | N | Y | N | N | N | N | N | Y | N | N | N | N | Y | N | N | N | N | Y | N | Y | Y | N | N | N | N | Y | N | Y | N | N | N | N | N | N | N | N | N | N | N | Y | Y | N | N | N | N | N | N | N
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILD ASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEM CODE | ADS CODE | DEFAULT USEFUL LIFE(yr) | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A
IT | OPSIT | [5 empty] | 98
|  | NETWORKING DEVICES |  |  |  |  | A
|  |  | 480 NODE CABINET |  |  |  | 480N | IT98A | IT98A-480N | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DWDM-ACTIVE OPTICAL DEVICE |  |  |  | AODV | IT98A | IT98A-AODV | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 | 1 | [8 empty] | 1 |  |  | 1 | 1 | 1 |  |  | 1 |  | 1 | 1 | 1 | [12 empty] | 1 | 1 | [10 empty] | 1 |  |  |  |  | 1 | [16 empty] | 1 |  |  |  | 1 | 1 |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  |  | 1
|  |  | BYPASS/RESET SWITCH |  |  |  | BYPR | IT98A | IT98A-BYPR |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 |  |  |  |  | 1
|  |  | DATA LINE CONNECTION |  |  |  | DLCN | IT98A | IT98A-DLCN | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 | 1 | [8 empty] | 1 |  |  | 1 | 1 | 1 |  |  | 1 |  | 1 | 1 | 1 | [12 empty] | 1 | 1 | [10 empty] | 1 |  |  |  |  | 1 | [16 empty] | 1 |  |  |  | 1 | 1 |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  |  | 1
|  |  | FIBER CABINET |  |  |  | FBCB | IT98A | IT98A-FBCB | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 | [9 empty] | 1 | [13 empty] | 1 |  |  |  |  | 1 | [47 empty] | 1
[5 empty] | FIBER-DARK FIBER |  | FBDF | IT98A | IT98A-FBCB.FBDF
|  |  |  | FIBER-DARK FIBER |  |  | FBDF | IT98A | IT98A-FBCB-FBDF | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 | 1 | [8 empty] | 1 |  |  | 1 | 1 | 1 |  |  | 1 |  | 1 | 1 | 1 | [12 empty] | 1 | 1 | [10 empty] | 1 |  |  |  |  | 1 | [16 empty] | 1 |  |  |  | 1 | 1 |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  |  | 1
|  |  | FIBER-DARK FIBER |  |  |  | FBDF | IT98A | IT98A-FBDF |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | IT ENCLOSURE |  |  |  | ITEN | IT98A | IT98A-ITEN | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | MATRIX CONTROLLER |  |  |  | MATC | IT98A | IT98A-MATC |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 |  | 1 | 1 |  |  | 1 |  | 1 | [5 empty] | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 |  | 1 |  |  |  | 1 |  | 1 |  | 1 | 1 |  |  |  | 1 | 1 |  | 1 | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 | 1 |  |  | 1 | [5 empty] | 1 |  | 1 |  | 1 | 1 | 1 |  | 1 | 1 |  |  |  | 1
|  |  | MATRIX SWITCH |  |  |  | MATS | IT98A | IT98A-MATS |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 |  |  |  |  | 1 | [24 empty] | 1
|  |  | NETWORK SWITCH |  |  |  | NETS | IT98A | IT98A-NETS | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 | 1 | [8 empty] | 1 |  |  | 1 | 1 | 1 |  |  | 1 |  | 1 | 1 | 1 | [12 empty] | 1 | 1 | [10 empty] | 1 |  |  |  |  | 1 | [16 empty] | 1 |  |  |  | 1 | 1 |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  |  | 1
|  |  | PHONE PANEL |  |  |  | PHPL | IT98A | IT98A-PHPL | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 | 1 | [8 empty] | 1 |  |  | 1 | 1 | 1 |  |  | 1 |  | 1 | 1 | 1 | [12 empty] | 1 | 1 | [10 empty] | 1 |  |  |  |  | 1 | [16 empty] | 1 |  |  |  | 1 | 1 |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  |  | 1
|  |  | DWDM-PASSIVE OPTICAL DEVICE |  |  |  | PODV | IT98A | IT98A-PODV | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 | 1 | [8 empty] | 1 |  |  | 1 | 1 | 1 |  |  | 1 |  | 1 | 1 | 1 | [12 empty] | 1 | 1 | [10 empty] | 1 |  |  |  |  | 1 | [16 empty] | 1 |  |  |  | 1 | 1 |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  |  | 1
|  |  | RF NETWORK DEVICE |  |  |  | RFND | IT98A | IT98A-RFND | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 | 1 | [8 empty] | 1 |  |  | 1 | 1 | 1 |  |  | 1 |  | 1 | 1 | 1 | [12 empty] | 1 | 1 | [10 empty] | 1 |  |  |  |  | 1 | [16 empty] | 1 |  |  |  | 1 | 1 |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  |  | 1
|  |  | NETWORK-ROUTER |  |  |  | RTRS | IT98A | IT98A-RTRS | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 | 1 | [8 empty] | 1 |  |  | 1 | 1 | 1 |  |  | 1 |  | 1 | 1 | 1 | [12 empty] | 1 | 1 | [10 empty] | 1 |  |  |  |  | 1 | [16 empty] | 1 |  |  |  | 1 | 1 |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  |  | 1
|  |  | NETWORK-SECURITY DEVICE |  |  |  | SCTD | IT98A | IT98A-SCTD | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 | 1 | [8 empty] | 1 |  |  | 1 | 1 | 1 |  |  | 1 |  | 1 | 1 | 1 | [12 empty] | 1 | 1 | [10 empty] | 1 |  |  |  |  | 1 | [16 empty] | 1 |  |  |  | 1 | 1 |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  |  | 1
|  |  | FIBER-SERVICE PROVIDER |  |  |  | SVPV | IT98A | IT98A-SVPV | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 | 1 | [8 empty] | 1 |  |  | 1 | 1 | 1 |  |  | 1 |  | 1 | 1 | 1 | [12 empty] | 1 | 1 | [10 empty] | 1 |  |  |  |  | 1 | [16 empty] | 1 |  |  |  | 1 | 1 |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  |  | 1
|  |  | NETWORK-VOIP GATEWAY |  |  |  | VOIPG | IT98A | IT98A-VOIPG | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 | 1 | [8 empty] | 1 |  |  | 1 | 1 | 1 |  |  | 1 |  | 1 | 1 | 1 | [12 empty] | 1 | 1 | [10 empty] | 1 |  |  |  |  | 1 | [16 empty] | 1 |  |  |  | 1 | 1 |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  |  | 1
|  | COMPUTING DEVICES |  |  |  |  | B
|  |  | APPLIANCE |  |  |  | APLN | IT98B | IT98B-APLN | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 |  |  | 1 | [66 empty] | 1 |  |  |  | 1
|  |  | CELL PHONE |  |  |  | CLPH | IT98B | IT98B-CLPH | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 | [10 empty] | 1 | 1 | 1 | [21 empty] | 1 | 1 | [14 empty] | 1 |  | 1 | [16 empty] | 1 |  | 1 | 1 | 1
|  |  | DESKTOP COMPUTER |  |  |  | DKTP | IT98B | IT98B-DKTP | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 |  |  | 1 | [9 empty] | 1 |  |  |  |  | 1 |  |  | 1 |  | 1 | [29 empty] | 1 | 1 | [17 empty] | 1 | 1 |  |  | 1 | [6 empty] | 1 |  |  |  | 1 | 1 |  | 1 | 1 | 1
|  |  | DISPLAY |  |  |  | DPLY | IT98B | IT98B-DPLY | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 | [15 empty] | 1 | 1 | 1 | [5 empty] | 1 | [13 empty] | 1 | 1 | [32 empty] | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | [7 empty] | 1 |  |  |  | 1
|  |  | DVR |  |  |  | DVR | IT98B | IT98B-DVR |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [16 empty] | 1 |  |  |  |  | 1 | [6 empty] | 1 | [66 empty] | 1
|  |  | INTERFACE MODULE |  |  |  | INTF | IT98B | IT98B-INTF |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 |  |  |  |  | 1
|  |  | LAPTOP |  |  |  | LPTP | IT98B | IT98B-LPTP | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 |  |  | 1 | [9 empty] | 1 |  |  |  |  | 1 |  |  | 1 |  | 1 | [29 empty] | 1 | 1 | [17 empty] | 1 | 1 |  |  | 1 | [6 empty] | 1 |  |  |  | 1 | 1 |  | 1 | 1 | 1
|  |  | PROJECTOR |  |  |  | PJTR | IT98B | IT98B-PJTR |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [16 empty] | 1 |  |  |  |  | 1 | [6 empty] | 1 | [66 empty] | 1
|  |  | STORAGE- SAN |  |  |  | SAN | IT98B | IT98B-SAN | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | [14 empty] | 1 | [69 empty] | 1
|  |  | SPEAKER |  |  |  | SPKR | IT98B | IT98B-SPKR |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 | [5 empty] | 1 | [13 empty] | 1 | 1 | [33 empty] | 1 |  |  |  |  | 1 | 1 | 1 | [6 empty] | 1
|  |  | SERVER |  |  |  | SRVR | IT98B | IT98B-SRVR | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | [14 empty] | 1 |  |  | 1 |  |  | 1 | [13 empty] | 1 | 1 | [34 empty] | 1 |  |  |  | 1 | 1 | 1 |  |  | 1 |  |  |  |  | 1
|  |  | SERVER-UPS |  |  |  | SUPS | IT98B | IT98B-SUPS | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | [18 empty] | 1 |  |  | 1 |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  | 1 |  | 1 | [5 empty] | 1 | [6 empty] | 1 | [6 empty] | 1 | [7 empty] | 1 |  | 1 | [14 empty] | 1 |  |  |  |  | 1 | [8 empty] | 1
|  |  | SERVER RACK |  |  |  | SVRK | IT98B | IT98B-SVRK | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [18 empty] | 1 |  |  | 1 | [9 empty] | 1 | [23 empty] | 1 | [35 empty] | 1 |  |  |  | 1 |  |  | 1
|  |  | TABLET |  |  |  | TBLT | IT98B | IT98B-TBLT | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 |  |  | 1 | [9 empty] | 1 |  |  |  |  | 1 |  |  | 1 |  | 1 | [29 empty] | 1 | 1 | [17 empty] | 1 | 1 |  |  | 1 | [6 empty] | 1 |  |  |  | 1 | 1 |  | 1 | 1 | 1
|  |  | STORAGE-WORM |  |  |  | WORM | IT98B | IT98B-WORM | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | [14 empty] | 1 | [69 empty] | 1
|  | COMMUNICATION EQUIPMENT |  |  |  |  | C
|  |  | CENTRAL EXCHANGE UNIT |  |  |  | CEXU | IT98C | IT98C-CEXU |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 |  |  |  |  | 1
|  |  | TELEPHONE- FAX GATEWAY |  |  |  | FXGW | IT98C | IT98C-FXGW | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 | [10 empty] | 1 | 1 | 1 | [21 empty] | 1 | 1 | [14 empty] | 1 |  | 1 | [16 empty] | 1 |  | 1 | 1 | 1
|  |  | HOLD-UP ALARM SYSTEM |  |  |  | HUAS | IT98C | IT98C-HUAS | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 | [31 empty] | 1 |  |  |  |  | 1 | [18 empty] | 1
|  |  | INTERCOM/CALL BOX |  |  |  | ICCB | IT98C | IT98C-ICCB | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | [16 empty] | 1 |  |  | 1 | [61 empty] | 1 |  |  |  |  | 1 |  |  |  | 1
|  |  | MANHOLE |  |  |  | MNHL | IT98C | IT98C-MNHL |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 | [9 empty] | 1 | [13 empty] | 1 |  | 1 |  | 1 | [47 empty] | 1 | 1
|  |  | TELEPHONE- PBX |  |  |  | PBX | IT98C | IT98C-PBX | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 | [10 empty] | 1 | 1 | 1 | [21 empty] | 1 | 1 | [14 empty] | 1 |  | 1 | [16 empty] | 1 |  | 1 | 1 | 1
|  |  | VOIP-PHONE/POLYCOM |  |  |  | PHPC | IT98C | IT98C-PHPC | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 | [10 empty] | 1 | 1 | 1 | [21 empty] | 1 | 1 | [14 empty] | 1 |  | 1 | [16 empty] | 1 |  | 1 | 1 | 1
|  |  | POWER SUPPLY |  |  |  | PWSP | IT98C | IT98C-PWSP |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | [12 empty] | 1 | 1 |  |  |  | 1 |  |  |  |  | 1 |  | 1 |  |  | 1 |  |  |  |  | 1 | [7 empty] | 1 | 1 | 1 | [9 empty] | 1 | 1 |  |  | 1 |  |  | 1 | [11 empty] | 1 | 1 |  | 1 | 1 | [10 empty] | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1
|  |  | SATELLITE PHONE |  |  |  | SATP | IT98C | IT98C-SATP |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 | [10 empty] | 1 | 1 | 1 | [21 empty] | 1 | 1 | [14 empty] | 1 |  | 1 | [16 empty] | 1 |  | 1 | 1 | 1
|  |  | SATELLITE PHONE CHARGING STATION |  |  |  | SCHG | IT98C | IT98C-SCHG |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 | [17 empty] | 1 | [8 empty] | 1 | [5 empty] | 1 | [19 empty] | 1 | 1 | [8 empty] | 1 |  |  |  |  | 1 |  |  |  | 1 | 1 |  |  | 1 | [8 empty] | 1 |  | 1 | 1 |  | 1 | 1 | 1
|  |  | STORECASTER |  |  |  | STCS | IT98C | IT98C-STCS |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 |  |  |  |  | 1
|  |  | TELEPHONE INTERFACE MODULE |  |  |  | TLIF | IT98C | IT98C-TLIF |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1