## FUNCT08
[10 empty] | ATTRIBUTE NAME | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | MANUFACTURER | MODEL | SERIAL # | PFA CATEGORY | DIRECTION | LRM | START MEASURE | END MEASURE | ACTUATOR TYPE | AMPERAGE | BODY MATERIAL | CAPACITY | COATING | COLOR | CONFIGURATION | CONNECTION | CURRENT TYPE | DIAMETER | DRAWING NUMBER | ENDS | FREQUENCY | FULL LOAD AMPS (FLA) | GALLONS PER MINUTE | GRADE | HEAD PRESSURE | HORSEPOWER | IMPELLAR DIAMETER | INLET DIAMETER | INSULATION | LENGTH | LOCKED ROTOR AMPS (LRA) | MATERIAL | MATERIAL TYPE | MAX BRAKE HORSEPOWER | MAX HIGH LEVEL SHUTOFF | MAXIMUM FLOW | MAXIMUM FLOW RATE | MAXIMUM KW INPUT | MAXIMUM PRESSURE | MAXIMUM SUCTION PRESSURE | MAXIMUM WATER TEMPERATURE | MOUNT | OPENING LENGTH | OPENING WIDTH | OS&Y | OUTLET DIAMETER | PHASE | POWER | PROCESS FLUID | RATE BRAKE HORSEPOWER | RATED PRESSURE | RATING | RELIEF TYPE | SCHEDULES | SHUT-DOWN VALVE | SIZE | SPEED | STAGE | TEMPERATURE RATING | TYPE | VALVE TYPE | VOLTAGE | WORKING PRESSURE
[10 empty] | DATATYPE | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | (MULTIPLE) | ALN | (MULTIPLE) | ALN | ALN | ALN | ALN | ALN | (MULTIPLE) | ALN | ALN | ALN | NUM | NUM | ALN | NUM | NUM | NUM | NUM | ALN | NUM | NUM | ALN | ALN | NUM | NUM | NUM | ALN | NUM | NUM | NUM | NUM | ALN | NUM | NUM | ALN | NUM | ALN | NUM | ALN | NUM | NUM | ALN | ALN | ALN | ALN | ALN | NUM | ALN | ALN | ALN | ALN | ALN | NUM
[10 empty] | UOM | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | YEARS | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | AMP | N/A | N/A | N/A | N/A | N/A | N/A | N/A | (MULTIPLE) | N/A | N/A | HZ | AMP | GPM | N/A | FT | HP | IN | IN | N/A | (MULTIPLE) | AMP | N/A | N/A | BHP | FT | GPD | GPM | KW | PSI | PSI | F | N/A | IN | IN | N/A | IN | N/A | W | N/A | BHP | PSI | (MULTIPLE) | N/A | N/A | N/A | IN | RPM | N/A | F | N/A | N/A | V | PSI
[10 empty] | DOMAIN | N | N | N | N | N | N | N | N | N | Y | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | Y | N | Y | N | N | N | Y | Y | Y | N | N | Y | N | N | N | N | N | N | N | N | N | N | N | Y | N | [8 empty] | N | N | N | Y | N | Y | N | Y | N | N | N | Y | N | Y | N | N | Y | N | N | Y | N | N | bar: BHP to F
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILD ASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEM CODE | ADS CODE | DEFAULT USEFUL LIFE(yr) | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | [8 empty] | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | bar: BHP to F
FUNCT | SANITARY WASTE | [5 empty] | 08
|  | COLLECTION |  |  |  |  | A
|  |  | CHECK VALVE |  |  |  | CHVL | FUNCT08A | FUNCT08A-CHVL |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT08A | FUNCT08A-DSCS |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT08A | FUNCT08A-ISOV | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 |  | 1 | 1 | 1 |  | 1 | [8 empty] | 1 | [13 empty] | 1 |  |  | 1 | 1 |  | 1 | 1 |  |  | 1 | 1 |  | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | bar: FT
|  |  | PIPE |  |  |  | PIPE | FUNCT08A | FUNCT08A-PIPE | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 |  |  |  | 1 |  |  |  |  | 1 | 1 |  | 1 | 1 | [18 empty] | 1 |  | 1 |  | 1 |  |  |  | 1
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT08A | FUNCT08A-PIPE.DRNV
[5 empty] | FLOW METER |  | FLWM | FUNCT08A | FUNCT08A-PIPE.FLWM
[5 empty] | FREEZE PROTECTION |  | FZPT | FUNCT08A | FUNCT08A-PIPE.FZPT
[5 empty] | GAUGE |  | GAUG | FUNCT08A | FUNCT08A-PIPE.GAUG
[5 empty] | INSULATION |  | INSL | FUNCT08A | FUNCT08A-PIPE.INSL
[5 empty] | PH METER |  | PHMR | FUNCT08A | FUNCT08A-PIPE.PHMR
[5 empty] | VIBRATION ELIMINATOR |  | VIBR | FUNCT08A | FUNCT08A-PIPE.VIBR
|  |  | TRITURATOR |  |  |  | TRTR | FUNCT08A | FUNCT08A-TRTR | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | [6 empty] | 1
[5 empty] | PUMP |  | PUMP | FUNCT08A | FUNCT08A-TRTR.PUMP
[5 empty] | CONTROLS |  | CNTL | FUNCT08A | FUNCT08A-TRTR.CNTL
[5 empty] | FRESH WATER FEED |  | FWF | FUNCT08A | FUNCT08A-TRTR.FWF
[5 empty] | HYDRAULIC UNIT |  | HYDU | FUNCT08A | FUNCT08A-TRTR.HYDU
[6 empty] | GRINDER | GRND | FUNCT08A | FUNCT08A-TRTR:GRND
|  | DISTRIBUTION |  |  |  |  | B
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT08B | FUNCT08B-DSCS |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT08B | FUNCT08B-ISOV |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | LIFT STATION |  |  |  | LFTS | FUNCT08B | FUNCT08B-LFTS | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [10 empty] | 1 | [23 empty] | 1 | 1
[5 empty] | CONTROLS |  | CNTL | FUNCT08B | FUNCT08B-LFTS.CNTL
[5 empty] | GAS DETECTION SYSTEM |  | GDS | FUNCT08B | FUNCT08B-LFTS.GDS
[5 empty] | HATCH DOOR |  | HADR | FUNCT08B | FUNCT08B-LFTS.HADR
[5 empty] | HOIST |  | HOST | FUNCT08B | FUNCT08B-LFTS.HOST
[5 empty] | LEVEL ALARM |  | LALM | FUNCT08B | FUNCT08B-LFTS.LALM
[5 empty] | LIGHT FIXTURE |  | LFIXT | FUNCT08B | FUNCT08B-LFTS.LFIXT
[5 empty] | MOTOR |  | MOTR | FUNCT08B | FUNCT08B-LFTS.MOTR
[5 empty] | PUMP |  | PUMP | FUNCT08B | FUNCT08B-LFTS.PUMP
[5 empty] | VFD/STARTER |  | STRT | FUNCT08B | FUNCT08B-LFTS.STRT
[5 empty] | VENTILATION |  | VNTN | FUNCT08B | FUNCT08B-LFTS.VNTN
[5 empty] | SLUICE GATE |  | SLGT | FUNCT08B | FUNCT08B-LFTS.SLGT
[6 empty] | FLOAT SWITCH | FLTS | FUNCT08B | FUNCT08B-LFTS:FLTS
|  |  | PIPE |  |  |  | PIPE | FUNCT08B | FUNCT08B-PIPE |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | VIBRATION ELIMINATOR |  | VIBR | FUNCT08B | FUNCT08B-PIPE.VIBR
|  |  | PUMP |  |  |  | PUMP | FUNCT08B | FUNCT08B-PUMP | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  |  |  |  | 1 |  |  | 1 | 1 |  | 1 | 1 |  |  | 1 | 1 | 1 |  |  |  | 1 |  | 1 | [8 empty] | 1 |  |  |  |  | 1 |  |  | 1 | 1 | 1 |  |  |  |  | 1 | 1 |  | 1 |  | 1 | bar: BHP; GPD to F
[5 empty] | CONTROLS |  | CNTL | FUNCT08B | FUNCT08B-PUMP.CNTL
[5 empty] | MOTOR |  | MOTR | FUNCT08B | FUNCT08B-PUMP.MOTR
[5 empty] | VFD/STARTER |  | STRT | FUNCT08B | FUNCT08B-PUMP.STRT
|  | TREATMENT |  |  |  |  | C
|  |  | CONTAMINATION SEPARATOR |  |  |  | CSEP | FUNCT08C | FUNCT08C-CSEP |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | GREASE TRAP |  |  |  | GRTR | FUNCT08C | FUNCT08C-GRTR | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 | [5 empty] | 1 | 1 |  |  |  | 1 | [23 empty] | 1 | [12 empty] | 1 |  | 1
|  |  | OIL/WATER SEPARATOR |  |  |  | OWSP | FUNCT08C | FUNCT08C-OWSP | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | [5 empty] | 1 | 1 | [10 empty] | 1 |  |  | 1 | [26 empty] | 1
[5 empty] | MONITORING WELL |  | MNWL | FUNCT08C | FUNCT08C-OWSP.MNWL
[5 empty] | VENTS |  | VENT | FUNCT08C | FUNCT08C-OWSP.VENT
[5 empty] | LEAK DETECTION |  | LDET | FUNCT08C | FUNCT08C-OWSP.LDET
[5 empty] | PUMP |  | PUMP | FUNCT08C | FUNCT08C-OWSP.PUMP
[5 empty] | FILTER |  | FLTR | FUNCT08C | FUNCT08C-OWSP.FLTR
[5 empty] | ISOLATION VALVE |  | ISOV | FUNCT08C | FUNCT08C-OWSP.ISOV
[5 empty] | MONITORING SYSTEM |  | MSYS | FUNCT08C | FUNCT08C-OWSP.MSYS