## FUNCT10
[10 empty] | ATTRIBUTE NAME | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | MANUFACTURER | MODEL | SERIAL # | PFA CATEGORY | DIRECTION | LRM | START MEASURE | END MEASURE | ACTUATOR TYPE | ADDRESSABLE | AIC RATING | AMP HOUR | AMPERAGE | BLAST RESISTANT | BODY MATERIAL | CABINET TYPE | CAPACITY | COATING | COLOR | CONFIGURATION | CONNECTION | CONTACT ARRANGEMENT | CONTENT | CONTROL VOLTAGE | CURRENT TYPE | DIAMETER | DIMMER | DISPENSER SUMP SENSOR | DRAWING NUMBER | ENCLOSURE TYPE | ENDS | FACLEVEL | FREQUENCY | FULL LOAD AMPS (FLA) | FUSE SIZE | FUSED | GRADE | HEAD PRESSURE | HEIGHT | HIGH TENSION | HORSEPOWER | HOUSING COLOR | IMPELLAR DIAMETER | INLET DIAMETER | INPUT VOLTAGE | INSTALLATION | INSTALLER NAME | INSULATION | KV RATING | KVA RATING | LENGTH | LIGHT FIXTURE QUANTITY | LOCKED ROTOR AMPS (LRA) | MATERIAL | MATERIAL TYPE | MAX BRAKE HORSEPOWER | MAX HIGH LEVEL SHUTOFF | MAXIMUM FLOW | MAXIMUM FLOW RATE | MAXIMUM HORSEPOWER | MAXIMUM KW INPUT | MAXIMUM PRESSURE | MAXIMUM SUCTION PRESSURE | MAXIMUM WATER TEMPERATURE | MOTOR | MOUNT | MOUNT HARDWARE TYPE | MOUNTING LOCATION | NEMA RATING | OPERATING PRESSURE | OS&Y | OUTDOOR RATED | OUTLET DIAMETER | OUTPUT VOLTAGE | PHASE | POWER | PRESSURE CLASS | PRESSURE RATING | PRESSURE SETTING | PROCESS FLUID | PUMPING/DISPENSING METHOD | RACK ELEVATION | RADIO FREQUENCY | RATE BRAKE HORSEPOWER | RATED PRESSURE | RATING | RELIEF TYPE | ROOM TYPE | SCHEDULES | SHUT-DOWN VALVE | SIZE | SPEED | SPILL BUCKET CONFIGURATION | STAGE | STAGE I VAPOR RECOVERY SYSTEM | STAGE II VAPOR RECOVERY SYSTEM | STANDARD | STATION | TAMPER SWITCH TYPE | TANK EXTERNAL PROTECTION | TANK INTERNAL PROTECTION | TANK LEAK DETECTION SYSTEM | TANK LOCATION | TANK OVERFILL PROTECTION | TANK SECONDARY CONTAINMENT | TANK SIZE | TEMPERATURE RATING | TESTING | TRANSFER SWITCH TYPE | TYPE | VALVE TYPE | VOLTAGE | VOLTAGE AC | WALL THICKNESS | WIDTH | WORKING PRESSURE
[10 empty] | DATATYPE | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | (MULTIPLE) | ALN | ALN | ALN | ALN | ALN | NUM | ALN | NUM | ALN | ALN | ALN | NUM | NUM | ALN | NUM | ALN | NUM | NUM | NUM | ALN | ALN | ALN | NUM | NUM | NUM | NUM | NUM | ALN | ALN | NUM | NUM | NUM | ALN | NUM | NUM | NUM | NUM | NUM | ALN | ALN | ALN | ALN | ALN | NUM | ALN | ALN | NUM | NUM | ALN | NUM | ALN | NUM | ALN | ALN | ALN | ALN | ALN | NUM | NUM | (MULTIPLE) | ALN | ALN | ALN | ALN | ALN | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | ALN | ALN | ALN | ALN | ALN | (MULTIPLE) | ALN | ALN | NUM | NUM
[10 empty] | UOM | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | YEARS | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | AH | AMP | N/A | N/A | N/A | (MULTIPLE) | N/A | N/A | N/A | N/A | N/A | N/A | V | N/A | (MULTIPLE) | N/A | N/A | N/A | N/A | N/A | N/A | HZ | AMP | N/A | N/A | N/A | FT | IN | N/A | HP | N/A | IN | IN | V | N/A | N/A | N/A | KV | KVA | FT | N/A | AMP | N/A | N/A | BHP | FT | GPD | GPM | HP | KW | PSI | PSI | F | N/A | N/A | N/A | N/A | N/A | PSI | N/A | N/A | IN | V | N/A | W | N/A | PSI | N/A | N/A | N/A | N/A | N/A | BHP | PSI | (MULTIPLE) | N/A | N/A | N/A | N/A | IN | RPM | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | F | N/A | N/A | N/A | N/A | V | V | IN | FT | PSI
[10 empty] | DOMAIN | N | N | N | N | N | N | N | N | N | Y | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | Y | Y | N | N | N | Y | Y | N | N | N | N | Y | Y | Y | Y | N | Y | N | Y | N | N | N | Y | Y | N | N | N | Y | N | N | N | Y | N | Y | N | N | N | Y | N | N | N | N | N | N | N | Y | N | [9 empty] | Y | N | N | Y | N | N | Y | Y | N | N | Y | N | Y | N | N | Y | N | N | Y | N | N | N | Y | N | N | Y | N | N | N | Y | N | N | N | Y | Y | N | N | N | N | N | N | N | N | Y | Y | Y | Y | N | N | N | N | N | bar: BHP to F
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILD ASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEM CODE | ADS CODE | DEFAULT USEFUL LIFE(yr) | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | [9 empty] | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | bar: BHP to F
FUNCT | RECYCLED WATER | [5 empty] | 10
|  | COLLECTION |  |  |  |  | A
|  |  | CONTROL VALVE |  |  |  | CNTV | FUNCT10A | FUNCT10A-CNTV | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 |  | 1 | 1 |  | 1 | 1 |  |  |  | 1 |  |  |  | 1 | [14 empty] | 1 | [21 empty] | 1 |  |  |  |  | 1 |  | 1 |  |  | 1 |  |  |  | 1 | [5 empty] | 1 | 1 |  |  | 1 | [16 empty] | 1 |  |  | 1 | 1 | 1 |  |  |  | 1 | bar: FT
[5 empty] | ACTUATOR |  | ACTR | FUNCT10A | FUNCT10A-CNTV.ACTR
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT10A | FUNCT10A-DSCS |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 |  | 1 | 1 |  | 1 | [5 empty] | 1 |  |  |  |  | 1 |  | 1 | [5 empty] | 1 | 1 |  |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  | 1 | [12 empty] | 1 |  |  | 1 | 1 | 1 |  |  |  | 1 | 1 | [6 empty] | 1 | 1 |  |  | 1 |  | 1 | [10 empty] | 1 | [8 empty] | 1 | 1 | 1 |  | 1 | 1 | bar: HP; PSI
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT10A | FUNCT10A-ISOV | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 |  | 1 | 1 |  | 1 | 1 |  |  |  | 1 |  |  |  | 1 | [14 empty] | 1 | [21 empty] | 1 |  |  |  |  | 1 |  | 1 |  |  | 1 |  |  |  | 1 | [5 empty] | 1 | 1 |  |  | 1 | [16 empty] | 1 |  |  | 1 | 1 | 1 |  |  |  | 1 | bar: FT
|  |  | PIPE |  |  |  | PIPE | FUNCT10A | FUNCT10A-PIPE | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [8 empty] | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  | 1 |  | 1 | [5 empty] | 1 | [10 empty] | 1 |  |  | 1 |  |  | 1 | 1 | [30 empty] | 1 |  |  | 1 |  | 1 | [18 empty] | 1
[6 empty] | SCREEN/FILTER | SCRN | FUNCT10A | FUNCT10A-PIPE:SCRN
|  |  | PUMP |  |  |  | PUMP | FUNCT10A | FUNCT10A-PUMP |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | [6 empty] | 1 | [5 empty] | 1 |  |  | 1 |  |  |  | 1 | 1 |  |  |  | 1 |  |  | 1 |  | 1 | [9 empty] | 1 |  | 1 | [10 empty] | 1 | [8 empty] | 1 | [8 empty] | 1 | 1 | 1 | [5 empty] | 1 |  | 1 | [15 empty] | 1 |  | 1 | bar: BHP; GPD to GPM; KW to F
[5 empty] | MOTOR |  | MOTR | FUNCT10A | FUNCT10A-PUMP.MOTR
[5 empty] | VFD/STARTER |  | STRT | FUNCT10A | FUNCT10A-PUMP.STRT
|  |  | TANK |  |  |  | TANK | FUNCT10A | FUNCT10A-TANK | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [8 empty] | 1 |  | 1 | 1 |  |  | 1 |  |  | 1 |  | 1 | 1 | [8 empty] | 1 | 1 | [6 empty] | 1 |  |  |  |  | 1 |  |  | 1 | [20 empty] | 1 |  | 1 | 1 | 1 |  | 1 |  |  |  |  | 1 | [6 empty] | 1 |  | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 |  | 1 |  | 1 | 1
|  | DISTRIBUTION |  |  |  |  | B
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT10B | FUNCT10B-DSCS |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 |  | 1 | 1 |  | 1 | [5 empty] | 1 |  |  |  |  | 1 |  | 1 | [5 empty] | 1 | 1 |  |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  | 1 | [12 empty] | 1 |  |  | 1 | 1 | 1 |  |  |  | 1 | 1 | [6 empty] | 1 | 1 |  |  | 1 |  | 1 | [10 empty] | 1 | [8 empty] | 1 | 1 | 1 |  | 1 | 1 | bar: HP; PSI
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT10B | FUNCT10B-ISOV |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 |  | 1 | 1 |  | 1 | 1 |  |  |  | 1 |  |  |  | 1 | [14 empty] | 1 | [21 empty] | 1 |  |  |  |  | 1 |  | 1 |  |  | 1 |  |  |  | 1 | [5 empty] | 1 | 1 |  |  | 1 | [16 empty] | 1 |  |  | 1 | 1 | 1 |  |  |  | 1 | bar: FT
|  |  | PIPE |  |  |  | PIPE | FUNCT10B | FUNCT10B-PIPE |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [8 empty] | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  | 1 |  | 1 | [5 empty] | 1 | [10 empty] | 1 |  |  | 1 |  |  | 1 | 1 | [30 empty] | 1 |  |  | 1 |  | 1 | [18 empty] | 1
|  |  | PUMP |  |  |  | PUMP | FUNCT10B | FUNCT10B-PUMP | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | [6 empty] | 1 | [5 empty] | 1 |  |  | 1 |  |  |  | 1 | 1 |  |  |  | 1 |  |  | 1 |  | 1 | [9 empty] | 1 |  | 1 | [10 empty] | 1 | [8 empty] | 1 | [8 empty] | 1 | 1 | 1 | [5 empty] | 1 |  | 1 | [15 empty] | 1 |  | 1 | bar: BHP; GPD to GPM; KW to F
[5 empty] | MOTOR |  | MOTR | FUNCT10B | FUNCT10B-PUMP.MOTR
[5 empty] | VFD/STARTER |  | STRT | FUNCT10B | FUNCT10B-PUMP.STRT
|  | TREATMENT |  |  |  |  | C
|  |  | BIOLOGICAL SYSTEM |  |  |  | BOSM | FUNCT10C | FUNCT10C-BOSM |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | FILTER |  | FLTR | FUNCT10C | FUNCT10C-BOSM.FLTR
[6 empty] | FILTER MEDIUM | FTMD | FUNCT10C | FUNCT10C-BOSM:FTMD
|  |  | CHEMICAL SYSTEM |  |  |  | CHSM | FUNCT10C | FUNCT10C-CHSM |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [8 empty] | 1 | [8 empty] | 1 |  |  | 1 | [25 empty] | 1 | [30 empty] | 1
[5 empty] | CHEMICAL DOSER |  | CDSR | FUNCT10C | FUNCT10C-CHSM.CDSR
[5 empty] | CONTROLS |  | CNTL | FUNCT10C | FUNCT10C-CHSM.CNTL
[6 empty] | CHEMICAL | CHML | FUNCT10C | FUNCT10C-CHSM:CHML
|  |  | CONTROL PANEL |  |  |  | CLPL | FUNCT10C | FUNCT10C-CLPL |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 | 1 |  |  | 1 | [7 empty] | 1 |  |  |  |  | 1 | 1 |  | 1 | 1 | 1 | [12 empty] | 1 | [19 empty] | 1 |  |  |  |  | 1 |  |  | 1 | 1 | [5 empty] | 1 | 1 |  |  | 1 |  | 1 | [9 empty] | 1 | [9 empty] | 1 |  | 1 |  | 1
|  |  | FILTRATION SYSTEM |  |  |  | FILSYS | FUNCT10C | FUNCT10C-FILSYS | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [8 empty] | 1 | [8 empty] | 1 |  |  | 1 | [14 empty] | 1 | [10 empty] | 1 | [17 empty] | 1 | [5 empty] | 1 | [6 empty] | 1 | [23 empty] | 1
[5 empty] | CONTROLS |  | CNTL | FUNCT10C | FUNCT10C-FILSYS.CNTL
[5 empty] | FILTER |  | FLTR | FUNCT10C | FUNCT10C-FILSYS.FLTR
[5 empty] | ISOLATION VALVE |  | ISOV | FUNCT10C | FUNCT10C-FILSYS.ISOV
[5 empty] | TANK |  | TANK | FUNCT10C | FUNCT10C-FILSYS.TANK
[6 empty] | FILTER MEDIUM | FTMD | FUNCT10C | FUNCT10C-FILSYS:FTMD
[6 empty] | LAMP | LAMP | FUNCT10C | FUNCT10C-FILSYS:LAMP
|  |  | SEPARATOR |  |  |  | SEPR | FUNCT10C | FUNCT10C-SEPR |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | TANK |  |  |  | TANK | FUNCT10C | FUNCT10C-TANK |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [8 empty] | 1 |  | 1 | 1 |  |  | 1 |  |  | 1 |  | 1 | 1 | [8 empty] | 1 | 1 | [6 empty] | 1 |  |  |  |  | 1 |  |  | 1 | [20 empty] | 1 |  | 1 | 1 | 1 |  | 1 |  |  |  |  | 1 | [6 empty] | 1 |  | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 |  | 1 |  | 1 | 1
|  |  | ULTRAVIOLET SYSTEM |  |  |  | UVSM | FUNCT10C | FUNCT10C-UVSM |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CONTROLS |  | CNTL | FUNCT10C | FUNCT10C-UVSM.CNTL
[6 empty] | LAMP | LAMP | FUNCT10C | FUNCT10C-UVSM:LAMP