## FUNCT13
[10 empty] | ATTRIBUTE NAME | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | MANUFACTURER | MODEL | SERIAL # | PFA CATEGORY | DIRECTION | LRM | START MEASURE | END MEASURE | ACTUATOR TYPE | AIC RATING | AMPERAGE | APPLICATION | BLAST RESISTANT | BODY MATERIAL | CABINET TYPE | CAPACITY | CFM | COATING | COLOR | CONFIGURATION | CONNECTION | CONTACT ARRANGEMENT | CONTENT | CURRENT TYPE | DEPTH | DESICCANT TYPE | DIAMETER | DIMMER | DISPENSER SUMP SENSOR | DRAWING NUMBER | ELECTRIC METER TYPE | ENDS | FILTER TYPE | FLOW RATE | FREQUENCY | FUEL SOURCE | FULL LOAD AMPS (FLA) | FUSE SIZE | FUSED | GRADE | GUAGE | HEAD PRESSURE | HEATING SURFACE AREA | HEIGHT | HIGH TENSION | HORSEPOWER | HOT WATER SYSTEM MATERIAL TYPE | HOUSING COLOR | IMPELLAR DIAMETER | INLET DIAMETER | INPUT VOLTAGE | INSTALLATION | INSTALLER NAME | INSULATION | KV RATING | KVA RATING | LENGTH | LIGHT FIXTURE QUANTITY | LOCKED ROTOR AMPS (LRA) | MATERIAL | MATERIAL TYPE | MAX BRAKE HORSEPOWER | MAX HIGH LEVEL SHUTOFF | MAX WATER PRESSURE STEAM | MAX WATER PRESSURE WATER | MAX WATER TEMP | MAXIMUM AIRFLOW | MAXIMUM COMPRESSOR HORSEPOWER | MAXIMUM FLOW | MAXIMUM FLOW RATE | MAXIMUM GAS INPUT | MAXIMUM HORSEPOWER | MAXIMUM INLET TEMPERATURE | MAXIMUM KW INPUT | MAXIMUM OIL INPUT | MAXIMUM OPERATING PRESSURE | MAXIMUM OPERATING TEMPERATURE | MAXIMUM PRESSURE | MAXIMUM SUCTION PRESSURE | MAXIMUM WATER TEMPERATURE | MINIMUM OPERATING TEMPERATURE | MINIMUM RELIEF VALVE CAPACITY | MOTOR | MOTOR SPEED | MOUNT | MOUNTING LOCATION | NEMA RATING | OPERATING PRESSURE | OS&Y | OUTLET DIAMETER | OUTPUT VOLTAGE | PHASE | POWER | PRESSURE | PRESSURE CLASS | PRESSURE RATING | PRESSURE SETTING | PROCESS FLUID | PUMPING/DISPENSING METHOD | RACK ELEVATION | RADIO FREQUENCY | RATE BRAKE HORSEPOWER | RATED PRESSURE | RATING | REFRIGERANT TYPE | RELIEF TYPE | ROOM TYPE | SCHEDULES | SHUT-DOWN VALVE | SIZE | SPEED | SPILL BUCKET CONFIGURATION | STACK DIAMETER | STACK HEIGHT | STACK HEIGHT ABOVE STRUCTURE | STAGE | STAGE I VAPOR RECOVERY SYSTEM | STAGE II VAPOR RECOVERY SYSTEM | STANDARD | TAMPER SWITCH TYPE | TANK EXTERNAL PROTECTION | TANK INTERNAL PROTECTION | TANK LEAK DETECTION SYSTEM | TANK LOCATION | TANK OVERFILL PROTECTION | TANK SECONDARY CONTAINMENT | TANK SIZE | TEMPERATURE | TEMPERATURE RATING | TESTING | TRANSFER SWITCH TYPE | TYPE | VALVE TYPE | VOLTAGE | VOLTAGE AC | WALL THICKNESS | WEIGHT | WIDTH | WORKING PRESSURE
[10 empty] | DATATYPE | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | ALN | (MULTIPLE) | ALN | ALN | ALN | ALN | ALN | ALN | NUM | ALN | ALN | NUM | ALN | ALN | ALN | ALN | NUM | NUM | NUM | ALN | NUM | ALN | ALN | NUM | NUM | (MULTIPLE) | ALN | ALN | ALN | NUM | NUM | NUM | NUM | NUM | ALN | ALN | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | (MULTIPLE) | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | ALN | NUM | ALN | ALN | ALN | NUM | ALN | NUM | NUM | ALN | NUM | NUM | ALN | NUM | ALN | ALN | ALN | ALN | ALN | NUM | NUM | (MULTIPLE) | ALN | ALN | ALN | ALN | ALN | (MULTIPLE) | NUM | ALN | NUM | NUM | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | NUM | ALN | ALN | ALN | ALN | ALN | (MULTIPLE) | ALN | ALN | NUM | NUM | NUM
[10 empty] | UOM | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | YEARS | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | AMP | N/A | N/A | N/A | N/A | (MULTIPLE) | CF/M | N/A | N/A | N/A | N/A | N/A | N/A | N/A | IN | N/A | (MULTIPLE) | N/A | N/A | N/A | N/A | N/A | N/A | GPH | HZ | N/A | AMP | N/A | N/A | N/A | N/A | FT | SF | IN | N/A | (MULTIPLE) | N/A | N/A | IN | IN | V | N/A | N/A | N/A | KV | KVA | FT | N/A | AMP | N/A | N/A | BHP | FT | LBF/IN2 | LBF/IN2 | F | CF/M | HP | GPD | (MULTIPLE) | BTU/H | HP | F | KW | GPH | PSI | F | PSI | PSI | F | F | MBH | N/A | RPM | N/A | N/A | N/A | PSI | N/A | IN | V | N/A | W | (MULTIPLE) | N/A | PSI | N/A | N/A | N/A | N/A | N/A | BHP | PSI | (MULTIPLE) | N/A | N/A | N/A | N/A | N/A | (MULTIPLE) | RPM | N/A | IN | FT | FT | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | (MULTIPLE) | F | F | N/A | N/A | N/A | N/A | V | V | IN | KG | (MULTIPLE) | PSI
[10 empty] | DOMAIN | N | N | N | N | N | N | N | N | N | Y | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | Y | N | N | Y | Y | Y | N | N | N | N | N | Y | Y | Y | Y | Y | N | N | N | Y | N | N | Y | Y | N | N | N | N | N | N | Y | N | N | N | N | N | Y | N | Y | Y | N | N | N | Y | N | N | N | N | N | N | N | Y | N | N | N | N | N | N | N | N | N | N | N | [11 empty] | Y | N | N | Y | N | N | Y | N | N | Y | N | N | Y | N | N | Y | N | N | Y | N | N | N | N | Y | N | N | Y | N | N | N | N | N | N | Y | N | N | N | Y | N | N | N | N | N | N | N | N | N | Y | Y | Y | Y | N | N | N | N | N | N | bar: HP to MBH
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILD ASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEM CODE | ADS CODE | DEFAULT USEFUL LIFE(yr) | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | [11 empty] | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | bar: HP to MBH
FUNCT | HOT WATER (THERMAL) | [5 empty] | 13
|  | SOURCE |  |  |  |  | A
|  |  | AIR COMPRESSOR |  |  |  | ARCP | FUNCT13A | FUNCT13A-ARCP |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 |  |  |  |  | 1 | 1 | [12 empty] | 1 |  |  |  |  | 1 | [10 empty] | 1 | [37 empty] | 1 | [7 empty] | 1 |  | 1 | [39 empty] | 1
[5 empty] | COMPRESSOR |  | CMPR | FUNCT13A | FUNCT13A-ARCP.CMPR
[5 empty] | CONTROLS |  | CNTL | FUNCT13A | FUNCT13A-ARCP.CNTL
[5 empty] | ISOLATION VALVE |  | ISOV | FUNCT13A | FUNCT13A-ARCP.ISOV
[5 empty] | MOTOR |  | MOTR | FUNCT13A | FUNCT13A-ARCP.MOTR
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A | FUNCT13A-ARCP.PRRV
[5 empty] | VFD/STARTER |  | STRT | FUNCT13A | FUNCT13A-ARCP.STRT
[6 empty] | AIR FILTER | AFLT | FUNCT13A | FUNCT13A-ARCP:AFLT
[6 empty] | BELT | BELT | FUNCT13A | FUNCT13A-ARCP:BELT
[6 empty] | OIL FILTER | OFLT | FUNCT13A | FUNCT13A-ARCP:OFLT
[6 empty] | OIL | OIL | FUNCT13A | FUNCT13A-ARCP:OIL
|  |  | BACKFLOW PREVENTER |  |  |  | BFPV | FUNCT13A | FUNCT13A-BFPV | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | [14 empty] | 1 |  |  | 1 | [19 empty] | 1 | [10 empty] | 1 | [28 empty] | 1 |  |  |  | 1 | [15 empty] | 1 | [17 empty] | 1 |  |  |  | 1
|  |  | BOILER |  |  |  | BOIL | FUNCT13A | FUNCT13A-BOIL | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [21 empty] | 1 | [5 empty] | 1 | [6 empty] | 1 | [17 empty] | 1 |  |  | 1 | 1 | 1 |  |  |  |  | 1 | [41 empty] | 1 | 1 | 1 | [11 empty] | 1 | bar: GPH; MBH
[5 empty] | BURNER ASSEMBLY |  | BRAS | FUNCT13A | FUNCT13A-BOIL.BRAS
[5 empty] | COMBUSTION FAN |  | CMBF | FUNCT13A | FUNCT13A-BOIL.CMBF
[5 empty] | CONTROLS |  | CNTL | FUNCT13A | FUNCT13A-BOIL.CNTL
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT13A | FUNCT13A-BOIL.DRNV
[5 empty] | EXHAUST VENTING |  | EVNT | FUNCT13A | FUNCT13A-BOIL.EVNT
[5 empty] | GAS VALVE |  | GVLV | FUNCT13A | FUNCT13A-BOIL.GVLV
[5 empty] | IGNITOR |  | IGNR | FUNCT13A | FUNCT13A-BOIL.IGNR
[5 empty] | OIL VALVE |  | OVLV | FUNCT13A | FUNCT13A-BOIL.OVLV
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A | FUNCT13A-BOIL.PRRV
[5 empty] | SUPPLY VENTING |  | SVNT | FUNCT13A | FUNCT13A-BOIL.SVNT
[5 empty] | AIR VENT |  | AIRV | FUNCT13A | FUNCT13A-BOIL.AIRV
[5 empty] | EMERGENCY SHUT OFF SWITCH |  | ESOS | FUNCT13A | FUNCT13A-BOIL.ESOS
[5 empty] | REGULATOR |  | RGLT | FUNCT13A | FUNCT13A-BOIL.RGLT
[6 empty] | FUEL STRAINER | FSTR | FUNCT13A | FUNCT13A-BOIL:FSTR
[6 empty] | GASKETS | GASK | FUNCT13A | FUNCT13A-BOIL:GASK
|  |  | BTU METER |  |  |  | BTUM | FUNCT13A | FUNCT13A-BTUM | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [18 empty] | 1 |  |  | 1 | 1 | [38 empty] | 1 | [27 empty] | 1 | bar: PSI to F; F
[6 empty] | CHART | CHRT | FUNCT13A | FUNCT13A-BTUM:CHRT
|  |  | CIRCULATION PUMP |  |  |  | CIRP | FUNCT13A | FUNCT13A-CIRP | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | [8 empty] | 1 | [6 empty] | 1 |  |  | 1 |  |  |  |  | 1 |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  | 1 | [9 empty] | 1 |  | 1 | 1 | [6 empty] | 1 | 1 | [14 empty] | 1 | [6 empty] | 1 | [9 empty] | 1 | 1 | 1 | [6 empty] | 1 |  |  |  |  | 1 | [15 empty] | 1 |  | 1 | bar: KW; PSI to F
[5 empty] | MOTOR |  | MOTR | FUNCT13A | FUNCT13A-CIRP.MOTR
[5 empty] | VFD/STARTER |  | STRT | FUNCT13A | FUNCT13A-CIRP.STRT
[5 empty] | ISOLATION VALVE |  | ISOV | FUNCT13A | FUNCT13A-CIRP.ISOV
|  |  | CHEMICAL FEEDER |  |  |  | CMFD | FUNCT13A | FUNCT13A-CMFD | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [11 empty] | 1 |  |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 | [9 empty] | 1 |  | 1 | [13 empty] | 1 | [9 empty] | 1 | [21 empty] | 1 |  | 1 | [9 empty] | 1 | [5 empty] | 1 | [16 empty] | 1 | [6 empty] | 1 |  |  | 1 | 1
|  |  | CONTROL VALVE |  |  |  | CNTV | FUNCT13A | FUNCT13A-CNTV |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  | 1 |  | 1 |  | 1 | 1 |  |  | 1 | [5 empty] | 1 | [19 empty] | 1 | [12 empty] | 1 | [21 empty] | 1 |  |  |  | 1 | 1 |  |  | 1 |  |  |  |  | 1 | [5 empty] | 1 |  | 1 |  |  | 1 | [19 empty] | 1 |  |  | 1 | 1 | 1 |  |  |  |  | 1
[5 empty] | ACTUATOR |  | ACTR | FUNCT13A | FUNCT13A-CNTV.ACTR
|  |  | CONTROL INTERFACE |  |  |  | CONI | FUNCT13A | FUNCT13A-CONI | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DEAERATOR |  |  |  | DEAR | FUNCT13A | FUNCT13A-DEAR | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [18 empty] | 1 |  |  | 1 | [16 empty] | 1 | [48 empty] | 1 | [32 empty] | 1
[5 empty] | BACKFLOW PREVENTER |  | BFPV | FUNCT13A | FUNCT13A-DEAR.BFPV
[5 empty] | CONTROLS |  | CNTL | FUNCT13A | FUNCT13A-DEAR.CNTL
[5 empty] | HEAT EXCHANGER |  | HTEX | FUNCT13A | FUNCT13A-DEAR.HTEX
[5 empty] | MOTOR |  | MOTR | FUNCT13A | FUNCT13A-DEAR.MOTR
[5 empty] | PUMP |  | PUMP | FUNCT13A | FUNCT13A-DEAR.PUMP
[5 empty] | STRAINER |  | STRN | FUNCT13A | FUNCT13A-DEAR.STRN
[5 empty] | VFD/STARTER |  | STRT | FUNCT13A | FUNCT13A-DEAR.STRT
|  |  | AIR DRYER |  |  |  | DRYR | FUNCT13A | FUNCT13A-DRYR |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [17 empty] | 1 |  |  |  | 1 |  |  | 1 | [17 empty] | 1 | [15 empty] | 1 | 1 | [36 empty] | 1 | bar: F
[5 empty] | MOTOR |  | MOTR | FUNCT13A | FUNCT13A-DRYR.MOTR
[5 empty] | VFD/STARTER |  | STRT | FUNCT13A | FUNCT13A-DRYR.STRT
[6 empty] | AIR FILTER | AFLT | FUNCT13A | FUNCT13A-DRYR:AFLT
[6 empty] | BELT | BELT | FUNCT13A | FUNCT13A-DRYR:BELT
[6 empty] | OIL FILTER | OFLT | FUNCT13A | FUNCT13A-DRYR:OFLT
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT13A | FUNCT13A-DSCS |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 | [6 empty] | 1 | [5 empty] | 1 |  | 1 | [7 empty] | 1 | 1 | [5 empty] | 1 |  |  | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  | 1 | [24 empty] | 1 |  |  | 1 | 1 | 1 |  |  | 1 | 1 | [7 empty] | 1 | 1 |  |  | 1 |  |  | 1 | [12 empty] | 1 | [9 empty] | 1 | 1 | 1 |  | 1 | 1 | bar: HP; PSI
|  |  | EXPANSION TANK |  |  |  | EXPT | FUNCT13A | FUNCT13A-EXPT | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 1 |  |  | 1 | 1 |  |  | 1 |  |  |  | 1 |  | 1 | 1 | [11 empty] | 1 |  | 1 | [7 empty] | 1 |  |  |  |  | 1 |  |  | 1 | [31 empty] | 1 |  |  | 1 | 1 | 1 |  | 1 |  |  |  |  | 1 | [7 empty] | 1 |  |  |  |  | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  | 1 |  | 1 |  | 1
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A | FUNCT13A-EXPT.PRRV
[5 empty] | ISOLATION VALVE |  | ISOV | FUNCT13A | FUNCT13A-EXPT.ISOV
|  |  | FUEL STORAGE TANK |  |  |  | FTNK | FUNCT13A | FUNCT13A-FTNK |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 1 |  |  | 1 | 1 |  |  | 1 |  |  |  | 1 |  | 1 | 1 | [11 empty] | 1 |  | 1 | [7 empty] | 1 |  |  |  |  | 1 |  |  | 1 | [31 empty] | 1 |  |  | 1 | 1 | 1 |  | 1 |  |  |  |  | 1 | [7 empty] | 1 |  |  |  |  | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  | 1 |  | 1 |  | 1
[5 empty] | CHECK VALVE |  | CHVL | FUNCT13A | FUNCT13A-FTNK.CHVL
[5 empty] | CONTROL VALVE |  | CNTV | FUNCT13A | FUNCT13A-FTNK.CNTV
[5 empty] | DUPLEX STRAINER |  | DSTR | FUNCT13A | FUNCT13A-FTNK.DSTR
[5 empty] | ISOLATION VALVE |  | ISOV | FUNCT13A | FUNCT13A-FTNK.ISOV
[5 empty] | LEAK DETECTION |  | LDET | FUNCT13A | FUNCT13A-FTNK.LDET
[5 empty] | PIPE |  | PIPE | FUNCT13A | FUNCT13A-FTNK.PIPE
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A | FUNCT13A-FTNK.PRRV
[5 empty] | PUMP |  | PUMP | FUNCT13A | FUNCT13A-FTNK.PUMP
[5 empty] | VENTS |  | VENT | FUNCT13A | FUNCT13A-FTNK.VENT
[5 empty] | GAUGE |  | GAUG | FUNCT13A | FUNCT13A-FTNK.GAUG
[6 empty] | FUEL FILTER | FFLT | FUNCT13A | FUNCT13A-FTNK:FFLT
|  |  | HEAT EXCHANGER |  |  |  | HTEX | FUNCT13A | FUNCT13A-HTEX | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [18 empty] | 1 |  |  | 1 | [16 empty] | 1 | [48 empty] | 1 | [32 empty] | 1 |  |  | 1
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A | FUNCT13A-HTEX.PRRV
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT13A | FUNCT13A-ISOV |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  | 1 |  | 1 |  | 1 | 1 |  |  | 1 | [5 empty] | 1 | [19 empty] | 1 | [12 empty] | 1 | [21 empty] | 1 |  |  |  | 1 | 1 |  |  | 1 |  |  |  |  | 1 | [5 empty] | 1 |  | 1 |  |  | 1 | [19 empty] | 1 |  |  | 1 | 1 | 1 |  |  |  |  | 1
|  |  | PIPE |  |  |  | PIPE | FUNCT13A | FUNCT13A-PIPE | 40 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 1 |  | 1 | 1 | 1 | 1 | [5 empty] | 1 |  |  | 1 |  | 1 | [7 empty] | 1 | [13 empty] | 1 |  |  | 1 |  |  | 1 | 1 | [42 empty] | 1 |  |  |  | 1 |  | 1 | [21 empty] | 1
[5 empty] | AIR ELIMINATOR |  | AIRE | FUNCT13A | FUNCT13A-PIPE.AIRE
[5 empty] | AIR VENT |  | AIRV | FUNCT13A | FUNCT13A-PIPE.AIRV
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT13A | FUNCT13A-PIPE.DRNV
[5 empty] | FLOW METER |  | FLWM | FUNCT13A | FUNCT13A-PIPE.FLWM
[5 empty] | GAUGE |  | GAUG | FUNCT13A | FUNCT13A-PIPE.GAUG
[5 empty] | INSULATION |  | INSL | FUNCT13A | FUNCT13A-PIPE.INSL
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A | FUNCT13A-PIPE.PRRV
[5 empty] | STRAINER |  | STRN | FUNCT13A | FUNCT13A-PIPE.STRN
[5 empty] | THERMOMETER |  | THER | FUNCT13A | FUNCT13A-PIPE.THER
[5 empty] | VIBRATION ELIMINATOR |  | VIBR | FUNCT13A | FUNCT13A-PIPE.VIBR
[5 empty] | LEAK DETECTION |  | LDET | FUNCT13A | FUNCT13A-PIPE.LDET
|  |  | WATER SOFTENER |  |  |  | WSFT | FUNCT13A | FUNCT13A-WSFT |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | BACKFLOW PREVENTER |  | BFPV | FUNCT13A | FUNCT13A-WSFT.BFPV
[5 empty] | CONTROLS |  | CNTL | FUNCT13A | FUNCT13A-WSFT.CNTL
[6 empty] | CHEMICAL | CHML | FUNCT13A | FUNCT13A-WSFT:CHML
|  | DISTRIBUTION |  |  |  |  | B
|  |  | BTU METER |  |  |  | BTUM | FUNCT13B | FUNCT13B-BTUM |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [18 empty] | 1 |  |  | 1 | 1 | [38 empty] | 1 | [27 empty] | 1 | bar: PSI to F; F
[6 empty] | CHART | CHRT | FUNCT13B | FUNCT13B-BTUM:CHRT
|  |  | CONTROL VALVE |  |  |  | CNTV | FUNCT13B | FUNCT13B-CNTV |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  | 1 |  | 1 |  | 1 | 1 |  |  | 1 | [5 empty] | 1 | [19 empty] | 1 | [12 empty] | 1 | [21 empty] | 1 |  |  |  | 1 | 1 |  |  | 1 |  |  |  |  | 1 | [5 empty] | 1 |  | 1 |  |  | 1 | [19 empty] | 1 |  |  | 1 | 1 | 1 |  |  |  |  | 1
[5 empty] | ACTUATOR |  | ACTR | FUNCT13B | FUNCT13B-CNTV.ACTR
|  |  | CONTROL INTERFACE |  |  |  | CONI | FUNCT13B | FUNCT13B-CONI |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DISTRIBUTION PUMP |  |  |  | DPMP | FUNCT13B | FUNCT13B-DPMP |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | [8 empty] | 1 | [6 empty] | 1 |  |  | 1 |  |  |  |  | 1 |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  | 1 | [9 empty] | 1 |  | 1 | 1 | [6 empty] | 1 | 1 | [14 empty] | 1 | [6 empty] | 1 | [9 empty] | 1 | 1 | 1 | [6 empty] | 1 |  |  |  |  | 1 | [15 empty] | 1 |  | 1 | bar: KW; PSI to F
[5 empty] | MOTOR |  | MOTR | FUNCT13B | FUNCT13B-DPMP.MOTR
[5 empty] | VFD/STARTER |  | STRT | FUNCT13B | FUNCT13B-DPMP.STRT
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT13B | FUNCT13B-DSCS |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 | [6 empty] | 1 | [5 empty] | 1 |  | 1 | [7 empty] | 1 | 1 | [5 empty] | 1 |  |  | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  | 1 | [24 empty] | 1 |  |  | 1 | 1 | 1 |  |  | 1 | 1 | [7 empty] | 1 | 1 |  |  | 1 |  |  | 1 | [12 empty] | 1 | [9 empty] | 1 | 1 | 1 |  | 1 | 1 | bar: HP; PSI
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT13B | FUNCT13B-ISOV | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  | 1 |  | 1 |  | 1 | 1 |  |  | 1 | [5 empty] | 1 | [19 empty] | 1 | [12 empty] | 1 | [21 empty] | 1 |  |  |  | 1 | 1 |  |  | 1 |  |  |  |  | 1 | [5 empty] | 1 |  | 1 |  |  | 1 | [19 empty] | 1 |  |  | 1 | 1 | 1 |  |  |  |  | 1
|  |  | PIPE EXPANSION JOINT |  |  |  | PEXP | FUNCT13B | FUNCT13B-PEXP |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [18 empty] | 1 |  |  | 1 | [10 empty] | 1 | [5 empty] | 1 | [9 empty] | 1 |  |  |  | 1 | [34 empty] | 1 | [13 empty] | 1 | [21 empty] | 1 | 1 |  |  |  |  | 1
|  |  | PIPE |  |  |  | PIPE | FUNCT13B | FUNCT13B-PIPE |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 1 |  | 1 | 1 | 1 | 1 | [5 empty] | 1 |  |  | 1 |  | 1 | [7 empty] | 1 | [13 empty] | 1 |  |  | 1 |  |  | 1 | 1 | [42 empty] | 1 |  |  |  | 1 |  | 1 | [21 empty] | 1
[5 empty] | AIR ELIMINATOR |  | AIRE | FUNCT13B | FUNCT13B-PIPE.AIRE
[5 empty] | AIR VENT |  | AIRV | FUNCT13B | FUNCT13B-PIPE.AIRV
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT13B | FUNCT13B-PIPE.DRNV
[5 empty] | FLOW METER |  | FLWM | FUNCT13B | FUNCT13B-PIPE.FLWM
[5 empty] | GAUGE |  | GAUG | FUNCT13B | FUNCT13B-PIPE.GAUG
[5 empty] | INSULATION |  | INSL | FUNCT13B | FUNCT13B-PIPE.INSL
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13B | FUNCT13B-PIPE.PRRV
[5 empty] | STRAINER |  | STRN | FUNCT13B | FUNCT13B-PIPE.STRN
[5 empty] | THERMOMETER |  | THER | FUNCT13B | FUNCT13B-PIPE.THER
[5 empty] | VIBRATION ELIMINATOR |  | VIBR | FUNCT13B | FUNCT13B-PIPE.VIBR
[5 empty] | LEAK DETECTION |  | LDET | FUNCT13B | FUNCT13B-PIPE.LDET
[5 empty] | REGULATOR |  | RGLT | FUNCT13B | FUNCT13B-PIPE.RGLT