## FUNCT06
[10 empty] | ATTRIBUTE NAME | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PERSON GROUP | DEPT/SVC | MAINTAINED BY | OWNED BY | OPERATED BY | IS PRIMARY? | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | PURCHASE PRICE | REPLACEMENT COST | BUDGET COST | YEAR_TO_DATE_COST | TOTAL COST | CRITICALITY | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | ASSET TYPE | FAILURE CLASS | GL ACCOUNT | ADDRESS CODE | MANUFACTURER | MODEL | SERIAL # | VENDOR | INSTALLATION DATE | ESTIMATED EOL | WARRANTY EXPIRATION DATE | PFA CATEGORY | REQUIRES PFA REPORTING | REPAIR LIMIT (%) | CERTIFICATION ON FILE? | DATE COMMISSIONED | DATE MANUFACTURED | DATE PURCHASED | GRANT NUMBER | GRANT SOURCE | DIRECTION | LRM | START MEASURE | END MEASURE | ACTUATOR TYPE | AMPERAGE | AREA SERVED | CABINET TYPE | CAPACITY | CFM | CHARGE | COIL FINS PER INCH | COIL GPM | COIL ROWS | COMPRESSOR LOCK ROTOR AMPS (LRA) | COMPRESSOR RATED LOAD AMPS (RLA) | COMPRESSOR REFRIGERANT TYPE | COMPRESSOR TYPE | CONDENSER FAN HORSEPOWER | CONTROLS VOLTAGE AC | COOLING CAPACITY | COOLING COMPRESSOR AMPERAGE | COOLING FAN MOTOR AMPERAGE | DESIGN PRESSURE HIGH | DESIGN PRESSURE LOW | DIMENSION | DRAWING NUMBER | DRIVE TYPE | EXHAUST FAN MOTOR HORSEPOWER | FACTORY DESIGN PRESSURE | FAN DESIGN CFM | FAN DESIGN STATIC PRESSURE | FAN MAX RPM | FAN MOTOR AMPERAGE | FAN MOTOR FULL LOAD AMPS (FLA) | FAN MOTOR HORSEPOWER | FAN RPM | FILTER SIZE | FIRE DAMPER TYPE | FRAME SHAPE | FREQUENCY | FULL LOAD AMPS (FLA) | GAS TYPE | HEAT RECOVERY UNIT TYPE | HEATING CAPACITY | HEATING COMPRESSOR AMPERAGE | HEATING FAN MOTOR AMPERAGE | HEATING MBH | HEATING WATTS | HERTZ | INLET DIAMETER | INSTALLED HEIGHT | KILOWATTS | LOCKED ROTOR AMPS (LRA) | MATERIAL TYPE | MAX FUSE AMPS | MAXIMUM CIRCUIT BREAKER AMPERAGE | MAXIMUM INLET TEMPERATURE | MAXIMUM OVERCURRENT SIZE | MERV RATING | MINIMUM CIRCUIT AMPACITY | MINIMUM INPUT | MOTOR AMPS | MOTOR ENCLOSURE | MOTOR HERTZ | MOTOR PHASE | MOTOR RPM | MOTOR VOLTAGE AC | NORMAL INPUT | NUMBER OF FILTERS | PHASE | POWER | POWER CONSUMPTION | RACK ELEVATION | RADIO FREQUENCY | RATED LOAD AMPS | RATED PRESSURE | RATED SCFM | RATED TEMPERATURE | RATING | REFRIGERATION TYPE | RETURN FAN TYPE | ROOM TYPE | SOUND ATTENUATION SIZE | SUPPLY FAN MOTOR HORSEPOWER | SUPPLY FAN QUANTITY | SUPPLY FAN TYPE | TESTING | THERMAL EFFICIENCY | THERMAL OUTPUT CAPACITY | TONNAGE | TYPE | VELOCITY (FPM) | VOLTAGE
[10 empty] | DATATYPE | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | NUM | ALN | ALN | ALN | NUM | NUM | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | ALN | ALN | NUM | ALN | NUM | NUM | NUM | NUM | NUM | ALN | ALN | ALN | ALN | NUM | NUM | NUM | NUM | NUM | ALN | NUM | NUM | ALN | ALN | ALN | ALN | NUM | ALN | ALN | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | ALN | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | ALN | NUM | NUM | NUM | ALN | NUM | NUM | ALN | NUM | NUM | ALN | ALN | NUM | NUM | NUM | NUM | ALN | ALN | ALN | ALN | NUM | NUM | NUM | ALN | ALN | NUM | NUM | NUM | ALN | NUM | (MULTIPLE)
[10 empty] | UOM | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | USD | USD | N/A | N/A | N/A | N/A | N/A | YEARS | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | % | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | AMP | N/A | N/A | GAL | CF/M | OZ | N/A | GPM | N/A | AMP | AMP | N/A | N/A | HP | V | BTU/H | AMP | AMP | (MULTIPLE) | (MULTIPLE) | IN | N/A | N/A | HP | PSI | CF/M | IN. WC | RPM | AMP | AMP | HP | RPM | N/A | N/A | N/A | HZ | AMP | N/A | N/A | BTU/H | AMP | AMP | MBH | W | HZ | N/A | IN | KW | AMP | N/A | AMP | AMP | F | AMP | N/A | AMP | BTU/H | AMP | N/A | HZ | N/A | RPM | V | BTU/H | N/A | N/A | HZ | W | N/A | N/A | AMP | PSI | CF/M | F | N/A | N/A | N/A | N/A | N/A | HP | N/A | N/A | N/A | % | BTU/H | N/A | N/A | FPM | V
[10 empty] | DOMAIN | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | Y | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | Y | N | N | N | N | Y | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | Y | Y | N | N | Y | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | Y | N | N | N | N | Y | N | N | N | Y | N | N | N | N | N | N | N | N | N | N | N | N | Y | N | N | N | N | N | N
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILD ASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEM CODE | ADS CODE | DEFAULT USEFUL LIFE(yr) | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A
FUNCT | HEATING, VENTILATION & AIR CONDITIONING | [5 empty] | 06
|  | AREA SERVED |  |  |  |  | A
|  |  | AIR CURTAIN |  |  |  | ACUR | FUNCT06A | FUNCT06A-ACUR | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [7 empty] | 1 | 1 | 1 | [12 empty] | 1 |  |  |  | 1 |  |  |  |  | 1 | [5 empty] | 1 | [5 empty] | 1 |  |  | 1 |  |  |  |  | 1 | [29 empty] | 1 | [6 empty] | 1 | 1
[5 empty] | COOLING COIL |  | CLCL | FUNCT06A | FUNCT06A-ACUR.CLCL
[5 empty] | CONTROLS |  | CNTL | FUNCT06A | FUNCT06A-ACUR.CNTL
[5 empty] | HEATING ELEMENT |  | HEMT | FUNCT06A | FUNCT06A-ACUR.HEMT
[5 empty] | HEATING COIL |  | HTCL | FUNCT06A | FUNCT06A-ACUR.HTCL
[5 empty] | MOTOR |  | MOTR | FUNCT06A | FUNCT06A-ACUR.MOTR
[5 empty] | SUPPLY FAN |  | SFAN | FUNCT06A | FUNCT06A-ACUR.SFAN
[6 empty] | BELT | BELT | FUNCT06A | FUNCT06A-ACUR:BELT
[6 empty] | FILTER | FLTR | FUNCT06A | FUNCT06A-ACUR:FLTR
|  |  | AIR HANDLING UNIT |  |  |  | AHU | FUNCT06A | FUNCT06A-AHU | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 |  | 1 | 1 | 1 | [5 empty] | 1 | [6 empty] | 1 |  | 1 |  |  |  | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  |  |  | 1 | [9 empty] | 1 | [10 empty] | 1 |  | 1 | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 | 1
[5 empty] | ENERGY RECOVERY UNIT |  | EWHL | FUNCT06A | FUNCT06A-AHU.EWHL
[5 empty] | COOLING COIL |  | CLCL | FUNCT06A | FUNCT06A-AHU.CLCL
[5 empty] | HEATING COIL |  | HTCL | FUNCT06A | FUNCT06A-AHU.HTCL
[5 empty] | RETURN FAN |  | RFAN | FUNCT06A | FUNCT06A-AHU.RFAN
[5 empty] | SUPPLY FAN |  | SFAN | FUNCT06A | FUNCT06A-AHU.SFAN
[5 empty] | CONTROLS |  | CNTL | FUNCT06A | FUNCT06A-AHU.CNTL
[5 empty] | CONTROL VALVE |  | CNTV | FUNCT06A | FUNCT06A-AHU.CNTV
[5 empty] | CONDENSATE PUMP |  | CPUMP | FUNCT06A | FUNCT06A-AHU.CPUMP
[5 empty] | DAMPER |  | DAMP | FUNCT06A | FUNCT06A-AHU.DAMP
[5 empty] | FREEZE PROTECTION PUMP |  | FZPP | FUNCT06A | FUNCT06A-AHU.FZPP
[5 empty] | HUMIDIFIER |  | HUMI | FUNCT06A | FUNCT06A-AHU.HUMI
[5 empty] | MOTOR |  | MOTR | FUNCT06A | FUNCT06A-AHU.MOTR
[5 empty] | PIPE |  | PIPE | FUNCT06A | FUNCT06A-AHU.PIPE
[5 empty] | VFD/STARTER |  | STRT | FUNCT06A | FUNCT06A-AHU.STRT
[5 empty] | DEHUMIDIFIER |  | DEHU | FUNCT06A | FUNCT06A-AHU.DEHU
[6 empty] | FILTER | FLTR | FUNCT06A | FUNCT06A-AHU:FLTR
[6 empty] | BELT | BELT | FUNCT06A | FUNCT06A-AHU:BELT
|  |  | CEILING FAN |  |  |  | CFAN | FUNCT06A | FUNCT06A-CFAN |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CONDENSER |  |  |  | COND | FUNCT06A | FUNCT06A-COND | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 |  | 1 |  |  |  | 1 |  |  | 1 |  | 1 |  |  |  |  | 1 | 1 |  |  | 1 | 1 | 1 | [8 empty] | 1 | 1 | [13 empty] | 1 | [14 empty] | 1 |  |  |  |  | 1 |  |  | 1
[5 empty] | CONDENSER COIL |  | CDSC | FUNCT06A | FUNCT06A-COND.CDSC
[5 empty] | COMPRESSOR |  | CMPR | FUNCT06A | FUNCT06A-COND.CMPR
[5 empty] | CONTROLS |  | CNTL | FUNCT06A | FUNCT06A-COND.CNTL
[5 empty] | CONDENSER FAN |  | CONF | FUNCT06A | FUNCT06A-COND.CONF
[5 empty] | MOTOR |  | MOTR | FUNCT06A | FUNCT06A-COND.MOTR
[5 empty] | VFD/STARTER |  | STRT | FUNCT06A | FUNCT06A-COND.STRT
|  |  | CONTROL INTERFACE |  |  |  | CONI | FUNCT06A | FUNCT06A-CONI |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DAMPER |  |  |  | DAMP | FUNCT06A | FUNCT06A-DAMP | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [20 empty] | 1 | 1 | [11 empty] | 1 | 1 | [14 empty] | 1 | [24 empty] | 1 | [13 empty] | 1
[5 empty] | MOTOR |  | MOTR | FUNCT06A | FUNCT06A-DAMP.MOTR
[5 empty] | ACTUATOR |  | ACTR | FUNCT06A | FUNCT06A-DAMP.ACTR
|  |  | DEHUMIDIFIER |  |  |  | DEHU | FUNCT06A | FUNCT06A-DEHU | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 | [15 empty] | 1 |  |  | 1 | [23 empty] | 1 |  |  |  | 1 | 1 |  | 1 | [9 empty] | 1 | 1 |  |  |  | 1 | 1 | 1 | 1 |  | 1 | [12 empty] | 1
[5 empty] | CONTROLS |  | CNTL | FUNCT06A | FUNCT06A-DEHU.CNTL
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT06A | FUNCT06A-DEHU.DRNV
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT06A | FUNCT06A-DSCS |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DETECTOR |  |  |  | DTCT | FUNCT06A | FUNCT06A-DTCT |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DUCT |  |  |  | DUCT | FUNCT06A | FUNCT06A-DUCT |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | INSULATION |  | INSL | FUNCT06A | FUNCT06A-DUCT.INSL
|  |  | EXHAUST FAN |  |  |  | EXF | FUNCT06A | FUNCT06A-EXF | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | [18 empty] | 1 |  |  |  | 1 | 1 | 1 |  |  | 1 | 1 | 1 |  |  |  | 1 | [17 empty] | 1 |  |  |  | 1 | 1 | 1 | 1 |  |  | 1 |  |  |  | 1 | 1 | [7 empty] | 1 |  |  |  |  | 1 |  |  |  | 1 | 1 | 1
[5 empty] | MOTOR |  | MOTR | FUNCT06A | FUNCT06A-EXF.MOTR
[5 empty] | VFD/STARTER |  | STRT | FUNCT06A | FUNCT06A-EXF.STRT
[5 empty] | THERMOSTAT |  | THST | FUNCT06A | FUNCT06A-EXF.THST
[5 empty] | CONTROLS |  | CNTL | FUNCT06A | FUNCT06A-EXF.CNTL
[6 empty] | BELT | BELT | FUNCT06A | FUNCT06A-EXF:BELT
|  |  | UNIT HEATER |  |  |  | HTRU | FUNCT06A | FUNCT06A-HTRU | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | [13 empty] | 1 | [6 empty] | 1 | [15 empty] | 1 | [9 empty] | 1 | [8 empty] | 1 | 1 |  |  |  |  | 1 | 1 |  | 1 |  | 1 | [15 empty] | 1 | 1 |  |  |  | 1
[5 empty] | CONTROL VALVE |  | CNTV | FUNCT06A | FUNCT06A-HTRU.CNTV
[5 empty] | HEATING COIL |  | HTCL | FUNCT06A | FUNCT06A-HTRU.HTCL
[5 empty] | MOTOR |  | MOTR | FUNCT06A | FUNCT06A-HTRU.MOTR
[5 empty] | SUPPLY FAN |  | SFAN | FUNCT06A | FUNCT06A-HTRU.SFAN
[5 empty] | CONTROLS |  | CNTL | FUNCT06A | FUNCT06A-HTRU.CNTL
[5 empty] | THERMOSTAT |  | THST | FUNCT06A | FUNCT06A-HTRU.THST
[6 empty] | BELT | BELT | FUNCT06A | FUNCT06A-HTRU:BELT
[6 empty] | FILTER | FLTR | FUNCT06A | FUNCT06A-HTRU:FLTR
|  |  | HUMIDIFIER |  |  |  | HUMI | FUNCT06A | FUNCT06A-HUMI | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 |  | 1 | [17 empty] | 1 | [14 empty] | 1 | [9 empty] | 1 | [41 empty] | 1
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT06A | FUNCT06A-ISOV |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PACKAGED AIR HANDLING UNIT |  |  |  | PAHU | FUNCT06A | FUNCT06A-PAHU | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 |  | 1 | 1 | 1 | [5 empty] | 1 | [6 empty] | 1 |  | 1 |  |  |  | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  |  |  | 1 | [9 empty] | 1 | [10 empty] | 1 |  | 1 | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 | 1
[5 empty] | COMPRESSOR |  | CMPR | FUNCT06A | FUNCT06A-PAHU.CMPR
[5 empty] | CONTROLS |  | CNTL | FUNCT06A | FUNCT06A-PAHU.CNTL
[5 empty] | CONDENSER |  | COND | FUNCT06A | FUNCT06A-PAHU.COND
[5 empty] | DX COIL |  | DXCL | FUNCT06A | FUNCT06A-PAHU.DXCL
[5 empty] | GAS BURNER |  | GSBN | FUNCT06A | FUNCT06A-PAHU.GSBN
[5 empty] | HEATING ELEMENT |  | HEMT | FUNCT06A | FUNCT06A-PAHU.HEMT
[5 empty] | MOTOR |  | MOTR | FUNCT06A | FUNCT06A-PAHU.MOTR
[5 empty] | SUPPLY FAN |  | SFAN | FUNCT06A | FUNCT06A-PAHU.SFAN
[5 empty] | CONTROL VALVE |  | CNTV | FUNCT06A | FUNCT06A-PAHU.CNTV
[5 empty] | SIGHT GLASS |  | SGLS | FUNCT06A | FUNCT06A-PAHU.SGLS
[5 empty] | SUCTION LINE FILTER DRIER |  | SLFD | FUNCT06A | FUNCT06A-PAHU.SLFD
[5 empty] | THERMOSTATIC EXPANSION VALVE |  | TXV | FUNCT06A | FUNCT06A-PAHU.TXV
[6 empty] | BELT | BELT | FUNCT06A | FUNCT06A-PAHU:BELT
[6 empty] | FILTER | FLTR | FUNCT06A | FUNCT06A-PAHU:FLTR
|  |  | RADIANT HEATER |  |  |  | RAD | FUNCT06A | FUNCT06A-RAD |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CONTROL VALVE |  | CNTV | FUNCT06A | FUNCT06A-RAD.CNTV
[5 empty] | CONTROLS |  | CNTL | FUNCT06A | FUNCT06A-RAD.CNTL
[5 empty] | THERMOSTAT |  | THST | FUNCT06A | FUNCT06A-RAD.THST
|  |  | RETURN FAN |  |  |  | RFAN | FUNCT06A | FUNCT06A-RFAN | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | [18 empty] | 1 |  |  |  | 1 | 1 | 1 |  |  | 1 | 1 | 1 |  |  |  | 1 | [17 empty] | 1 |  |  |  | 1 | 1 | 1 | 1 |  |  | 1 |  |  |  | 1 | 1 | [7 empty] | 1 |  |  |  |  | 1 |  |  |  | 1 | 1 | 1
[5 empty] | MOTOR |  | MOTR | FUNCT06A | FUNCT06A-RFAN.MOTR
[5 empty] | VFD/STARTER |  | STRT | FUNCT06A | FUNCT06A-RFAN.STRT
[6 empty] | BELT | BELT | FUNCT06A | FUNCT06A-RFAN:BELT
|  |  | SUPPLY FAN |  |  |  | SFAN | FUNCT06A | FUNCT06A-SFAN | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | [18 empty] | 1 |  |  |  | 1 | 1 | 1 |  |  | 1 | 1 | 1 |  |  |  | 1 | [17 empty] | 1 |  |  |  | 1 | 1 | 1 | 1 |  |  | 1 |  |  |  | 1 | 1 | [7 empty] | 1 |  |  |  |  | 1 |  |  |  | 1 | 1 | 1
[5 empty] | VFD/STARTER |  | STRT | FUNCT06A | FUNCT06A-SFAN.STRT
[5 empty] | MOTOR |  | MOTR | FUNCT06A | FUNCT06A-SFAN.MOTR
[6 empty] | BELT | BELT | FUNCT06A | FUNCT06A-SFAN:BELT
|  |  | VARIABLE AIR VOLUME BOX (VAV) |  |  |  | VAVB | FUNCT06A | FUNCT06A-VAVB | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 |  | 1 | 1 | 1 | [5 empty] | 1 | [6 empty] | 1 |  | 1 |  |  |  | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  |  |  | 1 | [9 empty] | 1 | [10 empty] | 1 |  | 1 | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 | 1
[5 empty] | COOLING COIL |  | CLCL | FUNCT06A | FUNCT06A-VAVB.CLCL
[5 empty] | CONTROL VALVE |  | CNTV | FUNCT06A | FUNCT06A-VAVB.CNTV
[5 empty] | HEATING COIL |  | HTCL | FUNCT06A | FUNCT06A-VAVB.HTCL
[5 empty] | MOTOR |  | MOTR | FUNCT06A | FUNCT06A-VAVB.MOTR
|  | TUNNEL VENTILATION |  |  |  |  | B
|  |  | BAFFLE DOOR |  |  |  | BFDR | FUNCT06B | FUNCT06B-BFDR |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CONTROL INTERFACE |  |  |  | CONI | FUNCT06B | FUNCT06B-CONI |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CO SENSOR |  |  |  | COSR | FUNCT06B | FUNCT06B-COSR |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DAMPER |  |  |  | DAMP | FUNCT06B | FUNCT06B-DAMP |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | LOUVER |  | LOVR | FUNCT06B | FUNCT06B-DAMP.LOVR
[5 empty] | LIMIT SWITCH |  | LTSWH | FUNCT06B | FUNCT06B-DAMP.LTSWH
[5 empty] | MOTOR |  | MOTR | FUNCT06B | FUNCT06B-DAMP.MOTR
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT06B | FUNCT06B-DSCS |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DUCT |  |  |  | DUCT | FUNCT06B | FUNCT06B-DUCT |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | FAN |  |  |  | FAN | FUNCT06B | FUNCT06B-FAN |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | BELT |  | BELT | FUNCT06B | FUNCT06B-FAN.BELT
[5 empty] | VIBRATION SENSOR |  | VIBS | FUNCT06B | FUNCT06B-FAN.VIBS
[6 empty] | BEARING | BRNG | FUNCT06B | FUNCT06B-FAN:BRNG
|  |  | HOUSING |  |  |  | HOSG | FUNCT06B | FUNCT06B-HOSG |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | DRAIN |  | DRAN | FUNCT06B | FUNCT06B-HOSG.DRAN
[5 empty] | HATCH |  | HATCH | FUNCT06B | FUNCT06B-HOSG.HATCH
|  |  | MOTOR |  |  |  | MOTR | FUNCT06B | FUNCT06B-MOTR |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | MOTOR CONTROL PANEL |  |  |  | MTCTRP | FUNCT06B | FUNCT06B-MTCTRP |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | VFD/STARTER |  | STRT | FUNCT06B | FUNCT06B-MTCTRP.STRT