## FUNCT14
[10 empty] | ATTRIBUTE NAME | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PERSON GROUP | DEPT/SVC | MAINTAINED BY | OWNED BY | OPERATED BY | IS PRIMARY? | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | PURCHASE PRICE | REPLACEMENT COST | BUDGET COST | YEAR_TO_DATE_COST | TOTAL COST | CRITICALITY | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | ASSET TYPE | FAILURE CLASS | GL ACCOUNT | ADDRESS CODE | MANUFACTURER | MODEL | SERIAL # | VENDOR | INSTALLATION DATE | ESTIMATED EOL | WARRANTY EXPIRATION DATE | PFA CATEGORY | REQUIRES PFA REPORTING | REPAIR LIMIT (%) | CERTIFICATION ON FILE? | DATE COMMISSIONED | DATE MANUFACTURED | DATE PURCHASED | GRANT NUMBER | GRANT SOURCE | DIRECTION | LRM | START MEASURE | END MEASURE | AIC RATING | AMPERAGE AMP | BLAST RESISTANT | CABINET TYPE | CAPACITY | CAPACITY GAL | CFM CF/M | COATING | COLOR | CONFIGURATION | CONTACT ARRANGEMENT | CONTENT | CURRENT TYPE | DIAMETER IN | DIMMER | DISPENSER SUMP SENSOR | DRAWING NUMBER | ELECTRIC METER TYPE | ENDS | FREQUENCY HZ | FUEL SOURCE | FULL LOAD AMPS (FLA) AMP | FUSE SIZE | FUSED | GRADE | HEAD PRESSURE FT | HEATING SURFACE AREA SF | HEIGHT IN | HIGH TENSION | HORSEPOWER HP | HOUSING COLOR | IMPELLAR DIAMETER IN | INLET DIAMETER IN | INPUT VOLTAGE V | INSTALLATION | INSTALLER NAME | INSULATION | KV RATING KV | KVA RATING KVA | LENGTH FT | LIGHT FIXTURE QUANTITY | LOCKED ROTOR AMPS (LRA) AMP | MATERIAL TYPE | MAX BRAKE HORSEPOWER BHP | MAX HIGH LEVEL SHUTOFF FT | MAX WATER PRESSURE STEAM LBF/IN2 | MAX WATER PRESSURE WATER LBF/IN2 | MAX WATER TEMP F | MAXIMUM FLOW GPD | MAXIMUM FLOW RATE GPM | MAXIMUM GAS INPUT BTU/H | MAXIMUM HORSEPOWER HP | MAXIMUM KW INPUT KW | MAXIMUM OIL INPUT GPH | MAXIMUM OPERATING PRESSURE PSI | MAXIMUM OPERATING TEMPERATURE F | MAXIMUM PRESSURE PSI | MAXIMUM SUCTION PRESSURE PSI | MAXIMUM WATER TEMPERATURE F | MAXIMUM WORKING PRESSURE PSI | METER PROCESS FLUID | MINIMUM OPERATING TEMPERATURE F | MINIMUM RELIEF VALVE CAPACITY MBH | MOTOR | MOTOR SPEED RPM | MOUNT | MOUNTING LOCATION | NEMA RATING | OPERATING PRESSURE PSI | OS&Y | OUTLET DIAMETER IN | OUTPUT VOLTAGE V | PHASE | PIPE CONNECTION | PIPE MATERIAL | POWER W | PRESSURE CLASS | PRESSURE PSI | PRESSURE RATING PSI | PRESSURE SETTING | PUMPING/DISPENSING METHOD | RACK ELEVATION | RADIO FREQUENCY | RATE BRAKE HORSEPOWER BHP | RATED PRESSURE PSI | RATING | RATING PSI | RELIEF TYPE | ROOM TYPE | SCHEDULES | SHUT-DOWN VALVE | SIZE IN | SPEED RPM | SPILL BUCKET CONFIGURATION | STACK DIAMETER IN | STACK HEIGHT ABOVE STRUCTURE FT | STACK HEIGHT FT | STAGE | STAGE I VAPOR RECOVERY SYSTEM | STAGE II VAPOR RECOVERY SYSTEM | STANDARD | TAMPER SWITCH TYPE | TANK EXTERNAL PROTECTION | TANK INTERNAL PROTECTION | TANK LEAK DETECTION SYSTEM | TANK LOCATION | TANK MATERIAL | TANK OVERFILL PROTECTION | TANK SECONDARY CONTAINMENT | TANK SIZE | TANK SIZE GAL | TANK TYPE | TEMPERATURE RATING F | TESTING | TRANSFER SWITCH TYPE | TYPE | VALVE ACTUATOR TYPE | VALVE BODY MATERIAL | VALVE CONFIGURATION | VALVE CONNECTION | VALVE PROCESS FLUID | VALVE TYPE | VOLTAGE AC V | VOLTAGE V | WALL THICKNESS IN | WIDTH FT | WORKING PRESSURE PSI
[10 empty] | DATATYPE | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | NUM | ALN | ALN | ALN | NUM | NUM | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | ALN | ALN | ALN | NUM | NUM | ALN | ALN | ALN | ALN | ALN | ALN | NUM | ALN | ALN | ALN | ALN | ALN | NUM | ALN | NUM | NUM | ALN | ALN | NUM | NUM | NUM | ALN | NUM | ALN | NUM | NUM | NUM | ALN | ALN | ALN | NUM | NUM | NUM | NUM | NUM | ALN | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | NUM | ALN | NUM | NUM | ALN | NUM | ALN | ALN | ALN | NUM | ALN | NUM | NUM | ALN | ALN | ALN | NUM | ALN | NUM | NUM | ALN | ALN | ALN | ALN | NUM | NUM | ALN | ALN | ALN | ALN | ALN | ALN | NUM | NUM | ALN | NUM | NUM | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | NUM | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | ALN | NUM | ALN | NUM | NUM
[10 empty] | UOM | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | USD | USD | N/A | N/A | N/A | N/A | N/A | YEARS | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | % | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | AMP | N/A | N/A | N/A | GAL | CF/M | N/A | N/A | N/A | N/A | N/A | N/A | IN | N/A | N/A | N/A | N/A | N/A | HZ | N/A | AMP | N/A | N/A | N/A | FT | SF | IN | N/A | HP | N/A | IN | IN | V | N/A | N/A | N/A | KV | KVA | FT | N/A | AMP | N/A | BHP | FT | LBF/IN2 | LBF/IN2 | F | GPD | GPM | BTU/H | HP | KW | GPH | PSI | F | PSI | PSI | F | PSI | N/A | F | MBH | N/A | RPM | N/A | N/A | N/A | PSI | N/A | IN | V | N/A | N/A | N/A | W | N/A | PSI | PSI | N/A | N/A | N/A | N/A | BHP | PSI | N/A | PSI | N/A | N/A | N/A | N/A | IN | RPM | N/A | IN | FT | FT | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | GAL | N/A | F | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | V | V | IN | FT | PSI
[10 empty] | DOMAIN | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | Y | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | Y | N | N | N | N | N | N | Y | N | N | N | N | N | N | N | Y | Y | Y | N | Y | N | N | Y | Y | N | N | N | N | Y | N | N | N | N | Y | N | Y | N | N | N | Y | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | [9 empty] | Y | N | N | Y | N | N | Y | N | N | Y | N | N | Y | Y | Y | N | Y | N | N | N | N | N | Y | N | N | N | N | Y | N | N | Y | N | N | N | N | N | N | Y | N | N | N | Y | N | N | N | N | Y | N | N | N | N | Y | N | Y | Y | N | Y | Y | Y | Y | Y | Y | N | N | N | N | N | bar: HP to PSI
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILD ASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEM CODE | ADS CODE | DEFAULT USEFUL LIFE(yr) | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | [9 empty] | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | bar: HP to PSI
FUNCT | STEAM | [5 empty] | 14
|  | SOURCE |  |  |  |  | A
|  |  | AIR COMPRESSOR |  |  |  | ARCP | FUNCT14A | FUNCT14A-ARCP |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  |  |  | 1 | 1 | [9 empty] | 1 |  |  | 1 | [9 empty] | 1 | [34 empty] | 1 | [7 empty] | 1 |  |  |  |  | 1 | [45 empty] | 1
|  |  | BOILER |  |  |  | BOIL | FUNCT14A | FUNCT14A-BOIL |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [16 empty] | 1 |  |  |  | 1 | [5 empty] | 1 | [15 empty] | 1 |  |  | 1 | 1 | 1 |  |  | 1 | [11 empty] | 1 | [31 empty] | 1 | 1 | 1 | [13 empty] | 1 | bar: GPH
[5 empty] | AIR VENT |  | AIRV | FUNCT14A | FUNCT14A-BOIL.AIRV
[5 empty] | BURNER ASSEMBLY |  | BRAS | FUNCT14A | FUNCT14A-BOIL.BRAS
[5 empty] | COMBUSTION FAN |  | CMBF | FUNCT14A | FUNCT14A-BOIL.CMBF
[5 empty] | CONTROLS |  | CNTL | FUNCT14A | FUNCT14A-BOIL.CNTL
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT14A | FUNCT14A-BOIL.DRNV
[5 empty] | EMERGENCY SHUT OFF SWITCH |  | ESOS | FUNCT14A | FUNCT14A-BOIL.ESOS
[5 empty] | EXHAUST VENTING |  | EVNT | FUNCT14A | FUNCT14A-BOIL.EVNT
[5 empty] | FEEDWATER TANK |  | FWTK | FUNCT14A | FUNCT14A-BOIL.FWTK
[5 empty] | GAS VALVE |  | GVLV | FUNCT14A | FUNCT14A-BOIL.GVLV
[5 empty] | IGNITOR |  | IGNR | FUNCT14A | FUNCT14A-BOIL.IGNR
[5 empty] | OIL VALVE |  | OVLV | FUNCT14A | FUNCT14A-BOIL.OVLV
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT14A | FUNCT14A-BOIL.PRRV
[5 empty] | REGULATOR |  | RGLT | FUNCT14A | FUNCT14A-BOIL.RGLT
[5 empty] | SUPPLY VENTING |  | SVNT | FUNCT14A | FUNCT14A-BOIL.SVNT
[6 empty] | FUEL STRAINER | FSTR | FUNCT14A | FUNCT14A-BOIL:FSTR
[6 empty] | GASKETS | GASK | FUNCT14A | FUNCT14A-BOIL:GASK
|  |  | CONTROL VALVE |  |  |  | CNTV | FUNCT14A | FUNCT14A-CNTV |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 | [15 empty] | 1 | [11 empty] | 1 | [20 empty] | 1 |  |  |  | 1 | 1 |  |  |  |  | 1 | [9 empty] | 1 |  | 1 |  |  | 1 | [21 empty] | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  |  | 1
[5 empty] | ACTUATOR |  | ACTR | FUNCT14A | FUNCT14A-CNTV.ACTR
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT14A | FUNCT14A-DSCS |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1 |  |  |  | 1 |  | 1 | [5 empty] | 1 | 1 |  |  |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  | 1 | [22 empty] | 1 |  |  | 1 | 1 | 1 |  |  | 1 | 1 | [8 empty] | 1 | 1 |  |  | 1 |  |  | 1 | [12 empty] | 1 | [11 empty] | 1 | 1 | 1 | [6 empty] | 1 | 1 | bar: HP; PSI
|  |  | PRESSURE REDUCING VALVE |  |  |  | HVV | FUNCT14A | FUNCT14A-HVV |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 | [15 empty] | 1 | [11 empty] | 1 | [20 empty] | 1 |  |  |  | 1 | 1 |  |  |  |  | 1 | [9 empty] | 1 |  | 1 |  |  | 1 | [21 empty] | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  |  | 1
[5 empty] | PNEUMATIC CONTROLS |  | PNMC | FUNCT14A | FUNCT14A-HVV.PNMC
[6 empty] | BYPASS VALVE | BVLV | FUNCT14A | FUNCT14A-HVV:BVLV
[6 empty] | PILOT | PLOT | FUNCT14A | FUNCT14A-HVV:PLOT
[6 empty] | TRANSFER VALVE | TVLV | FUNCT14A | FUNCT14A-HVV:TVLV
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT14A | FUNCT14A-ISOV | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 | [15 empty] | 1 | [11 empty] | 1 | [20 empty] | 1 |  |  |  | 1 | 1 |  |  |  |  | 1 | [9 empty] | 1 |  | 1 |  |  | 1 | [21 empty] | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  |  | 1
|  |  | PIPE |  |  |  | PIPE | FUNCT14A | FUNCT14A-PIPE | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  | 1 | 1 | 1 |  |  |  | 1 |  |  | 1 |  | 1 | [5 empty] | 1 | [11 empty] | 1 |  |  | 1 |  |  | 1 | [30 empty] | 1 | 1 | [11 empty] | 1 |  |  | 1 |  | 1 | [23 empty] | 1
[5 empty] | DRAIN |  | DRAN | FUNCT14A | FUNCT14A-PIPE.DRAN
[5 empty] | GAUGE |  | GAUG | FUNCT14A | FUNCT14A-PIPE.GAUG
[5 empty] | STRAINER |  | STRN | FUNCT14A | FUNCT14A-PIPE.STRN
[5 empty] | AIR VENT |  | AIRV | FUNCT14A | FUNCT14A-PIPE.AIRV
[5 empty] | DIFFERENTIAL PRESSURE SWITCH |  | DPS | FUNCT14A | FUNCT14A-PIPE.DPS
|  |  | STEAM SEPARATOR |  |  |  | SSEP | FUNCT14A | FUNCT14A-SSEP |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | STEAM TRAP |  |  |  | STRP | FUNCT14A | FUNCT14A-STRP | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [16 empty] | 1 | [74 empty] | 1 | bar: PSI
|  |  | SAFETY VALVE |  |  |  | SVLV | FUNCT14A | FUNCT14A-SVLV |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 | [15 empty] | 1 | [11 empty] | 1 | [20 empty] | 1 |  |  |  | 1 | 1 |  |  |  |  | 1 | [9 empty] | 1 |  | 1 |  |  | 1 | [21 empty] | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  |  | 1
|  |  | UTILITY METER |  |  |  | UTYM | FUNCT14A | FUNCT14A-UTYM | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [13 empty] | 1 |  |  | 1 | 1 | [31 empty] | 1 | [10 empty] | 1 | 1 | bar: PSI to F
[5 empty] | END POINT |  | ENDP | FUNCT14A | FUNCT14A-UTYM.ENDP
|  | DISTRIBUTION |  |  |  |  | B
|  |  | AIR COMPRESSOR |  |  |  | ARCP | FUNCT14B | FUNCT14B-ARCP |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  |  |  | 1 | 1 | [9 empty] | 1 |  |  | 1 | [9 empty] | 1 | [34 empty] | 1 | [7 empty] | 1 |  |  |  |  | 1 | [45 empty] | 1
|  |  | PRESSURE REDUCING VALVE |  |  |  | HVV | FUNCT14B | FUNCT14B-HVV | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 | [15 empty] | 1 | [11 empty] | 1 | [20 empty] | 1 |  |  |  | 1 | 1 |  |  |  |  | 1 | [9 empty] | 1 |  | 1 |  |  | 1 | [21 empty] | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  |  | 1
[5 empty] | PNEUMATIC CONTROLS |  | PNMC | FUNCT14B | FUNCT14B-HVV.PNMC
[6 empty] | BYPASS VALVE | BVLV | FUNCT14B | FUNCT14B-HVV:BVLV
[6 empty] | PILOT | PLOT | FUNCT14B | FUNCT14B-HVV:PLOT
[6 empty] | TRANSFER VALVE | TVLV | FUNCT14B | FUNCT14B-HVV:TVLV
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT14B | FUNCT14B-ISOV | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 | [15 empty] | 1 | [11 empty] | 1 | [20 empty] | 1 |  |  |  | 1 | 1 |  |  |  |  | 1 | [9 empty] | 1 |  | 1 |  |  | 1 | [21 empty] | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  |  | 1
|  |  | PIPE |  |  |  | PIPE | FUNCT14B | FUNCT14B-PIPE |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  | 1 | 1 | 1 |  |  |  | 1 |  |  | 1 |  | 1 | [5 empty] | 1 | [11 empty] | 1 |  |  | 1 |  |  | 1 | [30 empty] | 1 | 1 | [11 empty] | 1 |  |  | 1 |  | 1 | [23 empty] | 1
[5 empty] | DRAIN |  | DRAN | FUNCT14B | FUNCT14B-PIPE.DRAN
[5 empty] | GAUGE |  | GAUG | FUNCT14B | FUNCT14B-PIPE.GAUG
[5 empty] | STRAINER |  | STRN | FUNCT14B | FUNCT14B-PIPE.STRN
|  | CONDENSATE RETURN |  |  |  |  | C
|  |  | CONDENSATE TANK |  |  |  | CNDT | FUNCT14C | FUNCT14C-CNDT | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 |  |  | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 | [8 empty] | 1 |  | 1 | [6 empty] | 1 |  |  |  |  | 1 | [32 empty] | 1 |  |  |  | 1 |  | 1 | 1 | 1 |  |  |  |  | 1 | [7 empty] | 1 |  |  |  |  | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | [11 empty] | 1 | 1 | 1
|  |  | CONDENSATE PUMP |  |  |  | CPUMP | FUNCT14C | FUNCT14C-CPUMP | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | [7 empty] | 1 |  |  |  | 1 |  |  | 1 |  |  | 1 |  | 1 |  |  |  | 1 |  |  |  | 1 |  | 1 | [9 empty] | 1 | 1 | 1 |  |  |  |  | 1 | 1 | [15 empty] | 1 | [6 empty] | 1 | [10 empty] | 1 | 1 | 1 | [6 empty] | 1 |  |  |  |  | 1 | [17 empty] | 1 | [7 empty] | 1 | bar: KW; PSI to F
[5 empty] | CONTROLS |  | CNTL | FUNCT14C | FUNCT14C-CPUMP.CNTL
|  |  | PIPE |  |  |  | PIPE | FUNCT14C | FUNCT14C-PIPE |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  | 1 | 1 | 1 |  |  |  | 1 |  |  | 1 |  | 1 | [5 empty] | 1 | [11 empty] | 1 |  |  | 1 |  |  | 1 | [30 empty] | 1 | 1 | [11 empty] | 1 |  |  | 1 |  | 1 | [23 empty] | 1
[5 empty] | DRAIN |  | DRAN | FUNCT14C | FUNCT14C-PIPE.DRAN
[5 empty] | ISOLATION VALVE |  | ISOV | FUNCT14C | FUNCT14C-PIPE.ISOV
[5 empty] | STRAINER |  | STRN | FUNCT14C | FUNCT14C-PIPE.STRN