## FUNCT18
[12 empty] | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PERSON GROUP | DEPT/SVC | MAINTAINED BY | OWNED BY | OPERATED BY | IS PRIMARY? | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | PURCHASE PRICE | REPLACEMENT COST | BUDGET COST | YEAR_TO_DATE_COST | TOTAL COST | CRITICALITY | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | ASSET TYPE | FAILURE CLASS | GL ACCOUNT | ADDRESS CODE | MANUFACTURER | MODEL | SERIAL # | VENDOR | INSTALLATION DATE | ESTIMATED EOL | WARRANTY EXPIRATION DATE | PFA CATEGORY | REQUIRES PFA REPORTING | REPAIR LIMIT (%) | CERTIFICATION ON FILE? | DATE COMMISSIONED | DATE MANUFACTURED | DATE PURCHASED | GRANT NUMBER | GRANT SOURCE | DIRECTION | LRM | START MEASURE | END MEASURE
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILDASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEMCODE | COMPONENTCODE | FLOW ENABLED | DEFINITION | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R
FUNCT | SOLID WASTE | [5 empty] | 18 |  |  |  | Maintenance Object specific systems & equipment pertaining to the collection and disposal of any garbage, refuse or sludge such as from a wastewater treatment plant, water supply treatment plant or air pollution control facility. These systems may also pertain to other discarded material, including solid, liquid, semisolid, or contained gaseous material, resulting from industrial, commercial, automotive, construction/renovation, mining, agricultural operations/activities and hazardous waste.
|  | COLLECTION |  |  |  |  | A |  |  |  | In a solid waste system, assets in a collection subsystem refer to the physical and operational resources such as vehicles, containers, and equipment used to gather and transport waste from its source to processing or disposal sites.
|  |  | CHUTE |  |  |  | CHUT | FUNCT18A | CHUT | FALSE | In a solid waste system, a chute for collection is a vertical or inclined conduit that facilitates the efficient movement of waste from different floors of a building to a central collection area. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CHUTE FIRE DOOR |  | CFDR | FUNCT18A | CHUT.CFDR | FALSE | A chute fire door in a solid waste system is a fire-resistant door installed at the opening of a waste collection chute to prevent the spread of fire and smoke between building floors.
[5 empty] | CHUTE EXHAUST FAN |  | EXSF | FUNCT18A | CHUT.EXSF | FALSE | A chute exhaust fan in a solid waste system is a ventilation device that removes odors and maintains airflow in waste chutes, facilitating safe and efficient waste collection.
|  |  | COMPACTOR |  |  |  | CMPC | FUNCT18A | CMPC | FALSE | In a solid waste system, a compactor is a machine used to compress and reduce the volume of waste material during collection, facilitating more efficient transport and disposal. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | BREAKER BAR |  | BRBR | FUNCT18A | CMPC.BRBR | FALSE | A breaker bar in a compactor is a device used to break up and manage solid waste material, enhancing the efficiency of waste collection by ensuring even distribution and compaction within the container.
[5 empty] | CYLINDER |  | CLDR | FUNCT18A | CMPC.CLDR | FALSE | In a solid waste system, the cylinder of a compactor refers to the hydraulic component that compresses waste materials to reduce their volume during collection.
[5 empty] | PROXIMITY SWITCH |  | PRXS | FUNCT18A | CMPC.PRXS | FALSE | A proximity switch in a compactor within a solid waste collection system is a sensor that detects the presence or position of an object, such as a waste container, to automate or control the compaction process.
[5 empty] | POWER UNIT |  | PUNT | FUNCT18A | CMPC.PUNT | FALSE | A power unit in a compactor for solid waste collection is the component that provides the necessary energy to compress and reduce the volume of waste materials for efficient storage and transportation.
[5 empty] | RAM |  | RAM | FUNCT18A | CMPC.RAM | FALSE | In the context of a solid waste system, RAM in a compactor refers to the hydraulic mechanism that compresses and compacts waste material within the collection container.
|  |  | DUMPSTER |  |  |  | DMPT | FUNCT18A | DMPT | FALSE | A dumpster in a solid waste system is a large, typically metal container used for the temporary storage and collection of waste materials before they are transported to a disposal or recycling facility. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT18A | DSCS | FALSE | A disconnect switch in a solid waste collection system is a safety device used to isolate electrical power from equipment, ensuring safe maintenance or emergency shutdown procedures. A disconnect switch can be fused or unfused. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PIT |  |  |  | PIT | FUNCT18A | PIT | FALSE | A containment pit is a subgrade containment area for temporary storage of solid waste. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | WASTE CONTAINER |  |  |  | WSTC | FUNCT18A | WSTC | FALSE | A waste container in a solid waste collection system is a receptacle designed to temporarily store refuse and recyclables until they are collected for disposal or processing. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1

## APPROVAL 0
DATE | 05/04/2018
REVISION | 0
DEPARTMENT | NAMES | APPROVAL
EAM | Robert Kumapley, Mohammad Chowdhury | True
TEC |  | False
AVIATION | Peter Palfalvi | True
TB&T | Hanson Lee | True
PORT | Robin Kadell, Sean Pflug | True
PATH |  | False
WTC |  | False
ENGINEERING | Craig Fraser | True
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 1
DATE | 05/22/2024
REVISION | 1
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False