## FUNCT20
[12 empty] | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PERSON GROUP | DEPT/SVC | MAINTAINED BY | OWNED BY | OPERATED BY | IS PRIMARY? | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | PURCHASE PRICE | REPLACEMENT COST | BUDGET COST | YEAR_TO_DATE_COST | TOTAL COST | CRITICALITY | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | ASSET TYPE | FAILURE CLASS | GL ACCOUNT | ADDRESS CODE | MANUFACTURER | MODEL | SERIAL # | VENDOR | INSTALLATION DATE | ESTIMATED EOL | WARRANTY EXPIRATION DATE | PFA CATEGORY | REQUIRES PFA REPORTING | REPAIR LIMIT (%) | CERTIFICATION ON FILE? | DATE COMMISSIONED | DATE MANUFACTURED | DATE PURCHASED | GRANT NUMBER | GRANT SOURCE | DIRECTION | LRM | START MEASURE | END MEASURE
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILDASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEMCODE | COMPONENTCODE | FLOW ENABLED | DEFINITION | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R
FUNCT | CONDENSER WATER | [5 empty] | 20 |  |  |  | Maintenance Object specific systems & equipment pertaining to the removal of heat energy from a building and its ejection into the atmosphere (reverse of chilled water systems).
|  | SOURCE |  |  |  |  | A |  |  |  | Assets in a SOURCE subsystem of a CONDENSER WATER System refer to the components and equipment responsible for supplying and regulating the flow of water to the condenser, such as pumps, pipes, valves, and water treatment units.
|  |  | CHEMICAL FEEDER |  |  |  | CMFD | FUNCT20A | CMFD | TRUE | A chemical feeder in a condenser water system refers to a device that introduces precise amounts of treatment chemicals into the water to prevent corrosion, scaling, and biological growth. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CONTROL INTERFACE |  |  |  | CONI | FUNCT20A | CONI | TRUE | A control interface in a condenser water system pertains to the mechanism or system that allows operators to monitor and adjust the source conditions, such as flow rate and temperature, to optimize the system's efficiency and performance. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COOLING TOWER |  |  |  | CTWR | FUNCT20A | CTWR | TRUE | A cooling tower in a condenser water system is a heat rejection device that expels waste heat to the atmosphere through the cooling of a water stream to a lower temperature. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | BEARING |  | BRNG | FUNCT20A | CTWR.BRNG | TRUE | In a condenser water system, a bearing in a cooling tower supports and reduces friction for the rotating components, such as the fan, ensuring efficient heat exchange and water cooling.
[5 empty] | COOLING FILL |  | CFIL | FUNCT20A | CTWR.CFIL | TRUE | Cooling fill in a cooling tower, as part of a condenser water system, is the medium that enhances the heat exchange process by increasing the surface area for water to spread and cool as it descends through the tower.
[5 empty] | CONTROLS |  | CNTL | FUNCT20A | CTWR.CNTL | TRUE | In a condenser water system, controls in a cooling tower regulate the operation and efficiency of the tower by adjusting parameters such as fan speed, water flow, and temperature setpoints to optimize heat rejection and maintain desired water conditions.
[5 empty] | CONTROL VALVE |  | CNTV | FUNCT20A | CTWR.CNTV | TRUE | A control valve in a cooling tower system regulates the flow of condenser water to maintain optimal temperature and pressure conditions for efficient heat exchange.
[5 empty] | FAN |  | FAN | FUNCT20A | CTWR.FAN | TRUE | In a condenser water system, the fan in a cooling tower serves as a mechanical device that enhances the evaporation process by drawing air through the water, thereby facilitating heat dissipation from the source.
[5 empty] | FILL CONTROL |  | FCNT | FUNCT20A | CTWR.FCNT | TRUE | Fill control in a cooling tower refers to the regulation and management of water distribution over the fill media to maximize heat exchange efficiency in a condenser water system.
[5 empty] | FILTER |  | FLTR | FUNCT20A | CTWR.FLTR | TRUE | In a cooling tower system, a filter is a component that removes impurities and particulates from the condenser water to maintain efficient heat exchange and protect system components.
[5 empty] | GEARBOX ASSEMBLY |  | GBXA | FUNCT20A | CTWR.GBXA | TRUE | A gearbox assembly in a cooling tower is a mechanical component that transmits power and reduces speed from the motor to the fan, facilitating efficient air flow over the condenser water to dissipate heat.
[5 empty] | MOTOR |  | MOTR | FUNCT20A | CTWR.MOTR | TRUE | The motor in a cooling tower serves as the power source for driving the fan, which facilitates the evaporation and heat exchange process in a condenser water system.
[5 empty] | NOZZLE |  | NOZL | FUNCT20A | CTWR.NOZL | TRUE | In a condenser water system, a nozzle in a cooling tower is a device that evenly distributes water over the fill material to maximize heat transfer and evaporation for effective cooling.
[5 empty] | VFD/STARTER |  | STRT | FUNCT20A | CTWR.STRT | TRUE | A VFD/STARTER in a cooling tower of a condenser water system is a device that regulates and initiates the operation of the cooling tower fan motors, optimizing energy usage and maintaining precise control over the cooling process.
[5 empty] | SUMP |  | SUMP | FUNCT20A | CTWR.SUMP | TRUE | In a cooling tower's condenser water system, the sump serves as a basin at the base of the tower where cooled water collects before being recirculated back into the condenser.
[6 empty] | BELT | BELT | FUNCT20A | CTWR:BELT | TRUE | In a condenser water system, the belt in a cooling tower is a component that transfers mechanical energy from the motor to the fan to facilitate airflow and heat dissipation.
[6 empty] | OIL | OIL | FUNCT20A | CTWR:OIL | TRUE | In a condenser water system, oil in a cooling tower can refer to lubricant used for the tower's mechanical components, which must be managed to prevent contamination of the water source.
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT20A | DSCS | TRUE | A disconnect switch in a condenser water system is a safety device that allows for the manual interruption of electrical power from the source to the system, enabling maintenance and emergency shutdowns. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT20A | ISOV | TRUE | An isolation valve in a condenser water system is a device that can be used to stop or regulate the flow of water at a specific point, allowing for maintenance or control of the source without affecting the entire system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | MAKE-UP CONTROL VALVE |  |  |  | MUCV | FUNCT20A | MUCV | TRUE | A make-up control valve in a condenser water system is a device that regulates the addition of water to maintain the correct level and pressure within the system, compensating for losses due to evaporation, leaks, or blowdown. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PLUME ABATEMENT |  |  |  | PABT | FUNCT20A | PABT | TRUE | Plume abatement in a condenser water system refers to the reduction or elimination of visible water vapor emissions (plumes) from cooling towers by limiting the temperature and humidity conditions that cause the vapor to condense in the atmosphere. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PIPE |  |  |  | PIPE | FUNCT20A | PIPE | TRUE | In a condenser water system, "PIPE" refers to the conduit that transports water from the source, such as a cooling tower or chiller, to and from the condenser, facilitating heat exchange and system efficiency. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | AIR ELIMINATOR |  | AIRE | FUNCT20A | PIPE.AIRE | TRUE | An air eliminator in a condenser water system is a device installed in piping to remove trapped air, preventing air locks and ensuring efficient flow and heat exchange.
[5 empty] | AIR VENT |  | AIRV | FUNCT20A | PIPE.AIRV | TRUE | An air vent in a condenser water system pipe is a device that allows trapped air to escape, ensuring efficient water flow and heat exchange.
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT20A | PIPE.DRNV | TRUE | A drain valve in a condenser water system is a component of the piping that allows for the controlled release of water from the system, facilitating maintenance or system drainage.
[5 empty] | FLOW METER |  | FLWM | FUNCT20A | PIPE.FLWM | TRUE | A flow meter in a condenser water system is a device installed in a pipe to measure and monitor the rate of water flow from the source, ensuring optimal system performance and efficiency.
[5 empty] | GAUGE |  | GAUG | FUNCT20A | PIPE.GAUG | TRUE | In a condenser water system, a GAUGE as part of a PIPE is an instrument used to measure and display the pressure or temperature of the water sourced from the condenser.
[5 empty] | INSULATION |  | INSL | FUNCT20A | PIPE.INSL | TRUE | In a condenser water system, insulation on pipes serves to minimize heat loss or gain, thus enhancing energy efficiency and preventing condensation.
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT20A | PIPE.PRRV | TRUE | A pressure relief valve in a condenser water system is a safety device installed on pipes to automatically release excess pressure, preventing system damage and ensuring safe operation.
[5 empty] | STRAINER |  | STRN | FUNCT20A | PIPE.STRN | TRUE | In a condenser water system, a strainer is a component of the piping that filters out debris from the source water to protect the condenser and other equipment from clogging and damage.
[5 empty] | THERMOMETER |  | THER | FUNCT20A | PIPE.THER | TRUE | A thermometer in the context of a condenser water system acts as a monitoring device to measure the temperature of the water within the piping, serving as a critical source of data to ensure efficient heat exchange and system performance.
[5 empty] | VIBRATION ELIMINATOR |  | VIBR | FUNCT20A | PIPE.VIBR | TRUE | A vibration eliminator in a condenser water system is a flexible component installed in piping to absorb and reduce vibrations transmitted from mechanical equipment, such as pumps, to prevent stress and damage to the piping system.
|  |  | SLUICE GATE |  |  |  | SLGT | FUNCT20A | SLGT | TRUE | A sluice gate in a condenser water system is a mechanical device used to control the flow and regulate the source of water entering the condenser, ensuring optimal system performance and efficiency. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | TRAVELING SCREEN |  |  |  | TSCREEN | FUNCT20A | TSCREEN | TRUE | A traveling screen in a condenser water system is a continuously moving filtration screen that removes debris from the incoming water source to prevent clogging and maintain efficient heat exchange. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | DISTRIBUTION |  |  |  |  | B |  |  |  | In a condenser water system, assets in a distribution subsystem refer to the components and infrastructure, such as pipes, pumps, valves, and control systems, that facilitate the movement and regulation of water throughout the system to ensure efficient heat exchange and cooling processes.
|  |  | CONTROL VALVE |  |  |  | CNTV | FUNCT20B | CNTV | TRUE | A control valve in a condenser water system regulates the flow and distribution of water to maintain optimal temperature and pressure conditions for efficient heat exchange. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | ACTUATOR |  | ACTR | FUNCT20B | CNTV.ACTR | FALSE | An actuator in a control valve within a condenser water system is a device that modulates the flow of water by moving the valve's components in response to a control signal, ensuring precise distribution and regulation of the water flow.
|  |  | CONTROL INTERFACE |  |  |  | CONI | FUNCT20B | CONI | TRUE | A control interface in a condenser water distribution system is the mechanism or platform that enables operators to manage and regulate the flow and temperature of water within the system to optimize performance and efficiency. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT20B | DSCS | TRUE | A disconnect switch in a condenser water system is a safety device used to manually disconnect electrical power from equipment, allowing for maintenance or emergency shutdowns. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT20B | ISOV | TRUE | An isolation valve in a condenser water distribution system is a device used to regulate, restrict, or shut off the flow of water to specific sections or equipment for maintenance, repair, or operational control. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PIPE |  |  |  | PIPE | FUNCT20B | PIPE | TRUE | In a condenser water system, a PIPE refers to the conduit through which water is distributed from the chiller or cooling tower to the heat exchangers, facilitating heat transfer and maintaining system efficiency. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | AIR ELIMINATOR |  | AIRE | FUNCT20B | PIPE.AIRE | TRUE | An air eliminator in a condenser water distribution system is a device installed in piping to remove trapped air, which can cause inefficiencies and operational issues.
[5 empty] | AIR VENT |  | AIRV | FUNCT20B | PIPE.AIRV | TRUE | An air vent in a condenser water system pipe is a device that removes trapped air to maintain efficient water distribution and prevent airlock within the system.
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT20B | PIPE.DRNV | TRUE | A drain valve in a condenser water distribution system is a component used to facilitate the removal of water or condensate from the piping, allowing for maintenance, system drainage, or pressure relief.
[5 empty] | FLOW METER |  | FLWM | FUNCT20B | PIPE.FLWM | TRUE | A flow meter in a condenser water system is a device installed in the piping to measure and monitor the rate of water flow for efficient distribution and system performance.
[5 empty] | GAUGE |  | GAUG | FUNCT20B | PIPE.GAUG | TRUE | In a condenser water system, a gauge is a device used to measure and display the pressure or temperature within the piping distribution network.
[5 empty] | INSULATION |  | INSL | FUNCT20B | PIPE.INSL | TRUE | Insulation in a condenser water system pipe is a material layer that minimizes heat loss or gain, ensuring efficient temperature control and preventing condensation during water distribution.
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT20B | PIPE.PRRV | TRUE | A pressure relief valve in a condenser water system is a safety device installed in piping to automatically release excess pressure and prevent damage or failure within the distribution network.
[5 empty] | STRAINER |  | STRN | FUNCT20B | PIPE.STRN | TRUE | In a condenser water system, a strainer is a device installed in the piping network to filter out debris and prevent clogging or damage to downstream equipment, ensuring efficient distribution of water.
[5 empty] | THERMOMETER |  | THER | FUNCT20B | PIPE.THER | TRUE | A thermometer in a condenser water system's piping is a device used to measure and monitor the water temperature to ensure proper distribution and efficiency of the system.
[5 empty] | VIBRATION ELIMINATOR |  | VIBR | FUNCT20B | PIPE.VIBR | TRUE | A vibration eliminator in a condenser water system pipeline is a flexible connector designed to absorb and reduce mechanical vibrations and noise transmitted through the piping, thereby protecting the system components and enhancing operational stability.
|  |  | PUMP |  |  |  | PUMP | FUNCT20B | PUMP | TRUE | In a condenser water system, a pump is a mechanical device that circulates water between the condenser and the cooling tower to dissipate heat effectively. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | MOTOR |  | MOTR | FUNCT20B | PUMP.MOTR | TRUE | In a condenser water system, the motor drives the pump, which circulates water to facilitate heat distribution and removal from the condenser.
[5 empty] | VFD/STARTER |  | STRT | FUNCT20B | PUMP.STRT | TRUE | A VFD/STARTER in a condenser water system is a variable frequency drive or starter used to control the pump's speed and operation, optimizing the distribution of water flow to meet cooling demands efficiently.

## APPROVAL 0
DATE | 04/26/2018
REVISION | 0
DEPARTMENT | NAMES | APPROVAL
EAM | Robert Kumapley, Mohammad Chowdhury | True
TEC |  | False
AVIATION | Mario Suarez, Peter Palfalvi | True
TB&T | Mauro Pace | True
PORT | Robin Kadell, Sean Pflug | True
PATH |  | False
WTC | Leonard Kozlov | True
ENGINEERING | Robert Roussel | True
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 1
DATE | 07/25/2024
REVISION | 1
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Brian Alfonso | True
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 2
DATE | 10/22/2024
REVISION | 2
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Javier Rocha | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False