## FUNCT03
[12 empty] | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PERSON GROUP | DEPT/SVC | MAINTAINED BY | OWNED BY | OPERATED BY | IS PRIMARY? | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | PURCHASE PRICE | REPLACEMENT COST | BUDGET COST | YEAR_TO_DATE_COST | TOTAL COST | CRITICALITY | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | ASSET TYPE | FAILURE CLASS | GL ACCOUNT | ADDRESS CODE | MANUFACTURER | MODEL | SERIAL # | VENDOR | INSTALLATION DATE | ESTIMATED EOL | WARRANTY EXPIRATION DATE | PFA CATEGORY | REQUIRES PFA REPORTING | REPAIR LIMIT (%) | CERTIFICATION ON FILE? | DATE COMMISSIONED | DATE MANUFACTURED | DATE PURCHASED | GRANT NUMBER | GRANT SOURCE | DIRECTION | LRM | START MEASURE | END MEASURE
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILDASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEMCODE | COMPONENTCODE | FLOW ENABLED | DEFINITION | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R
FUNCT | FIRE PROTECTION & LIFE SAFETY | [5 empty] | 03 |  |  |  | Maintenance Object specific systems & equipment dedicated to the core elements of fire protection, life safety and egress within a building or localized site.
|  | FIRE ALARM SYSTEM |  |  |  |  | A |  |  |  | In a fire alarm system, assets refer to the components and equipment, such as smoke detectors, control panels, alarm notification devices, and communication systems, that work together to detect, alert, and facilitate a response to fire-related emergencies within a fire protection and life safety system.
|  |  | ANNUNCIATOR PANEL |  |  |  | ANPL | FUNCT03A | ANPL | TRUE | An annunciator panel in a fire alarm system is a visual display unit that indicates the status and location of fire alarms and system conditions, providing quick identification of the source of an alarm or fault within a building's fire protection and life safety system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | AUDIO/VISUAL DEVICE |  |  |  | AVDV | FUNCT03A | AVDV | TRUE | An audio/visual device in a fire alarm system is a component that emits audible alarms and visual signals, such as flashing lights and horns, to alert occupants of a building to the presence of a fire or other emergency situation. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DATA GATHERING PANEL (DGP) |  |  |  | DGP | FUNCT03A | DGP | TRUE | A Data Gathering Panel (DGP) in a fire alarm system is a centralized unit that collects, processes, and transmits data from various fire detection devices to the main control panel, facilitating efficient monitoring and response in a fire protection and life safety system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DETECTOR |  |  |  | DTCT | FUNCT03A | DTCT | TRUE | A detector in a fire alarm system is a device designed to sense and respond to the presence of fire-related phenomena, such as smoke, heat, or flames, and trigger an alert to facilitate timely evacuation and response. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | FIRE ALARM FUSE CUT OUT |  |  |  | FACO | FUNCT03A | FACO | FALSE | A fire alarm fuse cut out is a safety device within a fire alarm system designed to disconnect or isolate power to prevent damage to the system during electrical faults or maintenance. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | WARDEN/FIRE DEPT TELEPHONE STATION |  |  |  | FDST | FUNCT03A | FDST | TRUE | A Warden/Fire Department Telephone Station is a dedicated communication point within a fire alarm system that allows fire wardens or firefighters to communicate directly with the fire command center during an emergency. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | FIRE ALARM PANEL |  |  |  | FRAP | FUNCT03A | FRAP | TRUE | A fire alarm panel is the central control unit of a fire alarm system that monitors and manages various detection devices and alarms, providing alerts and information about the presence of fire or system faults within a building for fire protection and life safety purposes. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CONTROL MODULE |  | CLMD | FUNCT03A | FRAP.CLMD | TRUE | A control module in a fire alarm panel is a device that interfaces with and controls external devices, such as fire suppression systems or HVAC controls, to execute specific actions in response to alarm conditions within a fire protection and life safety system.
[5 empty] | IO MODULE |  | IOMD | FUNCT03A | FRAP.IOMD | TRUE | An IO module in a fire alarm panel is a component that facilitates the integration and communication of input and output devices within a fire alarm system, enabling the control and monitoring of various building safety functions such as activating alarms, controlling fire suppression systems, or interfacing with other safety equipment.
[5 empty] | GUIS |  | GUIS | FUNCT03A | FRAP.GUIS | TRUE | A GUI (Graphical User Interface) in a fire alarm panel is a user-friendly display that allows operators to interact with and monitor the fire alarm system, facilitating the management and response to fire safety events within a fire protection and life safety system.
[5 empty] | AUTO DIALERS |  | ATDL | FUNCT03A | FRAP.ATDL | TRUE | Auto dialers in a fire alarm system are devices integrated into the fire alarm panel that automatically call predetermined phone numbers to notify emergency services or designated personnel of an alarm activation.
[5 empty] | FIRE ALARM COMMUNICATOR |  | CMMPN | FUNCT03A | FRAP.CMMPN | FALSE | A fire alarm communicator is a component of a fire alarm panel within a fire protection and life safety system that transmits alarm signals to a monitoring center or emergency services, ensuring timely response in case of a fire emergency.
[6 empty] | POWER SUPPLY | PWSP | FUNCT03A | FRAP:PWSP | TRUE | A power supply in a fire alarm panel is a critical component that provides the necessary electrical energy to operate the fire alarm system and ensure its functionality during normal and emergency conditions.
[6 empty] | PRINTER | PRNT | FUNCT03A | FRAP:PRNT | TRUE | In a fire alarm system, the printer is a component of the fire alarm panel that provides a hard copy record of events, alarms, and system status to aid in monitoring and documenting fire protection and life safety activities.
[6 empty] | BATTERY | BTRY | FUNCT03A | FRAP:BTRY | TRUE | In a fire alarm system, the battery in a fire alarm panel serves as a backup power source to ensure the system remains operational during a power outage, thereby maintaining fire protection and life safety.
|  |  | PULL STATION |  |  |  | PLST | FUNCT03A | PLST | TRUE | A pull station in a fire alarm system is a manually operated device that, when activated by pulling, sends a signal to initiate the fire alarm, alerting occupants and emergency services to a potential fire. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PURGE PANEL |  |  |  | PRPN | FUNCT03A | PRPN | TRUE | A purge panel in a fire alarm system is a control interface that manages the activation of ventilation or smoke control systems to clear smoke from a building during or after a fire event. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | POWER SUPPLY |  |  |  | PWSP | FUNCT03A | PWSP | TRUE | A power supply in a fire alarm system is a crucial component that provides the necessary electrical energy to operate the system's devices and ensure continuous functionality, even during power outages, as part of the overall fire protection and life safety strategy. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | WATER SUPPLY (FIRE PROTECTION) |  |  |  |  | B |  |  |  | Assets in a WATER SUPPLY (FIRE PROTECTION) subsystem within a FIRE PROTECTION & LIFE SAFETY System refer to the infrastructure, equipment, and resources necessary to provide, store, and deliver water at adequate pressure and volume for firefighting operations, such as pumps, pipes, valves, water tanks, and hydrants.
|  |  | BACKFLOW PREVENTER ASSEMBLY |  |  |  | BFPA | FUNCT03B | BFPA | TRUE | A backflow preventer assembly in a fire protection and life safety system is a device installed in the water supply line to prevent the reverse flow of water, ensuring that potentially contaminated water from fire protection systems does not enter the potable water supply. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | ISOLATION VALVE |  | ISOV | FUNCT03B | BFPA.ISOV | TRUE | An isolation valve in a backflow preventer assembly within a fire protection and life safety system is a device used to stop the flow of water, allowing for maintenance or emergencies without disrupting the entire water supply.
[5 empty] | TAMPER SWITCH |  | TMPS | FUNCT03B | BFPA.TMPS | TRUE | A tamper switch in a backflow preventer assembly for fire protection water supply is a device that signals an alert when unauthorized adjustments or tampering occur, ensuring the system remains operational and compliant with safety standards.
[5 empty] | WATER METER |  | WTMT | FUNCT03B | BFPA.WTMT | TRUE | A water meter in a backflow preventer assembly for a fire protection and life safety system measures the flow of water to ensure accurate monitoring and billing, while preventing contamination of the public water supply by reversing flow.
|  |  | CIRCULATION PUMP |  |  |  | CIRP | FUNCT03B | CIRP | FALSE | A circulation pump in a fire protection and life safety system is a device that ensures continuous movement of water within fire protection piping, maintaining optimal pressure and readiness for immediate use in the event of a fire. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | MOTOR |  | MOTR | FUNCT03B | CIRP.MOTR | FALSE | The motor in a circulation pump for water supply in a fire protection and life safety system is an electrically or mechanically powered device that drives the pump to circulate water through the system to ensure adequate pressure and flow for firefighting purposes.
[5 empty] | VFD/STARTER |  | STRT | FUNCT03B | CIRP.STRT | FALSE | A VFD/starter for a circulation pump in a fire protection and life safety system is a device that controls the pump's speed and operation to ensure efficient and reliable water supply for fire suppression.
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT03B | DSCS | FALSE | A disconnect switch in a fire protection and life safety system for water supply is a device used to manually or automatically stop the flow of water to a fire suppression system, ensuring safe maintenance or repair activities. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | EXPANSION TANK |  |  |  | EXPT | FUNCT03B | EXPT | FALSE | An expansion tank in a fire protection and life safety water supply system is a device that absorbs excess pressure due to thermal expansion in a closed water piping system, preventing potential damage to the piping and maintaining system integrity. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | FIRE DEPARTMENT CONNECTION |  |  |  | FDC | FUNCT03B | FDC | TRUE | A Fire Department Connection (FDC) is a point on a building's fire protection system where firefighters can connect hoses to supplement the water supply for firefighting and sprinkler operations. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CHECK VALVE |  | CHVL | FUNCT03B | FDC.CHVL | TRUE | A check valve in a fire department connection is a device that allows water to flow in one direction only, preventing backflow into the water supply system, ensuring reliable water delivery for fire protection.
[5 empty] | POST INDICATOR VALVE |  | PINV | FUNCT03B | FDC.PINV | TRUE | A Post Indicator Valve is a type of valve used in fire protection systems to control the flow of water, typically installed outside a building, and features a visual indicator showing whether the valve is open or closed, ensuring water supply to the fire department connection.
|  |  | FIRE PUMP |  |  |  | FPMP | FUNCT03B | FPMP | TRUE | A fire pump is a critical component of a fire protection and life safety system, designed to increase the water pressure and flow rate in a building's sprinkler system or standpipes to ensure adequate water supply for fire suppression. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | BATTERY CHARGER |  | BTCR | FUNCT03B | FPMP.BTCR | TRUE | A battery charger in the context of a fire pump for water supply in a fire protection and life safety system is a device that maintains the charge of the fire pump's backup batteries, ensuring they are ready to provide emergency power during a power outage.
[5 empty] | CHECK VALVE |  | CHVL | FUNCT03B | FPMP.CHVL | TRUE | A check valve in a fire pump system for water supply in fire protection and life safety is a device that allows water to flow in only one direction, preventing backflow and ensuring that the fire pump maintains water pressure in the system.
[5 empty] | CONTROL PANEL |  | CLPL | FUNCT03B | FPMP.CLPL | TRUE | The control panel of a fire pump in a fire protection and life safety system is an essential component that monitors and manages the operation, status, and performance of the fire pump to ensure reliable water supply for firefighting purposes.
[5 empty] | COUPLING |  | CPLG | FUNCT03B | FPMP.CPLG | TRUE | In a fire protection and life safety system, the coupling in a fire pump serves as the mechanical component that connects the pump to the driver, typically an electric motor or diesel engine, ensuring efficient power transmission for reliable water supply.
[5 empty] | CHART RECORDER |  | CREC | FUNCT03B | FPMP.CREC | TRUE | A chart recorder in a fire protection system for a fire pump is a device that continuously records data such as pressure, flow, and operational status over time to ensure proper functionality and compliance with fire safety regulations.
[5 empty] | MOTOR/ENGINE |  | MTEG | FUNCT03B | FPMP.MTEG | TRUE | In a fire protection and life safety system, the motor or engine of a fire pump is a mechanical component that drives the pump, providing the necessary power to pressurize and deliver water through the fire suppression system to combat fires.
[5 empty] | EMERGENCY POWER OFF |  | EMPO | FUNCT03B | FPMP.EMPO | FALSE | Emergency Power Off (EPO) for a fire pump in a fire protection and life safety system is a safety mechanism that allows for the rapid shutdown of electrical power to the fire pump to prevent damage or hazards in case of emergencies such as electrical faults or maintenance requirements.
[5 empty] | EXHAUST VENTING |  | EVNT | FUNCT03B | FPMP.EVNT | FALSE | Exhaust venting in the context of a fire pump for water supply in a fire protection and life safety system refers to the process of releasing trapped air and gases from the pump and piping to ensure efficient operation and prevent airlock or damage.
[6 empty] | BATTERY | BTRY | FUNCT03B | FPMP:BTRY | TRUE | In a fire protection and life safety system, the battery in a fire pump setup provides emergency backup power to ensure the fire pump operates continuously during a power outage, thereby maintaining water supply for firefighting.
|  |  | FIRE PUMP TEST HEADER |  |  |  | FPTH | FUNCT03B | FPTH | TRUE | A fire pump test header is a component of a fire protection and life safety system that provides a means to test the performance and flow rate of a fire pump by allowing water to be discharged from the system during testing. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | PRESSURE REDUCING VALVE |  | HVV | FUNCT03B | FPTH.HVV | FALSE | A pressure reducing valve in a fire pump test header is a device that regulates and lowers the water pressure from the fire pump to a predetermined safe level to ensure optimal performance and safety in a fire protection and life safety system.
|  |  | FUEL STORAGE TANK |  |  |  | FTNK | FUNCT03B | FTNK | TRUE | A fuel storage tank in the context of water supply for fire protection in a fire protection and life safety system is a reservoir designed to store water or firefighting foam to ensure an adequate and immediate supply for firefighting operations in emergency situations. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CONTROL VALVE |  | CNTV | FUNCT03B | FTNK.CNTV | TRUE | A control valve in a fuel storage tank, as it pertains to water supply in a fire protection and life safety system, is a device that regulates the flow of water to ensure adequate pressure and distribution for firefighting purposes.
[5 empty] | ISOLATION VALVE |  | ISOV | FUNCT03B | FTNK.ISOV | TRUE | An isolation valve in a fuel storage tank, as it pertains to water supply for fire protection in a fire protection and life safety system, is a valve that can be shut off to stop the flow of water, allowing for maintenance, repair, or emergency response without affecting the entire system.
[5 empty] | LEAK DETECTION |  | LDET | FUNCT03B | FTNK.LDET | TRUE | Leak detection in a fuel storage tank, as it pertains to water supply in a fire protection and life safety system, is the process of monitoring and identifying unintended releases of fuel to prevent contamination of water sources and ensure the integrity of the fire suppression system.
[5 empty] | PIPE |  | PIPE | FUNCT03B | FTNK.PIPE | TRUE | In the context of a fire protection and life safety system, a PIPE as part of a FUEL STORAGE TANK for WATER SUPPLY refers to the conduit that transports water from the storage tank to the fire suppression system to ensure an adequate and reliable water supply for firefighting purposes.
[5 empty] | PUMP |  | PUMP | FUNCT03B | FTNK.PUMP | TRUE | A pump in a fuel storage tank for water supply in a fire protection and life safety system is a mechanical device that transfers water from the storage tank to the fire suppression system to ensure adequate pressure and flow for firefighting operations.
[5 empty] | VENTS |  | VENT | FUNCT03B | FTNK.VENT | TRUE | VENTS in a fuel storage tank for a fire protection and life safety system's water supply serve to prevent the buildup of pressure or vacuum within the tank, ensuring safe and efficient operation.
[5 empty] | CHECK VALVE |  | CHVL | FUNCT03B | FTNK.CHVL | FALSE | A check valve in a fuel storage tank used for water supply in a fire protection and life safety system is a device that allows water to flow in one direction only, preventing backflow and ensuring a reliable water supply for firefighting purposes.
[5 empty] | GAUGE |  | GAUG | FUNCT03B | FTNK.GAUG | FALSE | A gauge in a fuel storage tank for water supply in fire protection systems is an instrument used to measure and display the level of water or fuel within the tank to ensure adequate resources are available for fire suppression.
[6 empty] | FUEL FILTER | FFLT | FUNCT03B | FTNK:FFLT | TRUE | A fuel filter in a fuel storage tank for a fire protection water supply system is a device that removes impurities and particulates from fuel used in fire pumps, ensuring reliable operation during fire emergencies.
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT03B | ISOV | TRUE | An isolation valve in a fire protection and life safety system is a valve used to control and shut off the water supply to specific sections of a fire protection system, allowing for maintenance or emergency shutdowns without affecting the entire system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | MONITORING MODULE |  | MNMD | FUNCT03B | ISOV.MNMD | TRUE | A monitoring module in a fire protection and life safety system's isolation valve for water supply serves as an electronic device that communicates the valve's status (open or closed) to the fire alarm control panel, ensuring proper system functionality and alerting operators to any unauthorized or accidental changes.
[5 empty] | TAMPER SWITCH |  | TMPS | FUNCT03B | ISOV.TMPS | TRUE | A tamper switch on an isolation valve in a fire protection water supply system is a monitoring device that signals if the valve's position is altered, ensuring the valve remains open for proper sprinkler operation.
|  |  | JOCKEY PUMP |  |  |  | JPMP | FUNCT03B | JPMP | TRUE | A jockey pump is a small, auxiliary pump in a fire protection system designed to maintain pressure in the piping to prevent the main fire pump from cycling on and off unnecessarily. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CHECK VALVE |  | CHVL | FUNCT03B | JPMP.CHVL | TRUE | A check valve in a jockey pump system for fire protection water supply ensures unidirectional flow and prevents backflow, maintaining system pressure and readiness.
[5 empty] | CONTROL PANEL |  | CLPL | FUNCT03B | JPMP.CLPL | TRUE | The control panel for a jockey pump in a fire protection and life safety system manages and automates the operation of the jockey pump, maintaining pressure in the fire sprinkler system to ensure readiness for fire emergencies.
[5 empty] | MOTOR |  | MOTR | FUNCT03B | JPMP.MOTR | TRUE | In a fire protection and life safety system, the motor of a jockey pump is an electric or diesel-driven device that powers the pump to maintain pressure in the water supply system, ensuring that the fire suppression system remains primed and ready for operation.
[5 empty] | PRESSURE REDUCING VALVE |  | HVV | FUNCT03B | JPMP.HVV | FALSE | A pressure reducing valve in a jockey pump system for fire protection water supply is a device that regulates and maintains a set downstream water pressure to ensure consistent, reliable pressure levels within the fire protection and life safety system.
[5 empty] | PRESSURE SWITCH |  | PRSW | FUNCT03B | JPMP.PRSW | FALSE | A pressure switch in a jockey pump for fire protection water supply is a device that automatically activates the jockey pump to maintain system pressure by detecting drops in pressure within a fire protection and life safety system.
|  |  | MONITORING SYSTEM |  |  |  | MSYS | FUNCT03B | MSYS | FALSE | A monitoring system in the context of water supply for fire protection is a network of sensors and communication devices designed to continuously track and report the status and performance of fire suppression systems, ensuring they are operational and capable of delivering adequate water flow and pressure during emergencies. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | WATER SUPPLY PIPING |  |  |  | WSP | FUNCT03B | WSP | TRUE | Water supply piping in a fire protection and life safety system refers to the network of pipes that delivers water from a reliable source to fire protection systems, such as sprinklers and hydrants, to ensure adequate water flow and pressure for effective fire suppression. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | FREEZE PROTECTION |  | FZPT | FUNCT03B | WSP.FZPT | TRUE | Freeze protection in water supply piping for fire protection systems involves implementing measures to prevent the water in pipes from freezing, thereby ensuring the system remains functional and reliable in cold conditions.
[5 empty] | INSULATION |  | INSL | FUNCT03B | WSP.INSL | TRUE | Insulation in water supply piping for fire protection systems refers to materials applied to pipes to minimize heat transfer, preventing freezing in cold climates and maintaining reliable water flow for fire suppression.
[5 empty] | GAUGE |  | GAUG | FUNCT03B | WSP.GAUG | TRUE | In the context of water supply piping for fire protection systems, "gauge" refers to the measurement of the thickness or diameter of pipes and fittings, which is critical for determining the capacity and flow rate necessary to meet fire protection and life safety requirements.
[5 empty] | AIR ELIMINATOR |  | AIRE | FUNCT03B | WSP.AIRE | FALSE | An air eliminator in a water supply piping system for fire protection is a device designed to automatically remove trapped air from the piping network to ensure efficient water flow and prevent potential disruptions in fire protection systems.
[5 empty] | FLOW METER |  | FLWM | FUNCT03B | WSP.FLWM | FALSE | A flow meter in water supply piping for fire protection is a device that measures and monitors the flow rate of water to ensure adequate supply and pressure for fire suppression systems.
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT03B | WSP.PRRV | FALSE | A pressure relief valve in a fire protection water supply piping system is a safety device designed to automatically release excess pressure to prevent potential damage or failure of the piping and ensure reliable operation of the fire protection system.
[5 empty] | STRAINER |  | STRN | FUNCT03B | WSP.STRN | FALSE | A strainer in water supply piping for fire protection systems is a device that removes debris and particulates from the water flow to ensure the reliable operation of fire protection equipment, such as sprinklers or fire pumps.
[5 empty] | THERMOMETER |  | THER | FUNCT03B | WSP.THER | FALSE | A thermometer in water supply piping for fire protection systems is a device used to monitor and ensure the proper operating temperature of water within the system to maintain effective fire suppression capabilities.
[5 empty] | WASTE CONE |  | WSCN | FUNCT03B | WSP.WSCN | FALSE | A waste cone in a fire protection and life safety system is a funnel-shaped component in the water supply piping that directs excess water or system drainage safely away from the piping network to prevent backflow or contamination.
|  |  | WATER STORAGE TANK |  |  |  | WSTK | FUNCT03B | WSTK | TRUE | A water storage tank in a fire protection and life safety system is a reservoir designed to hold water specifically for use in firefighting, ensuring a reliable and adequate water supply for fire suppression activities. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT03B | WSTK.DRNV | TRUE | A drain valve in a water storage tank for fire protection is a valve used to empty the tank for maintenance, inspection, or repair purposes, ensuring the system's integrity and readiness.
[5 empty] | HEATER |  | HEAT | FUNCT03B | WSTK.HEAT | TRUE | In the context of a fire protection and life safety system, a heater in a water storage tank is a device used to maintain the water at a specified temperature to ensure proper operation and prevent freezing in cold conditions.
[5 empty] | LADDER |  | LADR | FUNCT03B | WSTK.LADR | TRUE | In a fire protection and life safety system, a ladder as part of a water storage tank is an access tool that enables maintenance personnel to safely reach, inspect, and service the water supply components essential for fire protection.
[5 empty] | LEVEL INDICATOR |  | LVIN | FUNCT03B | WSTK.LVIN | TRUE | A level indicator in a water storage tank for fire protection is a device that monitors and displays the water level to ensure adequate supply for fire suppression systems.
[5 empty] | CHART RECORDER |  | CREC | FUNCT03B | WSTK.CREC | FALSE | A chart recorder in a water storage tank for a fire protection and life safety system is a device that continuously records and monitors water levels or pressure over time to ensure the availability and reliability of water supply for firefighting purposes.
|  |  | WATER METER |  |  |  | WTMT | FUNCT03B | WTMT | FALSE | A water meter in a fire protection and life safety system is a device that measures and records the volume of water supplied for fire suppression purposes, ensuring adequate water availability and monitoring consumption. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | END POINT |  | ENDP | FUNCT03B | WTMT.ENDP | FALSE | In the context of a fire protection and life safety system, the "end point" of a water meter refers to the final measurement location in the water supply line where water flow is monitored and recorded for fire protection purposes.
|  | STANDPIPES |  |  |  |  | C |  |  |  | In a FIRE PROTECTION & LIFE SAFETY system, assets in a STANDPIPES subsystem refer to the network of pipes, valves, hose connections, and associated equipment designed to provide water for firefighting purposes within a building.
|  |  | BOILER |  |  |  | BOIL | FUNCT03C | BOIL | FALSE | A boiler in the context of standpipes within a fire protection and life safety system is not directly related, as boilers typically refer to equipment that heats water or generates steam, whereas standpipes are part of a fire suppression system designed to provide water for firefighting in buildings. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | SUPPLY VENTING |  | SVNT | FUNCT03C | BOIL.SVNT | FALSE | Supply venting in the context of boilers related to standpipes in a fire protection and life safety system refers to the controlled release or management of air or gases from the boiler to maintain pressure balance and ensure efficient operation of the standpipe system.
[5 empty] | REGULATOR |  | RGLT | FUNCT03C | BOIL.RGLT | FALSE | In a fire protection and life safety system, a regulator in a boiler standpipe controls and maintains the necessary pressure levels to ensure adequate water flow for firefighting operations.
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT03C | BOIL.PRRV | FALSE | A pressure relief valve in a boiler as part of standpipes in a fire protection and life safety system is a safety device designed to automatically release excess pressure from the boiler to prevent over-pressurization and potential failure, ensuring safe and reliable operation of the fire suppression system.
[5 empty] | OIL VALVE |  | OVLV | FUNCT03C | BOIL.OVLV | FALSE | An oil valve in a boiler system related to standpipes in fire protection and life safety systems regulates the flow of heating oil to ensure optimal boiler operation and reliable performance during emergency standby conditions.
[5 empty] | IGNITOR |  | IGNR | FUNCT03C | BOIL.IGNR | FALSE | An ignitor in the context of a boiler within a fire protection and life safety system serves to initiate combustion, ensuring the boiler operates effectively to provide necessary heat or steam, which may indirectly support the function of standpipes by maintaining system readiness and pressure.
[5 empty] | GAS VALVE |  | GVLV | FUNCT03C | BOIL.GVLV | FALSE | A gas valve in a boiler, as part of a fire protection and life safety system involving standpipes, is a critical component that regulates the flow of gas to the boiler, ensuring safe and efficient operation to maintain the necessary pressure and temperature for system functionality.
[5 empty] | EXHAUST VENTING |  | EVNT | FUNCT03C | BOIL.EVNT | FALSE | Exhaust venting in a boiler system, as it pertains to standpipes in a fire protection and life safety context, involves directing combustion gases safely out of the building to ensure effective operation and prevent hazardous conditions.
[5 empty] | EMERGENCY SHUT OFF SWITCH |  | ESOS | FUNCT03C | BOIL.ESOS | FALSE | An emergency shut off switch for a boiler as part of standpipes in a fire protection and life safety system is a critical safety device that allows for the rapid cessation of boiler operation to prevent overheating or explosions in emergency situations.
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT03C | BOIL.DRNV | FALSE | A drain valve in a boiler system for standpipes in a fire protection and life safety system is a device used to remove water from the system for maintenance, testing, or emergency drainage.
[5 empty] | CONTROLS |  | CNTL | FUNCT03C | BOIL.CNTL | FALSE | In the context of a fire protection and life safety system, "CONTROLS" as part of a BOILER pertains to the mechanisms and devices that regulate and manage the operation and safety of the boiler, ensuring proper integration and functionality with the standpipe system to maintain optimal fire suppression capabilities.
[5 empty] | COMBUSTION FAN |  | CMBF | FUNCT03C | BOIL.CMBF | FALSE | A combustion fan in a boiler as it pertains to standpipes in a fire protection and life safety system is a mechanical device used to supply air to the boiler's combustion chamber to ensure efficient fuel burning, indirectly supporting the fire suppression process by maintaining optimal heat generation for systems that may require heat to function, such as freeze protection for standpipes.
[5 empty] | BURNER ASSEMBLY |  | BRAS | FUNCT03C | BOIL.BRAS | FALSE | A burner assembly in a boiler, as part of a fire protection and life safety system, is a component that mixes fuel and air to create a controlled flame for heating water or generating steam, which may be used to maintain pressure in standpipes.
[5 empty] | AIR VENT |  | AIRV | FUNCT03C | BOIL.AIRV | FALSE | An air vent in a boiler as part of a standpipe system in fire protection and life safety is a component used to release trapped air from the system to ensure proper water flow and pressure during firefighting operations.
[6 empty] | FUEL STRAINER | FSTR | FUNCT03C | BOIL:FSTR | FALSE | A fuel strainer in the context of a boiler system associated with standpipes in a fire protection and life safety system is a device that filters impurities from the fuel supply to ensure clean fuel delivery to the boiler, thereby ensuring reliable operation and reducing the risk of blockages or malfunctions.
[6 empty] | GASKETS | GASK | FUNCT03C | BOIL:GASK | FALSE | Gaskets in the context of a boiler within a fire protection and life safety system are sealing components used to prevent leaks at joints and connections of standpipes, ensuring the integrity and proper functioning of the system.
|  |  | COMBINATION AIR VACUUM VALVE |  |  |  | CAVV | FUNCT03C | CAVV | TRUE | A combination air vacuum valve in standpipes for fire protection and life safety systems is a device that automatically releases trapped air from the system during filling and allows air to re-enter during draining to prevent vacuum conditions. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CONTROL VALVE |  |  |  | CNTV | FUNCT03C | CNTV | TRUE | A control valve in a standpipe system is a device used to regulate the flow of water to different sections of the fire protection system, allowing for the isolation, maintenance, or operation of the system during a fire emergency. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | ACTUATOR |  | ACTR | FUNCT03C | CNTV.ACTR | FALSE | An actuator in the context of a control valve within a standpipe system for fire protection and life safety is a mechanical device that automatically opens or closes the valve to regulate the flow of water based on a control signal, ensuring proper water distribution during a fire emergency.
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT03C | DSCS | FALSE | A disconnect switch in a standpipe system is a safety device that allows the manual cutoff of electrical power to fire pumps, ensuring the system can be safely serviced or shut down in emergencies. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | FIRE DEPARTMENT CONNECTION |  |  |  | FDC | FUNCT03C | FDC | TRUE | A Fire Department Connection (FDC) is an external access point where firefighters can supply water to a building's standpipe system to enhance its fire suppression capabilities during an emergency. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CHECK VALVE |  | CHVL | FUNCT03C | FDC.CHVL | TRUE | A check valve in a fire department connection for standpipes is a one-way valve that prevents backflow, ensuring that water supplied by the fire department flows into the standpipe system without reversing back into the supply source.
[5 empty] | POST INDICATOR VALVE |  | PINV | FUNCT03C | FDC.PINV | TRUE | A Post Indicator Valve (PIV) in a fire protection and life safety system is a type of valve used to control water flow to standpipes and is typically installed outside a building, featuring a visible indicator showing whether the valve is open or closed, aiding the fire department in quickly assessing and controlling water supply during emergencies.
|  |  | FIRE HOSE RACK ASSEMBLY |  |  |  | FHR | FUNCT03C | FHR | TRUE | A fire hose rack assembly is a component of a standpipe system in a fire protection and life safety setup, consisting of a pre-connected hose, nozzle, and hose rack, designed for quick deployment by building occupants or firefighters to control or extinguish fires. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | SIGN |  | SIGN | FUNCT03C | FHR.SIGN | TRUE | In the context of a fire protection and life safety system, a "SIGN" as part of a fire hose rack assembly related to standpipes is a clearly visible and legible label or placard that identifies the location and operational instructions of the hose rack and standpipe system for emergency use.
[5 empty] | FIRE HOSE CABINETS |  | FHSC | FUNCT03C | FHR.FHSC | TRUE | Fire hose cabinets are enclosures that house fire hose rack assemblies, which are part of standpipe systems in fire protection and life safety setups, designed to provide accessible fire hoses for manual firefighting efforts.
[6 empty] | HOSE | HOSE | FUNCT03C | FHR:HOSE | TRUE | In the context of a fire protection and life safety system, a hose in a fire hose rack assembly is a flexible conduit attached to a standpipe, designed to deliver water to extinguish or control fires.
[6 empty] | ISOLATION VALVE | ISOV | FUNCT03C | FHR:ISOV | TRUE | An isolation valve in a fire hose rack assembly, as part of a standpipe system in fire protection and life safety, is a valve that allows for the control and shutdown of water flow to a specific section of the system for maintenance or emergency purposes without affecting the rest of the system.
|  |  | HYDRANT |  |  |  | HYDT | FUNCT03C | HYDT | TRUE | A hydrant in the context of standpipes in a fire protection and life safety system is an outlet connection point, often located within a building, that allows firefighters to access water from the standpipe system for firefighting purposes. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT03C | ISOV | TRUE | An isolation valve in a standpipe system is a valve that allows for the controlled shut-off of water flow to a specific section of the standpipe, enabling maintenance or emergency operations without affecting the entire fire protection system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | TAMPER SWITCH |  | TMPS | FUNCT03C | ISOV.TMPS | TRUE | A tamper switch on an isolation valve in a standpipe system is a supervisory device that detects unauthorized or accidental changes to the valve's position, triggering an alert to ensure the valve remains in its intended open or closed state for proper fire protection functionality.
[5 empty] | MONITORING MODULE |  | MNMD | FUNCT03C | ISOV.MNMD | TRUE | A Monitoring Module in the context of an isolation valve for standpipes in a fire protection and life safety system is a device that provides real-time surveillance and status indication of the valve's position, ensuring it is operational and capable of controlling water flow during an emergency.
|  |  | PIPE |  |  |  | PIPE | FUNCT03C | PIPE | TRUE | In the context of fire protection and life safety systems, a "pipe" in a standpipe system is a conduit that transports water from a reliable water source to strategically placed outlets or hose connections, enabling firefighters to access water quickly in a building during a fire emergency. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | FREEZE PROTECTION |  | FZPT | FUNCT03C | PIPE.FZPT | TRUE | Freeze protection in standpipes, as part of a fire protection and life safety system, involves measures to prevent water in the pipes from freezing, ensuring the system remains operational in cold conditions.
[5 empty] | INSULATION |  | INSL | FUNCT03C | PIPE.INSL | TRUE | In a fire protection and life safety system, insulation as part of a standpipe refers to the material used to thermally protect the pipe from extreme temperatures, preventing water in the system from freezing or overheating to ensure reliable operation during emergencies.
[5 empty] | FIRE BELL/GONG |  | FBLG | FUNCT03C | PIPE.FBLG | FALSE | In a fire protection and life safety system, a fire bell/gong as part of a standpipe system is an audible alarm device that activates to alert occupants and emergency responders of water flow or system activation during a fire emergency.
|  | SPECIAL SUPPRESSION |  |  |  |  | D |  |  |  | Assets in a special suppression subsystem of a fire protection and life safety system refer to the equipment and components, such as fire extinguishers, suppression agents, detection devices, and control panels, specifically designed to detect, control, and extinguish fires in high-risk environments.
|  |  | ABORT STATION |  |  |  | ABRT | FUNCT03D | ABRT | TRUE | An abort station in a fire protection and life safety system is a manual control device that allows authorized personnel to delay or prevent the discharge of a special suppression system, such as a clean agent or gas system, typically during an accidental or false alarm. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | AUDIO/VISUAL DEVICE |  |  |  | AVDV | FUNCT03D | AVDV | TRUE | An audio/visual device in a fire protection and life safety system is an alert mechanism that combines audible alarms and visual signals to notify occupants of a fire or emergency situation, facilitating evacuation and response. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT03D | DSCS | FALSE | A disconnect switch in a fire protection and life safety system is a device used to isolate electrical power to a special suppression system, ensuring safe maintenance and emergency response operations. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DETECTOR |  |  |  | DTCT | FUNCT03D | DTCT | TRUE | In the context of special suppression in a fire protection and life safety system, a detector is a device designed to identify the presence of fire, smoke, heat, or other hazardous conditions, triggering the activation of suppression mechanisms to control or extinguish a fire. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PIPE |  |  |  | PIPE | FUNCT03D | PIPE | TRUE | In the context of special suppression in a fire protection and life safety system, a PIPE is a conduit used to transport fire suppression agents, such as water, foam, or gas, from the supply source to the discharge nozzles or sprinklers. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | NOZZLE |  | NOZL | FUNCT03D | PIPE.NOZL | TRUE | A nozzle in a fire protection and life safety system is a component of a pipe that directs and controls the flow of suppressant agents during special suppression operations to effectively target and extinguish fires.
|  |  | PURGE PANEL |  |  |  | PRPN | FUNCT03D | PRPN | TRUE | A purge panel in a fire protection and life safety system is a control interface used to manage the release of clean agents or gases to remove smoke or hazardous substances from a protected area, ensuring safe egress and maintaining environmental conditions. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | RELEASE STATION |  |  |  | RLST | FUNCT03D | RLST | TRUE | A release station in the context of special suppression in a fire protection and life safety system is a manually operated device that initiates the discharge of a fire suppression agent to control or extinguish a fire. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | SUPPRESSION CONTROL PANEL |  |  |  | SPCP | FUNCT03D | SPCP | TRUE | A suppression control panel in a fire protection and life safety system is a centralized device that monitors and controls the activation and operation of a special suppression system, such as a clean agent, foam, or water mist system, to extinguish fires effectively in protected areas. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | AUTO DIALERS |  | ATDL | FUNCT03D | SPCP.ATDL | FALSE | Auto dialers in a suppression control panel are devices that automatically contact emergency services or designated personnel to alert them of a fire event or suppression system activation as part of a fire protection and life safety system.
[5 empty] | CONTROL MODULE |  | CLMD | FUNCT03D | SPCP.CLMD | FALSE | A control module in a suppression control panel is a device that manages and interfaces with various components of a special suppression system in a fire protection and life safety setup, ensuring the correct activation and operation of suppression agents during a fire event.
[5 empty] | GUIS |  | GUIS | FUNCT03D | SPCP.GUIS | FALSE | In the context of a FIRE PROTECTION & LIFE SAFETY system, GUIs (Graphical User Interfaces) within a SUPPRESSION CONTROL PANEL for SPECIAL SUPPRESSION provide a visual interface for monitoring, controlling, and managing specialized fire suppression systems to enhance safety and response efficiency.
[5 empty] | IO MODULE |  | IOMD | FUNCT03D | SPCP.IOMD | FALSE | An IO Module in a suppression control panel for special suppression systems in fire protection and life safety is a device that facilitates input and output communication between the control panel and various field devices to monitor and control suppression activities.
|  |  | TANK |  |  |  | TANK | FUNCT03D | TANK | TRUE | In the context of special suppression in a fire protection and life safety system, a "tank" typically refers to a storage container that holds fire suppression agents, such as water, foam, or chemical extinguishing agents, used to support the system's ability to control or extinguish fires. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | RELEASE SOLENOID |  | RLSD | FUNCT03D | TANK.RLSD | TRUE | A release solenoid in the context of a fire protection and life safety system is an electromechanical device that, when activated, opens a valve to release fire suppressant from a tank to extinguish or control a fire.
[5 empty] | SIGN |  | SIGN | FUNCT03D | TANK.SIGN | TRUE | In a FIRE PROTECTION & LIFE SAFETY system, "SIGN" as part of "TANK" for SPECIAL SUPPRESSION refers to the labeling or signage that identifies the type, capacity, and operational instructions of a suppression agent tank to ensure proper use and maintenance.
[6 empty] | CHEMICAL AGENT | CHEM | FUNCT03D | TANK:CHEM | TRUE | A chemical agent in the context of a tank for special suppression in a fire protection and life safety system is a specialized substance stored within the tank, designed to extinguish or control fires by interrupting the chemical reaction of combustion or reducing heat, fuel, or oxygen availability.
[6 empty] | PRESSURE SWITCH | PRSW | FUNCT03D | TANK:PRSW | TRUE | A pressure switch in a tank as it pertains to special suppression in a fire protection and life safety system is a device that detects changes in pressure within the tank to activate or deactivate the suppression system, ensuring proper release of extinguishing agents during a fire event.
|  |  | TRANSFER PUMP |  |  |  | TXPM | FUNCT03D | TXPM | TRUE | A transfer pump in a fire protection and life safety system is a device used to move firefighting agents, such as water or foam, from a storage tank to the suppression system, ensuring adequate pressure and flow to extinguish fires. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | MOTOR |  | MOTR | FUNCT03D | TXPM.MOTR | TRUE | In a fire protection and life safety system, the motor of a transfer pump in special suppression systems is an essential component that powers the pump to move fire-suppressing agents from storage tanks to the areas needing protection.
[5 empty] | VFD/STARTER |  | STRT | FUNCT03D | TXPM.STRT | TRUE | A VFD/starter in a transfer pump system for special suppression in fire protection and life safety is an electrical device that regulates the pump's speed and starting sequence to ensure precise control and reliable operation during fire suppression activities.
|  | FIRE EXTINGUISHING |  |  |  |  | E |  |  |  | In a FIRE PROTECTION & LIFE SAFETY system, assets in a fire extinguishing subsystem refer to the equipment and resources, such as fire extinguishers, sprinkler systems, and suppression agents, that are designed and implemented to detect, control, and extinguish fires, thereby protecting life and property.
|  |  | FIRE HYDRANT |  |  |  | FHYD | FUNCT03E | FHYD | TRUE | A fire hydrant is a critical component of a fire protection and life safety system, providing firefighters with accessible water supply from a municipal water source for extinguishing fires. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | ISOLATION VALVE |  | ISOV | FUNCT03E | FHYD.ISOV | TRUE | An isolation valve in a fire hydrant system is a manually operated valve that allows for the control of water flow to a specific section of the fire protection system, enabling maintenance or emergency shut-off without disrupting the water supply to the entire system.
|  |  | FIRE EXTINGUISHER |  |  |  | FREX | FUNCT03E | FREX | TRUE | A fire extinguisher is a portable device designed to discharge a substance that cools, smothers, or otherwise suppresses a fire to prevent its spread and protect life and property as part of a fire protection and life safety system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CABINET |  | CBNT | FUNCT03E | FREX.CBNT | TRUE | A cabinet in the context of fire extinguishers within a fire protection and life safety system is a protective enclosure designed to house and store fire extinguishers for easy access and visibility during emergencies.
|  | LIFE SAFETY/EGRESS |  |  |  |  | F |  |  |  | Assets in a LIFE SAFETY/EGRESS subsystem of a FIRE PROTECTION & LIFE SAFETY System refer to components and equipment, such as exit signs, emergency lighting, and egress pathways, that ensure safe and efficient evacuation during a fire or emergency.
|  |  | EMERGENCY LIGHT |  |  |  | EGLT | FUNCT03F | EGLT | TRUE | Emergency lighting in the context of fire protection and life safety systems refers to a battery-backed lighting device that automatically illuminates when a building experiences a power outage, ensuring safe egress during emergencies like fires. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | EXIT SIGN |  |  |  | EXSN | FUNCT03F | EXSN | TRUE | An exit sign in a fire protection and life safety system is a clearly visible and illuminated sign that indicates the location and direction of the nearest emergency exit to facilitate safe evacuation. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | MARKING |  |  |  | MARK | FUNCT03F | MARK | TRUE | Marking in the context of life safety/egress in a fire protection and life safety system refers to the clear and visible signage or indicators that guide occupants to exits and safe areas during an emergency evacuation. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | WATER BASED SUPPRESSION |  |  |  |  | G |  |  |  | Assets in a water-based suppression subsystem of a fire protection and life safety system refer to the components, such as sprinklers, pipes, pumps, and valves, that are designed to detect, control, and extinguish fires using water.
|  |  | AIR COMPRESSOR |  |  |  | ARCP | FUNCT03G | ARCP | TRUE | An air compressor in a water-based fire suppression system is a device that pressurizes air to maintain the necessary pressure in dry pipe or pre-action fire sprinkler systems to prevent water flow until activation. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CONTROL PANEL |  |  |  | CLPL | FUNCT03G | CLPL | TRUE | A control panel in a water-based suppression system for fire protection and life safety is an integrated electronic device that monitors, manages, and controls the operation of components such as sprinkler systems, pumps, and alarms to ensure effective fire detection and suppression. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | DETECTOR (QTY) |  | DCTR | FUNCT03G | CLPL.DCTR | TRUE | In a fire protection and life safety system, the term "DETECTOR (QTY)" as part of a CONTROL PANEL for water-based suppression refers to the number of sensors used to identify the presence of smoke, heat, or flames, triggering the activation of the suppression system.
|  |  | DELUGE ALARM VALVE |  |  |  | DELV | FUNCT03G | DELV | TRUE | A deluge alarm valve is a component of a water-based fire suppression system that controls the flow of water into open sprinkler pipes in response to a fire detection signal, enabling rapid flooding of the protected area. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[6 empty] | GAUGE | GAUG | FUNCT03G | DELV:GAUG | TRUE | In a water-based suppression system, the gauge in a deluge alarm valve setup measures the water pressure to ensure proper system operation and readiness for fire protection and life safety.
[6 empty] | PRESSURE SWITCH | PRSW | FUNCT03G | DELV:PRSW | TRUE | A pressure switch in a deluge alarm valve system is a device that detects changes in water pressure to activate an alarm or initiate additional control measures in a water-based fire suppression and life safety system.
|  |  | DRAIN VALVE |  |  |  | DRNV | FUNCT03G | DRNV | TRUE | A drain valve in a water-based suppression system is a component used to remove water from the system for maintenance, testing, or emergency purposes, ensuring the system remains operational and effective in fire protection and life safety. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | FREEZE PROTECTION |  | FZPT | FUNCT03G | DRNV.FZPT | TRUE | Freeze protection as part of a drain valve in a water-based suppression system refers to the design feature or mechanism that prevents water from freezing within the drain valve, ensuring proper operation and preventing damage to the fire protection and life safety system in cold conditions.
|  |  | DRY SYSTEM ALARM VALVE |  |  |  | DRYV | FUNCT03G | DRYV | TRUE | A DRY SYSTEM ALARM VALVE is a device in a fire protection system that controls water flow and signals an alarm when a fire is detected in a dry pipe sprinkler system, which is filled with pressurized air or nitrogen instead of water until activation. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | ACCELERATOR |  | ACCEL | FUNCT03G | DRYV.ACCEL | TRUE | An accelerator in a dry system alarm valve is a device that rapidly expels air from the piping network to expedite the opening of the valve and the flow of water into the system when a sprinkler head is activated in a water-based fire suppression system.
[5 empty] | AIR MAINTENANCE DEVICE |  | AMND | FUNCT03G | DRYV.AMND | TRUE | An air maintenance device in a dry system alarm valve is a component that regulates and maintains the necessary air pressure within the dry pipe sprinkler system to prevent water from entering the pipes until a sprinkler activates during a fire.
[5 empty] | CONTROL PANEL |  | CLPL | FUNCT03G | DRYV.CLPL | TRUE | The control panel in a dry system alarm valve setup for a water-based suppression system is a centralized interface that monitors and manages the activation and status of the system, ensuring timely response and notification in the event of a fire.
[5 empty] | AIR COMPRESSOR |  | ARCP | FUNCT03G | DRYV.ARCP | TRUE | An air compressor in a dry system alarm valve for water-based fire protection is a device that maintains the necessary air pressure within the dry pipe system to prevent the premature release of water until a fire triggers the system.
[6 empty] | GAUGE | GAUG | FUNCT03G | DRYV:GAUG | TRUE | A gauge in a dry system alarm valve for a water-based suppression system is a device that measures and displays the pressure levels in the system to ensure proper operation and readiness for fire protection and life safety.
[6 empty] | PRESSURE SWITCH | PRSW | FUNCT03G | DRYV:PRSW | TRUE | A pressure switch in a dry system alarm valve for water-based fire protection is a device that detects changes in air or water pressure to activate an alarm or trigger system functions, ensuring timely response in fire emergencies.
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT03G | DSCS | FALSE | A disconnect switch in a water-based suppression system is a safety device used to manually or automatically shut off electrical power to components like pumps or alarms during maintenance or emergencies, ensuring safe operation and preventing accidental activation. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT03G | ISOV | TRUE | An isolation valve in a water-based suppression system for fire protection and life safety is a device used to stop the flow of water to a specific section of the system for maintenance, repair, or emergency purposes without affecting the entire system's operation. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | TAMPER SWITCH |  | TMPS | FUNCT03G | ISOV.TMPS | TRUE | A tamper switch on an isolation valve in a water-based suppression system is a supervisory device that signals an alarm if the valve is moved from its fully open position, indicating potential interference with the system's readiness.
[5 empty] | MONITORING MODULE |  | MNMD | FUNCT03G | ISOV.MNMD | TRUE | A monitoring module for an isolation valve in a water-based suppression system is a device that tracks and reports the operational status and position of the valve to ensure the system's readiness and functionality in a fire protection and life safety system.
|  |  | PIPE |  |  |  | PIPE | FUNCT03G | PIPE | TRUE | In a fire protection and life safety system, a PIPE for water-based suppression is a conduit that transports water from the source to various delivery devices, such as sprinklers or hydrants, to control or extinguish fires. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | FREEZE PROTECTION |  | FZPT | FUNCT03G | PIPE.FZPT | TRUE | Freeze protection for pipes in a water-based suppression system involves implementing measures to prevent water within the pipes from freezing, thereby ensuring the system remains operational in cold conditions to provide fire protection and life safety.
[5 empty] | INSULATION |  | INSL | FUNCT03G | PIPE.INSL | TRUE | In a fire protection and life safety system, insulation for pipes in water-based suppression systems is a protective layer that prevents the water inside from freezing and maintains optimal temperature for effective operation in cold environments.
[5 empty] | FIRE BELL/GONG |  | FBLG | FUNCT03G | PIPE.FBLG | FALSE | A fire bell/gong in a water-based suppression system is an audible alert device activated by water flow to notify occupants of a fire event and the system's activation.
[5 empty] | RETARD CHAMBER |  | RTCH | FUNCT03G | PIPE.RTCH | FALSE | A retard chamber in a water-based suppression system is a device that delays the activation of the water flow alarm to prevent false alarms caused by transient pressure surges in the piping.
[6 empty] | GAUGE | GAUG | FUNCT03G | PIPE:GAUG | TRUE | In a water-based suppression system for fire protection and life safety, a gauge on a pipe measures the water pressure to ensure the system operates effectively for fire suppression.
[6 empty] | SPRINKLER HEAD | SPHD | FUNCT03G | PIPE:SPHD | TRUE | A sprinkler head is a component of a water-based fire suppression system, connected to the piping network, designed to automatically discharge water when a fire is detected, helping to control or extinguish the fire.
|  |  | PRE-ACTION ALARM VALVE |  |  |  | PREV | FUNCT03G | PREV | TRUE | A pre-action alarm valve is a component of a fire protection system that controls the flow of water to sprinkler heads and requires a specific triggering event, such as detector activation, to fill the pipes with water and prepare for discharge, thereby preventing accidental water release. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | ACCELERATOR |  | ACCEL | FUNCT03G | PREV.ACCEL | TRUE | An accelerator in the context of a pre-action alarm valve for a water-based fire suppression system is a device that rapidly increases air pressure release from the piping network to expedite the opening of the valve, ensuring quicker water discharge in response to a fire detection signal.
[5 empty] | AIR COMPRESSOR |  | ARCP | FUNCT03G | PREV.ARCP | TRUE | An air compressor in a pre-action alarm valve system is a component that maintains pressurized air within the piping network to prevent accidental water discharge, ensuring that water is only released when both a detection system and sprinkler activation occur in a water-based fire protection and life safety system.
[5 empty] | AIR MAINTENANCE DEVICE |  | AMND | FUNCT03G | PREV.AMND | TRUE | An air maintenance device in a pre-action alarm valve system is a component that regulates and maintains the supervisory air pressure in the piping of a water-based fire suppression system to ensure proper operation and prevent false activation.
[6 empty] | GAUGE | GAUG | FUNCT03G | PREV:GAUG | TRUE | In a fire protection and life safety system, a gauge as part of a pre-action alarm valve in a water-based suppression system is a device used to measure and display the pressure within the system to ensure it is at the appropriate level for effective operation.
[6 empty] | PRESSURE SWITCH | PRSW | FUNCT03G | PREV:PRSW | TRUE | A pressure switch in a pre-action alarm valve system is a device that detects changes in water pressure within a water-based suppression system, triggering an alarm or activation signal to initiate the pre-action valve operation and ensure timely fire protection and life safety response.
[6 empty] | SOLENOID VALVE | SOLV | FUNCT03G | PREV:SOLV | TRUE | A solenoid valve in a pre-action alarm valve system is an electrically controlled valve that regulates the flow of water into the sprinkler piping, activating only when a fire detection system triggers it, thereby preventing accidental discharge in a water-based fire protection system.
|  |  | PUMP |  |  |  | PUMP | FUNCT03G | PUMP | FALSE | A pump in water-based suppression systems for fire protection and life safety is a mechanical device that increases water pressure and flow to effectively deliver water through the system to extinguish or control fires. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | MOTOR |  | MOTR | FUNCT03G | PUMP.MOTR | FALSE | In a fire protection and life safety system, the motor in a water-based suppression pump is a mechanical component that drives the pump to move water through the system for firefighting purposes.
[5 empty] | VFD/STARTER |  | STRT | FUNCT03G | PUMP.STRT | FALSE | A VFD/Starter in a water-based suppression system is an electrical component that controls the speed and starting of the fire pump to ensure optimal water flow and pressure for effective fire protection and life safety.
|  |  | ALARM TEST VALVE |  |  |  | TSTV | FUNCT03G | TSTV | TRUE | An alarm test valve in a water-based fire protection and life safety system is a device used to simulate the activation of a fire sprinkler system to test the functionality of the alarm and monitoring components without discharging water into the protected space. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | WATERFLOW SWITCH |  |  |  | WTRS | FUNCT03G | WTRS | TRUE | A waterflow switch is a device in a water-based fire suppression system that detects the flow of water within the pipes, indicating the activation of a sprinkler head or other discharge outlet, and typically triggers an alarm to alert occupants and emergency services. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | MONITORING MODULE |  | MNMD | FUNCT03G | WTRS.MNMD | TRUE | A monitoring module for a waterflow switch in a water-based suppression system is an electronic device that detects and relays signals indicating water movement within the system, thereby alerting the fire alarm control panel to potential activation of the suppression system.

## APPROVAL 0
DATE | 03/29/2018
REVISION | 0
DEPARTMENT | NAMES | APPROVAL
EAM | Robert Kumapley, Mohammad Chowdhury | True
TEC |  | False
AVIATION | Mauro Pace | True
TB&T | Mauro Pace | True
PORT | Robin Kadell, Sean Pflug | True
PATH |  | False
WTC |  | False
ENGINEERING | Ramesh Panchalan | True
OPERATIONS SERVICES | David Bobbitt | True
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 1
DATE | 05/29/2019
REVISION | 1
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | Anthony Gomes, Jason Lei, Dennis Pietrocola, Peter Palfalvi | True
TB&T | Anthony Gomes, Jason Lei, Dennis Pietrocola, Peter Palfalvi | True
PORT | Robin Kadell, Sean Pflug | True
PATH |  | False
WTC | Leonard Kozlov | True
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 2
DATE | 04/15/2020
REVISION | 2
DEPARTMENT | NAMES | APPROVAL
EAM | Paul Fetter, Tanbera Chowdury, Amin Elsherif, Carlos Diaz | True
TEC |  | False
AVIATION | Anthony Gomes | True
TB&T | Anthony Gomes | True
PORT | Sean Pflug | True
PATH | Tom Gardner | True
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES | Pasquale Buzzelli | True
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 3
DATE | 10/23/2020
REVISION | 3
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Tanbera Chowdury, Rich Trifan, Carlos Diaz, Amin Elsherif, Steve Grace | True
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes, Jason Lei | True
PORT | Robin Kadell, Sean Pflug | True
PATH | Tom Gardner | True
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 4
DATE | 07/26/2021
REVISION | 4
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Tanbera Chowdury, Rich Trifan, Carlos Diaz, Amin Elsherif, Steve Grace | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T |  | False
PORT | Robin Kadell, Sean Pflug | True
PATH | Tom Gardner | True
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 5
DATE | 09/28/2021
REVISION | 5
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell, Sean Pflug | True
PATH |  | False
WTC | Stefan Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 6
DATE | 11/17/2021
REVISION | 6
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Tanbera Chowdury, Rich Trifan, Carlos Diaz, Amin Elsherif, Chris Faber | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell, Sean Pflug | True
PATH |  | False
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 7
DATE | 11/30/2021
REVISION | 7
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Tanbera Chowdury, Rich Trifan, Carlos Diaz, Amin Elsherif, Chris Faber | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T |  | False
PORT | Sean Pflug | True
PATH |  | False
WTC | Stefan Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 8
DATE | 06/06/2022
REVISION | 8
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Rich Trifan, Amin Elsherif, Chris Faber | True
TEC |  | False
AVIATION | Mario Suarez | True
TB&T |  | False
PORT | Robin Kadell | True
PATH |  | False
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 9
DATE | 03/19/2024
REVISION | 9
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 10
DATE | 06/11/2024
REVISION | 10
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 11
DATE | 10/22/2024
REVISION | 11
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Javier Rocha | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 12
DATE | 11/25/2024
REVISION | 12
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 13
DATE | 01/31/2025
REVISION | 13
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Javier Rocha | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False