## DIST50
[11 empty] | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PERSON GROUP | DEPT/SVC | MAINTAINED BY | OWNED BY | OPERATED BY | IS PRIMARY? | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | PURCHASE PRICE | REPLACEMENT COST | BUDGET COST | YEAR_TO_DATE_COST | TOTAL COST | CRITICALITY | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | ASSET TYPE | FAILURE CLASS | GL ACCOUNT | ADDRESS CODE | MANUFACTURER | MODEL | SERIAL # | VENDOR | INSTALLATION DATE | ESTIMATED EOL | WARRANTY EXPIRATION DATE | PFA CATEGORY | REQUIRES PFA REPORTING | REPAIR LIMIT (%) | CERTIFICATION ON FILE? | DATE COMMISSIONED | DATE MANUFACTURED | DATE PURCHASED | GRANT NUMBER | GRANT SOURCE | DIRECTION | LRM | START MEASURE | END MEASURE
HIERARCHY | SYSTEM | ASSET | CHILDASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEMCODE | COMPONENTCODE | FLOW ENABLED | DEFINITION | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R
DIST | ELECTRICAL POWER |  |  |  |  | 50 |  |  |  | Site/facility-wide systems & equipment between & serving multiple Maintenance Objects that pertain to the transmission, distribution, generation and delivery of electrical power to sites, facilities, buildings or systems and equipment therein for their designed operations.
|  | AIRFIELD CIRCUIT |  |  |  | ACKT | DIST50X | ACKT | FALSE | An airfield circuit, in the context of an electrical power system, refers to the network of electrical infrastructure and components used to distribute and manage power across an airfield, ensuring reliable operation of lighting, navigation aids, and other essential systems. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | GROUNDING DEVICE |  |  |  | BDGR | DIST50X | BDGR | FALSE | A grounding device in an electrical power system is a component used to connect electrical circuits to the earth to ensure safety and stabilize voltage by providing a path for fault currents. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | BUSWAY |  |  |  | BSWY | DIST50X | BSWY | FALSE | In an electrical power system, a busway, also known as a bus duct, is a prefabricated electrical distribution system consisting of a metal enclosure that houses a rigid set of conductors, providing an efficient way to distribute power across a building or facility. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | DISCONNECT SWITCH |  |  |  | DSCS | DIST50X | DSCS | FALSE | A disconnect switch in an electrical power system is a device used to ensure that an electrical circuit is completely de-energized for service or maintenance. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | FUSE |  | FUSE | DIST50X | DSCS.FUSE | FALSE | A fuse in a disconnect switch within an electrical power system serves as a protective device that interrupts the flow of current in the event of a fault or overload, thereby preventing damage to the system.
|  | ELECTRICAL PANEL |  |  |  | ELPL | DIST50X | ELPL | FALSE | An electrical panel, also known as a distribution board, is a component of an electrical power system that divides electrical power into subsidiary circuits while providing a protective fuse or circuit breaker for each circuit in a common enclosure. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | BRANCH CIRCUIT |  | BRCT | DIST50X | ELPL.BRCT | FALSE | A branch circuit is a portion of an electrical distribution system that extends from the final overcurrent protection device (like a circuit breaker) in an electrical panel to the outlet or load, distributing power to specific areas or devices.
|  |  |  | CIRCUIT BREAKER |  | BRKR | DIST50X | ELPL.BRKR | FALSE | A circuit breaker in an electrical panel is a safety device that automatically interrupts the flow of electricity in a circuit to prevent damage from overloads or short circuits.
|  | FEEDER CABLE |  |  |  | FDCL | DIST50X | FDCL | FALSE | In an electrical power system, a feeder cable is a high-capacity conductor that transmits electrical power from a substation to a distribution point or directly to the end-use systems. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | POWER CABINET |  |  |  | PWRC | DIST50X | PWRC | FALSE | In an electrical power system, a power cabinet is an enclosure that houses and protects electrical components such as circuit breakers, switches, and control devices, facilitating the safe distribution and regulation of electrical power. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | BRANCH CIRCUIT |  | BRCT | DIST50X | PWRC.BRCT | FALSE | A branch circuit in an electrical power system refers to the wiring and components that extend from the final overcurrent protection device to the outlets, lighting, or equipment, distributing electrical power within a specific area of the system.
|  |  |  | CIRCUIT BREAKER |  | BRKR | DIST50X | PWRC.BRKR | FALSE | A circuit breaker in a power cabinet is a safety device designed to automatically interrupt electrical flow in an electrical power system to protect against overloads or short circuits.
|  |  |  | CONTACTOR |  | CNTA | DIST50X | PWRC.CNTA | FALSE | A contactor in a power cabinet is an electrically-controlled switch used to control high-power circuits in electrical power systems, allowing for the safe and efficient operation and disconnection of electrical loads.
|  |  |  | ELECTRICAL PANEL |  | ELPL | DIST50X | PWRC.ELPL | FALSE | An electrical panel, as part of a power cabinet in an electrical power system, is a component that houses circuit breakers or fuses to distribute and control electrical power to various circuits within a building or facility.
|  |  |  | ELECTRICAL TRANSFER SWITCH |  | XFRS | DIST50X | PWRC.XFRS | FALSE | An electrical transfer switch within a power cabinet is a device that enables the safe and efficient switching of electrical load between different power sources, such as utility and generator, to ensure continuous power supply in an electrical power system.
[5 empty] | PHOTO CELL | PHCL | DIST50X | PWRC:PHCL | FALSE | A photocell in a power cabinet within an electrical power system is a light-sensitive component that automatically controls lighting based on ambient light levels, often used for energy efficiency and automatic lighting control.
[5 empty] | TIME CLOCK | TCLK | DIST50X | PWRC:TCLK | FALSE | A time clock in a power cabinet is a device used to schedule the operation of electrical circuits or systems, automatically turning them on or off at predetermined times to optimize energy usage and system management.
|  | UNIT SUBSTATION |  |  |  | USBS | DIST50X | USBS | FALSE | A unit substation in an electrical power system is a compact, integrated assembly of transformers, switchgear, and related equipment designed to transform and distribute electrical power within a localized area. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | TRANSFORMER |  |  |  | XFMR | DIST50X | XFMR | FALSE | A transformer in an electrical power system is a static device that transfers electrical energy between two or more circuits through electromagnetic induction, typically used to change voltage levels. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | ELECTRICAL TRANSFER SWITCH |  |  |  | XFRS | DIST50X | XFRS | FALSE | An electrical transfer switch is a device used in power systems to safely switch the load between two power sources, such as the utility grid and a backup generator, ensuring continuous power supply during outages. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | ANNUNCIATOR |  | ANNR | DIST50X | XFRS.ANNR | FALSE | An annunciator in the context of an electrical transfer switch within an electrical power system is a device that provides visual and/or audible alerts to indicate the status, faults, or operational conditions of the transfer switch.

## APPROVAL 0
DATE | 11/29/2023
REVISION | 0
DEPARTMENT | NAMES | APPROVAL
EAM | Maria King, Sumera Ahmed, Rich Trifan, Amin Elsherif, Robert Kumapley | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Darren Kovacs | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 1
DATE | 11/25/2024
REVISION | 1
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False