## FUNCT50
[12 empty] | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PERSON GROUP | DEPT/SVC | MAINTAINED BY | OWNED BY | OPERATED BY | IS PRIMARY? | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | PURCHASE PRICE | REPLACEMENT COST | BUDGET COST | YEAR_TO_DATE_COST | TOTAL COST | CRITICALITY | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | ASSET TYPE | FAILURE CLASS | GL ACCOUNT | ADDRESS CODE | MANUFACTURER | MODEL | SERIAL # | VENDOR | INSTALLATION DATE | ESTIMATED EOL | WARRANTY EXPIRATION DATE | PFA CATEGORY | REQUIRES PFA REPORTING | REPAIR LIMIT (%) | CERTIFICATION ON FILE? | DATE COMMISSIONED | DATE MANUFACTURED | DATE PURCHASED | GRANT NUMBER | GRANT SOURCE | DIRECTION | LRM | START MEASURE | END MEASURE
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILDASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEMCODE | COMPONENTCODE | FLOW ENABLED | DEFINITION | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R
FUNCT | ELECTRICAL POWER | [5 empty] | 50 |  |  |  | Maintenance Object specific systems & equipment pertaining to the distribution, generation and consumption of electrical power within a specific site, building or system and equipment therein for their designed operations.
|  | SOURCE |  |  |  |  | A |  |  |  | In an electrical power system, assets in a SOURCE subsystem refer to the infrastructure and equipment responsible for generating and supplying electrical energy, such as power plants, generators, transformers, and associated control systems.
|  |  | GROUNDING DEVICE |  |  |  | BDGR | FUNCT50A | BDGR | TRUE | A grounding device in an electrical power system provides a safe path for fault currents to the earth, stabilizes voltage levels, and protects equipment and personnel by connecting the system's source, such as a generator or transformer, to the ground. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CIRCUIT BREAKER |  |  |  | BRKR | FUNCT50A | BRKR | TRUE | In an electrical power system, a circuit breaker is a protective device designed to automatically interrupt the flow of electricity in a circuit to prevent damage from overloads or short circuits. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | BUSWAY |  |  |  | BSWY | FUNCT50A | BSWY | TRUE | In an electrical power system, a busway is a prefabricated electrical distribution system consisting of busbars in a protective enclosure, used to efficiently distribute power from a source to various load points. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | BATTERY CHARGER |  |  |  | BTCR | FUNCT50A | BTCR | TRUE | A battery charger in an electrical power system is a device that supplies electrical energy to recharge a battery by converting alternating current (AC) from the power source into direct current (DC) suitable for the battery. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | BATTERY |  |  |  | BTRY | FUNCT50A | BTRY | TRUE | A battery in an electrical power system is a device that stores chemical energy and converts it into electrical energy to serve as a source of power. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CIRCUIT BREAKER CUBICLE |  |  |  | CBCL | FUNCT50A | CBCL | TRUE | A circuit breaker cubicle in an electrical power system is an enclosed compartment that houses a circuit breaker, which is used to protect, control, and isolate electrical equipment by interrupting current flow in the event of a fault or overload. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CONTROL INTERFACE |  |  |  | CONI | FUNCT50A | CONI | FALSE | In an electrical power system, a control interface for the source refers to the hardware and software systems that manage and regulate the operation and output of power generation units, ensuring they operate efficiently, safely, and in coordination with the grid's demand and stability requirements. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT50A | DSCS | TRUE | A disconnect switch in an electrical power system is a device used to ensure that an electrical circuit is completely de-energized for service or maintenance, providing a visible break in the circuit to enhance safety. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | FUSE |  | FUSE | FUNCT50A | DSCS.FUSE | TRUE | In an electrical power system, a fuse within a disconnect switch serves as a protective device that interrupts excessive current by melting its internal element, thereby safeguarding the circuit and source from damage.
|  |  | ELECTRIC UTILITY METER |  |  |  | ELMT | FUNCT50A | ELMT | TRUE | An electric utility meter is a device that measures and records the amount of electrical energy consumed by a residence, business, or electrically powered device, serving as a critical interface between the power source and the end-user in an electrical power system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | END POINT |  | ENDP | FUNCT50A | ELMT.ENDP | TRUE | In the context of an electrical power system, an "end point" refers to the specific location or device, such as an electric utility meter, where electricity consumption is measured and data is collected for transmission back to the utility as part of the source management and billing process.
|  |  | ELECTRICAL PANEL |  |  |  | ELPL | FUNCT50A | ELPL | TRUE | An electrical panel, also known as a breaker panel or distribution board, serves as a centralized hub in an electrical power system where electrical power is distributed from the main source to various circuits within a building, providing control and protection through circuit breakers or fuses. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | BRANCH CIRCUIT |  | BRCT | FUNCT50A | ELPL.BRCT | TRUE | A branch circuit in an electrical panel is a portion of the electrical distribution system that extends from the panel's circuit breaker or fuse to the various electrical devices or outlets, distributing power from the main source to individual loads.
[5 empty] | CIRCUIT BREAKER |  | BRKR | FUNCT50A | ELPL.BRKR | TRUE | A circuit breaker in an electrical panel is a safety device that automatically interrupts the flow of electrical current in a power system to prevent damage or hazards such as overloads or short circuits.
|  |  | FEEDER CABLE |  |  |  | FDCL | FUNCT50A | FDCL | TRUE | A feeder cable in an electrical power system is a conductor or group of conductors that transmit electrical power from a source, such as a substation, to a distribution point or load center. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | INVERTER |  |  |  | INVT | FUNCT50A | INVT | TRUE | An inverter in an electrical power system is a device that converts direct current (DC) from a power source, such as a battery or solar panel, into alternating current (AC) for use in homes or businesses. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | NETWORK PROTECTOR |  |  |  | NWPR | FUNCT50A | NWPR | TRUE | A network protector is an automatic switching device used in electrical power systems to protect and isolate faults by disconnecting a secondary network from its source, ensuring safe and reliable operation of the electrical grid. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PHOTOVOLTAIC (PV) PANEL |  |  |  | PVPL | FUNCT50A | PVPL | TRUE | A photovoltaic (PV) panel is a device that converts sunlight directly into electrical energy, serving as a renewable energy source in an electrical power system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | POWER CABINET |  |  |  | PWRC | FUNCT50A | PWRC | FALSE | A power cabinet in an electrical power system is an enclosure that houses and protects electrical components and equipment, such as circuit breakers and switchgear, used to control and distribute electrical power from a source. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | BRANCH CIRCUIT |  | BRCT | FUNCT50A | PWRC.BRCT | FALSE | A branch circuit is a portion of an electrical power system that extends from the power cabinet to deliver electricity from the source to individual loads or devices within a facility.
[5 empty] | CIRCUIT BREAKER |  | BRKR | FUNCT50A | PWRC.BRKR | FALSE | A circuit breaker in a power cabinet is a protective device that automatically interrupts the flow of electricity from the source in an electrical power system to prevent damage from overcurrents or short circuits.
[5 empty] | CONTACTOR |  | CNTA | FUNCT50A | PWRC.CNTA | FALSE | A contactor in a power cabinet is an electrically-controlled switch used for switching an electrical power circuit, often employed to control the power flow from the source to various components in an electrical power system.
[5 empty] | ELECTRICAL PANEL |  | ELPL | FUNCT50A | PWRC.ELPL | FALSE | An electrical panel within a power cabinet in an electrical power system serves as the central hub for distributing and controlling electrical power from the source to various circuits and devices, ensuring safe and efficient operation.
[5 empty] | ELECTRICAL TRANSFER SWITCH |  | XFRS | FUNCT50A | PWRC.XFRS | FALSE | An electrical transfer switch within a power cabinet is a device that facilitates the safe and efficient transfer of electrical load between different power sources, such as from the main utility to a backup generator, ensuring continuous power supply in an electrical power system.
[6 empty] | PHOTO CELL | PHCL | FUNCT50A | PWRC:PHCL | FALSE | A photocell in a power cabinet within an electrical power system is a light-sensitive device that automatically controls the switching of lighting or equipment based on ambient light levels.
[6 empty] | TIME CLOCK | TCLK | FUNCT50A | PWRC:TCLK | FALSE | A time clock in a power cabinet within an electrical power system is a device that automates the control of power distribution by scheduling the activation and deactivation of circuits at predetermined times.
|  |  | RELAY |  |  |  | RELY | FUNCT50A | RELY | TRUE | In an electrical power system, a relay is a protective device that detects faults and abnormal conditions in the source or circuit and initiates the disconnection of the affected section to prevent damage or hazards. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | SWITCHGEAR AC/DC CONTROL |  |  |  | SGCT | FUNCT50A | SGCT | TRUE | Switchgear AC/DC control refers to the devices and systems used to manage, protect, and control the distribution and flow of alternating current (AC) and direct current (DC) electrical power from a source in an electrical power system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | SWITCHGEAR/SWITCHBOARD |  |  |  | SWGR | FUNCT50A | SWGR | TRUE | Switchgear or a switchboard in an electrical power system refers to an assembly of electrical devices, such as switches, fuses, or circuit breakers, designed to control, protect, and isolate electrical equipment, thus enabling the safe and efficient distribution of electrical power from the source to various loads. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | FEEDER CABLE |  | FDCL | FUNCT50A | SWGR.FDCL | TRUE | A feeder cable in a switchgear or switchboard context is a conduit for transmitting electrical power from the main source or distribution point to various sub-circuits or load centers within an electrical power system.
[5 empty] | SURGE PROTECTOR |  | SGPT | FUNCT50A | SWGR.SGPT | TRUE | A surge protector within switchgear or a switchboard in an electrical power system is a device designed to protect electrical equipment from voltage spikes by redirecting excess voltage to the ground, thereby safeguarding the source and distribution components.
|  |  | UNIT SUBSTATION |  |  |  | USBS | FUNCT50A | USBS | TRUE | A unit substation is a compact, self-contained assembly of electrical components, including transformers, switchgear, and control equipment, used to efficiently step down high-voltage electricity for distribution within a specific area or facility in an electrical power system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | TRANSFORMER |  |  |  | XFMR | FUNCT50A | XFMR | TRUE | In an electrical power system, a transformer is a device that transfers electrical energy between two or more circuits through electromagnetic induction, typically used to increase or decrease voltage levels. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | ELECTRICAL TRANSFER SWITCH |  |  |  | XFRS | FUNCT50A | XFRS | TRUE | An electrical transfer switch is a device that safely transitions a power load between two sources, such as from the main utility grid to a backup generator, ensuring continuous power supply in an electrical power system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | ANNUNCIATOR |  | ANNR | FUNCT50A | XFRS.ANNR | TRUE | An annunciator in an electrical transfer switch system serves as an alert mechanism to indicate the status or faults of the power source, providing visual or audible signals to operators.
|  | DISTRIBUTION |  |  |  |  | B |  |  |  | Assets in a distribution subsystem of an electrical power system refer to the infrastructure and equipment, such as transformers, distribution lines, substations, and switchgear, used to deliver electricity from the transmission system to end-users efficiently and reliably.
|  |  | GROUNDING DEVICE |  |  |  | BDGR | FUNCT50B | BDGR | TRUE | A grounding device in an electrical power distribution system is a component that provides a safe path for electrical current to dissipate into the earth in order to prevent electrical shock, equipment damage, and ensure system stability. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CIRCUIT BREAKER |  |  |  | BRKR | FUNCT50B | BRKR | TRUE | A circuit breaker in an electrical power distribution system is a protective device that automatically interrupts the flow of electricity in a circuit when it detects an overload, short circuit, or fault condition, preventing damage to the system and enhancing safety. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | BUSWAY |  |  |  | BSWY | FUNCT50B | BSWY | TRUE | A busway in an electrical power distribution system is a prefabricated electrical distribution system consisting of busbars enclosed in a protective casing, used to efficiently transmit electrical power across a facility. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | BATTERY |  |  |  | BTRY | FUNCT50B | BTRY | TRUE | In an electrical power system, a battery used for distribution refers to an energy storage device that stores electrical energy and releases it as needed to manage load distribution, improve power quality, and ensure reliability in the grid. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CIRCUIT BREAKER CUBICLE |  |  |  | CBCL | FUNCT50B | CBCL | TRUE | A circuit breaker cubicle in an electrical power distribution system is a specialized enclosure that houses a circuit breaker, providing protection, control, and isolation for electrical circuits within the system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | REGULATOR BANK |  |  |  | CCRB | FUNCT50B | CCRB | TRUE | A regulator bank in an electrical power distribution system is a set of voltage regulators used to maintain a constant voltage level across the distribution network, ensuring stable and reliable power delivery to end users. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CONSTANT CURRENT REGULATOR |  |  |  | CCRL | FUNCT50B | CCRL | TRUE | A constant current regulator in an electrical power distribution system is a device that maintains a consistent current level to electrical loads regardless of fluctuations in voltage or load resistance. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CONTROL INTERFACE |  |  |  | CONI | FUNCT50B | CONI | FALSE | A control interface in an electrical power distribution system is a system or mechanism that allows for the monitoring, management, and regulation of electrical power flow to ensure reliable and efficient operation of the distribution network. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CAPACITOR BANK ASSEMBLY |  |  |  | CPBK | FUNCT50B | CPBK | TRUE | A capacitor bank assembly in an electrical power distribution system is a group of capacitors connected together to improve power factor, voltage stability, and efficiency by providing reactive power compensation. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT50B | DSCS | TRUE | A disconnect switch in an electrical power distribution system is a mechanical device used to isolate a section of the circuit for maintenance or safety purposes, ensuring that the electrical circuit can be completely de-energized. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | FUSE |  | FUSE | FUNCT50B | DSCS.FUSE | TRUE | A fuse in a disconnect switch within an electrical power distribution system is a protective device that interrupts the flow of electricity when a fault or overload occurs, safeguarding the system from damage.
|  |  | ELECTRIC UTILITY METER |  |  |  | ELMT | FUNCT50B | ELMT | FALSE | An electric utility meter is a device that measures the amount of electrical energy consumed by a residence, business, or electrically powered device, crucial for billing and monitoring within the distribution segment of an electrical power system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | END POINT |  | ENDP | FUNCT50B | ELMT.ENDP | FALSE | In the context of an electrical power system, an "end point" in an electric utility meter refers to the final node or device in the distribution network where electrical consumption is measured and recorded for billing and monitoring purposes.
|  |  | ELECTRICAL PANEL |  |  |  | ELPL | FUNCT50B | ELPL | TRUE | An electrical panel, also known as a distribution board, is a component of an electrical power system that divides electrical power into subsidiary circuits while providing a protective fuse or circuit breaker for each circuit in a common enclosure. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | BRANCH CIRCUIT |  | BRCT | FUNCT50B | ELPL.BRCT | TRUE | A branch circuit is a portion of an electrical distribution system that extends from the final overcurrent protection device in the electrical panel to the outlets and devices it powers.
[5 empty] | CIRCUIT BREAKER |  | BRKR | FUNCT50B | ELPL.BRKR | TRUE | A circuit breaker in an electrical panel is a safety device that automatically interrupts the flow of electricity in a distribution system to prevent overloads and short circuits, protecting the electrical network and connected devices from damage.
[5 empty] | CONTACTOR |  | CNTA | FUNCT50B | ELPL.CNTA | TRUE | A contactor in an electrical panel is an electrically-controlled switch used for switching a power circuit, primarily involved in distributing electrical power by controlling the flow of electricity to various circuits within the system.
[6 empty] | PHOTO CELL | PHCL | FUNCT50B | ELPL:PHCL | TRUE | A photocell in an electrical panel is a light-sensitive device used to automatically control lighting or other electrical loads based on the ambient light levels, enhancing energy efficiency in an electrical power distribution system.
[6 empty] | TIME CLOCK | TCLK | FUNCT50B | ELPL:TCLK | TRUE | A time clock in an electrical panel is a device used to automatically control the on/off switching of electrical circuits at pre-set times, enhancing energy efficiency and management within an electrical power distribution system.
|  |  | FEEDER CABLE |  |  |  | FDCL | FUNCT50B | FDCL | TRUE | A feeder cable in an electrical power system is a high-capacity conductor that transmits electricity from a substation to distribution points, where it is then distributed to various loads or consumers. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | MOTOR CONTROL CENTER (MCC) |  |  |  | MCCR | FUNCT50B | MCCR | TRUE | A Motor Control Center (MCC) is an assembly of one or more enclosed sections containing motor control units designed to control, distribute, and protect electrical motors and equipment within an industrial or commercial power distribution system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | MOTOR STARTER |  |  |  | MTST | FUNCT50B | MTST | TRUE | A motor starter is an electrical device used in power distribution systems to safely initiate and control the operation of an electric motor by providing the necessary current and voltage, while offering overload and short-circuit protection. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | RECTIFIER |  |  |  | RCTR | FUNCT50B | RCTR | TRUE | In an electrical power distribution system, a rectifier is a device that converts alternating current (AC) to direct current (DC) to facilitate the distribution and utilization of electrical energy in applications requiring DC. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | REACTOR |  |  |  | RECT | FUNCT50B | RECT | TRUE | In an electrical power distribution system, a reactor is a type of inductor used to limit current, manage power flow, and control voltage levels across the network. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | RELAY |  |  |  | RELY | FUNCT50B | RELY | TRUE | In an electrical power distribution system, a relay is a protective device that detects faults or abnormal conditions and initiates the disconnection of the affected section to prevent damage and ensure safety. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | SWITCHGEAR AC/DC CONTROL |  |  |  | SGCT | FUNCT50B | SGCT | TRUE | Switchgear AC/DC control in an electrical power distribution system refers to the equipment and systems used to control, protect, and isolate electrical circuits and equipment by managing the flow of alternating and direct current within the power grid. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | SWITCHGEAR/SWITCHBOARD |  |  |  | SWGR | FUNCT50B | SWGR | TRUE | Switchgear or switchboard in an electrical power distribution system refers to a centralized assembly of circuit breakers, fuses, and switches designed to protect, control, and isolate electrical equipment to ensure the safe and reliable distribution of electrical power. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | FEEDER CABLE |  | FDCL | FUNCT50B | SWGR.FDCL | TRUE | A feeder cable in a switchgear or switchboard system is a conductor or set of conductors that transmit electrical power from a distribution panel to subpanels or branch circuits, facilitating the distribution of electricity to various areas or loads within an electrical power system.
[5 empty] | SURGE PROTECTOR |  | SGPT | FUNCT50B | SWGR.SGPT | TRUE | A surge protector within a switchgear or switchboard in an electrical power distribution system is a device designed to protect electrical components from voltage spikes by diverting excess voltage to the ground.
|  |  | UNINTERRUPTIBLE POWER SUPPLY (UPS) |  |  |  | UPSY | FUNCT50B | UPSY | TRUE | An Uninterruptible Power Supply (UPS) in an electrical power distribution system is a device that provides emergency power to a load when the input power source, typically the mains, fails, ensuring uninterrupted power and protection for critical equipment. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | TRANSFORMER |  |  |  | XFMR | FUNCT50B | XFMR | TRUE | A transformer in an electrical power distribution system is a device that transfers electrical energy between circuits through electromagnetic induction, typically used to step down voltage levels from transmission lines to levels suitable for consumer use. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | ELECTRICAL TRANSFER SWITCH |  |  |  | XFRS | FUNCT50B | XFRS | TRUE | An electrical transfer switch is a device used in power distribution systems to switch the load between two sources of electrical power, ensuring continuity of power supply during outages or maintenance. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | ANNUNCIATOR |  | ANNR | FUNCT50B | XFRS.ANNR | TRUE | An annunciator in the context of an electrical transfer switch in a power distribution system is a device that provides visual and/or audible alerts to indicate the operational status, faults, or alarms associated with the transfer switch and distribution network.
|  | EMERGENCY |  |  |  |  | C |  |  |  | In an electrical power system, assets in an emergency subsystem refer to critical components and equipment, such as backup generators, uninterruptible power supplies (UPS), and emergency power distribution networks, which ensure the continuity and reliability of power supply during outages or failures.
|  |  | GROUNDING DEVICE |  |  |  | BDGR | FUNCT50C | BDGR | TRUE | A grounding device in an electrical power system emergency is a safety mechanism designed to provide a low-resistance path to earth, preventing electric shock and equipment damage by dissipating excess electrical energy. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CIRCUIT BREAKER |  |  |  | BRKR | FUNCT50C | BRKR | TRUE | A circuit breaker in an electrical power system is a safety device designed to automatically interrupt the flow of electricity in the event of an overload or short circuit, preventing damage and reducing the risk of fires or electrical hazards. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | BUSWAY |  |  |  | BSWY | FUNCT50C | BSWY | TRUE | In the context of an electrical power system, a busway is a critical component designed to safely distribute and manage power during emergency situations, ensuring reliable and efficient connectivity between power sources and electrical loads. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | BATTERY CHARGER |  |  |  | BTCR | FUNCT50C | BTCR | TRUE | A battery charger in an emergency electrical power system is a device that supplies electrical energy to recharge batteries, ensuring they are fully charged and ready to provide backup power during outages or emergencies. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | BATTERY |  |  |  | BTRY | FUNCT50C | BTRY | TRUE | In the context of an electrical power system, a battery is an energy storage device that provides backup power during emergencies to ensure the continuous operation of critical systems when the main power source fails. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CIRCUIT BREAKER CUBICLE |  |  |  | CBCL | FUNCT50C | CBCL | TRUE | A circuit breaker cubicle in an electrical power system is a protective enclosure that houses a circuit breaker, which is used to interrupt power in an emergency to prevent damage or hazards. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CONTROL INTERFACE |  |  |  | CONI | FUNCT50C | CONI | FALSE | A control interface in an electrical power system emergency is a user interface that allows operators to monitor, manage, and respond to critical situations by adjusting system parameters and implementing contingency measures to maintain stability and safety. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT50C | DSCS | TRUE | A disconnect switch in an electrical power system is a safety device used to quickly isolate electrical equipment from the power source during an emergency, ensuring safe maintenance and preventing electrical hazards. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | FUSE |  | FUSE | FUNCT50C | DSCS.FUSE | TRUE | In an electrical power system, a FUSE within a DISCONNECT SWITCH serves as a safety device that interrupts excessive current flow in emergency situations to protect the system from damage.
|  |  | FEEDER CABLE |  |  |  | FDCL | FUNCT50C | FDCL | TRUE | A feeder cable in an emergency electrical power system is a high-capacity conductor used to transmit electricity from a primary power source to a distribution point, ensuring reliable power delivery during emergencies. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | FUEL STORAGE TANK |  |  |  | FTNK | FUNCT50C | FTNK | TRUE | A fuel storage tank in an electrical power system emergency context is a secure container designed to store fuel, typically diesel or natural gas, for backup generators to ensure continuous power supply during outages. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CHECK VALVE |  | CHVL | FUNCT50C | FTNK.CHVL | TRUE | A check valve in a fuel storage tank for an emergency electrical power system is a one-way valve that prevents backflow, ensuring a reliable supply of fuel to the generator during power outages.
[5 empty] | CONTROL VALVE |  | CNTV | FUNCT50C | FTNK.CNTV | TRUE | A control valve in a fuel storage tank system for an electrical power system emergency is a critical device that regulates the flow of fuel to ensure safe and reliable operation during power outages or emergency situations.
[5 empty] | ISOLATION VALVE |  | ISOV | FUNCT50C | FTNK.ISOV | TRUE | An isolation valve in a fuel storage tank within an electrical power system is a critical safety component designed to immediately stop the flow of fuel in emergency situations, helping to prevent spills, leaks, or fires by isolating sections of the fuel line.
[5 empty] | LEAK DETECTION |  | LDET | FUNCT50C | FTNK.LDET | TRUE | Leak detection in fuel storage tanks within an electrical power system emergency context refers to the monitoring and identification of unintended fuel releases to prevent environmental contamination and ensure uninterrupted fuel supply for backup power generation.
[5 empty] | PIPE |  | PIPE | FUNCT50C | FTNK.PIPE | TRUE | In an electrical power system, a PIPE in the context of a fuel storage tank refers to the conduit used to transport emergency fuel from the storage tank to the generator or other essential equipment to ensure continued operation during power outages.
[5 empty] | PUMP |  | PUMP | FUNCT50C | FTNK.PUMP | TRUE | A pump in the context of a fuel storage tank for an emergency electrical power system is a device that transfers fuel from the storage tank to the generator to ensure continuous operation during a power outage.
[5 empty] | VENTS |  | VENT | FUNCT50C | FTNK.VENT | TRUE | Vents in a fuel storage tank for an electrical power system's emergency setup provide a critical safety feature that allows pressure release and prevents explosions by enabling the escape of vapors and gases.
[5 empty] | GAUGE |  | GAUG | FUNCT50C | FTNK.GAUG | TRUE | A gauge in a fuel storage tank related to an emergency electrical power system is an instrument used to measure and indicate the fuel level, ensuring sufficient fuel supply for the system's operation during emergencies.
[6 empty] | FUEL FILTER | FFLT | FUNCT50C | FTNK:FFLT | TRUE | A fuel filter in the context of a fuel storage tank for an emergency electrical power system is a component that removes impurities and contaminants from the fuel before it enters the generator, ensuring reliable and efficient operation during emergencies.
|  |  | GENERATOR |  |  |  | GNRT | FUNCT50C | GNRT | TRUE | In the context of an electrical power system, a generator for emergency use is a backup device that converts mechanical energy into electrical energy to supply power during outages or when the main power source fails. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | BATTERY |  | BTRY | FUNCT50C | GNRT.BTRY | TRUE | In an electrical power system, the battery within a generator serves as a critical component for providing immediate backup power during emergencies, ensuring continuity of electrical supply when the primary power source fails.
[5 empty] | EMERGENCY POWER OFF |  | EMPO | FUNCT50C | GNRT.EMPO | TRUE | Emergency Power Off (EPO) refers to a safety mechanism in an electrical power system that allows for the immediate shutdown of a generator to prevent harm or damage during an emergency situation.
[5 empty] | ANNUNCIATOR |  | ANNR | FUNCT50C | GNRT.ANNR | TRUE | An annunciator in the context of an emergency generator in an electrical power system is a device that provides visual and/or audible alerts to indicate the operational status, alarms, or faults of the generator system.
[5 empty] | LOUVER |  | LOVR | FUNCT50C | GNRT.LOVR | TRUE | A louver in the context of a generator used in an emergency electrical power system is a vented panel or opening designed to allow airflow for cooling and exhaust while protecting the generator from environmental elements.
|  |  | LOAD BANK |  |  |  | LDBK | FUNCT50C | LDBK | TRUE | A load bank is a device used in electrical power systems to simulate the electrical load, allowing for testing and verification of emergency power systems, such as generators or uninterruptible power supplies, by ensuring they can handle the designated load during an actual emergency. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | NEUTRAL GROUND RESISTOR |  |  |  | NGRT | FUNCT50C | NGRT | TRUE | A neutral ground resistor (NGR) in an electrical power system is a device used to limit fault current during a ground fault, enhancing safety and system stability during emergency situations by preventing excessive damage and facilitating fault detection. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | RELAY |  |  |  | RELY | FUNCT50C | RELY | TRUE | In the context of an electrical power system, a relay is a protective device that detects abnormal conditions and triggers circuit breakers to isolate the fault, ensuring system safety and reliability during emergencies. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | SWITCHGEAR AC/DC CONTROL |  |  |  | SGCT | FUNCT50C | SGCT | TRUE | Switchgear AC/DC control in an electrical power system emergency refers to the equipment and mechanisms used to manage and protect the power system by controlling the distribution, disconnection, and fault isolation of AC/DC electrical circuits during emergency situations. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | SWITCHGEAR/SWITCHBOARD |  |  |  | SWGR | FUNCT50C | SWGR | TRUE | In an electrical power system, a switchgear or switchboard for emergency use is an assembly of devices that control, protect, and isolate electrical circuits and equipment to ensure power distribution and system stability during critical situations. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | FEEDER CABLE |  | FDCL | FUNCT50C | SWGR.FDCL | TRUE | A feeder cable in the context of switchgear or switchboard in an emergency electrical power system is a conduit that delivers electricity from the main power source or distribution point to the emergency circuits or loads.
[5 empty] | SURGE PROTECTOR |  | SGPT | FUNCT50C | SWGR.SGPT | TRUE | A surge protector in the context of switchgear or switchboard for emergency electrical power systems is a device designed to shield the system from voltage spikes, ensuring the safe and uninterrupted operation of critical equipment during power fluctuations.
|  |  | TRANSFORMER |  |  |  | XFMR | FUNCT50C | XFMR | TRUE | In the context of an electrical power system, a transformer used in emergency situations is a device that adjusts voltage levels to ensure reliable power distribution and maintain system stability during outages or abnormal conditions. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1

## APPROVAL 0
DATE | 11/29/2023
REVISION | 0
DEPARTMENT | NAMES | APPROVAL
EAM | Maria King, Sumera Ahmed, Rich Trifan, Amin Elsherif, Robert Kumapley | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Darren Kovacs | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 1
DATE | 10/22/2024
REVISION | 1
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Javier Rocha | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 2
DATE | 11/25/2024
REVISION | 2
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 3
DATE | 01/31/2025
REVISION | 3
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Javier Rocha | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False