## DIST19
[11 empty] | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PERSON GROUP | DEPT/SVC | MAINTAINED BY | OWNED BY | OPERATED BY | IS PRIMARY? | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | PURCHASE PRICE | REPLACEMENT COST | BUDGET COST | YEAR_TO_DATE_COST | TOTAL COST | CRITICALITY | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | ASSET TYPE | FAILURE CLASS | GL ACCOUNT | ADDRESS CODE | MANUFACTURER | MODEL | SERIAL # | VENDOR | INSTALLATION DATE | ESTIMATED EOL | WARRANTY EXPIRATION DATE | PFA CATEGORY | REQUIRES PFA REPORTING | REPAIR LIMIT (%) | CERTIFICATION ON FILE? | DATE COMMISSIONED | DATE MANUFACTURED | DATE PURCHASED | GRANT NUMBER | GRANT SOURCE | DIRECTION | LRM | START MEASURE | END MEASURE
HIERARCHY | SYSTEM | ASSET | CHILDASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEMCODE | COMPONENTCODE | FLOW ENABLED | DEFINITION | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R
DIST | FUEL SUPPLY |  |  |  |  | 19 |  |  |  | Site/facility-wide systems & equipment between & serving multiple Maintenance Objects that pertain to the delivery, storage and dispensing of fuel for various vehicular, transportation and fuel-consuming engine applications.
|  | EFSO VALVE |  |  |  | EFSO | DIST19X | EFSO | FALSE | The EFSO (Emergency Fuel Shut-Off) valve is a critical component in a fuel supply system designed to quickly stop the flow of fuel in case of an emergency to prevent leaks or fires. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | HIGH POINT VENT |  |  |  | HPV | DIST19X | HPV | FALSE | A high point vent in a fuel supply system is a component designed to release trapped air from the highest point in the system to ensure efficient fuel flow and prevent airlock issues. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | COVER | COVR | DIST19X | HPV:COVR | FALSE | In the context of a fuel supply system, "COVER" as part of "HIGH POINT VENT" typically refers to a protective enclosure or cap that safeguards the venting mechanism at the highest point of the system, preventing contamination or obstruction while allowing for the safe release of air or vapor.
|  | ISOLATION VALVE |  |  |  | ISOV | DIST19X | ISOV | FALSE | An isolation valve in a fuel supply system is a valve used to stop the flow of fuel to a specific section of the system for maintenance, safety, or operational purposes. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | LOW POINT DRAIN |  |  |  | LPD | DIST19X | LPD | FALSE | A low point drain in a fuel supply system is a drainage point located at the lowest part of the system, used to remove water, sediment, or contaminants that settle at the bottom. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | COVER | COVR | DIST19X | LPD:COVR | FALSE | A COVER in the context of a LOW POINT DRAIN in a fuel supply system is a protective component that seals the drain opening to prevent contamination or leakage when the drain is not in use.
|  | PIPE (AIRCRAFT FUEL) |  |  |  | PACF | DIST19X | PACF | FALSE | In the context of a fuel supply system, "PIPE (AIRCRAFT FUEL) as it pertains to N/A" typically indicates that a specific type of aircraft fuel piping or conduit is not applicable or not used in the given system or setup. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | CATHODIC PROTECTION |  | CATH | DIST19X | PACF.CATH | FALSE | Cathodic protection in an aircraft fuel supply system involves using a sacrificial anode to prevent corrosion of the metal fuel pipes, although it is typically not applicable (N/A) due to the use of non-metallic or corrosion-resistant materials in modern systems.
|  |  |  | GAS VENT VALVE |  | GVTV | DIST19X | PACF.GVTV | FALSE | A gas vent valve in an aircraft fuel supply system is a component designed to release trapped air or gas from the fuel pipeline, ensuring proper fuel flow and preventing pressure build-up.
|  |  |  | HIGH GAS PRESSURE SWITCH |  | HGPS | DIST19X | PACF.HGPS | FALSE | A high gas pressure switch in an aircraft fuel supply system is a safety device that monitors and ensures the pressure within the fuel piping does not exceed predetermined limits to prevent potential hazards.
|  |  |  | LEAK DETECTION |  | LDET | DIST19X | PACF.LDET | FALSE | Leak detection in an aircraft fuel supply system refers to the process of identifying and locating unintended fuel escapes or leaks from pipelines to ensure safety and operational integrity.
|  |  |  | STRAINER |  | STRN | DIST19X | PACF.STRN | FALSE | A strainer in an aircraft fuel supply system is a component that filters out debris and contaminants from the fuel before it enters the engine, ensuring clean fuel delivery and preventing blockages.
|  | PIPE (NATURAL GAS) |  |  |  | PNTG | DIST19X | PNTG | FALSE | In a fuel supply system, a PIPE (NATURAL GAS) refers to a conduit or network of conduits used to transport natural gas from production or storage facilities to distribution points or end-users. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | GAS VENT VALVE |  | GVTV | DIST19X | PNTG.GVTV | FALSE | A gas vent valve in a natural gas fuel supply system is a safety component used to control and release excess pressure or gas from the system to prevent overpressurization or unwanted buildup.
|  |  |  | STRAINER |  | STRN | DIST19X | PNTG.STRN | FALSE | A strainer in a natural gas pipeline within a fuel supply system is a device used to filter out debris and contaminants from the gas flow, ensuring clean and efficient operation.
|  | SURGE SUPPRESSION TANK |  |  |  | SSTK | DIST19X | SSTK | FALSE | A surge suppression tank in a fuel supply system is a device designed to absorb and mitigate pressure fluctuations or surges to protect the system from potential damage and ensure steady fuel flow. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1

## APPROVAL 0
DATE | 11/25/2024
REVISION | 0
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False