## DIST12
[11 empty] | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PERSON GROUP | DEPT/SVC | MAINTAINED BY | OWNED BY | OPERATED BY | IS PRIMARY? | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | PURCHASE PRICE | REPLACEMENT COST | BUDGET COST | YEAR_TO_DATE_COST | TOTAL COST | CRITICALITY | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | ASSET TYPE | FAILURE CLASS | GL ACCOUNT | ADDRESS CODE | MANUFACTURER | MODEL | SERIAL # | VENDOR | INSTALLATION DATE | ESTIMATED EOL | WARRANTY EXPIRATION DATE | PFA CATEGORY | REQUIRES PFA REPORTING | REPAIR LIMIT (%) | CERTIFICATION ON FILE? | DATE COMMISSIONED | DATE MANUFACTURED | DATE PURCHASED | GRANT NUMBER | GRANT SOURCE | DIRECTION | LRM | START MEASURE | END MEASURE
HIERARCHY | SYSTEM | ASSET | CHILDASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEMCODE | COMPONENTCODE | FLOW ENABLED | DEFINITION | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R
DIST | CHILLED WATER |  |  |  |  | 12 |  |  |  | Site/Facility-wide systems & equipment between & serving multiple Maintenance Objects that pertain to chiller plants or chilled water systems used for large-scale cooling and conditioning of medium to large-sized buildings or terminals and the absoprtion of heat energy from those buildings or processes.
|  | CONTROL VALVE |  |  |  | CNTV | DIST12X | CNTV | FALSE | A control valve in a chilled water system is a device used to regulate the flow of chilled water to maintain desired temperature and pressure conditions within the HVAC system. Distributed assets, components, and spare parts exist outside and in between maintenance objects. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | ACTUATOR |  | ACTR | DIST12X | CNTV.ACTR | FALSE | An actuator in a chilled water system control valve is a device that mechanically moves the valve to regulate the flow of chilled water in response to a control signal. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  | CONTROL INTERFACE |  |  |  | CONI | DIST12X | CONI | FALSE | A control interface in a chilled water system refers to the user-accessible platform or system that enables monitoring and adjustment of the system's operational parameters, such as temperature, flow rate, and pressure, to ensure efficient and effective cooling performance. The control interface interacts with the BMS/SCADA and acts as a point of demarcation between those systems. Distributed assets, components, and spare parts exist outside and in between maintenance objects. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | ISOLATION VALVE |  |  |  | ISOV | DIST12X | ISOV | FALSE | An isolation valve in a chilled water system is a device used to stop or regulate the flow of water within specific sections of the system for maintenance or operational control. Distributed assets, components, and spare parts exist outside and in between maintenance objects. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | PIPE |  |  |  | PIPE | DIST12X | PIPE | FALSE | In a chilled water system, a PIPE is a conduit used to transport chilled water from the chiller to various parts of a building for cooling purposes and then return the warmed water back to the chiller for re-cooling. Distributed assets, components, and spare parts exist outside and in between maintenance objects. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | AIR ELIMINATOR |  | AIRE | DIST12X | PIPE.AIRE | FALSE | An air eliminator in a chilled water system is a device installed in piping to automatically remove trapped air, preventing airlocks and ensuring efficient system operation. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | AIR VENT |  | AIRV | DIST12X | PIPE.AIRV | FALSE | An air vent in a chilled water system is a device installed on piping to automatically release trapped air, ensuring efficient operation and preventing airlock. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | DRAIN VALVE |  | DRNV | DIST12X | PIPE.DRNV | FALSE | A drain valve in a chilled water system is a device installed on the piping network that allows for the controlled release of water from the system for maintenance, drainage, or emergency purposes. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | FLOW METER |  | FLWM | DIST12X | PIPE.FLWM | FALSE | A flow meter in a chilled water system is a device installed within the piping to accurately measure and monitor the rate of water flow, ensuring efficient distribution and temperature regulation throughout the cooling network. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | GAUGE |  | GAUG | DIST12X | PIPE.GAUG | FALSE | In the context of a chilled water system, a gauge on a pipe is an instrument used to measure and display parameters such as pressure or temperature to ensure proper system operation and maintenance. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | INSULATION |  | INSL | DIST12X | PIPE.INSL | FALSE | Insulation in a chilled water system's piping is a protective layer that minimizes thermal energy loss and prevents condensation by maintaining the cold temperature of the water as it travels through the pipes. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | LEAK DETECTION |  | LDET | DIST12X | PIPE.LDET | FALSE | Leak detection in a chilled water system involves monitoring and identifying unintended water loss or breaches in the piping network to prevent damage, maintain efficiency, and ensure system integrity. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | PRESSURE RELIEF VALVE |  | PRRV | DIST12X | PIPE.PRRV | FALSE | A pressure relief valve in a chilled water system is a safety device that automatically releases excess pressure from the piping to prevent system damage or failure. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | STRAINER |  | STRN | DIST12X | PIPE.STRN | FALSE | A strainer in a chilled water system is a device installed in the piping to remove debris and particulate matter from the water, thereby protecting the downstream equipment and ensuring efficient system operation. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | THERMOMETER |  | THER | DIST12X | PIPE.THER | FALSE | In a chilled water system, a thermometer installed as part of the pipe measures the temperature of the water to ensure it is being effectively cooled and circulated. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | VIBRATION ELIMINATOR |  | VIBR | DIST12X | PIPE.VIBR | FALSE | A vibration eliminator in a chilled water piping system is a flexible connector designed to absorb and reduce vibrations and noise transferred from mechanical equipment, preventing damage and ensuring system stability. Distributed assets, components, and spare parts exist outside and in between maintenance objects.

## APPROVAL 0
DATE | 11/25/2024
REVISION | 0
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False