## DIST12
[11 empty] | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PERSON GROUP | DEPT/SVC | MAINTAINED BY | OWNED BY | OPERATED BY | IS PRIMARY? | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | PURCHASE PRICE | REPLACEMENT COST | BUDGET COST | YEAR_TO_DATE_COST | TOTAL COST | CRITICALITY | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | ASSET TYPE | FAILURE CLASS | GL ACCOUNT | ADDRESS CODE | MANUFACTURER | MODEL | SERIAL # | VENDOR | INSTALLATION DATE | ESTIMATED EOL | WARRANTY EXPIRATION DATE | PFA CATEGORY | REQUIRES PFA REPORTING | REPAIR LIMIT (%) | CERTIFICATION ON FILE? | DATE COMMISSIONED | DATE MANUFACTURED | DATE PURCHASED | GRANT NUMBER | GRANT SOURCE | DIRECTION | LRM | START MEASURE | END MEASURE
HIERARCHY | SYSTEM | ASSET | CHILDASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEMCODE | COMPONENTCODE | FLOW ENABLED | DEFINITION | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R
DIST | CHILLED WATER |  |  |  |  | 12 |  |  |  | Site/Facility-wide systems & equipment between & serving multiple Maintenance Objects that pertain to chiller plants or chilled water systems used for large-scale cooling and conditioning of medium to large-sized buildings or terminals and the absoprtion of heat energy from those buildings or processes.
|  | CONTROL VALVE |  |  |  | CNTV | DIST12X | CNTV | FALSE | A control valve in a chilled water system is a device used to regulate the flow of chilled water to maintain desired temperature and pressure conditions within the system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | ACTUATOR |  | ACTR | DIST12X | CNTV.ACTR | FALSE | An actuator in a control valve within a chilled water system is a device that receives a control signal to adjust the valve position, thereby regulating the flow of chilled water to maintain desired temperature and flow conditions.
|  | CONTROL INTERFACE |  |  |  | CONI | DIST12X | CONI | FALSE | In a chilled water system, a control interface refers to the hardware and software components that enable communication and coordination between various system components, such as valves, pumps, and sensors, to maintain optimal cooling and efficiency. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | ISOLATION VALVE |  |  |  | ISOV | DIST12X | ISOV | FALSE | An isolation valve in a chilled water system is a device used to stop the flow of water to a specific section of the system for maintenance or repair purposes without affecting the rest of the system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | PIPE |  |  |  | PIPE | DIST12X | PIPE | FALSE | In a chilled water system, "PIPE" refers to the conduits that transport chilled water throughout the system for cooling purposes, although "N/A" suggests that specific pipe details may not be applicable or specified in this context. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | AIR ELIMINATOR |  | AIRE | DIST12X | PIPE.AIRE | FALSE | An air eliminator in a chilled water system is a device installed in piping to remove trapped air, thereby enhancing system efficiency and preventing issues like air locks and corrosion.
|  |  |  | AIR VENT |  | AIRV | DIST12X | PIPE.AIRV | FALSE | An air vent in a chilled water system pipe is a device designed to release trapped air to maintain system efficiency and prevent air-related issues.
|  |  |  | DRAIN VALVE |  | DRNV | DIST12X | PIPE.DRNV | FALSE | A drain valve in a chilled water system pipeline is a component used to remove water from the system for maintenance, repair, or prevention of freezing when the system is not in use.
|  |  |  | FLOW METER |  | FLWM | DIST12X | PIPE.FLWM | FALSE | A flow meter in a chilled water system is a device installed in the piping to measure and monitor the rate of flow of chilled water to ensure optimal performance and efficiency.
|  |  |  | GAUGE |  | GAUG | DIST12X | PIPE.GAUG | FALSE | In a chilled water system, the gauge refers to the instrument used to measure pressure or temperature within the piping network to ensure optimal system performance.
|  |  |  | INSULATION |  | INSL | DIST12X | PIPE.INSL | FALSE | Insulation in a chilled water system's piping is a material layer that minimizes heat gain and prevents condensation, maintaining energy efficiency and protecting against moisture-related issues.
|  |  |  | LEAK DETECTION |  | LDET | DIST12X | PIPE.LDET | FALSE | Leak detection in a chilled water system involves identifying and locating unintended water escapes or losses from pipes to ensure system efficiency and prevent damage.
|  |  |  | PRESSURE RELIEF VALVE |  | PRRV | DIST12X | PIPE.PRRV | FALSE | A pressure relief valve in a chilled water system is a safety device that automatically releases excess pressure from the piping to prevent potential equipment damage or system failure.
|  |  |  | STRAINER |  | STRN | DIST12X | PIPE.STRN | FALSE | A strainer in a chilled water system is a device installed in the piping to remove debris and protect downstream equipment from clogging or damage.
|  |  |  | THERMOMETER |  | THER | DIST12X | PIPE.THER | FALSE | A thermometer in a chilled water system PIPE setup is a device used to measure and display the temperature of the water flowing through the pipe, often crucial for monitoring and maintaining the system's cooling efficiency.
|  |  |  | VIBRATION ELIMINATOR |  | VIBR | DIST12X | PIPE.VIBR | FALSE | A vibration eliminator in a chilled water system is a flexible connector installed in piping to absorb and reduce vibrations transmitted from mechanical equipment, preventing stress and damage to the piping and connected components.

## APPROVAL 0
DATE | 11/25/2024
REVISION | 0
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False