## DIST12
[11 empty] | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PERSON GROUP | DEPT/SVC | MAINTAINED BY | OWNED BY | OPERATED BY | IS PRIMARY? | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | PURCHASE PRICE | REPLACEMENT COST | BUDGET COST | YEAR_TO_DATE_COST | TOTAL COST | CRITICALITY | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | ASSET TYPE | FAILURE CLASS | GL ACCOUNT | ADDRESS CODE | MANUFACTURER | MODEL | SERIAL # | VENDOR | INSTALLATION DATE | ESTIMATED EOL | WARRANTY EXPIRATION DATE | PFA CATEGORY | REQUIRES PFA REPORTING | REPAIR LIMIT (%) | CERTIFICATION ON FILE? | DATE COMMISSIONED | DATE MANUFACTURED | DATE PURCHASED | GRANT NUMBER | GRANT SOURCE | DIRECTION | LRM | START MEASURE | END MEASURE
HIERARCHY | SYSTEM | ASSET | CHILDASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEMCODE | COMPONENTCODE | FLOW ENABLED | DEFINITION | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R
DIST | CHILLED WATER |  |  |  |  | 12 |  |  |  | Site/Facility-wide systems & equipment between & serving multiple Maintenance Objects that pertain to chiller plants or chilled water systems used for large-scale cooling and conditioning of medium to large-sized buildings or terminals and the absoprtion of heat energy from those buildings or processes.
|  | CONTROL VALVE |  |  |  | CNTV | DIST12X | CNTV | FALSE | A control valve in a chilled water system is a device used to regulate the flow of chilled water to maintain desired temperature and pressure conditions within the HVAC system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | ACTUATOR |  | ACTR | DIST12X | CNTV.ACTR | FALSE | An actuator in a chilled water system control valve is a device that mechanically moves the valve to regulate the flow of chilled water in response to a control signal.
|  | CONTROL INTERFACE |  |  |  | CONI | DIST12X | CONI | FALSE | A control interface in a chilled water system refers to the user-accessible platform or system that enables monitoring and adjustment of the system's operational parameters, such as temperature, flow rate, and pressure, to ensure efficient and effective cooling performance. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | ISOLATION VALVE |  |  |  | ISOV | DIST12X | ISOV | FALSE | An isolation valve in a chilled water system is a device used to stop or regulate the flow of water within specific sections of the system for maintenance or operational control. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | PIPE |  |  |  | PIPE | DIST12X | PIPE | FALSE | In a chilled water system, a PIPE is a conduit used to transport chilled water from the chiller to various parts of a building for cooling purposes and then return the warmed water back to the chiller for re-cooling. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | AIR ELIMINATOR |  | AIRE | DIST12X | PIPE.AIRE | FALSE | An air eliminator in a chilled water system is a device installed in piping to automatically remove trapped air, preventing airlocks and ensuring efficient system operation.
|  |  |  | AIR VENT |  | AIRV | DIST12X | PIPE.AIRV | FALSE | An air vent in a chilled water system is a device installed on piping to automatically release trapped air, ensuring efficient operation and preventing airlock.
|  |  |  | DRAIN VALVE |  | DRNV | DIST12X | PIPE.DRNV | FALSE | A drain valve in a chilled water system is a device installed on the piping network that allows for the controlled release of water from the system for maintenance, drainage, or emergency purposes.
|  |  |  | FLOW METER |  | FLWM | DIST12X | PIPE.FLWM | FALSE | A flow meter in a chilled water system is a device installed within the piping to accurately measure and monitor the rate of water flow, ensuring efficient distribution and temperature regulation throughout the cooling network.
|  |  |  | GAUGE |  | GAUG | DIST12X | PIPE.GAUG | FALSE | In the context of a chilled water system, a gauge on a pipe is an instrument used to measure and display parameters such as pressure or temperature to ensure proper system operation and maintenance.
|  |  |  | INSULATION |  | INSL | DIST12X | PIPE.INSL | FALSE | Insulation in a chilled water system's piping is a protective layer that minimizes thermal energy loss and prevents condensation by maintaining the cold temperature of the water as it travels through the pipes.
|  |  |  | LEAK DETECTION |  | LDET | DIST12X | PIPE.LDET | FALSE | Leak detection in a chilled water system involves monitoring and identifying unintended water loss or breaches in the piping network to prevent damage, maintain efficiency, and ensure system integrity.
|  |  |  | PRESSURE RELIEF VALVE |  | PRRV | DIST12X | PIPE.PRRV | FALSE | A pressure relief valve in a chilled water system is a safety device that automatically releases excess pressure from the piping to prevent system damage or failure.
|  |  |  | STRAINER |  | STRN | DIST12X | PIPE.STRN | FALSE | A strainer in a chilled water system is a device installed in the piping to remove debris and particulate matter from the water, thereby protecting the downstream equipment and ensuring efficient system operation.
|  |  |  | THERMOMETER |  | THER | DIST12X | PIPE.THER | FALSE | In a chilled water system, a thermometer installed as part of the pipe measures the temperature of the water to ensure it is being effectively cooled and circulated.
|  |  |  | VIBRATION ELIMINATOR |  | VIBR | DIST12X | PIPE.VIBR | FALSE | A vibration eliminator in a chilled water piping system is a flexible connector designed to absorb and reduce vibrations and noise transferred from mechanical equipment, preventing damage and ensuring system stability.

## APPROVAL 0
DATE | 11/25/2024
REVISION | 0
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False