## DIST13
[11 empty] | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PERSON GROUP | DEPT/SVC | MAINTAINED BY | OWNED BY | OPERATED BY | IS PRIMARY? | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | PURCHASE PRICE | REPLACEMENT COST | BUDGET COST | YEAR_TO_DATE_COST | TOTAL COST | CRITICALITY | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | ASSET TYPE | FAILURE CLASS | GL ACCOUNT | ADDRESS CODE | MANUFACTURER | MODEL | SERIAL # | VENDOR | INSTALLATION DATE | ESTIMATED EOL | WARRANTY EXPIRATION DATE | PFA CATEGORY | REQUIRES PFA REPORTING | REPAIR LIMIT (%) | CERTIFICATION ON FILE? | DATE COMMISSIONED | DATE MANUFACTURED | DATE PURCHASED | GRANT NUMBER | GRANT SOURCE | DIRECTION | LRM | START MEASURE | END MEASURE
HIERARCHY | SYSTEM | ASSET | CHILDASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEMCODE | COMPONENTCODE | FLOW ENABLED | DEFINITION | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R
DIST | HOT WATER (THERMAL) |  |  |  |  | 13 |  |  |  | Site/facility-wide systems & equipment between & serving multiple Maintenance Objects that pertain to hot water plants serving a campus or hot water systems used for large-scale heating of medium to large-sized buildings or terminals.
|  | CONTROL VALVE |  |  |  | CNTV | DIST13X | CNTV | FALSE | A control valve in a hot water (thermal) system is a device that regulates the flow and pressure of hot water to maintain desired temperature and flow conditions within the system. Distributed assets, components, and spare parts exist outside and in between maintenance objects. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | ACTUATOR |  | ACTR | DIST13X | CNTV.ACTR | FALSE | An actuator in a control valve for a hot water thermal system is a mechanical device that adjusts the valve position to regulate water flow and temperature in response to a control signal. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  | CONTROL INTERFACE |  |  |  | CONI | DIST13X | CONI | FALSE | A control interface for a hot water (thermal) system is a user interface device that allows the user to monitor and adjust the temperature, flow, and operation of the system to maintain desired heating conditions. The control interface interacts with the BMS/SCADA and acts as a point of demarcation between those systems. Distributed assets, components, and spare parts exist outside and in between maintenance objects. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | ISOLATION VALVE |  |  |  | ISOV | DIST13X | ISOV | FALSE | An isolation valve in a hot water (thermal) system is a device used to stop the flow of water or other fluids to a specific section of the system for maintenance or emergency purposes without affecting the entire system. Distributed assets, components, and spare parts exist outside and in between maintenance objects. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | PIPE |  |  |  | PIPE | DIST13X | PIPE | FALSE | In a hot water thermal system, a pipe is a conduit that transports heated water from the heat source (such as a boiler) to one or more maintenance objects. Distributed assets, components, and spare parts exist outside and in between maintenance objects. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | AIR ELIMINATOR |  | AIRE | DIST13X | PIPE.AIRE | FALSE | An air eliminator is a device integrated into a hot water thermal system's piping to remove trapped air, ensuring efficient circulation and preventing air-related issues like noise and reduced heat transfer. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | AIR VENT |  | AIRV | DIST13X | PIPE.AIRV | FALSE | An air vent in a hot water thermal system is a component installed in the piping to automatically expel trapped air, ensuring efficient circulation and preventing airlocks. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | DRAIN VALVE |  | DRNV | DIST13X | PIPE.DRNV | FALSE | A drain valve in a hot water thermal system is a component used to remove water from the system for maintenance, repairs, or seasonal shutdowns. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | FLOW METER |  | FLWM | DIST13X | PIPE.FLWM | FALSE | A flow meter in a hot water (thermal) system is a device installed within the piping to measure and monitor the rate of water flow, ensuring efficient system operation and energy management. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | GAUGE |  | GAUG | DIST13X | PIPE.GAUG | FALSE | In the context of a hot water (thermal) system, a gauge is an instrument used to measure and display the pressure or temperature of the water within the pipes. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | INSULATION |  | INSL | DIST13X | PIPE.INSL | FALSE | Insulation in a hot water thermal system refers to the material wrapped around pipes to reduce heat loss, maintain water temperature, and improve energy efficiency. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | LEAK DETECTION |  | LDET | DIST13X | PIPE.LDET | FALSE | Leak detection in a hot water (thermal) system involves identifying and locating unintended water escape points within the piping infrastructure to prevent water loss, damage, and inefficiency. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | PRESSURE RELIEF VALVE |  | PRRV | DIST13X | PIPE.PRRV | FALSE | A pressure relief valve in a hot water (thermal) system is a safety device designed to automatically release excess pressure to prevent potential damage or failure of the piping and components. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | STRAINER |  | STRN | DIST13X | PIPE.STRN | FALSE | A strainer in a hot water (thermal) system is a device installed in a pipe to remove debris and particles from the water, protecting equipment and ensuring efficient system operation. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | THERMOMETER |  | THER | DIST13X | PIPE.THER | FALSE | In a hot water thermal system, a thermometer is a device integrated into the piping to measure and display the temperature of the water flowing through the pipes. Distributed assets, components, and spare parts exist outside and in between maintenance objects.
|  |  |  | VIBRATION ELIMINATOR |  | VIBR | DIST13X | PIPE.VIBR | FALSE | A vibration eliminator in a hot water thermal system is a flexible component installed in piping to absorb and reduce vibrations and noise caused by thermal expansion, pump operation, or flow turbulence. Distributed assets, components, and spare parts exist outside and in between maintenance objects.

## APPROVAL 0
DATE | 11/25/2024
REVISION | 0
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False