## FUNCT08
[12 empty] | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PERSON GROUP | DEPT/SVC | MAINTAINED BY | OWNED BY | OPERATED BY | IS PRIMARY? | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | PURCHASE PRICE | REPLACEMENT COST | BUDGET COST | YEAR_TO_DATE_COST | TOTAL COST | CRITICALITY | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | ASSET TYPE | FAILURE CLASS | GL ACCOUNT | ADDRESS CODE | MANUFACTURER | MODEL | SERIAL # | VENDOR | INSTALLATION DATE | ESTIMATED EOL | WARRANTY EXPIRATION DATE | PFA CATEGORY | REQUIRES PFA REPORTING | REPAIR LIMIT (%) | CERTIFICATION ON FILE? | DATE COMMISSIONED | DATE MANUFACTURED | DATE PURCHASED | GRANT NUMBER | GRANT SOURCE | DIRECTION | LRM | START MEASURE | END MEASURE
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILDASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEMCODE | COMPONENTCODE | FLOW ENABLED | DEFINITION | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R
FUNCT | SANITARY WASTE | [5 empty] | 08 |  |  |  | Maintenance Object specific systems & equipment pertaining to the collection, storage and distribution of liquid or solid wastes originating solely from human activities. Not intended for industrial waste (see SOLID WASTE).
|  | COLLECTION |  |  |  |  | A |  |  |  | In a sanitary waste system, assets in a collection subsystem refer to the components and infrastructure, such as pipelines, manholes, pumps, and lift stations, used to gather and transport wastewater from various sources to a treatment facility.
|  |  | CHECK VALVE |  |  |  | CHVL | FUNCT08A | CHVL | TRUE | A check valve in a sanitary waste system is a device that allows wastewater to flow in one direction only, preventing backflow and potential contamination of the system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT08A | DSCS | TRUE | A disconnect switch in a sanitary waste collection system is a device used to safely isolate and de-energize electrical equipment associated with the system for maintenance or emergency purposes. A disconnect switch can be fused or unfused. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT08A | ISOV | TRUE | An isolation valve in a sanitary waste system is a valve that can be used to stop the flow of wastewater in a specific section of the collection system for maintenance, repair, or emergency purposes. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PIPE |  |  |  | PIPE | FUNCT08A | PIPE | TRUE | In a sanitary waste system, a PIPE for COLLECTION refers to a conduit specifically designed to transport wastewater and sewage from buildings to treatment facilities or disposal systems. Only one pipe asset is required per instance. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT08A | PIPE.DRNV | TRUE | A drain valve in the context of a sanitary waste system is a device installed on a pipe that allows for the controlled release or drainage of accumulated waste or fluids from the collection system for maintenance or disposal.
[5 empty] | FLOW METER |  | FLWM | FUNCT08A | PIPE.FLWM | TRUE | A flow meter in a sanitary waste system is a device installed within a pipe to measure and monitor the rate and volume of wastewater being transported for collection and treatment.
[5 empty] | FREEZE PROTECTION |  | FZPT | FUNCT08A | PIPE.FZPT | TRUE | Freeze protection in the context of pipes within a sanitary waste collection system refers to measures taken to prevent the pipes from freezing and subsequently cracking or bursting, ensuring the continuous and efficient flow of waste in cold conditions. Heat trace is an example of freeze protection for pipes.
[5 empty] | GAUGE |  | GAUG | FUNCT08A | PIPE.GAUG | TRUE | A gauge in a wastewater pipe measures parameters like flow rate, pressure, or level to monitor and manage the system's performance effectively.
[5 empty] | INSULATION |  | INSL | FUNCT08A | PIPE.INSL | TRUE | Insulation in the context of pipes within a sanitary waste system refers to the material applied around pipes to prevent heat loss, condensation, or freezing, ensuring efficient and reliable collection and transport of waste.
[5 empty] | PH METER |  | PHMR | FUNCT08A | PIPE.PHMR | TRUE | A pH meter in the context of a sanitary waste system is an instrument integrated into piping to monitor and measure the acidity or alkalinity of waste water collected and conveyed for treatment.
[5 empty] | VIBRATION ELIMINATOR |  | VIBR | FUNCT08A | PIPE.VIBR | TRUE | A vibration eliminator in a sanitary waste system's piping is a device designed to absorb and dampen vibrations, preventing transmission through the pipes and reducing noise and potential damage to the system.
|  |  | TRITURATOR |  |  |  | TRTR | FUNCT08A | TRTR | TRUE | A triturator in a sanitary waste system is a device that grinds solid waste into smaller particles, facilitating its collection and transport through the system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | PUMP |  | PUMP | FUNCT08A | TRTR.PUMP | TRUE | In the context of a sanitary waste system, a pump within a triturator functions to move collected waste material through the system for further processing or disposal.
[5 empty] | CONTROLS |  | CNTL | FUNCT08A | TRTR.CNTL | TRUE | Controls in a triturator within a sanitary waste system refer to the mechanisms and instruments that regulate the operation, monitoring, and management of waste collection and processing to ensure efficient and hygienic handling.
[5 empty] | FRESH WATER FEED |  | FWF | FUNCT08A | TRTR.FWF | TRUE | Fresh water feed in the context of a triturator in a sanitary waste system refers to the supply of clean water that assists in the grinding and dilution of waste materials to facilitate efficient collection and processing.
[5 empty] | HYDRAULIC UNIT |  | HYDU | FUNCT08A | TRTR.HYDU | TRUE | A hydraulic unit in a triturator as part of a sanitary waste system is a component that provides the necessary fluid pressure and flow to power the grinding and processing of waste materials for efficient collection and disposal.
[6 empty] | GRINDER | GRND | FUNCT08A | TRTR:GRND | TRUE | In a sanitary waste system, a grinder, as part of a triturator, is a device that reduces solid waste into smaller particles to facilitate efficient collection and processing.
|  | DISTRIBUTION |  |  |  |  | B |  |  |  | In a sanitary waste system, assets in a distribution subsystem refer to the network of pipes, pumps, valves, and other components responsible for transporting wastewater from its source to treatment or disposal facilities.
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT08B | DSCS | TRUE | A disconnect switch in a sanitary waste system is a safety device used to quickly isolate and cut off power to equipment, such as pumps or motors, to ensure safe maintenance and emergency handling. A disconnect switch can be fused or unfused. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT08B | ISOV | TRUE | An isolation valve in a sanitary waste distribution system is a device used to control or shut off the flow of wastewater in specific sections of the piping network for maintenance, repair, or emergency purposes. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | LIFT STATION |  |  |  | LFTS | FUNCT08B | LFTS | TRUE | A lift station in a sanitary waste system is a facility that pumps wastewater from lower to higher elevations to ensure the efficient distribution of sewage through the collection system when gravity flow is insufficient. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CONTROLS |  | CNTL | FUNCT08B | LFTS.CNTL | TRUE | In a sanitary waste system, "controls" in a lift station refer to the mechanisms and systems that monitor and regulate the operation of pumps and other equipment to ensure efficient and safe distribution of wastewater to treatment facilities.
[5 empty] | GAS DETECTION SYSTEM |  | GDS | FUNCT08B | LFTS.GDS | TRUE | A gas detection system in a lift station within a sanitary waste distribution system is a safety mechanism designed to monitor and alert for the presence of hazardous gases, such as methane or hydrogen sulfide, to prevent dangerous accumulations and ensure safe operation and maintenance.
[5 empty] | HATCH DOOR |  | HADR | FUNCT08B | LFTS.HADR | TRUE | A hatch door in a lift station of a sanitary waste system is an access point that allows for maintenance and inspection of the pumps and equipment responsible for elevating wastewater to higher elevations for distribution to treatment facilities.
[5 empty] | HOIST |  | HOST | FUNCT08B | LFTS.HOST | TRUE | A hoist in a lift station within a sanitary waste system is a mechanical device used to elevate wastewater from lower elevations to higher elevations for further processing or distribution.
[5 empty] | LEVEL ALARM |  | LALM | FUNCT08B | LFTS.LALM | TRUE | A level alarm in a lift station within a sanitary waste system alerts operators when wastewater reaches a critical high or low point, indicating potential issues like overflow or pump failure.
[5 empty] | LIGHT FIXTURE |  | LFIXT | FUNCT08B | LFTS.LFIXT | TRUE | A light fixture on a lift station of a sanitary waste system provides essential illumination for safe operation of that asset.
[5 empty] | MOTOR |  | MOTR | FUNCT08B | LFTS.MOTR | TRUE | In a sanitary waste system, a motor in a lift station powers pumps that elevate wastewater, enabling its distribution through the sewage network to treatment facilities.
[5 empty] | PUMP |  | PUMP | FUNCT08B | LFTS.PUMP | TRUE | In a sanitary waste system, a pump in a lift station is a mechanical device that elevates wastewater from lower to higher elevations, facilitating its distribution through the sewer network.
[5 empty] | VFD/STARTER |  | STRT | FUNCT08B | LFTS.STRT | TRUE | A VFD/starter in a lift station for a sanitary waste distribution system is a device that regulates the speed and operation of pumps, ensuring efficient and controlled movement of wastewater to higher elevations for further processing or discharge.
[5 empty] | VENTILATION |  | VNTN | FUNCT08B | LFTS.VNTN | TRUE | Ventilation in a lift station within a sanitary waste system refers to the process of ensuring adequate airflow to prevent the buildup of harmful gases and odors, thus maintaining safe and efficient operation of the waste distribution infrastructure.
[5 empty] | SLUICE GATE |  | SLGT | FUNCT08B | LFTS.SLGT | TRUE | A sluice gate in a lift station is a mechanical device used to control the flow of wastewater within a sanitary waste distribution system, allowing for the regulation and redirection of sewage as needed.
[6 empty] | FLOAT SWITCH | FLTS | FUNCT08B | LFTS:FLTS | TRUE | A float switch in a lift station is a sensor used to detect liquid levels in a sanitary waste system, activating pumps to manage the flow and distribution of wastewater to prevent overflow or backup.
|  |  | PIPE |  |  |  | PIPE | FUNCT08B | PIPE | TRUE | In a sanitary waste system, a pipe is a conduit used to transport wastewater and sewage from plumbing fixtures to the sewer or septic system for disposal. Only one pipe asset is required per instance. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | VIBRATION ELIMINATOR |  | VIBR | FUNCT08B | PIPE.VIBR | TRUE | A vibration eliminator in a sanitary waste system is a flexible connector installed in piping to absorb and minimize vibrations and noise, preventing damage and ensuring the integrity of the distribution network.
|  |  | PUMP |  |  |  | PUMP | FUNCT08B | PUMP | TRUE | In the context of a sanitary waste system, a pump is a mechanical device used to move wastewater through pipes and distribution networks, ensuring its efficient transport to treatment facilities or disposal points. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CONTROLS |  | CNTL | FUNCT08B | PUMP.CNTL | TRUE | In the context of a sanitary waste system, "CONTROLS" as part of a "PUMP" refers to the mechanisms or devices used to regulate the operation and performance of the pump, ensuring efficient and safe distribution of waste materials.
[5 empty] | MOTOR |  | MOTR | FUNCT08B | PUMP.MOTR | TRUE | In a sanitary waste system, the motor is a component of the pump responsible for converting electrical energy into mechanical energy to facilitate the distribution of waste by moving it through the system.
[5 empty] | VFD/STARTER |  | STRT | FUNCT08B | PUMP.STRT | TRUE | A VFD (Variable Frequency Drive) or starter in a pump system for sanitary waste distribution controls the pump's motor speed and operation to efficiently manage the flow and pressure of waste being transported through the system.
|  | TREATMENT |  |  |  |  | C |  |  |  | In a SANITARY WASTE System, assets in a TREATMENT subsystem refer to the infrastructure, equipment, and components used for the processing and purification of wastewater to meet environmental and health standards before discharge or reuse.
|  |  | CONTAMINATION SEPARATOR |  |  |  | CSEP | FUNCT08C | CSEP | TRUE | A contamination separator in a sanitary waste system is a device designed to remove contaminants and impurities from wastewater before it undergoes further treatment processes. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | GREASE TRAP |  |  |  | GRTR | FUNCT08C | GRTR | TRUE | A grease trap is a device used in sanitary waste systems to intercept and separate fats, oils, and grease from wastewater before it enters the sewage system, preventing blockages and environmental contamination. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | OIL/WATER SEPARATOR |  |  |  | OWSP | FUNCT08C | OWSP | TRUE | An oil/water separator in a sanitary waste system is a device designed to remove oil and other hydrocarbons from wastewater before it is discharged into the environment or further treated. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | MONITORING WELL |  | MNWL | FUNCT08C | OWSP.MNWL | TRUE | A monitoring well in the context of an oil/water separator for a sanitary waste system is a designated well used to observe and sample groundwater to assess the effectiveness of the separator in preventing contamination from oil and other pollutants.
[5 empty] | VENTS |  | VENT | FUNCT08C | OWSP.VENT | TRUE | In a sanitary waste system, vents in an oil/water separator allow gases to escape and prevent pressure buildup, ensuring efficient separation and treatment of oil from water.
[5 empty] | LEAK DETECTION |  | LDET | FUNCT08C | OWSP.LDET | TRUE | Leak detection in an oil/water separator within a sanitary waste system involves monitoring and identifying any unintended release of oil or water to prevent contamination and ensure efficient treatment processes.
[5 empty] | PUMP |  | PUMP | FUNCT08C | OWSP.PUMP | TRUE | In a sanitary waste system, a pump in an oil/water separator is used to transfer separated oil, water, or sludge to appropriate collection or discharge points after the treatment process.
[5 empty] | FILTER |  | FLTR | FUNCT08C | OWSP.FLTR | TRUE | In a sanitary waste system, a filter in an oil/water separator is a component that removes solid particles and contaminants from the mixture to facilitate the separation of oil from water.
[5 empty] | ISOLATION VALVE |  | ISOV | FUNCT08C | OWSP.ISOV | TRUE | An isolation valve in an oil/water separator within a sanitary waste system is a device used to stop or regulate the flow of liquid, allowing for maintenance or emergency shutdown of the separator unit.
[5 empty] | MONITORING SYSTEM |  | MSYS | FUNCT08C | OWSP.MSYS | TRUE | A monitoring system in an oil/water separator for a sanitary waste treatment system is a set of sensors and controls designed to continuously assess the separator's performance, ensuring the effective removal of oil from water to prevent environmental contamination.

## APPROVAL 0
DATE | 04/03/2018
REVISION | 0
DEPARTMENT | NAMES | APPROVAL
EAM | Robert Kumapley, Mohammad Chowdhury | True
TEC |  | False
AVIATION | Peter Palfalvi | True
TB&T |  | False
PORT | Robin Kadell | True
PATH | Tom Gardner | True
WTC |  | False
ENGINEERING | Ramesh Panchalan | True
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 1
DATE | 06/12/2019
REVISION | 1
DEPARTMENT | NAMES | APPROVAL
EAM | Mohammad Chowdhury | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso, Edoardo Cuniberti, Tiffany Chan, Stu Stahl | True
TB&T | Jason Lei | True
PORT |  | False
PATH |  | False
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 2
DATE | 04/15/2020
REVISION | 2
DEPARTMENT | NAMES | APPROVAL
EAM | Paul Fetter, Tanbera Chowdury, Amin Elsherif, Carlos Diaz | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Sean Pflug | True
PATH | Tom Gardner | True
WTC | Stefan Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Pasquale Buzzelli | True
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 3
DATE | 10/23/2020
REVISION | 3
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Tanbera Chowdury, Rich Trifan, Carlos Diaz, Amin Elsherif, Steve Grace | True
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes, Jason Lei | True
PORT | Robin Kadell, Sean Pflug | True
PATH | Tom Gardner | True
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 4
DATE | 11/30/2021
REVISION | 4
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Tanbera Chowdury, Rich Trifan, Carlos Diaz, Amin Elsherif, Chris Faber | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T |  | False
PORT | Sean Pflug | True
PATH |  | False
WTC | Stefan Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 5
DATE | 05/03/2024
REVISION | 5
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 6
DATE | 10/22/2024
REVISION | 6
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Javier Rocha | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False