## FUNCT11
[12 empty] | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PERSON GROUP | DEPT/SVC | MAINTAINED BY | OWNED BY | OPERATED BY | IS PRIMARY? | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | PURCHASE PRICE | REPLACEMENT COST | BUDGET COST | YEAR_TO_DATE_COST | TOTAL COST | CRITICALITY | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | ASSET TYPE | FAILURE CLASS | GL ACCOUNT | ADDRESS CODE | MANUFACTURER | MODEL | SERIAL # | VENDOR | INSTALLATION DATE | ESTIMATED EOL | WARRANTY EXPIRATION DATE | PFA CATEGORY | REQUIRES PFA REPORTING | REPAIR LIMIT (%) | CERTIFICATION ON FILE? | DATE COMMISSIONED | DATE MANUFACTURED | DATE PURCHASED | GRANT NUMBER | GRANT SOURCE | DIRECTION | LRM | START MEASURE | END MEASURE
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILDASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEMCODE | COMPONENTCODE | FLOW ENABLED | DEFINITION | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R
FUNCT | STORM WATER | [5 empty] | 11 |  |  |  | Maintenance Object specific systems & equipment pertaining to the water originating from weather-related precipitation (rain, snow, hail) that flow on or over a specific building, grounds area and any impervious surfaces.
|  | COLLECTION |  |  |  |  | A |  |  |  | In a storm water system, assets in a COLLECTION subsystem refer to the infrastructure components such as pipes, catch basins, manholes, and other structures that facilitate the capture, conveyance, and management of storm water runoff from the point of collection to a discharge point or treatment facility.
|  |  | BASIN |  |  |  | BASN | FUNCT11A | BASN | TRUE | In a storm water system, a basin is a structure designed to collect and temporarily store runoff water, allowing for controlled drainage and prevention of flooding. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CULVERT |  | CLVT | FUNCT11A | BASN.CLVT | TRUE | A culvert in a storm water system is a structure that channels water through a basin or embankment, facilitating the collection and conveyance of storm water runoff.
[5 empty] | CATWALK |  | CTWK | FUNCT11A | BASN.CTWK | TRUE | In a storm water system, a catwalk is a narrow walkway within a basin that facilitates access for maintenance and inspection of the collection infrastructure.
[5 empty] | EROSION CONTROL |  | ESNC | FUNCT11A | BASN.ESNC | TRUE | Erosion control in the context of a stormwater basin refers to measures implemented to prevent soil displacement and sedimentation within the basin, ensuring efficient water collection and management.
[5 empty] | HEADWALL |  | HDWALL | FUNCT11A | BASN.HDWALL | TRUE | A headwall is a structural component at the outlet or inlet of a stormwater basin, designed to protect against erosion and facilitate the efficient collection and conveyance of stormwater.
[6 empty] | CONTAINMENT BOOM | CONB | FUNCT11A | BASN:CONB | TRUE | A containment boom in a storm water basin is a floating barrier designed to capture and control debris, pollutants, or oil within the water, facilitating their collection and preventing their spread.
[6 empty] | GRATE | GRAT | FUNCT11A | BASN:GRAT | TRUE | A grate in a basin serves as a filtering cover that allows storm water to enter while preventing debris from clogging the collection system.
[6 empty] | I BEAM | IBEM | FUNCT11A | BASN:IBEM | TRUE | In a storm water system, an I BEAM as part of a basin refers to a structural support component integral to the basin's framework, facilitating the collection and conveyance of storm water.
[6 empty] | TIDE RISER | TDRS | FUNCT11A | BASN:TDRS | TRUE | A TIDE RISER in a storm water system is a vertical pipe within a BASIN that facilitates the COLLECTION and discharge of storm water while preventing backflow from tidal influences.
[6 empty] | WINCH ASSEMBLY (INCLUDES MOTOR) | WNCH | FUNCT11A | BASN:WNCH | TRUE | A winch assembly, including a motor, in a storm water system's basin collection setup, is a mechanical device used for lifting, lowering, or positioning equipment or debris to facilitate maintenance and ensure efficient water flow management.
|  |  | CATCH BASIN |  |  |  | CBSN | FUNCT11A | CBSN | TRUE | A catch basin in a storm water system is a receptacle designed to collect surface water runoff and debris, allowing water to drain into a storm sewer while trapping sediment and preventing blockages. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | GRATE |  | GRAT | FUNCT11A | CBSN.GRAT | TRUE | A grate in a storm water system's catch basin is a metal covering with openings that allows water to enter while preventing large debris from clogging the drainage system.
|  |  | CONTAMINATION SEPARATOR |  |  |  | CSEP | FUNCT11A | CSEP | TRUE | A contamination separator in a stormwater collection system is a device or structure designed to remove pollutants and debris from stormwater runoff before it enters the drainage network or receiving waters. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | GATE |  |  |  | GATE | FUNCT11A | GATE | TRUE | In a storm water system, a gate is a control structure used to regulate the flow and collection of storm water, preventing flooding and managing water levels. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | GATE DRIVE |  | GTDV | FUNCT11A | GATE.GTDV | TRUE | A gate drive in the context of a storm water system is a mechanism that controls the opening and closing of a gate to regulate the flow and collection of storm water.
[5 empty] | HEADWALL |  | HDWALL | FUNCT11A | GATE.HDWALL | TRUE | A headwall in a storm water system is a structural component at the outlet or inlet of a storm drain or culvert, designed to protect the surrounding area from erosion and direct water flow efficiently.
[6 empty] | CHAIN | CHAIN | FUNCT11A | GATE:CHAIN | TRUE | In the context of a storm water system, "CHAIN" as part of "GATE" refers to a series of connected components or mechanisms that facilitate the controlled collection and management of storm water runoff.
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT11A | ISOV | TRUE | An isolation valve in a storm water collection system is a device used to control the flow of water, allowing sections of the system to be shut off for maintenance, repairs, or to prevent contamination during storm events. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | OUTFALL |  |  |  | OTFL | FUNCT11A | OTFL | TRUE | In a stormwater system, "outfall" refers to the location where collected stormwater is discharged from the drainage system into a natural body of water, such as a river, lake, or ocean. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | BACKWATER VALVE |  | BWVV | FUNCT11A | OTFL.BWVV | TRUE | A backwater valve in a storm water system's outfall is a device installed to prevent reverse flow from downstream flooding into the collection system, ensuring unidirectional water flow.
[5 empty] | HEADWALL |  | HDWALL | FUNCT11A | OTFL.HDWALL | TRUE | A headwall in a stormwater system is a structural component at the outfall where collected stormwater is discharged, providing stabilization and protection to the surrounding area.
[5 empty] | HANDRAIL |  | HNDR | FUNCT11A | OTFL.HNDR | TRUE | A handrail in the context of an outfall in a stormwater collection system is a safety feature installed along walkways or platforms to provide support and prevent falls during maintenance or inspection activities.
[5 empty] | SECURITY CAGE |  | SCUCAGE | FUNCT11A | OTFL.SCUCAGE | TRUE | A security cage in the context of stormwater systems is a protective enclosure installed at the outfall of a collection system designed to prevent unauthorized access and block debris from entering or exiting through the stormwater outfall.
[5 empty] | STAIRS |  | STRS | FUNCT11A | OTFL.STRS | TRUE | In a storm water system, "STAIRS" as part of "OUTFALL" refers to a stepped structure that dissipates the energy of water flow as it is discharged from the collection system into a receiving body, helping to prevent erosion and manage flow rates.
[5 empty] | WINGWALLS |  | WWLL | FUNCT11A | OTFL.WWLL | TRUE | Wingwalls are structural extensions of an outfall in a stormwater system, designed to prevent erosion, stabilize the soil, and direct water flow away from the outfall structure.
[6 empty] | CONTAINMENT BOOM | CONB | FUNCT11A | OTFL:CONB | TRUE | A containment boom in the context of outfall in a storm water system is a floating barrier used to control and collect debris or pollutants at the discharge point, preventing their spread into larger water bodies.
[6 empty] | I BEAM | IBEM | FUNCT11A | OTFL:IBEM | TRUE | In a stormwater system, an I-beam in an outfall structure serves as a support component that helps maintain the structural integrity and alignment of the collection system, facilitating efficient water flow and discharge.
[6 empty] | TIDE RISER | TDRS | FUNCT11A | OTFL:TDRS | TRUE | A tide riser in a storm water system's outfall is a vertical pipe or structure designed to prevent backflow from tidal surges into the storm water collection system.
|  |  | PIPE |  |  |  | PIPE | FUNCT11A | PIPE | TRUE | In a stormwater system, a PIPE is a conduit designed to transport collected rainwater and runoff to a designated outfall or treatment facility, preventing flooding and managing water flow. Only one pipe asset is required per instance. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | TANK |  |  |  | TANK | FUNCT11A | TANK | FALSE | In a storm water system, a tank refers to a large, typically underground storage container designed to collect and temporarily hold excess storm water runoff to prevent flooding and manage water flow. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | DISTRIBUTION |  |  |  |  | B |  |  |  | In a storm water system, assets in the distribution subsystem refer to the physical components and infrastructure used to transport and manage storm water, including pipes, channels, culverts, and outlets that convey water from collection points to discharge locations.
|  |  | CHECK VALVE |  |  |  | CHVL | FUNCT11B | CHVL | TRUE | A check valve in a storm water distribution system is a device that allows water to flow in one direction only, preventing backflow and potential flooding. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT11B | DSCS | TRUE | A disconnect switch in a storm water distribution system is a device used to isolate and control the flow of storm water, allowing for maintenance, redirection, or emergency shutdown of specific sections of the system. A disconnect switch can be fused or unfused. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT11B | ISOV | TRUE | An isolation valve in a storm water distribution system is a mechanical device used to control or stop the flow of storm water within the system to facilitate maintenance or emergencies. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | LIFT STATION |  |  |  | LFTS | FUNCT11B | LFTS | TRUE | A lift station in a stormwater distribution system is a facility designed to pump collected stormwater from lower elevations to higher elevations, enabling efficient transport through the drainage network when gravity flow is insufficient. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CONTROLS |  | CNTL | FUNCT11B | LFTS.CNTL | TRUE | Controls in a lift station within a storm water distribution system refer to the automated systems and devices that regulate the operation of pumps and other equipment to ensure efficient water flow and prevent flooding.
[5 empty] | GAS DETECTION SYSTEM |  | GDS | FUNCT11B | LFTS.GDS | TRUE | A gas detection system in a lift station within a storm water distribution system is a safety mechanism designed to identify and alert operators to the presence of hazardous gases, ensuring safe operation and maintenance by preventing potentially dangerous conditions.
[5 empty] | HATCH DOOR |  | HADR | FUNCT11B | LFTS.HADR | TRUE | A hatch door in a lift station for storm water distribution is an access panel that allows for maintenance and inspection of the station's internal components.
[5 empty] | HOIST |  | HOST | FUNCT11B | LFTS.HOST | TRUE | In a storm water system, a hoist within a lift station is a mechanical device used to elevate storm water from lower elevations to higher elevations for further distribution and management.
[5 empty] | LEVEL ALARM |  | LALM | FUNCT11B | LFTS.LALM | TRUE | A level alarm in a lift station for a storm water distribution system is a safety mechanism that alerts operators when water reaches a critical height, indicating potential overflow or pump failure.
[5 empty] | LIGHT FIXTURE |  | LFIXT | FUNCT11B | LFTS.LFIXT | TRUE | A light fixture in a lift station within a storm water distribution system is an electrical component designed to provide illumination for the safe operation and maintenance of the facility.
[5 empty] | MOTOR |  | MOTR | FUNCT11B | LFTS.MOTR | TRUE | In a storm water system, the motor in a lift station powers the pumps that move collected water from lower elevations to higher elevations, facilitating distribution and preventing flooding.
[5 empty] | PUMP |  | PUMP | FUNCT11B | LFTS.PUMP | TRUE | In a storm water system, a pump within a lift station is a mechanical device that moves collected storm water from lower elevations to higher elevations for further distribution and management, ensuring efficient drainage and preventing flooding.
[5 empty] | VFD/STARTER |  | STRT | FUNCT11B | LFTS.STRT | TRUE | A VFD/STARTER in a lift station within a storm water distribution system is an electrical component that regulates the pump motor speed and start-up sequence to efficiently manage water flow and prevent flooding.
[5 empty] | VENTILATION |  | VNTN | FUNCT11B | LFTS.VNTN | TRUE | Ventilation in a lift station within a storm water system ensures the safe release of gases and maintains air flow to prevent the buildup of hazardous conditions, thereby facilitating the efficient distribution and movement of storm water.
[6 empty] | FLOAT SWITCH | FLTS | FUNCT11B | LFTS:FLTS | TRUE | A float switch in a lift station within a storm water system is a device that detects the water level and activates pumps to manage water distribution and prevent overflow.
|  |  | PIPE |  |  |  | PIPE | FUNCT11B | PIPE | TRUE | In a storm water system, a PIPE is a conduit used to transport collected rainwater or runoff from surfaces to designated drainage points, such as sewers, retention basins, or natural waterways, to prevent flooding and manage water distribution efficiently. Only one pipe asset is required per instance. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PUMP |  |  |  | PUMP | FUNCT11B | PUMP | TRUE | In a storm water system, a pump is a mechanical device used to move collected runoff water from low-lying areas to higher elevations or discharge points to prevent flooding and ensure effective distribution and drainage. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CONTROLS |  | CNTL | FUNCT11B | PUMP.CNTL | TRUE | Controls in a storm water pump distribution system refer to the mechanisms and technologies used to regulate the operation, flow, and pressure of pumps to ensure efficient and effective water movement and management during storm events.
[5 empty] | MOTOR |  | MOTR | FUNCT11B | PUMP.MOTR | TRUE | In a storm water system, the motor in a pump powers the movement of water through the distribution network, facilitating the efficient transfer and management of storm water.
[5 empty] | VFD/STARTER |  | STRT | FUNCT11B | PUMP.STRT | TRUE | A VFD (Variable Frequency Drive) or starter in a storm water distribution system regulates the pump's speed or initiates its operation to efficiently manage the flow and distribution of storm water.
|  | TREATMENT |  |  |  |  | C |  |  |  | In a stormwater system, assets in a treatment subsystem refer to the physical components and technologies designed to filter, cleanse, and manage runoff water to remove contaminants before it is discharged into natural water bodies.
|  |  | CONTAMINATION SEPARATOR |  |  |  | CSEP | FUNCT11C | CSEP | TRUE | A contamination separator in a storm water treatment system is a device designed to remove pollutants and debris from runoff before it is discharged into the environment, ensuring cleaner water enters natural water bodies. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CYCLONE CHAMBER |  | CYCH | FUNCT11C | CSEP.CYCH | TRUE | A cyclone chamber in a stormwater contamination separator is a treatment component that utilizes centrifugal force to remove particulates and contaminants from stormwater runoff by swirling the water rapidly, causing denser particles to settle out.
[5 empty] | PERLITE CANNISTER |  | PRTC | FUNCT11C | CSEP.PRTC | TRUE | A perlite canister in a storm water contamination separator is a component that uses perlite media to filter and remove pollutants from storm water as part of the treatment process.
[6 empty] | DISPOSABLE PERILITE BAGS | DPBG | FUNCT11C | CSEP:DPBG | TRUE | Disposable perlite bags in a storm water system are used as part of a contamination separator to filter out pollutants and sediments from runoff, enhancing water quality before it is discharged or reused.
[6 empty] | GRATE | GRAT | FUNCT11C | CSEP:GRAT | TRUE | A grate in a storm water system serves as a contamination separator by filtering out large debris and pollutants from runoff, preventing them from entering the treatment process.
|  |  | OIL/WATER SEPARATOR |  |  |  | OWSP | FUNCT11C | OWSP | TRUE | An oil/water separator in a storm water system is a device designed to remove oil, hydrocarbons, and other non-water-soluble pollutants from storm water runoff before it is discharged into the environment. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | FILTER |  | FLTR | FUNCT11C | OWSP.FLTR | TRUE | A filter in an oil/water separator for storm water treatment is a component that removes suspended solids and residual hydrocarbons from the water, enhancing the separation of oil and water phases.
[5 empty] | ISOLATION VALVE |  | ISOV | FUNCT11C | OWSP.ISOV | TRUE | An isolation valve in an oil/water separator within a storm water treatment system is a device used to control the flow of water, allowing for maintenance or emergencies by stopping the flow to prevent contamination or bypass the separator.
[5 empty] | LEAK DETECTION |  | LDET | FUNCT11C | OWSP.LDET | TRUE | Leak detection in an oil/water separator within a storm water treatment system involves monitoring and identifying any unintended release of oil or contaminants to ensure efficient separation and prevent environmental pollution.
[5 empty] | MONITORING WELL |  | MNWL | FUNCT11C | OWSP.MNWL | TRUE | A monitoring well in the context of an oil/water separator in a storm water treatment system is a designated point for sampling and measuring water quality to ensure the effectiveness and compliance of the separator's pollutant removal performance.
[5 empty] | MONITORING SYSTEM |  | MSYS | FUNCT11C | OWSP.MSYS | TRUE | A monitoring system in an oil/water separator for storm water treatment is a set of sensors and controls designed to track and manage the separation process, ensuring efficient removal of oil and other contaminants from storm water runoff.
[5 empty] | PUMP |  | PUMP | FUNCT11C | OWSP.PUMP | TRUE | A pump in an oil/water separator for stormwater treatment is a mechanical device used to move water and facilitate the separation and removal of oil and other contaminants from stormwater runoff.
[5 empty] | VENTS |  | VENT | FUNCT11C | OWSP.VENT | TRUE | In a storm water treatment system, vents in an oil/water separator allow gases to escape and prevent pressure buildup, ensuring efficient separation of oil from water.

## APPROVAL 0
DATE | 04/03/2018
REVISION | 0
DEPARTMENT | NAMES | APPROVAL
EAM | Robert Kumapley, Mohammad Chowdhury | True
TEC |  | False
AVIATION | Peter Palfalvi | True
TB&T |  | False
PORT | Tom Gardner | True
PATH |  | False
WTC | Leonard Kozlov | True
ENGINEERING | Ramesh Panchalan | True
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 1
DATE | 06/12/2019
REVISION | 1
DEPARTMENT | NAMES | APPROVAL
EAM | Mohammad Chowdhury | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso, Edoardo Cuniberti, Tiffany Chan, Stu Stahl | True
TB&T | Jason Lei | True
PORT |  | False
PATH |  | False
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 2
DATE | 10/23/2020
REVISION | 2
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Tanbera Chowdury, Rich Trifan, Carlos Diaz, Amin Elsherif, Steve Grace | True
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes, Jason Lei | True
PORT | Robin Kadell | True
PATH | Tom Gardner | True
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 3
DATE | 11/30/2021
REVISION | 3
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Tanbera Chowdury, Rich Trifan, Carlos Diaz, Amin Elsherif, Chris Faber | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T |  | False
PORT | Sean Pflug | False
PATH |  | False
WTC | Stefan Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 4
DATE | 04/12/2022
REVISION | 4
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Rich Trifan, Amin Elsherif, Chris Faber | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T | Kurt Voorhees | True
PORT |  | False
PATH |  | False
WTC | Stefan Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 5
DATE | 06/06/2022
REVISION | 5
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Rich Trifan, Amin Elsherif, Chris Faber | True
TEC |  | False
AVIATION | Mario Suarez | True
TB&T |  | False
PORT | Robin Kadell | True
PATH |  | False
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 6
DATE | 05/06/2024
REVISION | 6
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 7
DATE | 10/22/2024
REVISION | 7
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Javier Rocha | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False