## STORM WATER
[10 empty] | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PERSON GROUP | DEPT/SVC | MAINTAINED BY | OWNED BY | OPERATED BY | IS PRIMARY? | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | PURCHASE PRICE | REPLACEMENT COST | BUDGET COST | YEAR_TO_DATE_COST | TOTAL COST | CRITICALITY | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | ASSET TYPE | FAILURE CLASS | GL ACCOUNT | ADDRESS CODE | MANUFACTURER | MODEL | SERIAL # | VENDOR | INSTALLATION DATE | ESTIMATED EOL | WARRANTY EXPIRATION DATE | PFA CATEGORY | REQUIRES PFA REPORTING | REPAIR LIMIT (%) | CERTIFICATION ON FILE? | DATE COMMISSIONED | DATE MANUFACTURED | DATE PURCHASED | GRANT NUMBER | GRANT SOURCE | DIRECTION | LRM | START MEASURE | END MEASURE
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILDASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEMCODE | COMPONENTCODE | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R
FUNCT | STORM WATER | [5 empty] | 11
|  | COLLECTION |  |  |  |  | A
|  |  | BASIN |  |  |  | BASN | FUNCT11A | BASN | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CULVERT |  | CLVT | FUNCT11A | BASN.CLVT
[5 empty] | CATWALK |  | CTWK | FUNCT11A | BASN.CTWK
[5 empty] | EROSION CONTROL |  | ESNC | FUNCT11A | BASN.ESNC
[5 empty] | HEADWALL |  | HDWALL | FUNCT11A | BASN.HDWALL
[6 empty] | CONTAINMENT BOOM | CONB | FUNCT11A | BASN:CONB
[6 empty] | GRATE | GRAT | FUNCT11A | BASN:GRAT
[6 empty] | I BEAM | IBEM | FUNCT11A | BASN:IBEM
[6 empty] | TIDE RISER | TDRS | FUNCT11A | BASN:TDRS
[6 empty] | WINCH ASSEMBLY (INCLUDES MOTOR) | WNCH | FUNCT11A | BASN:WNCH
|  |  | CATCH BASIN |  |  |  | CBSN | FUNCT11A | CBSN | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | GRATE |  | GRAT | FUNCT11A | CBSN.GRAT
|  |  | CONTAMINATION SEPARATOR |  |  |  | CSEP | FUNCT11A | CSEP | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | GATE |  |  |  | GATE | FUNCT11A | GATE | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | GATE DRIVE |  | GTDV | FUNCT11A | GATE.GTDV
[5 empty] | HEADWALL |  | HDWALL | FUNCT11A | GATE.HDWALL
[6 empty] | CHAIN | CHAIN | FUNCT11A | GATE:CHAIN
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT11A | ISOV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | OUTFALL |  |  |  | OTFL | FUNCT11A | OTFL | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | BACKWATER VALVE |  | BWVV | FUNCT11A | OTFL.BWVV
[5 empty] | HEADWALL |  | HDWALL | FUNCT11A | OTFL.HDWALL
[5 empty] | HANDRAIL |  | HNDR | FUNCT11A | OTFL.HNDR
[5 empty] | SECURITY CAGE |  | SCUCAGE | FUNCT11A | OTFL.SCUCAGE
[5 empty] | STAIRS |  | STRS | FUNCT11A | OTFL.STRS
[5 empty] | WING WALL |  | WGWL | FUNCT11A | OTFL.WGWL
[6 empty] | CONTAINMENT BOOM | CONB | FUNCT11A | OTFL:CONB
[6 empty] | I BEAM | IBEM | FUNCT11A | OTFL:IBEM
[6 empty] | TIDE RISER | TDRS | FUNCT11A | OTFL:TDRS
|  |  | PIPE |  |  |  | PIPE | FUNCT11A | PIPE | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | DISTRIBUTION |  |  |  |  | B
|  |  | CHECK VALVE |  |  |  | CHVL | FUNCT11B | CHVL | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT11B | DSCS | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT11B | ISOV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | LIFT STATION |  |  |  | LFTS | FUNCT11B | LFTS | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CONTROLS |  | CNTL | FUNCT11B | LFTS.CNTL
[5 empty] | GAS DETECTION SYSTEM |  | GDS | FUNCT11B | LFTS.GDS
[5 empty] | HATCH DOOR |  | HADR | FUNCT11B | LFTS.HADR
[5 empty] | HOISTS |  | HSTS | FUNCT11B | LFTS.HSTS
[5 empty] | LEVEL ALARM |  | LALM | FUNCT11B | LFTS.LALM
[5 empty] | LIGHT FIXTURE |  | LFIXT | FUNCT11B | LFTS.LFIXT
[5 empty] | MOTOR |  | MOTR | FUNCT11B | LFTS.MOTR
[5 empty] | PUMP |  | PUMP | FUNCT11B | LFTS.PUMP
[5 empty] | VFD/ STARTER |  | STRT | FUNCT11B | LFTS.STRT
[5 empty] | VENTILATION |  | VNTN | FUNCT11B | LFTS.VNTN
|  |  | PIPE |  |  |  | PIPE | FUNCT11B | PIPE | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PUMP |  |  |  | PUMP | FUNCT11B | PUMP | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CONTROLS |  | CNTL | FUNCT11B | PUMP.CNTL
[5 empty] | MOTOR |  | MOTR | FUNCT11B | PUMP.MOTR
[5 empty] | VFD/ STARTER |  | STRT | FUNCT11B | PUMP.STRT
|  | TREATMENT |  |  |  |  | C
|  |  | CONTAMINATION SEPARATOR |  |  |  | CSEP | FUNCT11C | CSEP | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CYCLONE CHAMBER |  | CYCH | FUNCT11C | CSEP.CYCH
[5 empty] | PERLITE CANNISTER |  | PRTC | FUNCT11C | CSEP.PRTC
[6 empty] | DISPOSABLE PERILITE BAGS | DPBG | FUNCT11C | CSEP:DPBG
[6 empty] | GRATE | GRAT | FUNCT11C | CSEP:GRAT
|  |  | OIL/WATER SEPARATOR |  |  |  | OWSP | FUNCT11C | OWSP | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | FILTER |  | FLTR | FUNCT11C | OWSP.FLTR
[5 empty] | ISOLATION VALVE |  | ISOV | FUNCT11C | OWSP.ISOV
[5 empty] | LEAK DETECTION |  | LDET | FUNCT11C | OWSP.LDET
[5 empty] | MONITORING WELL |  | MNWL | FUNCT11C | OWSP.MNWL
[5 empty] | MONITORING SYSTEM |  | MSYS | FUNCT11C | OWSP.MSYS
[5 empty] | PUMP |  | PUMP | FUNCT11C | OWSP.PUMP
[5 empty] | VENTS |  | VENT | FUNCT11C | OWSP.VENT

## APPROVAL 0
DATE | 04/03/2018
REVISION | 0
DEPARTMENT | NAMES | APPROVAL
EAM | Robert Kumapley, Mohammad Chowdhury | True
TEC |  | False
AVIATION | Peter Palfalvi | True
TB&T |  | False
PORT | Tom Gardner | True
PATH |  | False
WTC | Leonard Kozlov | True
ENGINEERING | Ramesh Panchalan | True
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 1
DATE | 06/12/2019
REVISION | 1
DEPARTMENT | NAMES | APPROVAL
EAM | Mohammad Chowdhury | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso, Edoardo Cuniberti, Tiffany Chan, Stu Stahl | True
TB&T | Jason Lei | True
PORT |  | False
PATH |  | False
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 2
DATE | 10/23/2020
REVISION | 2
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Tanbera Chowdury, Rich Trifan, Carlos Diaz, Amin Elsherif, Steve Grace | True
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes, Jason Lei | True
PORT | Robin Kadell | True
PATH | Tom Gardner | True
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 3
DATE | 11/30/2021
REVISION | 3
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Tanbera Chowdury, Rich Trifan, Carlos Diaz, Amin Elsherif, Chris Faber | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T |  | False
PORT | Sean Pflug | False
PATH |  | False
WTC | Stefan Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 4
DATE | 04/12/2022
REVISION | 4
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Rich Trifan, Amin Elsherif, Chris Faber | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T | Kurt Voorhees | True
PORT |  | False
PATH |  | False
WTC | Stefan Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 5
DATE | 06/06/2022
REVISION | 5
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Rich Trifan, Amin Elsherif, Chris Faber | True
TEC |  | False
AVIATION | Mario Suarez | True
TB&T |  | False
PORT | Robin Kadell | True
PATH |  | False
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 6
DATE | 05/06/2024
REVISION | 6
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False