## FUNCT12
[12 empty] | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PERSON GROUP | DEPT/SVC | MAINTAINED BY | OWNED BY | OPERATED BY | IS PRIMARY? | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | PURCHASE PRICE | REPLACEMENT COST | BUDGET COST | YEAR_TO_DATE_COST | TOTAL COST | CRITICALITY | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | ASSET TYPE | FAILURE CLASS | GL ACCOUNT | ADDRESS CODE | MANUFACTURER | MODEL | SERIAL # | VENDOR | INSTALLATION DATE | ESTIMATED EOL | WARRANTY EXPIRATION DATE | PFA CATEGORY | REQUIRES PFA REPORTING | REPAIR LIMIT (%) | CERTIFICATION ON FILE? | DATE COMMISSIONED | DATE MANUFACTURED | DATE PURCHASED | GRANT NUMBER | GRANT SOURCE | DIRECTION | LRM | START MEASURE | END MEASURE
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILDASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEMCODE | COMPONENTCODE | FLOW ENABLED | DEFINITION | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R
FUNCT | CHILLED WATER | [5 empty] | 12 |  |  |  | Maintenance Object specific systems & equipment pertaining to the cooling and conditioning of a specific medium to large-sized building or terminal and the absoprtion of heat energy from that building by means of a method utilizing chilled water.
|  | SOURCE |  |  |  |  | A |  |  |  | In a chilled water system, assets in a SOURCE subsystem refer to the equipment and components responsible for generating and supplying chilled water, such as chillers, cooling towers, pumps, and associated controls and piping, which serve as the origin of chilled water flow to meet cooling demands.
|  |  | BACKFLOW PREVENTER |  |  |  | BFPV | FUNCT12A | BFPV | TRUE | A backflow preventer in a chilled water system is a device designed to prevent the reverse flow of water, thereby protecting the source water supply from contamination by ensuring that chilled water does not flow back into the supply lines. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | BTU METER |  |  |  | BTUM | FUNCT12A | BTUM | TRUE | A BTU meter in a chilled water system measures the energy consumption by calculating the heat transfer rate, using temperature and flow data, to determine the amount of energy used for cooling. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[6 empty] | CHART | CHRT | FUNCT12A | BTUM:CHRT | TRUE | In a chilled water system, a CHART in the context of a BTU meter refers to a graphical representation of temperature, flow rate, and energy consumption data used to analyze the efficiency and performance of the system's energy source.
|  |  | CHILLER |  |  |  | CHILL | FUNCT12A | CHILL | TRUE | A chiller in a chilled water system is a device that removes heat from the water through a refrigeration cycle to provide cooled water for air conditioning or process cooling. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[6 empty] | GASKETS | GASK | FUNCT12A | CHILL:GASK | TRUE | Gaskets in a chiller system are sealing components used to prevent leaks and ensure a tight seal between connecting parts, such as pipes and flanges, in the chilled water source equipment.
|  |  | CIRCULATION PUMP |  |  |  | CIRP | FUNCT12A | CIRP | TRUE | A circulation pump in a chilled water system is a mechanical device that moves chilled water from the source, such as a chiller, throughout the distribution network to absorb heat and return it for re-cooling. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | VFD/STARTER |  | STRT | FUNCT12A | CIRP.STRT | TRUE | A VFD/STARTER is a control device used in a chilled water system to regulate the speed and operation of the circulation pump, optimizing energy efficiency and performance.
[5 empty] | MOTOR |  | MOTR | FUNCT12A | CIRP.MOTR | TRUE | In a chilled water system, the motor in a circulation pump serves as the source of mechanical energy that drives the pump to circulate the chilled water throughout the system.
|  |  | CHEMICAL FEEDER |  |  |  | CMFD | FUNCT12A | CMFD | TRUE | A chemical feeder in a chilled water system is a device used to introduce treatment chemicals into the water to prevent corrosion, scaling, and biological growth, ensuring efficient and safe system operation. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CONTROL VALVE |  |  |  | CNTV | FUNCT12A | CNTV | TRUE | A control valve in a chilled water system regulates the flow of chilled water from the source to maintain desired temperature and pressure conditions in the system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | ACTUATOR |  | ACTR | FUNCT12A | CNTV.ACTR | TRUE | An actuator in a control valve within a chilled water system is a mechanism that adjusts the valve position to regulate the flow of chilled water, based on control signals from the source system, to maintain desired temperature and flow conditions.
|  |  | CONTROL INTERFACE |  |  |  | CONI | FUNCT12A | CONI | TRUE | In a chilled water system, the control interface refers to the mechanisms and protocols that allow operators or automated systems to regulate the operation of the source equipment, such as chillers, to maintain desired water temperatures and flow rates. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DRY COOLER |  |  |  | DCOOLER | FUNCT12A | DCOOLER | TRUE | A dry cooler in a chilled water system is a heat exchanger that uses ambient air to dissipate heat from the water, providing an energy-efficient method of cooling without the use of evaporative water loss. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CONTROLS |  | CNTL | FUNCT12A | DCOOLER.CNTL | TRUE | Controls in a dry cooler system for a chilled water system refer to the mechanisms and devices that regulate the operation and efficiency of the cooler, including temperature, flow, and fan speed, to optimize cooling performance and energy usage.
[5 empty] | FAN |  | FAN | FUNCT12A | DCOOLER.FAN | TRUE | In a chilled water system, the fan in a dry cooler is a mechanical device that facilitates heat exchange by drawing air over the cooling coils to dissipate heat from the water returning from the source, thereby reducing the water temperature before it returns to the chiller.
[5 empty] | MOTOR |  | MOTR | FUNCT12A | DCOOLER.MOTR | TRUE | In a chilled water system, the motor in a dry cooler is a component that drives the fan to facilitate air movement over the heat exchange coils, thereby dissipating heat from the water being cooled.
[5 empty] | PLATE/COIL |  | PLCL | FUNCT12A | DCOOLER.PLCL | TRUE | In a chilled water system, the plate/coil in a dry cooler acts as the heat exchange surface where heat is transferred from the water to the ambient air, effectively cooling the water without the need for evaporation.
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT12A | DCOOLER.PRRV | TRUE | A pressure relief valve in a dry cooler of a chilled water system is a safety device designed to release excess pressure, ensuring that the system operates within safe limits and preventing potential damage or failure.
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT12A | DSCS | TRUE | A disconnect switch in a chilled water system is a device used to safely isolate the power supply to the system's source equipment, such as pumps or chillers, for maintenance or emergency shutdowns. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | EXPANSION TANK |  |  |  | EXPT | FUNCT12A | EXPT | TRUE | An expansion tank in a chilled water system is a device used to accommodate the thermal expansion of water as it heats and cools, maintaining consistent pressure and preventing system damage. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT12A | EXPT.PRRV | TRUE | A pressure relief valve in an expansion tank of a chilled water system is a safety device designed to automatically release excess pressure from the tank to prevent system damage or failure.
|  |  | HEAT EXCHANGER |  |  |  | HTEX | FUNCT12A | HTEX | TRUE | A heat exchanger in a chilled water system is a device that transfers heat between the chilled water and another fluid, often facilitating cooling by absorbing heat from the source fluid to maintain desired temperatures. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT12A | HTEX.PRRV | TRUE | A pressure relief valve in a chilled water system's heat exchanger is a safety device designed to automatically release excess pressure from the system to prevent damage and ensure safe operation.
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT12A | ISOV | TRUE | An isolation valve in a chilled water system is a device used to stop or restrict the flow of chilled water to or from specific sections of the system, allowing for maintenance, repair, or system control without affecting the entire system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PIPE |  |  |  | PIPE | FUNCT12A | PIPE | TRUE | In a chilled water system, a PIPE as it pertains to SOURCE refers to the conduit through which chilled water is transported from the cooling source, such as a chiller, to various points within the system for heat exchange and cooling purposes. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | AIR ELIMINATOR |  | AIRE | FUNCT12A | PIPE.AIRE | TRUE | An air eliminator in a chilled water system is a device installed in the piping to remove trapped air, ensuring efficient heat transfer and preventing air-related problems in the system.
[5 empty] | AIR VENT |  | AIRV | FUNCT12A | PIPE.AIRV | TRUE | An air vent in a chilled water system's piping serves as a device to release trapped air, ensuring efficient circulation and preventing air-related blockages in the cooling process.
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT12A | PIPE.DRNV | TRUE | A drain valve in a chilled water system is a component of the piping used to release water from the system for maintenance, drainage, or system purging purposes.
[5 empty] | FLOW METER |  | FLWM | FUNCT12A | PIPE.FLWM | TRUE | A flow meter in a chilled water system's piping measures the rate at which chilled water flows from the source, ensuring efficient cooling and system performance.
[5 empty] | GAUGE |  | GAUG | FUNCT12A | PIPE.GAUG | TRUE | In a chilled water system, the gauge on a pipe measures the pressure or flow rate of the water sourced from the cooling plant to ensure efficient operation and system monitoring.
[5 empty] | INSULATION |  | INSL | FUNCT12A | PIPE.INSL | TRUE | Insulation in a chilled water system pipe is a material layer that minimizes heat gain or loss, ensuring efficient thermal energy transfer from the source to maintain desired water temperature.
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT12A | PIPE.PRRV | TRUE | A pressure relief valve in a chilled water system's piping is a safety device designed to automatically release water to prevent excess pressure buildup, protecting the system from potential damage.
[5 empty] | STRAINER |  | STRN | FUNCT12A | PIPE.STRN | TRUE | A strainer in a chilled water system's piping is a device that removes debris and particulate matter from the water source to protect equipment and ensure efficient system operation.
[5 empty] | THERMOMETER |  | THER | FUNCT12A | PIPE.THER | TRUE | In a chilled water system, a thermometer in a pipe serves as a source for measuring and monitoring the temperature of the water flowing through the system to ensure proper cooling performance.
[5 empty] | VIBRATION ELIMINATOR |  | VIBR | FUNCT12A | PIPE.VIBR | TRUE | A vibration eliminator in a chilled water system pipe is a flexible component designed to absorb and isolate vibrations from the source, such as pumps or compressors, to prevent transmission through the piping network.
[5 empty] | LEAK DETECTION |  | LDET | FUNCT12A | PIPE.LDET | FALSE | Leak detection in a chilled water system's piping involves identifying and locating unintended water escapes from the source to ensure system integrity and efficiency.
|  | DISTRIBUTION |  |  |  |  | B |  |  |  | Assets in a distribution subsystem of a chilled water system are the components and equipment, such as pipes, pumps, valves, and insulation, that are used to transport chilled water from the central plant to the end-use locations for cooling purposes.
|  |  | BTU METER |  |  |  | BTUM | FUNCT12B | BTUM | TRUE | A BTU meter in a chilled water distribution system is a device that measures the thermal energy transfer in British Thermal Units (BTUs) by calculating the flow rate and temperature difference of the chilled water, enabling accurate energy consumption monitoring and billing. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[6 empty] | CHART | CHRT | FUNCT12B | BTUM:CHRT | TRUE | A CHART in the context of a BTU meter for a chilled water distribution system is a graphical representation of energy consumption data, depicting the amount of thermal energy transferred over time to monitor and optimize the system's efficiency.
|  |  | CONTROL VALVE |  |  |  | CNTV | FUNCT12B | CNTV | TRUE | A control valve in a chilled water distribution system is a device that regulates the flow of chilled water to maintain desired temperature and pressure by modulating its position in response to the control system's signals. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | ACTUATOR |  | ACTR | FUNCT12B | CNTV.ACTR | TRUE | An actuator in a control valve for a chilled water distribution system is a device that modulates the valve position to regulate the flow of chilled water based on control signals.
|  |  | CONTROL INTERFACE |  |  |  | CONI | FUNCT12B | CONI | TRUE | A control interface in a chilled water distribution system refers to the hardware and software components that manage and regulate the flow, temperature, and pressure of chilled water to maintain optimal cooling performance and energy efficiency. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DISTRIBUTION PUMP |  |  |  | DPMP | FUNCT12B | DPMP | TRUE | A distribution pump in a chilled water system is a device that circulates chilled water from the chiller throughout the building to distribute cooling efficiently to various air handling units or terminal devices. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | MOTOR |  | MOTR | FUNCT12B | DPMP.MOTR | TRUE | In a chilled water system, the motor in a distribution pump powers the pump mechanism to circulate chilled water throughout the distribution network for cooling purposes.
[5 empty] | VFD/STARTER |  | STRT | FUNCT12B | DPMP.STRT | TRUE | A VFD/STARTER in a chilled water distribution system controls the speed and operation of the distribution pump, optimizing energy efficiency and flow rate to match the cooling demand.
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT12B | DSCS | TRUE | A disconnect switch in a chilled water distribution system is a safety device used to isolate electrical equipment, such as pumps or chillers, from the power supply for maintenance or emergency shutdowns. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT12B | ISOV | TRUE | An isolation valve in a chilled water distribution system is a device used to control the flow of water by completely shutting off or allowing passage in specific sections, facilitating maintenance, repairs, or system modifications without disrupting the entire system. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PIPE EXPANSION JOINT |  |  |  | PEXP | FUNCT12B | PEXP | TRUE | A pipe expansion joint in a chilled water distribution system is a flexible connector designed to absorb thermal expansion and contraction, vibration, and other movement, preventing stress and damage to the piping network. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PIPE |  |  |  | PIPE | FUNCT12B | PIPE | TRUE | In a chilled water distribution system, a pipe is a conduit used to transport chilled water from the chiller to the cooling coils and back, facilitating heat exchange for air conditioning and cooling purposes. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | AIR ELIMINATOR |  | AIRE | FUNCT12B | PIPE.AIRE | TRUE | An air eliminator in a chilled water distribution system is a device installed in the piping to remove trapped air, enhancing system efficiency and preventing air-related issues.
[5 empty] | AIR VENT |  | AIRV | FUNCT12B | PIPE.AIRV | TRUE | An air vent in a chilled water distribution system is a component installed on pipes to release trapped air, ensuring efficient circulation and preventing airlocks.
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT12B | PIPE.DRNV | TRUE | A drain valve in a chilled water system is a component of the piping network used to release water from the system for maintenance, repair, or decommissioning purposes.
[5 empty] | FLOW METER |  | FLWM | FUNCT12B | PIPE.FLWM | TRUE | A flow meter in a chilled water distribution system is a device installed in the piping to accurately measure and monitor the volume or mass flow rate of chilled water circulating through the system.
[5 empty] | GAUGE |  | GAUG | FUNCT12B | PIPE.GAUG | TRUE | In a chilled water distribution system, a gauge on a pipe is an instrument used to measure and display parameters such as pressure or temperature of the water flowing through the system.
[5 empty] | INSULATION |  | INSL | FUNCT12B | PIPE.INSL | TRUE | Insulation in a chilled water distribution system refers to the material that encases pipes to minimize thermal energy loss and prevent condensation, ensuring efficient temperature control and energy conservation.
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT12B | PIPE.PRRV | TRUE | A pressure relief valve in a chilled water distribution system is a safety device that automatically releases excess pressure from the piping to prevent system damage or failure.
[5 empty] | STRAINER |  | STRN | FUNCT12B | PIPE.STRN | TRUE | A strainer in a chilled water system's piping serves as a filtration device to remove debris and protect downstream equipment in the distribution network.
[5 empty] | THERMOMETER |  | THER | FUNCT12B | PIPE.THER | TRUE | In a chilled water distribution system, a thermometer is an instrument installed within the piping to measure and monitor the temperature of the circulating water to ensure efficient system performance.
[5 empty] | VIBRATION ELIMINATOR |  | VIBR | FUNCT12B | PIPE.VIBR | TRUE | A vibration eliminator in a chilled water distribution system is a flexible connector designed to absorb and dampen vibrations between piping elements to prevent damage and noise transmission.
[5 empty] | LEAK DETECTION |  | LDET | FUNCT12B | PIPE.LDET | TRUE | Leak detection in a chilled water system's distribution piping is the process of identifying and locating unintended openings or weaknesses in the pipes that allow the escape of chilled water, potentially compromising system efficiency and performance.

## APPROVAL 0
DATE | 04/03/2018
REVISION | 0
DEPARTMENT | NAMES | APPROVAL
EAM | Robert Kumapley, Mohammad Chowdhury | True
TEC |  | False
AVIATION | Peter Palfalvi | True
TB&T |  | False
PORT | Robin Kadell | True
PATH | Tom Gardner | True
WTC | Leonard Kozlov | True
ENGINEERING | Ramesh Panchalan | True
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 1
DATE | 06/05/2019
REVISION | 1
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | Mario Suarez, John Paradiso, Edoardo Cuniberti, Tiffany Chan, Stu Stahl | True
TB&T | Kurtis Voorhees, Anthony Gomes, Jason Lei, Peter Palfalvi | True
PORT |  | False
PATH |  | False
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 2
DATE | 11/17/2021
REVISION | 2
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Tanbera Chowdury, Rich Trifan, Carlos Diaz, Amin Elsherif, Chris Faber | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell, Sean Pflug | True
PATH |  | False
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 3
DATE | 11/30/2021
REVISION | 3
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Tanbera Chowdury, Rich Trifan, Carlos Diaz, Amin Elsherif, Chris Faber | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T |  | False
PORT | Sean Pflug | True
PATH |  | False
WTC | Stefan Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 4
DATE | 04/12/2022
REVISION | 4
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Rich Trifan, Amin Elsherif, Chris Faber | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T | Kurt Voorhees | True
PORT |  | False
PATH |  | False
WTC | Stefan Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 5
DATE | 02/22/2024
REVISION | 5
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 6
DATE | 10/22/2024
REVISION | 6
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Javier Rocha | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False