## HOT WATER (THERMAL)
[10 empty] | ORG ID | SITE | ASSET | DESCRIPTION | LOCATION | SYSTEM_CODE | COMPONENT CODE | PERSON GROUP | DEPT/SVC | MAINTAINED BY | OWNED BY | OPERATED BY | IS PRIMARY? | PUBLIC FACING ASSET | IS RUNNING? | LINEAR | STATUS | STATUS DATE? | PURCHASE PRICE | REPLACEMENT COST | BUDGET COST | YEAR_TO_DATE_COST | TOTAL COST | CRITICALITY | ASSET CONDITION | EXPECTED LIFE (YRS) | CLASS STRUCTURE ID | ALIAS | ALIAS DESCRIPTION | EQUIPMENT SITE | PARENT | ASSET TAG | DETAILS | ACCESSIBILITY | ASSET TYPE | FAILURE CLASS | GL ACCOUNT | ADDRESS CODE | MANUFACTURER | MODEL | SERIAL # | VENDOR | INSTALLATION DATE | ESTIMATED EOL | WARRANTY EXPIRATION DATE | PFA CATEGORY | REQUIRES PFA REPORTING | REPAIR LIMIT (%) | CERTIFICATION ON FILE? | DATE COMMISSIONED | DATE MANUFACTURED | DATE PURCHASED | GRANT NUMBER | GRANT SOURCE | DIRECTION | LRM | START MEASURE | END MEASURE
HIERARCHY | SYSTEM | SUBSYSTEM | ASSET | CHILDASSET | COMPONENT | SPARE PART | ACRONYM | SYSTEMCODE | COMPONENTCODE | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R | R
FUNCT | HOT WATER (THERMAL) | [5 empty] | 13
|  | SOURCE |  |  |  |  | A
|  |  | AIR COMPRESSOR |  |  |  | ARCP | FUNCT13A | ARCP | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | COMPRESSOR |  | CMPR | FUNCT13A | ARCP.CMPR
[5 empty] | CONTROLS |  | CNTL | FUNCT13A | ARCP.CNTL
[5 empty] | ISOLATION VALVE |  | ISOV | FUNCT13A | ARCP.ISOV
[5 empty] | MOTOR |  | MOTR | FUNCT13A | ARCP.MOTR
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A | ARCP.PRRV
[5 empty] | VFD/ STARTER |  | STRT | FUNCT13A | ARCP.STRT
[6 empty] | AIR FILTER | AFLT | FUNCT13A | ARCP:AFLT
[6 empty] | BELT | BELT | FUNCT13A | ARCP:BELT
[6 empty] | OIL FILTER | OFLT | FUNCT13A | ARCP:OFLT
[6 empty] | OIL | OIL | FUNCT13A | ARCP:OIL
|  |  | BACKFLOW PREVENTER |  |  |  | BFPV | FUNCT13A | BFPV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | BOILER |  |  |  | BOIL | FUNCT13A | BOIL | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | BURNER ASSEMBLY |  | BRAS | FUNCT13A | BOIL.BRAS
[5 empty] | COMBUSTION FAN |  | CMBF | FUNCT13A | BOIL.CMBF
[5 empty] | CONTROLS |  | CNTL | FUNCT13A | BOIL.CNTL
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT13A | BOIL.DRNV
[5 empty] | EXHAUST VENTING |  | EVNT | FUNCT13A | BOIL.EVNT
[5 empty] | GAS VALVE |  | GVLV | FUNCT13A | BOIL.GVLV
[5 empty] | IGNITOR |  | IGNR | FUNCT13A | BOIL.IGNR
[5 empty] | OIL VALVE |  | OVLV | FUNCT13A | BOIL.OVLV
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A | BOIL.PRRV
[5 empty] | SUPPLY VENTING |  | SVNT | FUNCT13A | BOIL.SVNT
[6 empty] | FUEL STRAINER | FSTR | FUNCT13A | BOIL:FSTR
[6 empty] | GASKETS | GASK | FUNCT13A | BOIL:GASK
|  |  | BTU METER |  |  |  | BTUM | FUNCT13A | BTUM | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[6 empty] | CHART | CHRT | FUNCT13A | BTUM:CHRT
|  |  | CIRCULATION PUMP |  |  |  | CIRP | FUNCT13A | CIRP | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | MOTOR |  | MOTR | FUNCT13A | CIRP.MOTR
[5 empty] | VFD/ STARTER |  | STRT | FUNCT13A | CIRP.STRT
|  |  | CHEMICAL FEEDER |  |  |  | CMFD | FUNCT13A | CMFD | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | CONTROL VALVE |  |  |  | CNTV | FUNCT13A | CNTV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | MOTOR |  | MOTR | FUNCT13A | CNTV.MOTR
|  |  | CONTROL INTERFACE |  |  |  | CONI | FUNCT13A | CONI | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DEAERATOR |  |  |  | DEAR | FUNCT13A | DEAR | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | BACKFLOW PREVENTER |  | BFPV | FUNCT13A | DEAR.BFPV
[5 empty] | CONTROLS |  | CNTL | FUNCT13A | DEAR.CNTL
[5 empty] | HEAT EXCHANGER |  | HTEX | FUNCT13A | DEAR.HTEX
[5 empty] | MOTOR |  | MOTR | FUNCT13A | DEAR.MOTR
[5 empty] | PUMP |  | PUMP | FUNCT13A | DEAR.PUMP
[5 empty] | STRAINER |  | STRN | FUNCT13A | DEAR.STRN
[5 empty] | VFD/ STARTER |  | STRT | FUNCT13A | DEAR.STRT
|  |  | AIR DRYER |  |  |  | DRYR | FUNCT13A | DRYR | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | MOTOR |  | MOTR | FUNCT13A | DRYR.MOTR
[5 empty] | VFD/ STARTER |  | STRT | FUNCT13A | DRYR.STRT
[6 empty] | AIR FILTER | AFLT | FUNCT13A | DRYR:AFLT
[6 empty] | BELT | BELT | FUNCT13A | DRYR:BELT
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT13A | DSCS | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | EXPANSION TANK |  |  |  | EXPT | FUNCT13A | EXPT | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A | EXPT.PRRV
|  |  | FUEL STORAGE TANK |  |  |  | FTNK | FUNCT13A | FTNK | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | CHECK VALVE |  | CHVL | FUNCT13A | FTNK.CHVL
[5 empty] | CONTROL VALVE |  | CNTV | FUNCT13A | FTNK.CNTV
[5 empty] | DUPLEX STRAINER |  | DSTR | FUNCT13A | FTNK.DSTR
[5 empty] | ISOLATION VALVE |  | ISOV | FUNCT13A | FTNK.ISOV
[5 empty] | LEAK DETECTION |  | LDET | FUNCT13A | FTNK.LDET
[5 empty] | PIPE |  | PIPE | FUNCT13A | FTNK.PIPE
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A | FTNK.PRRV
[5 empty] | PUMP |  | PUMP | FUNCT13A | FTNK.PUMP
[5 empty] | VENTS |  | VENT | FUNCT13A | FTNK.VENT
[6 empty] | FUEL FILTER | FFLT | FUNCT13A | FTNK:FFLT
|  |  | HEAT EXCHANGER |  |  |  | HTEX | FUNCT13A | HTEX | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A | HTEX.PRRV
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT13A | ISOV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PIPE |  |  |  | PIPE | FUNCT13A | PIPE | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | AIR ELIMINATOR |  | AIRE | FUNCT13A | PIPE.AIRE
[5 empty] | AIR VENT |  | AIRV | FUNCT13A | PIPE.AIRV
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT13A | PIPE.DRNV
[5 empty] | FLOW METER |  | FLWM | FUNCT13A | PIPE.FLWM
[5 empty] | GAUGES |  | GAUG | FUNCT13A | PIPE.GAUG
[5 empty] | INSULATION |  | INSL | FUNCT13A | PIPE.INSL
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13A | PIPE.PRRV
[5 empty] | STRAINER |  | STRN | FUNCT13A | PIPE.STRN
[5 empty] | THERMOMETER |  | THER | FUNCT13A | PIPE.THER
[5 empty] | VIBRATION ELIMINATOR |  | VIBR | FUNCT13A | PIPE.VIBR
|  |  | WATER SOFTENER |  |  |  | WSFT | FUNCT13A | WSFT | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | BACKFLOW PREVENTER |  | BFPV | FUNCT13A | WSFT.BFPV
[5 empty] | CONTROLS |  | CNTL | FUNCT13A | WSFT.CNTL
[6 empty] | CHEMICAL | CHML | FUNCT13A | WSFT:CHML
|  | DISTRIBUTION |  |  |  |  | B
|  |  | BTU METER |  |  |  | BTUM | FUNCT13B | BTUM | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[6 empty] | CHART | CHRT | FUNCT13B | BTUM:CHRT
|  |  | CONTROL VALVE |  |  |  | CNTV | FUNCT13B | CNTV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | MOTOR |  | MOTR | FUNCT13B | CNTV.MOTR
|  |  | CONTROL INTERFACE |  |  |  | CONI | FUNCT13B | CONI | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | DISTRIBUTION PUMP |  |  |  | DPMP | FUNCT13B | DPMP | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | MOTOR |  | MOTR | FUNCT13B | DPMP.MOTR
[5 empty] | VFD/ STARTER |  | STRT | FUNCT13B | DPMP.STRT
|  |  | DISCONNECT SWITCH |  |  |  | DSCS | FUNCT13B | DSCS | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | ISOLATION VALVE |  |  |  | ISOV | FUNCT13B | ISOV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PIPE EXPANSION JOINT |  |  |  | PEXP | FUNCT13B | PEXP | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | PIPE |  |  |  | PIPE | FUNCT13B | PIPE | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | AIR ELIMINATOR |  | AIRE | FUNCT13B | PIPE.AIRE
[5 empty] | AIR VENT |  | AIRV | FUNCT13B | PIPE.AIRV
[5 empty] | DRAIN VALVE |  | DRNV | FUNCT13B | PIPE.DRNV
[5 empty] | FLOW METER |  | FLWM | FUNCT13B | PIPE.FLWM
[5 empty] | GAUGES |  | GAUG | FUNCT13B | PIPE.GAUG
[5 empty] | INSULATION |  | INSL | FUNCT13B | PIPE.INSL
[5 empty] | PRESSURE RELIEF VALVE |  | PRRV | FUNCT13B | PIPE.PRRV
[5 empty] | STRAINER |  | STRN | FUNCT13B | PIPE.STRN
[5 empty] | THERMOMETER |  | THER | FUNCT13B | PIPE.THER
[5 empty] | VIBRATION ELIMINATOR |  | VIBR | FUNCT13B | PIPE.VIBR

## APPROVAL 0
DATE | 04/03/2018
REVISION | 0
DEPARTMENT | NAMES | APPROVAL
EAM | Shawn Lenahan, Robert Kumapley, Mohammad Chowdhury | True
TEC |  | False
AVIATION | Peter Palfalvi | True
TB&T |  | False
PORT | Robin Kadell | True
PATH | Tom Gardner | True
WTC | Leonard Kozlov | True
ENGINEERING | Ramesh Panchalan | True
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 1
DATE | 06/05/2019
REVISION | 1
DEPARTMENT | NAMES | APPROVAL
EAM | Robert Kumapley, Mohammad Chowdhury | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso, Edoardo Cuniberti, Tiffany Chan, Stu Stahl | True
TB&T | Kurtis Voorhees, Anthony Gomes, Jason Lei, Peter Palfalvi | True
PORT |  | False
PATH |  | False
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 2
DATE | 04/15/2020
REVISION | 2
DEPARTMENT | NAMES | APPROVAL
EAM | Paul Fetter, Tanbera Chowdury, Amin Elsherif, Carlos Diaz | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell, Sean Pflug | True
PATH | Tom Gardner | True
WTC | Stefan Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Pasquale Buzzelli | True
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 3
DATE | 10/23/2020
REVISION | 3
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Tanbera Chowdury, Rich Trifan, Carlos Diaz, Amin Elsherif, Steve Grace | True
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes, Jason Lei | True
PORT | Robin Kadell, Sean Pflug | True
PATH | Tom Gardner | True
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 4
DATE | 07/26/2021
REVISION | 4
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Tanbera Chowdury, Rich Trifan, Carlos Diaz, Amin Elsherif, Steve Grace | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T |  | False
PORT | Robin Kadell, Sean Pflug | True
PATH | Tom Gardner | True
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 5
DATE | 11/17/2021
REVISION | 5
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Tanbera Chowdury, Rich Trifan, Carlos Diaz, Amin Elsherif, Chris Faber | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell, Sean Pflug | True
PATH |  | False
WTC |  | False
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 6
DATE | 11/30/2021
REVISION | 6
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Tanbera Chowdury, Rich Trifan, Carlos Diaz, Amin Elsherif, Chris Faber | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T |  | False
PORT | Sean Pflug | True
PATH |  | False
WTC | Stefan Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 7
DATE | 04/12/2022
REVISION | 7
DEPARTMENT | NAMES | APPROVAL
EAM | Ali Toor, Rich Trifan, Amin Elsherif, Chris Faber | True
TEC |  | False
AVIATION | Mario Suarez, John Paradiso | True
TB&T | Kurt Voorhees | True
PORT |  | False
PATH |  | False
WTC | Stefan Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES |  | False
PROCUREMENT |  | False
COMPTROLLERS |  | False

## APPROVAL 8
DATE | 02/22/2024
REVISION | 8
DEPARTMENT | NAMES | APPROVAL
EAM |  | False
TEC |  | False
AVIATION | John Paradiso | True
TB&T | Anthony Gomes | True
PORT | Robin Kadell | True
PATH |  | False
WTC | Stefanie Griswold | True
ENGINEERING |  | False
OPERATIONS SERVICES | Juliet Wilson | True
PROCUREMENT |  | False
COMPTROLLERS |  | False